## Cover
HEAT NETWORKS QUARTERLY PIPELINE
The projects we have captured in this pipeline are live projects with assumptions being refined on a regular basis as new information is made available. While every endeavour has been made to reflect as up-to-date information as possible, the information will invariably represent a single point in time (typically a consultant’s report) and we have indicated the year of the information.
The one-page summaries are intended to:
- increase the visibility of what is happening in district energy across England & Wales;
- better enable potential sources of finance to assess the scale of the sector;
- facilitate conversations between investors and projects; and
- ultimately enable new finance to enter the sector.
If you are an investor and have recommendations on what other information we could provide to better enable your investment, please email these to hndu@beis.gov.uk FAO HN Head of Commercial.

## Summary
Opportunity Name | Applicant Organisation | Gen capex (£m) | Dist capex (£m) | Other capex (£m) | Total capex (£m) | Average annual demand (GWh/Y) | PIRR after grant | LZC Primary heat technology
GHNF FUNDED PROJECTS
Aire Valley Heat & Power | SSE Heat Networks Ltd | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 57.4519 | Not disclosed | Heat pump: air source
Ashton Gate Heat Network | Bristol Heat Networks Limited | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Industrial heat - EFW
Blackburn Meadows Heat Network Expansion | E.ON UK PLC | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 32.5451 | Not disclosed | Industrial heat - EFW
Bolton District Heating Network | Bolton Metropolitan Borough Council | 18.2898 | 15.0598 | 0 | 33.3496 | 23.2708 | 10% | Heat pump: air source
Bradford Energy Network (BEN) | Bradford Energy Limited | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 45.152 | Not disclosed | Heat pump: ground source
Chilton Woods, Sudbury | GTC Infrastructure Ltd | 2.3421 | 3.4632 | 0 | 5.8052 | 4.9906 | >10% | Waste heat recovered (no heat pump)
Civic Centre District Energy Scheme | Plymouth City Council | 0.505 | 2.2279 | 0 | 2.7329 | 2.4268 | >10% | Heat pump: ground source
Clapham Park District Heating | PP Esco Clapham Park Ltd | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Not disclosed | Heat pump: air source
Colville and Britannia District Heat Network (CDHN) | London Borough of Hackney | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 7.3454 | Not disclosed | Heat pump: air source
Cranbrook Heat Network Expansion | East Devon District Council | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 21.8754 | Not disclosed | Heat pump: ground source
Cranbrook Town Centre | E.ON UK PLC | 0.79203 | 1.4601 | 1e-08 | 2.2522 | 1.1937 | >10% | Heat pump: air source
East London Energy | East London Energy Limited | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 2.6965 | Not disclosed | Heat pump: air source
Exeter Energy Network | Exeter Energy Ltd | 36.3309 | 70.7794 | 0 | 107.1103 | 88.2486 | Not disclosed | Heat pump: ground source
Four Ashes MoJ Heat Network | VEOLIA ENERGY & UTILITY SERVICES UK PLC | 11.2111 | 12.6166 | 1.1389 | 24.9666 | 20.9844 | Not disclosed | Industrial heat - EFW
Goole District Energy Network | East Riding of Yorkshire Council | 4.848 | 22.283 | 0 | 27.131 | 39.9248 | 9% | Heat pump: ground source
Greenwich Peninsula ESCO District Heating Network Decarbonisation | Greenwich Peninsula ESCO Ltd | 8.3664 | 10.0681 | 0 | 18.4345 | 31.7821 | 10% | Industrial heat - EFW
Handforth Garden Village Heat Network | Cheshire East Council | 5.673 | 6.8656 | 0 | 12.5386 | 6.2874 | 6% | Heat pump: water source - decentralised (ambient loop)
Huddersfield District Energy Network | Kirklees Council | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 19.6288 | Not disclosed | Waste heat recovered (no heat pump)
Hull District Heat Network | Hull City Council | 5.9582 | 18.9574 | 0 | 24.9156 | 21.6594 | 10% | Heat pump: air source
Hull East Heat Network | Vital Energi Utiltiies ltd | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 57.6208 | Not disclosed | Heat pump: sewer source
Islington Council Bevin Court | London Borough of Islington | 2.864 | 0 | 0 | 2.864 | 2.4125 | Not disclosed | Heat pump: ground source
Kingston District Heat Network (KDHN) | Royal Borough of Kingston | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 26.4324 | Not disclosed | Heat pump: waste heat source
Lancaster University Net Zero | Lancaster University Energy Services Ltd | 23.9899 | 17.5318 | 18.8898 | 60.4114 | 42.1158 | 8% | Heat pump: ground source
Langarth Deep Geothermal Heat Network | Cornwall Council | 14.0935 | 75.8538 | -1e-08 | 89.9473 | 41.2655 | 10% | Industrial heat - EFW
Maiden Lane | Camden Council | 4.13 | 5.703 | 0 | 9.833 | 6.09 | 8% | Heat pump: air source
Meriden Estate | Watford Community Housing Trust | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 2.9932 | Not disclosed | Heat pump: air source
Milton Keynes Heat Network | MILTON KEYNES ENERGY LIMITED | 36.5063 | 83.6811 | 0 | 120.1875 | 85.8069 | 10% | Heat pump: sewer source
MyDMU Greenheat | De Montfort University | 11.8612 | 6.7349 | 0 | 18.5961 | 11.8744 | 6% | Heat pump: sewer source
Old Oak and Park Royal Energy Network | OPDC | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 89.1009 | Not disclosed | Heat pump: air source
PIRI (Peterborough Integrated Renewables Infrastructure) | Peterborough City Council | 22.1136 | 31.0167 | 0 | 53.1303 | 23.7063 | >10% | Heat pump: ground source
Rotherham Energy Network (REN) | Rotherham Energy Limited | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 48.1286 | Not disclosed | Industrial heat - EFW
South Kilburn District Heating Network | London Borough of Brent | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 19.4441 | Not disclosed | Heat pump: water source - decentralised (ambient loop)
Stoke On Trent City Wide DH - Deep Geothermal | SSE Heat Networks Ltd | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 64.6543 | Not disclosed | Heat pump: air source
Welborne Garden Village - Buckland Development | Last Mile Heat Limited | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 4.5484 | Not disclosed | Deep geothermal
West Bromwich Heat Network | Sandwell Metropolitan Borough Council | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 34.8829 | Not disclosed | Waste heat recovered (no heat pump)
West King Street District Heat Network | London Borough of Hammersmith & Fulham | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 3.8362 | Not disclosed | Waste heat recovered (no heat pump)
Whiteknights Energy Centre phase 1 decarbonisation | University of Reading | 2.85 | 1.55 | 0 | 4.4 | 10.8114 | 4% | Heat pump: air source
HNIP FUNDED PROJECTS
Silvertown Quays | E.ON Energy Infrastrucutre Services Ltd | Not disclosed | Not disclosed | Not disclosed | 20.89 | 26.624 | 7.29% | Heat pump: water source - decentralised (ambient loop)
Cranbrook Expansion | East Devon District Council | Not disclosed | Not disclosed | Not disclosed | 20.79 | 64.181 | 7.95% | Industrial heat - EFW
This is Gravity | Eon | Not disclosed | Not disclosed | Not disclosed | 47.14 | 14.359 | Not disclosed | Heat pump: water source - decentralised (ambient loop)
Gateshead Low Rise council estates | Gateshead Council | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 5.9151 | Not disclosed | Heat pump: mine water
Tottenham Hale and Broadwater Farm District Heating Network | London Borough of Haringey | Not disclosed | Not disclosed | Not disclosed | 32.47 | 43.974 | 5.62% | Industrial heat - EFW
Wood Green District Heating Network | London Borough of Haringey | Not disclosed | Not disclosed | Not disclosed | 33.89 | 36.239 | 5.54% | Industrial heat - EFW
Portsmouth Naval Base Low Carbon Heat Network | Ministry of Defence | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 56 | Not disclosed | Industrial heat - other
Central Cluster extension and heat pump | Peel NRE Developments Ltd | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 16.08 | Not disclosed | Heat pump: water source - centralised
Riverside Heat Network | Riverside Resource Recovery Limited / Vattenfall Heat UK Limited or an entitiy over which those party(ies) have control | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 43.916 | Not disclosed | Industrial heat - EFW
Notting Dale Heat Network | Royal Borough of Kensington and Chelsea | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 6.944 | Not disclosed | Heat pump: air source
Woking Heat Network | ThamesWey Energy Limited | Not disclosed | Not disclosed | Not disclosed | 19.21 | 27.678 | 5.96% | CHP - gas
SELCHP Southwark : LBS2.0 DHN Expansion Scheme | Veolia ES Southwark Limited | Not disclosed | Not disclosed | Not disclosed | 28.86 | 64.128 | >10% | Industrial heat - EFW
Rookery South Heat network | Vital Energi Utilities Ltd | Not disclosed | Not disclosed | Not disclosed | 71.5 | 40.135 | 9.43% | Industrial heat - EFW
The Galleries Re-development Project | Wigan Metropolitan Borough Council | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 8.5983 | Not disclosed | Heat pump: ground source
Worthing Civic Centre | Worthing Borough Council | Not disclosed | Not disclosed | Not disclosed | 14.7 | 16.5 | >10% | Heat pump: sewer source
HNDU DEVELOPMENT PROJECTS - LIVE
HNDU Feasibility Rochdale Town Centre Heat Network | Rochdale Metropolitan Borough Council | 20.72 | 16.7637 | 9.2106 | 46.6943 | 53.5271 | 2% | Heat pump: sewer source
2019/20 HNDU_ Notting Dale Heat Network DPD | Royal Borough of Kensington and Chelsea | 6.2645 | 37.3162 | 9.1153 | 52.696 | 11.3555 | Not disclosed | Heat pump: air source
Aberystwyth_MAP | Ceredigion County Council | 3.6454 | 5.668 | 0.233 | 9.5464 | 24.8539 | 6% | Boiler - biomass
Alderley Park_DPD | Cheshire East Council | 0.5 | 1.08 | 1.39 | 2.97 | 16.5295 | 2% | Heat pump: water source - centralised
Bolton Town Centre Heat network | Bolton Metropolitan Borough Council | 6.2373 | 14.9511 | 1e-08 | 21.1884 | 42.464 | 10% | Heat pump: air source
Chatham Maritime_FES | Medway Council | 3.3115 | 3.6244 | 0.82086 | 7.7567 | 133.3255 | 5% | Heat pump: water source - centralised
City Centre Phase 2_FES | Bristol City Council | 18.1994 | 13.2283 | 4.4114 | 35.8391 | 54.1767 | -0.5% | Heat pump: water source - centralised
Crewe Town Centre_DPD | Cheshire East Council | 10.2454 | 28.102 | -0.78168 | 37.5656 | 11 | 3.5% | Heat pump: air source
Durham Town Centre_FES | Durham County Council | 0.2349 | 0.16305 | 0 | 0.39795 | 18.824 | 7% | Heat pump: water source - centralised
Durham University_FES | Durham University | 9.37 | 5.373 | 1.835 | 16.578 | 37.5823 | 3% | Heat pump: ground source
East Runcorn Daresbury Energy Network_FES | Halton Borough Council | 0 | 0 | 60 | 60 | 27.306 | 0% | Boiler - EfW
Ebbw Vale (Rassau)_FES | Blaenau Gwent County Borough Council | 0 | 7.6758 | 0 | 7.6758 | 5.834 | >10% | CHP - gas
GIFHE(peak)_FES | North East Lincolnshire Council | 8.324 | 16.475 | 1.234 | 26.033 | 18.3222 | 7% | Waste heat recovered (no heat pump)
Goole District Energy Network_DPD | East Riding of Yorkshire Council | 13.5029 | 10.4316 | 9.606 | 33.5405 | 72.3743 | 0% | Waste heat recovered (no heat pump)
Halifax Town Centre_FES | Calderdale Metropolitan Borough Council | Not disclosed | Not disclosed | Not disclosed | Not disclosed | 4.5011 | Not disclosed | CHP - gas
Middlesbrough_DPD | Tees Valley Combined Authority | 0 | 0.91996 | 0 | 0.91996 | 88.736 | -4% | CHP - gas
North Cheshire Garden Village_FES | Cheshire East Council | 6.5033 | 1.7954 | 0 | 8.2986 | 22.6616 | 2.5% | Heat pump: ground source
North Lewisham Heat Network_FES | London Borough of Lewisham | 5.27 | 0 | 0 | 5.27 | 94.22 | 3% | Boiler - EfW
North Star and Town Centre_FES | Swindon Borough Council | 6.1 | 55.654 | 6.058 | 67.812 | 90.938 | 0% | CHP - gas
North Tottenham_DPD | London Borough of Haringey | 28.0408 | 45.3042 | 12.2424 | 85.5874 | 59.168 | >10% | Boiler - EfW
Oldham_MWSHP Town Centre_Scenariro 1A_FES | Oldham Metropolitan Borough Council | 6.9452 | 7.1621 | 5.0235 | 19.1308 | 19.1464 | 1% | Heat pump: mine water
Plymouth Southern City Centre District Energy Scheme | Plymouth City Council | 22.1 | 6.8 | 2 | 30.9 | 10.808 | 3% | CHP - gas
RBGreenwichAbbeywoodE_FES | Royal Borough of Greenwich | 10.5208 | 51.4093 | 9.4944 | 71.4245 | 13.9538 | >10% | Industrial heat - EFW
RBGreenwichDecentralised Energy_FES | Royal Borough of Greenwich | 2.4022 | 9.4389 | 22.1472 | 33.9883 | 40.5792 | >10% | Heat pump: water source - centralised
RBGreenwichThamesmeadN_FES | Royal Borough of Greenwich | 15.0402 | 29.0629 | 0 | 44.1031 | 79.3403 | 1% | Industrial heat - EFW
RBGreenwichWestGrPen_FES | Royal Borough of Greenwich | 12.7278 | 4.7041 | 2.3585 | 19.7903 | 123.9558 | 7% | Heat pump: water source - centralised
RBGreenwichWoolwichTC_FES | Royal Borough of Greenwich | 26.0094 | 74.5732 | 12.7115 | 113.2942 | 51.1974 | 5.5% | Heat pump: water source - centralised
SERC EfW heat supply_MAP | South Gloucestershire Council | 6.9 | 9.5394 | 3.792 | 20.2314 | 0 | 6% | Industrial heat - EFW
Solihull Town Centre_FES | Solihull Metropolitan Borough Council | 11.2868 | 21.09 | 6.4927 | 38.8695 | 68.5087 | 2% | Heat pump: ground source
The Works_FES | Blaenau Gwent County Borough Council | 2.408 | 2.8261 | 1.8319 | 7.066 | 43.585 | 5% | Boiler - biomass
Town Centre Heat Network_COM_CST | Crawley Borough Council | 5.5 | 7.9 | 5.7 | 19.1 | 29.704 | 7% | CHP - gas
Tregaron_MAP | Ceredigion County Council | 2.5067 | 4.5898 | 0 | 7.0965 | 1.0461 | 8% | Boiler - biomass
Veolia Energy from Waste_FES | Staffordshire Moorlands District Council | 4.329 | 2.4438 | 1.113 | 7.8858 | 24.314 | 4% | Industrial heat - EFW
Whitehaven Minewater Heat Kells Lane_FES | Copeland Borough Council | 8.46 | 7.14 | 4.68 | 20.28 | 6.0256 | 8% | Heat pump: mine water
Whitehaven Westlakes Science Park_FES | Copeland Borough Council | 3.8 | 2.18 | 2.17 | 8.15 | 19.1543 | 4% | Heat pump: mine water
Wigan Town Centre_FES | Wigan Metropolitan Borough Council | 8.4777 | 16.5048 | 1.6212 | 26.6037 | 12.226 | -0.5% | Heat pump: ground source
Wood Green_FES | London Borough of Haringey | 9.292 | 7.772 | 4.266 | 21.33 | 56.41 | 0% | CHP - gas
HNDU DEVELOPMENT PROJECTS - ABANDONED
Alternative heat sources_DPD | Adur District Council | 20.9913 | 27.6039 | 22.3145 | 70.9096 | 10.642 | 2.95% | Heat pump: air source
Barnsley Civic Quarter_FES | Barnsley Metropolitan Borough Council | 9.8899 | 5.6997 | 4.716 | 20.3056 | 7.254 | 1% | CHP - gas
Barnsley Town Centre Civic Quarter | Barnsley Metropolitan Borough Council | 0 | 0 | 2.444 | 2.444 | 2.0909 | 0.5% | Heat pump: ground source
Basingstoke_FES | Basingstoke and Deane Borough Council | 2.373 | 3.325 | 12.004 | 17.702 | 31.9012 | 2% | CHP - gas
Blackburn Town Centre_MAP | Blackburn with Darwen Borough Council | 8.0123 | 7.2269 | 4.5718 | 19.811 | 14.6135 | 1.5% | CHP - gas
Bradford Civic Quarter_FES | Bradford Metropolitan District Council | 0 | 0 | 2.16 | 2.16 | 0 | 1.5% | CHP - gas
Bury Town Cenre_FES | Bury Metropolitan Borough Council | 4.1968 | 7.7146 | 6.9727 | 18.8841 | 15.9729 | 6.5% | CHP - gas
Castle Lane East Network_FES | Bournemouth, Christchurch and Poole (BCP) Council | 0 | 9.74 | 0 | 9.74 | 0 | 2.5% | Boiler - EfW
Castleford C6 Development_MAP | Wakefield Metropolitan District Council | 5.5101 | 4.9033 | 0.50069 | 10.9141 | 0 | 5% | Heat pump: water source - centralised
Central Redcar_FES | Tees Valley Combined Authority | 0.10936 | 0.944 | 10.27 | 11.3234 | 3.174 | 3.5% | CHP - gas
Charlestown_FES | Salford City Council | 4.4376 | 4.3455 | 2.5503 | 11.3334 | 17.4805 | 1% | CHP - gas
Cherwell - Bicester EcoTown_FES | Cherwell District Council | 4.917 | 6.837 | 11.754 | 23.508 | 275 | 2% | Industrial heat - EFW
Chesterfield_MAP | Derbyshire county | 1.1767 | 0.80025 | 0.47 | 2.447 | 52.1791 | 3% | CHP - gas
Clay Cross_MAP | Derbyshire county | 6.17 | 14.7307 | 1.3439 | 22.2447 | 11.769 | 1% | Industrial heat - EFW
Corby Town Centre_MAP | North Northamptonshire Council | 1.6549 | 2.9228 | 0.27095 | 4.8487 | 7.6168 | 8.5% | CHP - gas
County Hall site at Glenfield_FES | Leicestershire county | 3.015 | 3.8358 | 1.2351 | 8.0859 | 0.045965 | 5% | CHP - gas
Cultural Quarter_FES | Leicester City Council | 4.813 | 4.2157 | 2.146 | 11.1747 | 13.9157 | 1% | CHP - gas
Daisyfield_MAP | Blackburn with Darwen Borough Council | 8.889 | 4.2847 | 2.881 | 16.0547 | 2.5018 | 2% | Heat pump: ground source
Exeter City Centre_DPD | Devon County Council | 4.324 | 5.5546 | 0.408 | 10.2866 | 0 | 4% | CHP - gas
Flint Town_MAP | Flintshire County Council | 20.8 | 16.4 | 0 | 37.2 | 74.557 | 0% | Boiler - biomass
Greenwich Power Station District Heat Network_FES | Royal Borough of Greenwich | 20.0074 | 72.6872 | 40.1553 | 132.8498 | 0 | 5% | CHP - gas
IcknieldSohoLoop&SmethwickGas CHP/WSHP_MAP | Birmingham City Council | 6.1239 | 5.1699 | 0 | 11.2938 | 26.823 | 3% | CHP - gas
Killingworth Moor_MAP | North Tyneside Metropolitan Borough Council | 0 | 0 | 9.1 | 9.1 | 27.4186 | 5.5% | CHP - gas
Langley & Peddimore_FES | Birmingham City Council | 10.062 | 13.7715 | 5.058 | 28.8915 | 23.739 | 2% | CHP - gas
Lillyhall Hub_FES | Allerdale Borough Council | 1.076 | 2.5061 | 1.164 | 4.7461 | 2.111 | 2.5% | Boiler - biomass
Maidstone Heat Energy Networks | Kent County Council | 0 | 0 | 0.9487 | 0.9487 | 24.2 | >10% | Heat pump: water source - centralised
Manchester Science Park_FES | Manchester City Council | 1.28 | 4.53 | 0.3 | 6.11 | 0 | 10% | Heat pump: air source
Manor Royal _ Industrial and business area_MAP | Crawley Borough Council | 1.964 | 10.958 | 0.396 | 13.318 | 13.294 | >10% | CHP - gas
Manor Royal_Fleming Way and Manor Royal Road_MAP | Crawley Borough Council | 6.0021 | 4.756 | 1.95 | 12.7081 | 19.43 | 4% | CHP - gas
Matlock_MAP | Derbyshire county | 25.0807 | 15.9224 | 1.8509 | 42.8541 | 20.6565 | 5% | Industrial heat - other
New Cross Heat Network_FES | London Borough of Lewisham | 7.11 | 2.63 | 0 | 9.74 | 0 | 5% | Industrial heat - EFW
Nicholson Road_MAP | Isle of Wight Council | 21.5683 | 12.309 | 13.5133 | 47.3907 | 7.71 | -1.5% | Boiler - biomass
North Peckham_MAP | London Borough of Southwark | 14.051 | 3.5177 | 5.912 | 23.4807 | 47.728 | 1.5% | CHP - gas
Northallerton town centre_MAP | North Yorkshire County Council | 11.6876 | 5.2941 | 0 | 16.9817 | 16.8631 | 3.5% | CHP - gas
Northop Road_MAP | Flintshire County Council | 0 | 0 | 17.1939 | 17.1939 | 2.586 | >10% | Boiler - biomass
Oldham_Ambient Loop_MWSHP_ASHP_Scenario 5A_FES | Oldham Metropolitan Borough Council | 3.5 | 6.8 | 19.5 | 29.8 | 12.908 | 4% | Heat pump: mine water
Oxford City Centre_FES | Oxford City Council | 7.168 | 5.0425 | 2.0674 | 14.2779 | 0 | 8% | CHP - gas
Oxford Headington_FES | Oxford City Council | 25.79 | 13.16 | 0 | 38.95 | 0 | >10% | CHP - gas
Poole - Twin Sails East_FES | Poole Borough Council | 2.9177 | 1.4633 | 1.251 | 5.632 | 0 | 0.5% | CHP - gas
Rookery South - Scenario 1_FES | Bedford Council | 0.7195 | 1.0207 | 0.669 | 2.4092 | 51.636 | 1% | Boiler - EfW
Rookery South - Scenario 2_FES | Bedford Council | 13.1452 | 29.5424 | 19.3144 | 62.002 | 65.604 | 6% | Boiler - EfW
Rookery South - Scenario 3_FES | Bedford Council | 16.1744 | 48.5054 | 28.4821 | 93.1619 | 104.4773 | 5% | Boiler - EfW
Shadsworth Industrial Estate_MAP | Blackburn with Darwen Borough Council | 3.1407 | 6.6129 | 2.602 | 12.3556 | 33.742 | 2% | CHP - gas
Smethwick_DPD | Sandwell Metropolitan Borough Council | 1.947 | 4.0956 | 0 | 6.0426 | 7.2817 | 7.5% | Heat pump: water source - centralised
South Bank_FES | Tees Valley Combined Authority | 0 | 4.68 | 0 | 4.68 | 21.934 | 0.5% | CHP - other LZC
South Halifax | Calderdale Metropolitan Borough Council | 2.153 | 5.167 | 4.517 | 11.837 | 23.0288 | 2.5% | CHP - gas
Town Centre Hub_DPD | Allerdale Borough Council | 6.2247 | 3.4108 | 2.45 | 12.0855 | 0 | 4% | CHP - gas
Waterside_FES | Leicester City Council | 6.6612 | 5.4274 | -9.9476e-14 | 12.0887 | 0.016898 | -2.5% | CHP - gas

## Graph
HEAT NETWORKS PIPELINE: 2023 Q3 | £m
GHNF applications | 1230.9086
HNIP supported projects | 741.6876
HNDU development projects | 1071.9214
Total Capex | 3044.5176
NOT ACTIVELY PURSUED | £m
Total currently not pursued | 1014.3067
Combined total capex | 4058.8243