## Cover
HEAT NETWORKS QUARTERLY PIPELINE
The projects we have captured in this pipeline are live projects with assumptions being refined on a regular basis as new information is made available. While every endeavour has been made to reflect as up-to-date information as possible, the information will invariably represent a single point in time (typically a consultant’s report) and we have indicated the year of the information.
The one-page summaries are intended to:
- increase the visibility of what is happening in district energy across England & Wales;
- better enable potential sources of finance to assess the scale of the sector;
- facilitate conversations between investors and projects; and
- ultimately enable new finance to enter the sector.
If you are an investor and have recommendations on what other information we could provide to better enable your investment, please email these to hndu@beis.gov.uk FAO HN Head of Commercial.

## Summary
Opportunity Name | Applicant Organisation | Gen capex (£m) | Retail capex (£m) | Dist capex (£m) | Other capex (£m) | Total capex (£m) | Average annual demand (GWh/Y) | PIRR after grant | FID | Construction start | Heat on | All connected | Stage | Primary applicant contact | Primary applicant contact | LZC Primary heat technology | Pursuing third party finance? | Last Update
UNDER CONSTRUCTION
Bridgend Town Heat Network | Bridgend County Borough Council |  |  |  |  | 4.2 | 2.9894 | 5.15% | 2020 | 2020 | 2020 |  | Commercialisation&Construction |  |  | CHP - gas |  | 2019
Redcliffe Heat Network | Bristol City Council |  |  |  |  | 8.06 | 13.888 | >10% | 2020 | 2020 | 2020 |  | Commercialisation&Construction |  |  | CHP - gas |  | 2019
Old Market Network | Bristol City Council |  |  |  |  | 18.15 | 14.36 | 5.9% | 2020 | 2020 | 2020 |  | Commercialisation&Construction |  |  | Heat pump: marine source |  | 2019
Swaffham Prior Community Heat Network | Cambridgeshire County Council |  |  |  |  | 12.17 | 4.6119 | 5.69% | 2020 | 2021 | 2022 |  | Commercialisation&Construction |  |  | Heat pump: ground source |  | 2019
Cardiff | County Council of the City and County of Cardiff |  |  |  |  | 15.63 | 34.5 | 4% | 2022 | 2024 | 2024 |  | Construction |  |  | Industrial heat - EFW |  | 2019
Town Centre Heat Network_COM_CST | Crawley Borough Council | 5.27 | 0 | 0 | 0 | 5.27 |  | 3% | 2019 | 2020 | 2022 | 2024 | Under Construction |  |  | CHP - gas | No | 2022
South Seaham Garden Village Heat Network | Durham County Council |  |  |  |  | 18.7 | 7.233 | 5.7% | 2020 | 2022 | 2023 |  | Commercialisation&Construction |  |  | Heat pump: mine water |  | 2020
Gateshead District Energy Scheme - East Extension | Gateshead Council |  |  |  |  | 15.6 | 12.4 | 1.51% | 2020 | 2021 | 2022 |  | Construction |  |  | Heat pump: mine water |  | 2019
Leeds PIPES - City Centre (Phase 2) | Leeds City Council |  |  |  |  | 5.3 | 27.1 | >10% | 2019 | 2019 | 2021 |  | Construction |  |  | Industrial heat - EFW |  | 2019
Barking Town Centre District Energy Scheme | London Borough of Barking and Dagenham | [5 empty] | 32.4 | 5.86% | 2020 | 2020 | 2020 |  | Construction |  |  | CHP - gas |  | 2019
Meridian Water Heat Network | London Borough of Enfield |  |  |  |  | 34.4 | 44 | 9.09% | 2020 | 2020 | 2022 |  | Construction |  |  | Industrial heat - EFW |  | 2020
North and west strategic extensions to Meridian Water Heat Network | London Borough of Enfield (C/O Energetik) |  |  |  |  | 48.65 | 42.7775 | 8.14% |  | 2023 | 2024 |  | Construction |  |  | Industrial heat - EFW |  | 2020
Manchester OPEN | MEPL | [5 empty] | 69.5478 |  | 2022 | 2020 | 2021 |  | Commercialisation&Construction |  |  | CHP - gas |  | 2020
Newcastle University Merz Court Energy Centre | Newcastle University |  |  |  |  | 6 | 10.8597 | 4.8% | 2020 | 2021 | 2021 |  | Construction |  |  | Boiler - biomethane |  | 2020
Liverpool Waters District Heat Network - Phase 1B Road Crossings | Peel NRE Developments Ltd | [5 empty] | 7.3 |  | 2020 | 2019 | 2020 |  | Construction |  |  | Boiler - gas |  | 2020
Solihull Town Centre | Solihull Metropolitan County Council |  |  |  |  | 18.39 | 12.9149 | 6.39% | 2020 | 2021 | 2024 |  | Commercialisation&Construction |  |  | CHP - biomass |  | 2019
SELCHP Phase 2 | Veolia ES (UK) Limited | [5 empty] | 30 | 5.92% | 2020 | 2021 | 2022 |  | Commercialisation&Construction |  |  | Industrial heat - EFW |  | 2020
HNIP
Silvertown Quays | E.ON Energy Infrastrucutre Services Ltd |  |  |  |  | 20.89 | 26.624 | 7.29% | 2022 | 2023 | 2023 |  | Commercialisation&Construction | Anthony Poole | Anthony.poole@eonenergy.com | Heat pump: water source - decentralised (ambient loop) |  | 2022
Cranbrook Expansion | East Devon District Council |  |  |  |  | 20.79 | 64.181 | 7.95% |  |  | 2023 |  | Commercialisation&Construction |  |  | Industrial heat - EFW |  | 2019
This is Gravity | Eon |  |  |  |  | 47.14 | 14.359 |  | 2022 | 2022 | 2023 |  | Commercialisation&Construction |  |  | Heat pump: water source - decentralised (ambient loop) |  | 2020
Gateshead Low Rise council estates | Gateshead Council | [5 empty] | 5.9151 |  | 2022 | 2022 | 2023 |  | Construction |  |  | Heat pump: mine water |  | 2021
Tottenham Hale and Broadwater Farm District Heating Network | London Borough of Haringey |  |  |  |  | 32.47 | 43.974 | 5.62% | 2022 | 2023 | 2024 |  | Commercialisation&Construction |  |  | Industrial heat - EFW |  | 2019
Wood Green District Heating Network | London Borough of Haringey |  |  |  |  | 33.89 | 36.239 | 5.54% | 2022 | 2023 | 2025 |  | Commercialisation&Construction |  |  | Industrial heat - EFW |  | 2021
Portsmouth Naval Base Low Carbon Heat Network | Ministry of Defence | [5 empty] | 56 |  | 2022 | 2023 | 2024 |  | Commercialisation&Construction |  |  | Industrial heat - other |  | 2022
Central Cluster extension and heat pump | Peel NRE Developments Ltd | [5 empty] | 16.08 |  | 2022 | 2022 | 2023 |  | Commercialisation&Construction |  |  | Heat pump: water source - centralised |  | 2021
Riverside Heat Network | Riverside Resource Recovery Limited / Vattenfall Heat UK Limited or an entitiy over which those party(ies) have control | [5 empty] | 43.916 |  | 2020 | 2022 | 2024 |  | Commercialisation&Construction |  |  | Industrial heat - EFW |  | 2019
Notting Dale Heat Network | Royal Borough of Kensington and Chelsea | [5 empty] | 6.944 |  | 2021 | 2022 | 2023 |  | Construction |  |  | Heat pump: air source |  | 2021
Woking Heat Network | ThamesWey Energy Limited |  |  |  |  | 19.21 | 27.678 | 5.96% | 2021 | 2022 | 2024 |  | Construction |  |  | CHP - gas |  | 2021
SELCHP Southwark : LBS2.0 DHN Expansion Scheme | Veolia ES Southwark Limited |  |  |  |  | 28.86 | 64.128 | >10% | 2022 | 2022 | 2023 |  | Commercialisation&Construction |  |  | Industrial heat - EFW |  | 2021
Rookery South Heat network | Vital Energi Utilities Ltd |  |  |  |  | 71.5 | 40.135 | 9.43% | 2022 | 2023 | 2023 |  | Commercialisation&Construction | Simon Leonard | simon.leonard@vitalenergi.co.uk | Industrial heat - EFW |  | 2022
The Galleries Re-development Project | Wigan Metropolitan Borough Council | [5 empty] | 8.5983 |  | 2023 | 2023 | 2023 |  | Commercialisation&Construction |  |  | Heat pump: ground source |  | 2022
Worthing Civic Centre | Worthing Borough Council |  |  |  |  | 14.7 | 16.5 | >10% | 2020 | 2021 | 2024 |  | Commercialisation&Construction |  |  | Heat pump: sewer source |  | 2020
GHNF
Handforth Garden Village Heat Network | Cheshire East Council | 5.67 | 0 | 6.87 | 0 | 12.54 | 6.0939 | 5.913% | 2023 | 2024 | 2025 | 2027 |  |  |  | Heat pump: water source - decentralised (ambient loop) | Not Stated | 2023
Cranbrook Heat Network Expansion | East Devon District Council | 0 | 0 | 31.13 | 0 | 31.13 | 17.6995 | 9.966% | 2023 | 2023 | 2024 | 2032 |  |  |  | Industrial heat - EFW | Not Stated | 2023
Exeter Energy Network | Exeter Energy Ltd | 36.33 | 0 | 70.78 | 0 | 107.11 | 80.8811 | >10% | 2023 | 2023 | 2026 | 2034 |  |  |  | Heat pump: air source | Not Stated | 2023
Chilton Woods, Sudbury | GTC Infrastructure Ltd | 2.34 | 1.19 | 2.27 | 0 | 5.81 | 4.2526 | >10% | 2022 | 2022 | 2023 | 2029 |  |  |  | Heat pump: air source | Not Stated | 2023
South Kilburn District Heating Network | London Borough of Brent | 9.73 | 0 | 7.39 | 0 | 17.12 | 17.6005 | 6.466% | 2023 | 2024 | 2025 | 2030 |  |  |  | Heat pump: air source | Not Stated | 2023
Civic Centre District Energy Scheme | Plymouth City Council | 0.5 | 0 | 2.23 | 0 | 2.73 | 2.403 | >10% | 2023 | 2024 | 2024 | 2025 |  |  |  | Heat pump: air source | Not Stated | 2023
Kingston District Heat Network (KDHN) | Royal Borough of Kingston | 14.94 | 0 | 15.65 | 0 | 30.59 | 21.8252 | 5.113% | 2022 | 2023 | 2025 | 2033 |  |  |  | Heat pump: waste heat source | Not Stated | 2023
Whiteknights Energy Centre phase 1 decarbonisation | University of Reading | 2.85 | 0 | 1.55 | 0 | 4.4 | 13.949 | 3.505% | 2023 | 2023 | 2025 | 2025 |  |  |  | Heat pump: ground source | Not Stated | 2023
Meriden Estate | Watford Community Housing Trust | 3.75 | 0 | 0.67 | 0 | 4.42 | 2.9298 | 0% | 2022 | 2022 | 2023 | 2023 |  |  |  | Heat pump: other source | Not Stated | 2023
HNDU ACTIVE
Ebbw Vale (Rassau)_FES | Blaenau Gwent County Borough Council | 2.41 | 0 | 2.83 | 1.83 | 7.07 | 0.005834 | 0.9532% |  |  |  | 2019 | Feasibility |  |  | CHP - gas | Not Stated
The Works_FES | Blaenau Gwent County Borough Council | 0 | 0 | 0.92 | 0 | 0.92 | 1.8982 | -4.279% |  |  |  | 2019 | Feasibility |  |  | Boiler - biomass | Not Stated
Bolton Town Centre Heat network | Bolton Metropolitan Borough Council | 13.8 | 0 | 8.6 | 0 | 22.4 | 32.803 | 1.4% | 2021 | 2021 | 2023 | 2027 | Commercialisation / DPD |  |  | CHP - gas | Yes | 2021
City Centre Phase 2_FES | Bristol City Council | 2.39 | 0 | 10.86 | 1.12 | 14.37 | 39.2687 | 6.5% |  | 2020 | 2021 | 2028 | Feasibility |  |  | Heat pump: water source - centralised | No
Halifax Town Centre_FES | Calderdale Metropolitan Borough Council | 3.65 | 0.41 | 5.26 | 0.23 | 9.55 | 4.5011 | 5.9% | 2019 | 2020 | 2021 |  | Feasibility |  |  | CHP - gas | Yes
Aberystwyth_MAP | Ceredigion County Council | 1.77 | 0.29 | 1.89 | 0 | 3.94 | 19.2799 | >10% |  |  |  |  | Heat mapping and masterplanning |  |  | Boiler - biomass | Not Stated
Tregaron_MAP | Ceredigion County Council | 0.23 | 0 | 0.16 | 0 | 0.4 | 1.0461 | 6.6% |  |  |  |  | Heat mapping and masterplanning |  |  | Boiler - biomass | Not Stated
Crewe Town Centre_DPD | Cheshire East Council | 0.5 | 0.32 | 0.76 | 1.39 | 2.97 | 11 | 2% |  |  |  |  | Commercialisation / DPD |  |  | CHP - gas | Yes | 2019
Alderley Park_DPD | Cheshire East Council | 0.68 | 0 | 0.44 | 0 | 1.12 | 2.5781 | 2.9% |  |  | 2023 | 2025 | Commercialisation / DPD |  |  | Heat pump: ground source | Not Stated
North Cheshire Garden Village_FES | Cheshire East Council | 3.18 | 0 | 4.83 | 0.52 | 8.53 | 7.3861 | 0.02316% |  | 1905 | 1905 | 1905 | Feasibility |  |  | Heat pump: ground source | Yes | 2020
Whitehaven Westlakes Science Park_FES | Copeland Borough Council | 3.67 | 1.43 | 2.6 | 2.72 | 10.43 | 7.2722 | 3.88% |  |  | 2020 | 2025 | Feasibility |  |  | CHP - gas | Not Stated
Whitehaven Minewater Heat Kells Lane_FES | Copeland Borough Council | 3.8 | 0 | 2.18 | 2.17 | 8.15 | 6.0256 | 4% |  | 2021 | 2021 |  | Feasibility |  |  | Heat pump: mine water | Not Stated
Durham Town Centre_FES | Durham County Council | 4.93 | 0.63 | 3.75 | 1.84 | 11.15 | 14.769 | 3% |  |  | 2019 | 2022 | Feasibility |  |  | Heat pump: water source - centralised | Yes | 2020
Durham University_FES | Durham County Council | 8.32 | 2.37 | 10.18 | 1.23 | 22.11 | 30.99 | 7.4% |  | 2019 | 2020 | 2023 | Feasibility |  |  | CHP - gas | Not Stated
Goole District Energy Network_DPD | East Riding of Yorkshire Council | 3.03 | 0 | 18.23 | 4.29 | 25.56 | 30.7603 |  |  | 2023 | 2024 | 2035 | Commercialisation / DPD |  |  | Waste heat recovered (no heat pump) | Not Stated
East Runcorn Daresbury Energy Network_FES | Halton Borough Council | 3.45 | 0 | 4.77 | 1.9 | 10.12 |  |  |  |  | 2018 | 2034 | Feasibility |  |  | CHP - gas | Not Stated
Huddersfield Heat Network | Kirklees Council | 4.26 | 2.59 | 6.31 | 3.29 | 16.45 | 25.103 | >10% | 2022 | 2024 | 2025 | 2039 | Commercialisation / DPD |  |  | Industrial heat - EFW | Yes | 2020
SouthbankWestEnergyNetwork_FES | Leeds City Council | 8.84 | 0 | 9.97 | 11.28 | 30.09 | 21.2303 |  |  | 2024 | 2026 | 2030 | Feasibility |  |  | Waste heat recovered (no heat pump) | Not Stated
Southall DE_FES | London Borough of Ealing | 5.48 | 0 | 3.67 | 0 | 9.15 |  | >10% |  |  | 2019 | 2043 | Feasibility |  |  | CHP - gas | Not Stated
North Tottenham_DPD | London Borough of Haringey | 4.65 | 0 | 3.89 | 2.13 | 10.66 |  |  | 2020 | 2022 | 2024 | 2035 | Commercialisation / DPD |  |  | CHP - gas | No | 2019
Wood Green_FES | London Borough of Haringey | 22.1 | 0 | 6.8 | 2 | 30.9 | 28.205 | 2.6% |  |  | 2023 | 2038 | Feasibility |  |  | CHP - gas | No | 2019
North Lewisham Heat Network_FES | London Borough of Lewisham | 0 | 0 | 7.68 | 0 | 7.68 | 47.11 | 15.3% |  |  |  | 2025 | Feasibility |  |  | Boiler - EfW | Yes
Chatham Maritime_FES | Medway Council | 20.72 | 0 | 16.76 | 9.21 | 46.69 | 0.066663 | 1.9% |  | 2023 | 2025 |  | Feasibility |  |  | Heat pump: water source - centralised | Yes
GIFHE(peak)_FES | North East Lincolnshire Council | 5.64 | 1.21 | 9.33 | 3.25 | 19.43 | 9.1611 | 2.5% |  |  | 2022 |  | Feasibility | Carolina Borgstrom | Carolina.Borgstrom@nelincs.gov.uk | CHP - gas | Yes | 2020
Corby Town Centre_MAP | North Northamptonshire Council | 0.81 | 0.12 | 0.45 | 0.33 | 1.71 | 4.947 | 6% |  |  |  |  | Heat mapping and masterplanning |  |  | CHP - gas | Yes | 2019
Oldham_MWSHP Town Centre_Scenariro 1A_FES | Oldham Metropolitan Borough Council | 6.68 | 0 | 4.92 | 4.26 | 15.86 | 6.647 |  | 2022 | 2023 | 2024 | 2028 | Feasibility | Andrew Hunt | andrew.hunt@oldham.gov.uk | Heat pump: mine water | Yes
Plymouth Southern City Centre District Energy Scheme | Plymouth City Council | 1.1 | 0 | 1.66 | 0.79 | 3.55 | 7.322 |  |  | 2020 | 2021 | 2028 | Feasibility |  |  | Heat pump: air source | Yes | 2020
RBGreenwichWestGrPen_FES | Royal Borough of Greenwich | 9.38 | 0 | 74.57 | 3.25 | 87.2 | 29.2674 | 2.136% |  | 2023 | 2024 | 2034 | Feasibility |  |  | Heat pump: water source - centralised | Yes
RBGreenwichAbbeywoodE_FES | Royal Borough of Greenwich | 1.76 | 0 | 3.62 | 0.31 | 5.7 | 6.0506 | 3.213% |  | 2023 | 2024 | 2029 | Feasibility |  |  | Industrial heat - EFW | Yes
RBGreenwichDecentralised Energy_FES | Royal Borough of Greenwich | 7.65 | 0 | 4.7 | 1.08 | 13.44 | 16.7629 | 4.529% |  | 2023 | 2024 | 2030 | Feasibility |  |  | Industrial heat - EFW | Yes
RBGreenwichThamesmeadN_FES | Royal Borough of Greenwich | 3.47 | 0 | 51.41 | 2.64 | 57.51 | 22.1702 | >10% |  | 2023 | 2024 | 2032 | Feasibility |  |  | Industrial heat - EFW | Yes
RBGreenwichWoolwichTC_FES | Royal Borough of Greenwich | 9.94 | 0 | 29.06 | 0 | 39.01 | 19.4378 | 0.4756% |  | 2023 | 2024 | 2034 | Feasibility |  |  | Heat pump: water source - centralised | Yes
2019/20 HNDU_ Notting Dale Heat Network DPD | Royal Borough of Kensington and Chelsea | 0 | 0 | 0 | 0 | 19.89 | 4.4111 |  |  | 2023 | 2024 | 2029 | Commercialisation / DPD | James Caspell | James.Caspell@rbkc.gov.uk | Heat pump: air source | Not Stated | 2022
West Bromwich_FES | Sandwell Metropolitan Borough Council | 6.9 | 0 | 20.2 | 4.7 | 31.7 | 0.044756 | 9.2% | 2019 | 2023 | 2026 | 2038 | Feasibility | Mark Taylor | mark_taylor@sandwell.gov.uk | Boiler - EfW | Yes | 2022
Solihull Town Centre_FES | Solihull Metropolitan Borough Council | 4.6 | 0.39 | 14.88 | 0 | 19.48 | 49.5283 | 3.718% |  |  | 2023 | 2027 | Feasibility |  |  | CHP - gas | Not Stated | 2022
SERC EfW heat supply_MAP | South Gloucestershire Council | 3.05 | 0 | 27.83 | 3.03 | 33.91 | [6 empty] | Heat mapping and masterplanning |  |  | Industrial heat - EFW | Not Stated
Veolia Energy from Waste_FES | Staffordshire Moorlands District Council | 0 | 0 | 0 | 0 | 0 | [6 empty] | Feasibility |  |  | Industrial heat - EFW | Not Stated
North Star and Town Centre_FES | Swindon Borough Council | 8.46 | 0 | 7.14 | 4.68 | 20.28 |  | 8% |  | 2019 |  | 2027 | Feasibility |  |  | CHP - gas | Not Stated
Middlesbrough_DPD | Tees Valley Combined Authority | 0 | 0 | 0 | 0 | 30 | [6 empty] | Commercialisation / DPD |  |  | CHP - gas | Yes
Wigan Town Centre_FES | Wigan Metropolitan Borough Council | 3.35 | 0 | 2.34 | 0 | 5.69 | 6.113 | >10% |  |  |  |  | Feasibility |  |  | Heat pump: ground source | Not Stated
HNDU INACTIVE
Alternative heat sources_DPD | Adur District Council | 5.98 | 0 | 3.41 | 2.45 | 11.84 | 10.642 | 7.7% |  |  |  |  | Commercialisation / DPD | Chris Jones | chris.jones@adur-worthing.gov.uk | Heat pump: air source | Not Stated
Town Centre Hub_DPD | Allerdale Borough Council | 1.08 | 0.11 | 2.39 | 1.16 | 4.75 |  | 5.42% | 2019 | 2020 | 2021 |  | Commercialisation / DPD |  |  | CHP - gas | Not Stated | 2019
Lillyhall Hub_FES | Allerdale Borough Council | 0 | 0 | 0 | 2.44 | 2.44 | 0.87 | 0.8% |  | 2018 |  |  | Feasibility |  |  | Boiler - biomass | Not Stated
Barnsley Town Centre Civic Quarter | Barnsley Metropolitan Borough Council | 4.94 | 0 | 2.85 | 3.15 | 10.95 | 1.0455 | 1.4% | 2021 | 2021 | 2022 | 2022 | Commercialisation / DPD |  |  | Heat pump: ground source | Yes
Barnsley Civic Quarter_FES | Barnsley Metropolitan Borough Council | 2.37 | 0.29 | 2.75 | 6 | 11.41 | 7.254 | 4.4% |  | 2018 | 2019 | 2022 | Feasibility |  |  | CHP - gas | Yes
Basingstoke_FES | Basingstoke and Deane Borough Council | 2.1 | 0 | 3.07 | 3.06 | 8.36 | 13.7736 | 6.8% | 2020 | 2021 | 2021 | 2025 | Feasibility |  |  | CHP - gas | Yes | 2019
Castle Lane East Network_FES | BCP Council | 0 | 0 | 0 | 9.1 | 9.1 | 0 | >10% |  |  | 2020 | 2023 | Feasibility |  |  | Boiler - EfW | Not Stated
Rookery South - Scenario 3_FES | Bedford Council | 10 | 0 | 36.34 | 20.08 | 66.42 | 52.2387 | 5.323% |  | 2021 | 2022 | 2022 | Feasibility |  |  | Boiler - EfW | Not Stated
Rookery South - Scenario 2_FES | Bedford Council | 8.09 | 0 | 24.25 | 14.24 | 46.58 | 32.802 | 5.302% |  | 2021 | 2022 | 2022 | Feasibility |  |  | Boiler - EfW | Not Stated
Rookery South - Scenario 1_FES | Bedford Council | 6.57 | 0 | 14.77 | 9.66 | 31 | 25.818 | 5.769% |  | 2021 | 2022 | 2022 | Feasibility |  |  | Boiler - EfW | Not Stated
IcknieldSohoLoop&SmethwickGas CHP/WSHP_MAP | Birmingham City Council | 10.06 | 0.48 | 13.29 | 5.06 | 28.89 | 26.823 | 3.526% |  |  |  | 2021 | Heat mapping and masterplanning |  |  | CHP - gas | Not Stated
Langley & Peddimore_FES | Birmingham City Council | 11.69 | 0.22 | 5.07 | 0 | 16.98 | 23.739 | 6.6% |  |  |  |  | Feasibility |  |  | CHP - gas | No
Daisyfield_MAP | Blackburn with Darwen Borough Council | 0.72 | 0 | 1.02 | 0.67 | 2.41 | 2.5018 | 1.802% |  |  |  | 2021 | Heat mapping and masterplanning |  |  | Heat pump: ground source | No | 2019
Blackburn Town Centre_MAP | Blackburn with Darwen Borough Council | 3.14 | 0.36 | 6.26 | 2.6 | 12.36 | 14.6135 | 4% |  |  |  | 2021 | Heat mapping and masterplanning |  |  | CHP - gas | No | 2019
Shadsworth Industrial Estate_MAP | Blackburn with Darwen Borough Council | 8.89 | 0.25 | 4.04 | 2.88 | 16.05 | 33.742 | 3.549% |  |  |  | 2021 | Heat mapping and masterplanning |  |  | CHP - gas | No | 2019
Bradford Civic Quarter_FES | Bradford Metropolitan District Council | 3.02 | 0.31 | 3.53 | 1.24 | 8.09 | [6 empty] | Feasibility |  |  | CHP - gas | Yes
Bury Town Cenre_FES | Bury Metropolitan Borough Council | 2.15 | 1.07 | 4.1 | 0 | 7.32 | 15.9729 | 5.4% |  | 2018 |  |  | Feasibility | Chris Horth | c.horth@bury.gov.uk | CHP - gas | No | 2019
South Halifax | Calderdale Metropolitan Borough Council | 1.65 | 0.07 | 2.85 | 0.27 | 4.85 | 23.0288 | >10% |  |  |  |  | Heat mapping and masterplanning |  |  | CHP - gas | Not Stated
Cherwell - Bicester EcoTown_FES | Cherwell District Council | 0 | 0 | 9.74 | 0 | 9.74 | 155 | 5.27% |  |  | 2023 |  | Feasibility |  |  | Industrial heat - EFW | Yes
Manor Royal _ Industrial and business area_MAP | Crawley Borough Council | 3 | 0.09 | 2.29 | 0.97 | 6.35 | 6.647 | 3.9% |  | 2020 | 2021 | 2021 | Heat mapping and masterplanning |  |  | CHP - gas | No
Manor Royal_Fleming Way and Manor Royal Road_MAP | Crawley Borough Council | 3.58 | 0.08 | 2.44 | 1.03 | 7.14 | 9.715 | 8.1% |  | 2020 | 2021 | 2021 | Heat mapping and masterplanning |  |  | CHP - gas | No
Clay Cross_MAP | Derbyshire county | 2.68 | 0 | 5.55 | 0.41 | 8.65 | 11.769 | 7.54% |  |  |  | 2020 | Heat mapping and masterplanning |  |  | Industrial heat - EFW | Yes
Matlock_MAP | Derbyshire county | 4.01 | 0 | 14.73 | 1.34 | 20.08 | 20.6565 | 1.7% |  |  |  | 2020 | Heat mapping and masterplanning |  |  | Industrial heat - other | Not Stated
Chesterfield_MAP | Derbyshire county | 14.09 | 0.22 | 15.7 | 1.85 | 31.86 | 52.1791 | >10% |  |  |  | 2020 | Heat mapping and masterplanning |  |  | CHP - gas | No
Exeter City Centre_DPD | Devon County Council | 10.4 | 0 | 8.2 | 0 | 18.6 | [6 empty] | Commercialisation / DPD |  |  | CHP - gas | Not Stated
Northop Road_MAP | Flintshire County Council | 0 | 0 | 0 | 0 | 0.95 | 2.586 | 7.6% |  |  |  |  | Heat mapping and masterplanning |  |  | Boiler - biomass | Not Stated
Flint Town_MAP | Flintshire County Council | 0 | 0 | 0 | 0 | 2.07 | 5.634 | 8.5% |  |  |  |  | Heat mapping and masterplanning |  |  | Boiler - biomass | Not Stated
Nicholson Road_MAP | Isle of Wight Council | 0 | 0 | 0 | 0 | 0 | 0 |  |  |  |  | 2022 | Heat mapping and masterplanning |  |  | Boiler - biomass | Not Stated
Maidstone Heat Energy Networks | Kent County Council | 3.9 | 0 | 2.3 | 3.4 | 9.6 | 24.2 | 3.2% |  | 2021 |  | 2022 | Commercialisation / DPD | Steve Baggs | steven.baggs@kent.gov.uk | Heat pump: water source - centralised | Yes | 2021
Cultural Quarter_FES | Leicester City Council | 0 | 0 | 3.89 | 0 | 3.89 | 10.8841 | -4.8% |  | 2019 | 2020 | 2023 | Feasibility |  |  | CHP - gas | Not Stated
Waterside_FES | Leicester City Council | 6.12 | 0 | 5.17 | 0 | 11.29 | 0.016898 | 6.4% |  |  |  | 2020 | Feasibility |  |  | CHP - gas | Not Stated
County Hall site at Glenfield_FES | Leicestershire county | 5.17 | 0.21 | 3.4 | 0.1 | 8.94 | 0.020641 | 4.83% |  |  | 2021 | 2030 | Feasibility |  |  | CHP - gas | Not Stated
New Cross Heat Network_FES | London Borough of Lewisham | 0 | 0 | 4.68 | 0 | 4.68 | [6 empty] | Feasibility |  |  | Industrial heat - EFW | Not Stated
North Peckham_MAP | London Borough of Southwark | 1.68 | 0 | 0 | 0.41 | 2.09 | 17.3433 | 7.007% | 2018 | 2019 | 2020 | 2020 | Heat mapping and masterplanning |  |  | CHP - gas | No
Manchester Science Park_FES | Manchester City Council | 1.75 | 0 | 3.4 | 9.75 | 14.9 |  | 3.6% |  |  |  |  | Feasibility |  |  | Heat pump: air source | Not Stated
Killingworth Moor_MAP | North Tyneside Metropolitan Borough Council | 0.77 | 0 | 0.66 | 0 | 1.43 | 27.4186 | >10% |  |  |  |  | Heat mapping and masterplanning |  |  | CHP - gas | Not Stated
Northallerton town centre_MAP | North Yorkshire County Council | 8.01 | 2.09 | 5.13 | 4.57 | 19.81 | 16.8631 | 2.66% | 2020 | 2021 | 2023 |  | Heat mapping and masterplanning |  |  | CHP - gas | No | 2020
Oldham_Ambient Loop_MWSHP_ASHP_Scenario 5A_FES | Oldham Metropolitan Borough Council | 10.71 | 0 | 5.11 | 6.18 | 22 | 3.6957 |  | 2022 | 2023 | 2024 | 2027 | Feasibility |  |  | Heat pump: mine water | Yes
Oxford City Centre_FES | Oxford City Council | 25.79 | 0 | 13.16 | 0 | 38.95 |  | >10% |  | 2018 | 2019 |  | Feasibility |  |  | CHP - gas | No
Oxford Headington_FES | Oxford City Council | 7.11 | 0 | 2.63 | 0 | 9.74 |  | 5% |  |  |  |  | Feasibility |  |  | CHP - gas | Not Stated
Poole - Twin Sails East_FES | Poole Borough Council | 4.92 | 0 | 6.84 | 11.75 | 23.51 | 0 | 4.2% |  |  | 2019 | 2026 | Feasibility |  |  | CHP - gas | Not Stated | 2019
Greenwich Power Station District Heat Network_FES | Royal Borough of Greenwich | 0.98 | 0 | 5.48 | 0.2 | 6.66 |  | >10% |  |  |  |  | Feasibility |  |  | CHP - gas | Not Stated
Charlestown_FES | Salford City Council | 1.95 | 0 | 4.1 | 0 | 6.04 | 11.4163 | 6.7% |  |  |  |  | Feasibility |  |  | CHP - gas | Not Stated
Smethwick_DPD | Sandwell Metropolitan Borough Council | 4.81 | 0 | 4.22 | 2.15 | 11.17 | 7.2817 | 1.591% |  |  |  | 2022 | Commercialisation / DPD |  |  | Heat pump: water source - centralised | Yes
South Bank_FES | Tees Valley Combined Authority | 0.11 | 0.47 | 0 | 10.27 | 10.85 | 10.967 | 7.2% |  |  |  |  | Feasibility |  |  | CHP - other LZC | Not Stated
Central Redcar_FES | Tees Valley Combined Authority | 0 | 0 | 0 | 1.08 | 1.08 | 0 | [5 empty] | Feasibility |  |  | CHP - gas | Not Stated
Trafford Park Heat Network_FES | Trafford Metropolitan Borough Council | 3.29 | 0.38 | 1.28 | 1.24 | 6.19 | 8.037 | 3.2% | 2021 | 2022 | 2024 | 2024 | Feasibility |  |  | CHP - gas | No | 2020
Castleford C6 Development_MAP | Wakefield Metropolitan District Council | 1.28 | 0 | 4.53 | 0.3 | 6.11 |  | >10% |  |  | 2018 | 2020 | Heat mapping and masterplanning |  |  | Heat pump: water source - centralised | Not Stated | 2019

## Graph
HEAT NETWORKS PIPELINE: 2022 Q4 |  | £m
Under Construction | HNIP + HNDU under construction | 315.1821
Commercialisation&Construction | HNIP forecast capex where commercialisation & construction funding applied for | 443.69
GHNF | GHNF forecast capex | 1181.4
Commercialisation / DPD | HNDU Commercialisation (in progress) / DPD (complete) | 129.05
Feasibility | HNDU Feasibility (complete) | 545.76
Heat mapping and masterplanning | HNDU Heat mapping and masterplanning (complete) | 39.96
Total Capex |  | 2655.0421
NOT ACTIVELY PURSUED |  | £m
Commercialisation / DPD | Commercialisation (in progress) / DPD (complete) | 66.91
Feasibility | Feasibility (complete) | 386.16
Heat mapping and masterplanning | Heat mapping and masterplanning (complete) | 171.1
Total currently not pursued |  | 624.17
Combined total capex |  | 3279.2121