## Dft-ael-eds
Manufacturer | Model | Hardware | Detection Algorithm | Auxiliary Software | Auxiliary Hardware | CONOPS | Hold Baggage | Cargo | Standard | Date Approved | Notes
Analogic | SeleCT | 10-79611-02 | 12.02.30 |  | N/A | 16-120373 | Yes | Yes | 3.1 | 2025-07-15
Leidos (Previously: L3 Technologies Inc.) | MVT HR | 1000-10001-HR | 6.5.2Eg n200 | 5.3.11 | No Tray |  | Yes | Yes | 2 | 2012-04-17
Leidos (Previously: L3 Technologies Inc.) | eXaminer 3DX | Part no: 200001 | 112.3 | 8.2 | No Tray |  | Yes | Yes | 3 | 04/09/2012
Leidos (Previously: L3 Technologies Inc.) | eXaminer 3DX | Part no: 200001 | 112.3 | 7.1 | No Tray |  | Yes | Yes | 3 | 07/11/2012
Leidos (Previously: L3 Technologies Inc.) | eXaminer 3DX | eXaminer 3DX | 112.5 | 10.1 | No Tray |  | Yes | Yes | 3 | 12/07/2013
Leidos (Previously: L3 Technologies Inc.) | eXaminer 3DX-ES | 1000-11700-00 | 112.3 | 8.2 | No Tray |  | Yes | Yes | 3 | 27/12/2011
Leidos (Previously: L3 Technologies Inc.) | eXaminer 3DX-ES | 200001 | 112.5 | 10.1 | No Tray |  | Yes | Yes | 3 | 19/11/2013
Leidos (Previously: L3 Technologies Inc.) | eXaminer SX | 10-64987-01 | 5.11 | 01.01 | No Tray |  | Yes | Yes | 3 | 03/08/2011
Leidos (Previously: L3 Technologies Inc.) | eXaminer SX | 10-64987-01 | 5.14 | 06 | No Tray |  | Yes | Yes | 3 | 19/11/2013
Leidos (Previously: L3 Technologies Inc.) | eXaminer XLB | 10-70500-01 | 06.17 | 0.45 | No Tray |  | Yes | Yes | 3 | 27/05/2011
Leidos (Previously: L3 Technologies Inc.) | eXaminer XLB | 10-70500-01 | 06.17 | 04 | No Tray |  | Yes | Yes | 3 | 04/03/2013
Leidos (Previously: L3 Technologies Inc.) | eXaminer XLB | 10-70500-01 | 06.27 | 04 | Tray: Crisplant - CrisBag® V5 SBT, Art. N°: 7308972 |  | Yes | Yes | 3 | 24/02/2015
Leidos (Previously: L3 Technologies Inc.) | MV3D | 1000-10001-D1 | 7.6.2 L200 7.6.2 S200 | 1.0 | No Tray |  | Yes | Yes | 3 | 19/11/2013
Leidos (Previously: L3 Technologies Inc.) | MV3D | 1000-10001-D1 | 8.0.3 S200 | N/A | No Tray |  | Yes | Yes | 3 | 23/05/2014
Leidos (Previously: L3 Technologies Inc.) | MV3D | 1000-10001-D1 | 8.4.6 L200 |  | Tray: Vanderlande SBT, Item No. 011505-890-00001 |  | Yes | Yes | 3 | 08/10/2015
Leidos (Previously: L3 Technologies Inc.) | MV3D | 1000-10001-D1 | 8.5.2 L200 |  | Tray: Crisplant CrisBag V5 SBT, Art. N° 7308972 |  | Yes | Yes | 3 | 25/10/2016
Leidos (Previously: L3 Technologies Inc.) | MV3D | 1000-10001-D1 | 8.5.4 L200 |  | Tray: Fraport AG, Art. N° M020745 |  | Yes | Yes | 3 | 29/11/2016
Leidos (Previously: L3 Technologies Inc.) | MV3D | 1000-10001-D2 | 8.9.4 N200 |  | No Tray |  | Yes | Yes | 3 | 12/06/2017
Leidos (Previously: L3 Technologies Inc.) | MV3D | 1000-10001-D1 | 8.9.6 L200 |  | Tray: Crisplant CrisBag V5 LBT, Art. N° 7308974 |  | Yes | Yes | 3 | 12/06/2017
Leidos (Previously: L3 Technologies Inc.) | MV3D | 1000-10001-D1 | 9.1.2 L200 |  | Tray: Vanderlande, Item No. 001036-241-00002 |  | Yes | Yes | 3 | 20/02/2018
Leidos (Previously: L3 Technologies Inc.) | MV3D | 1000-10001-D1 | 9.0.4 S200 |  | Tray: Crisplant CrisBag® V3 SBT, Art. No. 400B767 |  | Yes | Yes | 3 | 20/02/2018
Leidos (Previously: L3 Technologies Inc.) | MV3D | 1000-10001-D1 | 9.0.4 S100 9.0.5 S100 |  | No Tray |  | Yes | Yes | 3 | 20/02/2018
Leidos (Previously: L3 Technologies Inc.) | MV3D | 1000-10001-D1 | 9.7.5 L100 |  | No Tray |  | Yes | Yes | 3.1 | 27/02/2019
Leidos (Previously: L3 Technologies Inc.) | MV3D | 1000-10001-D2 | 10.1.2 H100 |  | No Tray |  | Yes | Yes | 3.1 | 15/02/2021
Leidos (Previously: L3 Technologies Inc.) | MV3D | 1000-10001-D2 | 10.1.2 H100 |  | Tray: Leidos 1600mm (0190-40545-00) Tray: Big Bear BBF11012 (0190-40703-00) |  | Yes | Yes | 3 | 18/10/2023, 10/09/2024
Leidos (Previously: L3 Technologies Inc.) | eXaminer XLB | 10-70500-01 | 6.26 | 6.33 | No Tray |  | Yes | No | 3 | 2025-05-23
Nuctech | XT2080 | XT2080 | DPC 1.1 EDS 1.1 |  | No Tray |  | Yes | Yes | 3 | 04/09/2012
Nuctech | XT2080AD | XT2080AD DHV 1.0 | OIS V2.0.004 Algorithm V3.1.18 OIS V2.0.008 Algorithm V3.1.18 |  | No Tray | V1.2 | Yes | Yes | 3 | 05/06/2015 and 12/10/2017 (Configuration changes)
Nuctech | XT2100 | XT2100 DHV 1.0 | OIS V2.0.004 Algorithm V3.1.22 OIS V2.0.008 Algorithm V3.1.22 OIS V2.0.004 Algorithm V3.1.23 OIS V2.0.008 Algorithm V3.1.23 |  | No Tray | V1.2 | Yes | Yes | 3 | 23/11/2015 and 12/10/2017 (Configuration changes)
Nuctech | XT2100-R | XT2100-R DHV 1.0 | Algorithm V3.1.27 |  | Beumer CrisBag V5 SBT Art No. 7308972 Vanderlande tote No. 011505-393-00001 | V1.0 | Yes | Yes | 3 | 12/10/2017 30/09/2022* *Correction of entry
Nuctech | WooKong H | WooKong H DHV 2.0 | V3.1.47 |  | No Tray | V2.0 (30-11-2020) | Yes | Yes | 3.0 | 03/07/2021
Nuctech | XT2100HS | XT2100HS | OIS V2.0.008 Algorithm V3.1.24 |  | No Tray | V1.0 | Yes | Yes | 2 | 2016-10-25
Nuctech | XT2100HS | XT2100HS DHV 1.0 XT2100HS DHV 1.1 | OIS V2.0.008 Algorithm V3.1.26 |  | No Tray | XT2100HS CONOPS v4.0 | Yes | Yes | 3 | 29/11/2016 14/12/2018(CC) 30/09/2022(CC)
Nuctech | XT2100HS | XT2100HS DHV 1.0 XT2100HS DHV 1.1 | Algorithm V3.1.27 |  | Vanderlande Assy Carrier No. 001036-241- 00002 | XT2100HS CONOPS v4.0 | Yes | Yes | 2 | 12/10/2017 14/12/2018(CC) 30/09/2022(CC)
Nuctech | XT2100HS | XT2100HS DHV 1.0 XT2100HS DHV 1.1 | Algorithm V3.1.27 |  | Beumer CrisBag V5 SBT Art No. 7308972 Vanderlande tote No. 011505-393-00001 | XT2100HS CONOPS v4.0 | Yes | Yes | 3 | 12/10/2017 14/12/2018(CC) 30/09/2022(CC) 30/09/2022(CE)
Nuctech | XT2100HS | XT2100HS DHV 1.0 XT2100HS DHV 1.1 | V3.1.28.2 |  | No Tray | XT2100HS CONOPS v4.0 | Yes | Yes | 3.1 | 12/10/2017 14/12/2018(CC) 30/09/2022(CC)
Nuctech | XT2100HS | XT2100HS DHV 1.0 XT2100HS DHV 1.1 | Algorithm V3.1.30 Algorithm V3.1.31 |  | No Tray | CONOPS XT2100HS v4.0 | Yes | Yes | 3.1 | 12/11/2019 30/09/2022(CC)
Nuctech | XT2100HS | XT2100HS DHV 1.0 | Algorithm V3.1.32 |  | No Tray | Vanderlande 001036-241-00002 XT2100HS_CONOPS_v3.5_20181128 | Yes | Yes | 2 | 25/07/2019 30/03/2022(CE)
Nuctech | XT2100HS | XT2100HS DHV 1.0 | Algorithm V3.1.32 |  | AENA.MAD-01 | XT2100HS_CONOPS_v3.5_20181115 | Yes | Yes | 3 | 25/07/2019 30/03/2022(CE) 30/09/2022(CE)
Nuctech | XT2100HS | DHV 1.1 | Algorithm v3.1.36 |  | Daifuku (P/N BTSP0007001C) | CONOPS XT2100HS v4.0 | Yes | Yes | 3.1 | 17/02/2020 28/04/2020(CE) 30/09/2022(CC)
Nuctech | XT2100HS | XT2100HS DHV 1.0 XT2100HS DHV 1.1 | Algorithm v3.1.37 |  | Beumer CrisBag V5 SBT Art No. 7308972 Vanderlande Tote 850 (P/N 011505-393- 00001) Vanderlande Assy Carrier (P/N 001036-241- 00002) | CONOPS XT2100HS v4.0 | Yes | Yes | 3.1 | 08/06/2020 30/09/2022(CE) 30/09/2022(CC)
Nuctech | XT2100HS | XT2100HS DHV 1.1 | V3.1.38 |  | AENA.MAD-01 | XT2100HS_CONOPS_v3.5_20181115 | Yes | Yes | 3.1 | 13/04/2022 30/09/2022(CE)
Nuctech | XT2100Ti | XT2100Ti DHV 1.0 | Algorithm V3.1.35 |  | No tray Vanderlande 001036-241-00002 | XT2100Ti_CONOPS_v1.0_20181128 | Yes | Yes | 2 | 25/07/2019 30/03/2022(CE)
Nuctech | XT2100HS | DHV 1.1 | Algorithm V3.1.39 |  | Vanderlande (P/N 011505-706-00001) | CONOPS XT2100HS v4.0 | Yes | Yes | 3.1 | 08/06/2020 30/09/2020(CE) 30/09/2022(CE) 30/09/2022(CC)
Nuctech | XT2100HS | DHV 1.1 | V3.1.40 |  | Beumer CrisBag V3 SB art.no.419B629.XXX | CONOPS XT2100HS v4.0 | Yes | Yes | 3.1 | 08/06/2020 30/09/2020(CE) 30/09/2022(CE) 30/09/2022(CC)
Nuctech | XT2100HS | XT2100HS DHV 1.1 | V3.1.51 |  | No tray | XT2100HS CONOPS v4.0 | Yes | Yes | 3.1 | 22/07/2022 30/09/2022(CC)
Nuctech | XT2100HS | XT2100HS DHV 1.1 | V3.1.56 |  | Tray: AENA.SPC-01 | XT2100HS V3.5a | Yes | Yes | 3.1 | 2023-01-12
Nuctech | XT2100HS | XT2100HS DHV 1.1 | V3.1.57 |  | Tray: Siemens (80 2002 514) | XT2100HS V3.5a | Yes | Yes | 3.1 | 2023-01-12
Nuctech | XT2100HS | XT2100HS DHV 3.0 | V3.1.58 |  | No tray | XT2100HS CONOPS v4.0 | Yes | Yes | 3.1 | 2023-04-11
Nuctech | XT2100L | XT2100L DHV 1.0 | V3.1.58 |  | No tray | XT2100L v1.0 | Yes | Yes | 3.1 | 2023-04-11
Nuctech | WooKong H | WooKong H DHV 2.1 | V3.1.60 |  | Vanderlande SBT (P/N: 001036-103-00001) | V3.0 | Yes | Yes | 3.1 | 10/11/2023
Nuctech | WooKong H | WooKong H DHV 2.1 | V3.1.61 |  | Vanderlande OBT (P/N: 001036-278-00001) | V3.0 | Yes | Yes | 3.1 | 10/11/2023
Nuctech | WooKong H | WooKong H DHV 2.1 | V3.1.62 |  | No Tray | V3.0 | Yes | Yes | 3.1 | 10/11/2023
Nuctech | WooKong H | WooKong H DHV 2.0 | V3.1.49 |  | No Tray | V2.0 (30-11-2020) | Yes | Yes | 3.1 | 03/07/2021
Rapiscan | MVXR 5000 | MVXR5000-Mk4 | 6.3 |  | No Tray |  | Yes | Yes | 2 | 2012-04-18
Rapiscan | RTT110 | RTT110 | 1.0.22 | 8.13 | No Tray |  | Yes | Yes | 3 | 14/05/2013
Rapiscan | RTT110 | RTT110 | 1.0.24 | 8.13 | No Tray |  | Yes | Yes | 3 | 21/02/2014
Rapiscan | RTT110 | RTT110 | 1.0.47 | 8.14 | Bigbear Tray (ref: BFF11012) |  | Yes | Yes | 3 | 15/07/2019
Rapiscan | RTT110 | RTT110 | EDS v.1.4.04 | 8.14 | No Tray |  | Yes | Yes | 3.1 | 17/02/2020
Rapiscan | RTT110 | RTT110 | EDS v.1.0.50 | 8.14 | No tray Daifuku Logan BTSP0007001A BigBear BBF11012 |  | Yes | Yes | 3 | 27/01/2021
Rapiscan | RTT110 | RTT110 | EDS 1.0.64 | 8.14 | Tray: Beumer Crisbag V5 SBT No. 7308972 Tray: Vanderlande OBT Tote No. 001036-278-00001 |  | Yes | Yes | 3.0 | 14/05/2021
Rapiscan | RTT110 | D05926 | 1.0.67 | 8.14 | - No tray - HKIA Utility tray Rapiscan P/N 101038931 - Rapiscan Standard Utility tray P/N 101049996 - Utz Bekon tray 3-122.7000.xxxx - TTP 238/959 tray Rapiscan P/N 101038932 - Daifuku Logan tray BTSP0007001A - Big Bear tray BBF11012 | RTT ECAC ConOps V1.0 8 Sept 2020 | Yes | Yes | 3 | 21/12/2021 09/06/2023(CC) 09/06/2023(CE)
Rapiscan | RTT110 | RTT110 | EDS 1.0.67 | 8.14 | Beumer Crisbag V5 SBT No. 7308972 | RTT110 ECAC ConOps V1.0 8 Sept 2020 | Yes | Yes | 3 | 2023-06-09
Rapiscan | RTT80 | RTT80 | 1.0.12 | 7.02 | No Tray |  | Yes | Yes | 3 | 18/04/2012
Reveal Imaging Technologies | CT-120 | CT-120 | 5.20.3.5 5.20.3.3 |  | No Tray | P/N 81080 Revision3 Draft | Yes | Yes | 3 | 21/02/2014
Reveal Imaging Technologies | CT-120 | CT-120 | 5.20.3.11 5.20.3.12 5.20.3.13 |  | No Tray | P/N 81080 Revision3 Draft | Yes | Yes | 3 | 10/02/2016
Reveal Imaging Technologies | CT80DR | CT80DR | 4.2.14 | 5.3.0.123 | No Tray |  | Yes | Yes | 3 | 07/07/2010
Smiths Detection | HI-SCAN 10080 EDtS | HS 10080 EDtS | 02-51-09 |  | No Tray |  | Yes | Yes | 2 | 2009-11-23
Smiths Detection | HI-SCAN 10080 EDtS | HS 10080 EDtS | 07-32-09 |  | No Tray |  | Yes | Yes | 2 | 2013-11-19
Smiths Detection | HI-SCAN 10080 EDX- 2is | HS 10080 EDX-2is | 05-80-09 |  | No Tray |  | Yes | Yes | 2 | 2010-10-05
Smiths Detection | HI-SCAN 10080 EDX- 2is | HS 10080 EDX-2is | 06-41-09 |  | No Tray |  | Yes | Yes | 2 | 2014-02-21
Smiths Detection | HI-SCAN 7555 aTiX | HS 7555 aTiX | 06-41-09 |  | No Tray |  | Yes | Yes | 2 | 2011-10-05
Smiths Detection | HI-SCAN 10080 XCT | HS 10080 XCT | 07-20-09 |  | No Tray |  | Yes | Yes | 3 | 17/05/2013
Smiths Detection | HI-SCAN 10080 XCT | HS 10080 XCT | 08-27-16 |  | Tray: Crisplant Material n°: CrisBag® V5 SBT 507B595.XXX, Art. n°: 7308972 Tray: Crisplant Material n°: CrisBag® V5 LBT 507B596.XXX, Art. n°: 7308974 Tray: Vanderlande Material n°: 011505-393-00001 Tray: Vanderlande Material n°: 011505-890-00001 Tray: FRAPORT Material n°: M020745 |  | Yes | Yes | 3 | 14/08/2014
Smiths Detection | HI-SCAN 10080 XCT | HS 10080 XCT | 09-21-09 |  | Tray: BigBear BBF11012 |  | Yes | Yes | 3 | 12/06/2017
Smiths Detection | HI-SCAN 10080 XCT | HS 10080 XCT | 09-21-09 |  | No Tray |  | Yes | Yes | 3 | 20/02/2018
Smiths Detection | HI-SCAN 10080 XCT | HS 10080 XCT | 09-47-17 |  | No Tray |  | Yes | Yes | 3.1 | 20/02/2018
Smiths Detection | HI-SCAN 10080 XCT | HS 10080 XCT | 09-21-09 |  | Tray: Vanderlande Ref: 001036-241-00002 Tray: Vanderlande Ref: 001036-103-00001 |  | Yes | Yes | 3 | 14/12/2018 18/06/2021 Configuration Change
Smiths Detection | HI-SCAN 10080 XCT | HS 10080 XCT | 07-05-00 |  | No Tray | CT only detection and LS " mode or "CT only detection" mode. | Yes | Yes | 3 | 04/09/2012 And 12/11/2019 (Configuration changes) 18/04/2025 (configuration changes)
Smiths Detection | HI-SCAN 10080 XCT | HS 10080 XCT | 08-28-19 |  | Tray: Crisplant CrisBag NG Tray V3 - part n°: 400B767 and 419B629 |  | Yes | Yes | 3 | 23/11/2015 and 20/02/2018 (Configuration changes)
Smiths Detection | HI-SCAN 10080 XCT | HS 10080 XCT | 09-63-09 |  | Tray : AENA.MAD-001 No tray |  | Yes | Yes | 3.1 | 25/03/2020
Smiths Detection | HI-SCAN 10080 XCT | HS 10080 XCT | 09-63-09 |  | Tray: Beumer CrisBag NG Tray V3 (P/N 419B629) Tray: Beumer CrisBag V5 LBT (P/N 507B596) |  | Yes | Yes | 3 | 2023-01-12
Smiths Detection | HI-SCAN 10080 XCT | HS 10080 XCT | 10-32-00 |  | Tray: AENA.MAD-001 Tray: Vanderlande Ref: 001036-103-00001 No Tray |  | Yes | Yes | 3.1 | 11/04/2023 18/04/2025
Smiths Detection | HI-SCAN 10080 XCT | HS 10080 XCT | 10-33-00 |  | Tray: Beumer CrisBag NG Tray V3 (P/N 419B629) Tray: Beumer CrisBag V5 LBT (P/N 507B596) Tray: Vanderlande Wanne Leipzig |  | Yes | Yes | 3.1 | 2023-08-31
Smiths Detection | HI-SCAN 10080 XCT | HS 10080 XCT | 10-34-00 |  | Tray: Siemens Logistics S-Tray, No.80.2002.514-00, Rev. G and H Tray: Beumer CrisBag 5 SBT Antistatic (P/N 7325131) Tray: Beumer CrisBag 5 LBT Antistatic (P/N 7325132) |  | Yes | Yes | 3.1 | 2024-11-08
Smiths Detection | HI-SCAN 10080 XCT | HS 10080 XCT | 10-40-00 |  | Tray: Bare-on-belt Tray: Vanderlande P/N 001036-241-00002 Tray: AENA.MAD-001 Tray: Beumer CrisBag NG Tray V3 |  | Yes | Yes | 3.1 | 2025-05-29
Smiths Detection (Previously: Morpho Detection) | CTX 5500 DS | CTX 5500 | Inspection: p 17_0_0 Reconstruction: trecon 3.0.0 |  | No Tray |  | Yes | Yes | 3 | 26/04/2012
Smiths Detection (Previously: Morpho Detection) | CTX 5800 | CTX 5800 | Inspection: 5800 ECAC SB CB 2.17.7 Reconstruction: 3.1.2 |  | No Tray |  | Yes | Yes | 3 | 24/06/2011
Smiths Detection (Previously: Morpho Detection) | CTX 5800 | CTX 5800 with Checkerboard | Inspection: 5800 ECAC SB CB 2.18.6 Reconstruction: 5800 CB 4.0.1 |  | No Tray |  | Yes | Yes | 3 | 10/04/2013
Smiths Detection (Previously: Morpho Detection) | CTX 5800 | CTX 5800 with Checkerboard | Inspection: 5800 ECAC SB CB 2.18.13 Inspection: 5800 ECDMD SB CB 2.18.13 Reconstruction: 5800 CB 4.0.1 SC |  | No Tray |  | Yes | Yes | 3 | 19/11/2013
Smiths Detection (Previously: Morpho Detection) | CTX 5800 | CTX 5800 | Inspection: 5800 ECAC SB EDM 3.0.16 Reconstruction: 9.1.1 Recon Post: 9.1.1 |  | No Tray |  | Yes | Yes | 3 | 25/10/2016
Smiths Detection (Previously: Morpho Detection) | CTX 9400 Dsi | CTX 9400 | Inspection: GInsp_2.3.0 ECACa Reconstruction: Recon_2.0.2 |  | No Tray |  | Yes | Yes | 3 | 25/04/2011
Smiths Detection (Previously: Morpho Detection) | CTX 9800 Dsi | CTX 9800 High-Speed Configuration | Inspection: 9800 ECAC HS CB 2.18.1 Reconstruction: 3.3.0 |  | No Tray |  | Yes | Yes | 3 | 18/04/2012
Smiths Detection (Previously: Morpho Detection) | CTX 9800 DSi | CTX 9800 High-Speed with Checkerboard | Inspection: 9800 ECAC HS CB 2.18.6 Reconstruction: 9800 CB 4.0.1 |  | No Tray |  | Yes | Yes | 3 | 10/04/2013
Smiths Detection (Previously: Morpho Detection) | CTX 9800 DSi | CTX 9800 High-Speed with Checkerboard | Inspection: 9800 ECAC HS CB 2.18.17 Reconstruction: 9800 CB HS 4.0.1 SC |  | No Tray |  | Yes | Yes | 3 | 21/02/2014
Smiths Detection (Previously: Morpho Detection) | CTX 9800 DSi | CTX 9800 High-Speed with Checkerboard Modified 605577-1, per DW 1365.2 | Inspection: 9800 ECDMD HS CB 2.18.18 Reconstruction: 9800 CB HS 4.0.1 SC |  | No Tray |  | Yes | Yes | 3 | 21/02/2014
Smiths Detection (Previously: Morpho Detection) | CTX 9800 DSi | MD Checkerboard HS Configuration | Inspection: 9800 ECDMD HS CB 3.0.5 Recon Prep: LibPrep 9800 HS CB DMA 6.0.0 Reconstruction: LibRecon 9800 HS CB DMA 6.0.2 |  | No Tray Tray: Vanderlande long 011531-727-00001 Tray: Beumer / Crisplant 7308972 |  | Yes | Yes | 3 | 05/06/2015
Smiths Detection (Previously: Morpho Detection) | CTX 9800 DSi | MD Checkerboard HS Configuration | Inspection: 9800 ECAC HS CB 3.0.5 Reconstruction: LibRecon 9800 HS CB DMA 8.0.0 and DMA 8.0.2 Recon Post: Postproc SC 8.0.0 |  | No Tray |  | Yes | Yes | 3 | 23/11/2015
Smiths Detection (Previously: Morpho Detection) | CTX 9800 DSi | MD Checkerboard HS Configuration | Inspection: 9800 ECDMD HS CB 3.0.5 Reconstruction: LibRecon 9800 HS CB DMA 8.0.0 and DMA 8.0.2 Recon Post: Postproc SC 8.0.0 |  | No Tray |  | Yes | Yes | 3 | 23/11/2015
Smiths Detection (Previously: Morpho Detection) | CTX 9800 DSi | MD Checkerboard HS Configuration | Inspection: 9800 ECDMD HS CB 3.0.5 Reconstruction: LibRecon 9800 HS CB DMA 8.0.0 and DMA 8.0.2 Recon Post: Postproc SC TUB 8.0.0 |  | Tray: Beumer / Crisplant 400B767 |  | Yes | Yes | 3 | 23/11/2015
Smiths Detection (Previously: Morpho Detection) | CTX 9800 DSi (0.3 m/s configuration) | CTX 9800 DSi (0.3 m/s configuration) | Inspection: ECAC HS EDM 3.1.4 Reconstruction: 9.2.0 Recon Post: 9.3.3 |  | No Tray |  | Yes | Yes | 3 | 12/10/2018
Smiths Detection (Previously: Morpho Detection) | CTX 9800 DSi (0.5 m/s configuration) | 1003589-02 | Inspection: 9800 ECAC UHS EDM 3.0.18 Reconstruction: 9.2.0 Recon Post: 9.2.0 |  | No Tray |  | Yes | Yes | 3 | 29/11/2016
Smiths Detection (Previously: Morpho Detection) | CTX 9800 DSi (0.5 m/s configuration) | 1003589-03 | Inspection: 9800 ECAC UHS EDM 3.1.17 Reconstruction: 9.2.0 Recon Post: 9.2.0 |  | No Tray |  | Yes | Yes | 3 | 14/03/2018
Smiths Detection (Previously: Morpho Detection) | CTX 9800 DSi (0.5 m/s configuration) | 1003589-03 | Inspection: 9800 ECAC UHS EDM 3.2.0 9800 ECAC UHS EDM 3.2.1 Reconstruction: 9.2.0 Recon Post: 9.2.0 |  | No Tray |  | Yes | Yes | 3 | 31/05/2018
Smiths Detection (Previously: Morpho Detection) | CTX 9800 DSi (0.5 m/s configuration) | CTX 9800 DSi (0.5 m/s configuration) | Inspection: 9800 ECAC UHS EDM 3.1.17 Reconstruction: 9.2.0 Recon Post: 9.3.6 |  | VANDERLANDE tray (Ref: 001036-241-00002) |  | Yes | Yes | 3 | 14/12/2018
Smiths Detection (Previously: Morpho Detection) | CTX 9800 DSi (0.5 m/s configuration) | CTX 9800 DSi Comet x-ray tube (0.5 m/s configuration) | Inspection: 9800 ECDMD UHS EDM 3.6.0 Reconstruction: 9.2.0 Recon Post: 9.2.0 |  | No Tray |  | Yes | Yes | 3.1 | 27/02/2019
Smiths Detection (Previously: Morpho Detection) | CTX 9800 DSi (0.5 m/s configuration) | CTX 9800 DSi Comet x-ray tube (0.5 m/s configuration) | Inspection: 9800 ECDMD UHS EDM 3.6.2 Reconstruction: 9.2.0 Recon Post: 9.2.0 |  | No Tray |  | Yes | Yes | 3.1 | 26/03/2020
Smiths Detection (Previously: Morpho Detection) | XRD 3500 | Varian MCS-7074A X-Ray Tube CANBERRA Germanium Detector | Library “ECAC” -Nr 8.2.2.2 |  | No Tray |  | Yes | Yes | 3 | 16/04/2010
Updates to 26/02/2026