## AEL-EDSCB
Manufacturer	Model	Hardware	Detection Algorithm	Auxiliary Hardware	CONOPS	Standard	Approval Date	Comments
Analogic	ConneCT	ConneCT	9.04	Scarabee tray (P/N 21-06027-01)	16-01519 Rev.00-2016	C2	20/9/2017 / *05/02/2021 / *Correction of entry
Analogic	ConneCT	ConneCT	9.07	Scarabee tray (P/N 21-06027-01)	16-01519 Rev.00-2016	C2	23/3/2018 / *05/02/2021 / *Correction of entry
Analogic	ConneCT	ConneCT	9.07	Herbert tray (P/N 42112482)	16-01519 Rev.03-2018	C2	20/12/2018 / *05/02/2021 / *Correction of entry
Analogic	ConneCT	ConneCT	9.11	Vanderlande tray (P/N 095527-727)	16-01519 Rev.03-2018	C2	20/12/2018 / *05/02/2021 / *Correction of entry
Analogic	ConneCT	ConneCT	9.15.01	Herbert tray (P/N 42112482) / Vanderlande tray (P/N 095527-727) / MacDonald Humfrey tray (P/N 12043-SLT)	16-01519 Rev.03-2018	C2	04/03/2019 / *05/02/2021 / *Correction of entry
Analogic	ConneCT	ConneCT	v9.17.01	Viewing station (P/N 10-79037-00) / Vanderlande tray (P/N 095527-727)	16-01519 Rev.03-2018	C3	04/03/2019 / 14/03/2023 (CE)
Analogic	ConneCT	ConneCT	9.17.02	Herbert tray (P/N 42112482) / MacDonald Humfrey tray (P/N 12043-SLT)	16-01519 Rev.03-2018	C3	04/03/2019 / *05/02/2021 / *Correction of entry
Analogic	ConneCT	ConneCT	9.19.04	Herbert (P/N 42112482) / MacDonald Humfrey (P/N 12043-SLT) / Vanderlande (P/N 095527-727)	16-01519-rev03-2018	C3	29/11/2019 / *05/02/2021 / *Correction of entry
Analogic	ConneCT	ConneCT	v9.23.05	Herbert tray (P/N 101019470) / Analogic Tray P/N 103-127378-03	16-01519 Rev.03-2018	C3	12/03/2024 / 24/02/2021
Analogic	ConneCT	ConneCT	v9.21.09	Vanderlande tray (P/N 095527-727)	16-01519 Rev.03-2018	C3	24/02/2021
Analogic	ConneCT	ConneCT	v9.23.04	MacDonald Humfrey (P/N 12043-SLT) / Analogic Tray P/N 103-127378-03 Cassioli, P/N S030012FPLT Tray	16-01519 Rev.03-2018	C3	12/03/2024 / 24/02/2021
Gilardoni	FEP ME 640 AMX	37548400-001	3AUE0294-005	Gilardoni Tray (P/N 55203181)	37640500-001 / 37640500-004	C1	23/03/2018 / CCM (04/02/2021)
SureScan (Previously: IDSS Holdings Inc.)	Detect 1000	1000A100001, 200-0143-00	200.3.0	Scarabee tray: SSL01_XA001_NH / MacDonald Humfrey tray (P/N 12043-SLT)	CONOPS 1 SRT	C2	06/06/2017, edited 30/08/2024 to add 200-0143-00
SureScan (Previously: IDSS Holdings Inc.)	Detect 1000	1000A100001, 200-0143-00	201.1.1	MacDonald Humfrey tray: 12043-SLT / Scarabee tray SSL01_XA001_NH	Detect 1000 user guide Revision 3.0	C2	24/01/2018 edited 30/08/2024 to add 200-0143-00
SureScan (Previously: IDSS Holdings Inc.)	Detect 1000	1000A100001, 200-0143-00	205.0.0	MacDonald Humfrey tray: 12043-SLT / Scarabee tray SSL01_XA001_NH	Detect 1000 user guide Revision 3.0	C2	19/10/2018 / *26/10/2018 / *Correction of entry, 30/08/2024 to add 200-0143-00
SureScan (Previously: IDSS Holdings Inc.)	Detect 1000	1000A100001, 200-0143-00	314.0.1	MacDonald Humfrey tray: 12043-SLT / Scarabee tray SSL01_XA001_NH	Detect 1000 user guide Revision 3.0	C3	19/10/2018 / *26/10/2018 / *Correction of entry, 30/08/2024 to add 200-0143-00
SureScan (Previously: IDSS Holdings Inc.)	Detect 1000	1000A100001, 200-0143-00	326.0.0	VanDerLande Bandeja Scannojet	Mfg. No. 1000D1000v4.0	C3	15/07/2019, 30/08/2024 to add 200-0143-00
SureScan (Previously: IDSS Holdings Inc.)	Detect 1000	1000A100001, 200-0143-00	326.0.0	OneTray Tray (P/N OT_VAS007) / OneTray (P/N OT-VAS013) / OneTray (P/N OT-VAS015) / OneTray (P/N OT-VAS016)	IDSS_REP-077_Detect1000_ConOps_Rev0	C3	25/03/2020 / CCM (22/09/2020) / *19/03/2021 / *Correction of entry, 30/08/2024 to add 200-0143-00
SureScan (Previously: IDSS Holdings Inc.)	Detect 1000	1000A100001, 200-0143-00	329.0.0	Herbert tray (P/N 91280AS)	Mfg. No. 1000D1000v4.0	C3	20/01/2021, 30/08/2024 to add 200-0143-00
SureScan (Previously: IDSS Holdings Inc.)	Detect 1000	1000A100001, 200-0143-00	332.1.0	Cassioli tray (P/N S030012FPLT) / WO tray (P/N W-280819-000)	IDSS_REP-077_Detect1000_ConOps_Rev0	C3	20/01/2021, 30/08/2024 to add 200-0143-00
Leidos / (Previously: L3 Technologies Implant Sciences Corporation)	ClearScan	1000-10001-CS	EDS_1.2.5	Scarabee tray: SSL01_XA001_NH / MacDonald Humfrey tray (P/N 12043-SLT) / Herbert tray 91280AS	8100-26282-OM	C2	06/06/2017
Leidos / (Previously: L3 Technologies Implant Sciences Corporation)	ClearScan	1000-10001-CS	EDS_1.4.14	Herbert tray: 91280AS	8100-26282-OM	C3	24/01/2018
Leidos / (Previously: L3 Technologies Implant Sciences Corporation)	ClearScan	1000-10001-CS	EDS_1.4.15	Scarabee tray: SSL01_XA001_NH	8100-26282-OM	C3	24/01/2018
Leidos / (Previously: L3 Technologies Implant Sciences Corporation)	ClearScan	1000-10001-CS	EDS_1.4.18	MacDonald Humfrey tray: 12043-SLT	8100-26282-OM	C3	24/01/2018
Leidos / (Previously: L3 Technologies Implant Sciences Corporation)	ClearScan	1000-10001-CS	EDS_1.4.25	Scarabee tray (P/N SSL01_XA001_NH) / MacDonald Humfrey tray: (P/N 12043-SLT)	8100-26282-OM	C3	20/12/2018
Leidos / (Previously: L3 Technologies Implant Sciences Corporation)	ClearScan HS	1000-10001-CSU	EDS-1.4.33	Vanderlande tray (P/N 095527-727)	8100-34802-OM	C3	10/06/2020 / *19/03/2021 / *Correction of entry
Leidos / (Previously: L3 Technologies Implant Sciences Corporation)	ClearScan HS	1000-10001-CSU	EDS-1.4.41	MacDonald Humfrey tray (P/N 12043-SLT)	8100-34802-OM	C3	10/06/2020 / *19/03/2021 / *Correction of entry
Leidos / (Previously: L3 Technologies Implant Sciences Corporation)	ClearScan HS	1000-10001-CSU	EDS-1.4.42	Scarabee tray (P/N SSL01_XA001_NH)	8100-34802-OM	C3	10/06/2020 / *19/03/2021 / *Correction of entry
Nuctech	Kylin	DHV 1.0	v3.5.7 / v3.5.9	Scannojet Tray v4: P10128 revA	v1.0	C1	24/01/2018
Nuctech	CX6040D	CX6040D	Eda V1.0.0	NUC680 tray (P/N v1) / Vanderlande Scannojet tray v4 (Model: P10128 RevA)	CONOPS CX6040D V1.0	C1	19/10/2018
Nuctech	CX6040D	CX6040D	Eda V1.0.4	Cassioli tray (P/N S030008FPLT) / NUC680 tray (P/N V2) / NUC680 tray (P/N V3)	CONOPS CX6040D V1.0	C1+	01/01/2023 (14/01/2023 - C1)
Nuctech	CX6040D	CX6040D	Eda V1.0.0	OneTray (P/N VAS021) / MacDonald Humfrey tray (12043-SLT) / NUC680 tray (P/N v5)	CONOPS_CX6040D_V1.0_EDSCB	C1	20/12/2021
Nuctech	Kylin MV	DHV 1.0	v7.0.3	NUC680 tray (P/N v1) / Vanderlande Scannojet Tray v4 (Model: P10128 revA)	v1.0	C2	04/03/2019
Nuctech	Kylin MV	DHV 1.0	v7.0.5	NUC680 tray (P/N v3)	Kylin MV_CONOPS_v1.0	C2+	01/01/2023 (20/12/2021 - C2)
Nuctech	Kylin Ti	DHV 1.0	v3.6.8	Nuctech NUC680 tray (P/N v1) / Vanderlande Scannojet tray (P/N 095527- / 727 / P10128 revA)	Kylin Ti CONOPS v3.0	C2	21/09/2022 / 03/06/2022
Nuctech	Kylin Ti	DHV 1.0	v3.6.10	Nuctech NUC680 tray (P/N v1)	Kylin Ti CONOPS v3.0	C3	20/12/2018 / 03/06/2022
Nuctech	Kylin Ti	DHV 1.0	v3.6.10	Vanderlande Scannojet tray v4 P10128 revA	Kylin Ti CONOPS v3.0	C3	04/03/2019 / 03/06/2022
Nuctech	Kylin Ti	DHV 1.0	v3.6.12	Nuctech NUC680 tray (P/N v3)	Kylin Ti CONOPS v1.2 / Kylin Ti CONOPS v3.0	C3	20/01/2021 / 03/06/2022
Nuctech	Kylin Ti	DHV 1.0	v3.6.13	Cassioli tray (P/N S030008FPLT)	Kylin Ti CONOPS v1.2 / Kylin Ti CONOPS v3.0	C3	20/01/2021 / 03/06/2022
Nuctech	Kylin Ti	DHV 2.0	V3.6.23	Alfyma tray (P/N RDBA18-PART-000-B) / Vanderlande Scannojet tray (P/N 095527-727 / / P10128 revA) / MacDonald Humfrey tray (P/N 12043-SLT)	Kylin Ti - CONOPS v1.2 (2019/07/03) / Kylin Ti CONOPS v3.0	C3	24/02/2021 / 03/06/2022
Nuctech	Kylin Ti	DHV 2.0	V3.6.25	NUC680 tray (P/N v3)	Kylin Ti CONOPS v1.2 / Kylin Ti CONOPS v3.0	C3	20/12/2021 / 03/06/2022
Nuctech	Kylin Ti	DHV 2.0	V3.6.27	Cassioli tray (P/N S030008FPLT)	Kylin Ti CONOPS v1.2 / Kylin Ti CONOPS v3.0	C3	20/12/2021 / 03/06/2022
Nuctech	CX7555D	CX7555D.A03N	EDA 1.0.2	NUCTECH NUC680 tray (P/N v3); / Vanderlande (Scannojet tray), 095527-727 (P10128 revA); / MacDonald Humfrey (12043-SLT).	CONOPS_CX7555D_EDSCB_V1.0_20190716	C1	25/03/2020
Nuctech	AX6040	A01N	EDA 3.0.2	NUC680 V3	v 1.0	C2	25/04/2025
Nuctech	AX6040	A01N	EDA 3.0.7	NUC680 V5	v 1.0	C2	25/04/2025
Rapiscan	620DV	620DV	4.517	MacDonald Humfrey tray (P/N 101005244)	D00370 Rev.1	C1	20/12/2018
Rapiscan	920CT	920CT	9.04	Scarabee tray (P/N 21-06027-01)	101014944 Rev 2	C2	28/05/2018 / *05/02/2021 / *Correction of entry
Rapiscan	920CT	920CT	9.07	Scarabee tray (P/N 21-06027-01)	101014944 Rev 2	C2	28/05/2018 / *05/02/2021 / *Correction of entry
Rapiscan	920CT	920CT	9.07	Herbert tray (P/N 42112482)	101014944 Rev 2	C2	20/12/2018 / *05/02/2021 / *Correction of entry
Rapiscan	920CT	920CT	9.11	Vanderlande tray (P/N 095527-727)	101014944 Rev 2	C2	20/12/2018 / *05/02/2021 / *Correction of entry
Rapiscan	920CT	920CT	9.15.01	Herbert tray (P/N 42112482) / Vanderlande tray (P/N 095527-727) / MacDonald Humfrey tray (P/N 12043-SLT)	101014944 Rev 2	C2	04/03/2019 / *05/02/2021 / *Correction of entry
Rapiscan	920CT	920CT	v9.17.01	Vanderlande tray (P/N 095527-727)	101014944 Rev 2	C3	04/03/2019 / *05/02/2021 / *Correction of entry
Rapiscan	920CT	920CT	9.17.02	Herbert tray (P/N 42112482) / MacDonald Humfrey tray (P/N 12043-SLT)	101014944 Rev 2	C3	04/03/2019 / *05/02/2021 / *Correction of entry
Rapiscan	920CT	920CT	9.19.04	Herbert tray (P/N 42112482) / MacDonald Humfrey tray (P/N 12043-SLT) / Vanderlande tray (P/N 095527-727)	101014944 Rev 2	C3	29/11/2019 / *05/02/2021 / *Correction of entry
Rapiscan	920CT	920CT	v9.23.05	Herbert tray (P/N 101019470) / Analogic Tray P/N 103-127378-03	101014944 Rev 2	C3	12/03/2024 / 24/02/2021
Rapiscan	920CT	920CT	v9.21.09	Vanderlande tray (P/N 095527-727)	101014944 Rev 2	C3	24/02/2021
Rapiscan	920CT	920CT	v9.23.04	MacDonald Humfrey (P/N 12043-SLT) / Analogic Tray P/N 103-127378-03 Cassioli, P/N S030012FPLT Tray	101014944 Rev 2	C3	12/03/2024 / 24/02/2021
Rapiscan	920DX	920DX	1.22	Herbert tray (P/N 42112482) / Vanderlande tray (P/N 095527-727) / MacDonald Humfrey tray (P/N 101005244)	D05150 rev1, 920DX ConOps EDSCB C1	C1	20/12/2021
Rapiscan	920DX	920DX	1.23	Herbert tray (P/N 42112482) / Vanderlande tray (P/N 095527-727)	D05150 rev1, 920DX ConOps EDSCB C1	C1+	01/01/2023 (20/12/2021 C1)
Rapiscan	920DX	920DX	1.25	MacDonald Humfrey tray (P/N 101005244)	D05150 rev1, 920DX ConOps EDSCB C1	C1+	01/01/2023 (20/12/2021 C1)
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-12-23	Schoeller Allibert tray 2A021 (P/N 11112352)	95595885 (2016/09/26)	C1+	01/01/2023 (19/12/2016 - C1)
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-12-23	OneTray VAS 207a	95595885 (2016/09/26)	C1	28/09/2023
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-15-12	Herbert tray 91280AS (P/N 34460688)	95595885 (2016/09/26)	C1	06/06/2017
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-15-13	Herbert tray 91280AS (P/N 34460688)	95595885 (2016/09/26)	C1+	01/01/2023 (06/06/2017 - C1)
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-16-23	Herbert tray 91280AS (P/N 34460688)	95595885 (2016/09/26)	C2	06/06/2017
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-15-12	Schoeller Allibert tray 2A021 (P/N 11112352)	95595885 (2016/09/26)	C1	06/06/2017
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-15-13	Schoeller Allibert tray 2A021 (P/N 11112352)	95595885 (2016/09/26)	C1+	01/01/2023 (06/06/2017 C1)
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-16-23	Schoeller Allibert tray 2A021 (P/N 11112352)	95595885 (2016/09/26)	C2	06/06/2017
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-15-13	Smiths Detection tray (P/N 34486990) / Smiths Detection tray 2 (P/N 34482148)	95595885 (2016/09/26)	C1	20/12/2018 16/01/2020(CC) 03/01/2022(CE)
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-16-23	Smiths Detection tray 2 (P/N 34482148)	95595885 (2016/09/26)	C2	20/09/2017 16/01/2020(CC) 03/01/2022(CE)
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-16-23	OneTray VAS 207a	95595885 (2016/09/26)	C2	28/09/2023
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-16-23	Smiths Detection tray (P/N 34486990)	95595885 (2016/09/26)	C1+	01/01/2023 (03/01/2022 C1)
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-18-13	MacDonald Humfrey tray (P/N 34460689)	95595885 (2016/09/26)	C1+	01/01/2023 (23/03/2018 C1)
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-18-24	MacDonald Humfrey tray (P/N 34460689)	95595885 (2016/09/26)	C2+	01/01/2023 (23/03/2018 - C2)
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-19-23	Vanderlande Scannojet tray (P/N 10128/095527727)	95596016	C1	19/10/2018
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX	09-70-23	Vanderlande Scannojet tray (P/N P10128/095527-727)	95596016	C2	04/03/2019
Smiths Detection	HI-SCAN 7555aTiX	7555aTiX	09-15-14	Herbert tray 91280AS (P/N 34460688)	95595885 (2016/09/26)	C1	06/06/2017
Smiths Detection	HI-SCAN 7555aTiX	7555aTiX	09-17-16	Herbert tray 91280AS (P/N 34460688)	95595885 (2016/09/26)	C1+	01/01/2023 (06/06/2017 - C1)
Smiths Detection	HI-SCAN 7555aTiX	7555aTiX	09-17-16	MacDonald Humphry Tray (P/N 34460689)	95595885 (2016/09/26)	C1+	23/10/2023
Smiths Detection	HI-SCAN 7555aTiX	7555aTiX	09-17-26	Herbert tray 91280AS (P/N 34460688)	95595885 (2016/09/26)	C2	06/06/2017
Smiths Detection	HI-SCAN 7555aTiX	7555aTiX	09-15-14	Schoeller Allibert tray 2A021 (P/N 11112352)	95595885 (2016/09/26)	C1	06/06/2017
Smiths Detection	HI-SCAN 7555aTiX	7555aTiX	09-15-16	Schoeller Allibert tray 2A021 (P/N 11112352)	95595885 (2016/09/26)	C1+	01/01/2023 (06/06/2017 - C1)
Smiths Detection	HI-SCAN 7555aTiX	7555aTiX	09-16-26	Schoeller Allibert tray 2A021 (P/N 11112352)	95595885 (2016/09/26)	C2	06/06/2017
Smiths Detection	HI-SCAN 7555aTiX	7555aTiX	09-71-27	Smiths Detection tray (P/N 34486990)	95596016 (2017/09/26)	C2+	01/01/2023 (24/02/2021 - C2)
Smiths Detection	HI-SCAN 6040-2is HR	6040-2is HR	09-15-17	Herbert tray 91280AS (P/N 34460688)	95596016 (2017/09/26)	C1	24/02/2021
Smiths Detection	HI-SCAN 6040-2is HR	6040-2is HR	09-15-19	Herbert tray 91280AS (P/N 34460688)	95596016 (2017/09/26)	C1+	01/01/2023 (24/02/2021 - C1)
Smiths Detection	HI-SCAN 6040-2is HR	6040-2is HR	09-15-17 / 09-15-20	Schoeller Allibert Tray 2A021 (P/N 11112352)	95595885 (2016/09/26)	C1+	01/01/2023
Smiths Detection	HI-SCAN 6040-2is HR	6040-2is HR	09-15-20	Smiths Detection tray 2 (P/N 34482148)	95595885 (2016/09/26)	C1	20/09/2017 16/01/2020(CC) 03/01/2022(CE)
Smiths Detection	HI-SCAN 6040-2is HR	6040-2is HR	09-15-20	Smiths Detection tray (P/N 34486990)	95595885 (2016/09/26)	C1+	01/01/2023 (03/01/2022 - C1)
Smiths Detection	HI-SCAN 6040-2is HR	6040-2is HR	09-19-19	Vanderlande tray (P/N P10128 / 095527-727)	95596016 (2017/09/26)	C1+	01/01/2023 (20/12/2018 - C1)
Smiths Detection	HI-SCAN 6040-2is HR	6040-2is HR	09-15-20	Smiths Detection tray 3 (P/N 34493797) / Smiths Detection tray 3 (P/N 34495373) / Smiths Detection tray 3 (P/N 34496512)	95596016 rev. 02 (2020/03/01)	C1	20/01/2021 14/01/2023(CC)
Smiths Detection (Previously: Morpho Detection)	XDi	XDi	XDi-CBS-C-v1.0	MacDonald Humfrey tray (P/N 34460689)	2.13	C1	06/06/2017 26/10/2018(CE)
Smiths Detection	HI-SCAN 6040 DV	6040 DV	30-00-25	Vanderlande tray (P/N 10128 / 095527-727) / Smiths Detection tray 3 (P/N 34495373) / Smiths Detection tray 3 (P/N 34493797) / Smiths Detection tray 3 (P/N 34496512)	95596016 rev. 02 (2020/03/01)	C1	20/12/2021 14/01/2023(CC)
Smiths Detection	HI-SCAN 6040 DV	6040 DV	30-00-38	Smiths Detection tray 2 (P/N 34482148) / Smiths Detection tray 3 ( P/N 34495373) / Smiths Detection tray 3 (P/N 34493797) / Smiths Detection tray 3 (P/N 34496512)	95596016 rev. 02 (2020/03/01)	C1	20/12/2021 14/01/2023(CC)
Smiths Detection	HI-SCAN 7555 DV	7555 DV	30-10-16	Smiths Detection tray 2 (P/N 34482148) / Smiths Detection tray 3 (P/N 34495373)	95596016	C1	18/05/2023
Smiths Detection	HI-SCAN 7555 DV	7555 DV	30-10-17	Smiths Detection tray 2 (P/N 34482148) / Smiths Detection tray 3 (P/N 34495373) / Schoeller Allibert tray 2A021 (P/N 11112352)	95596016	C1	18/05/2023
Smiths Detection	HI-SCAN 6040 CTiX	6040 CTiX 6040 / CTiX Model S	20-10-00	MacDonald Humfrey tray (P/N 34460689)	95596016 (2017/09/26)	C2	23/3/2018 14/01/2023(CC)
Smiths Detection	HI-SCAN 6040 CTiX	6040 CTiX 6040 / CTiX Model S	20-20-00	MacDonald Humfrey tray (P/N 34460689)	95596016 (2017/09/26)	C2	28/5/2018 14/01/2023(CC)
Smiths Detection	HI-SCAN 6040 CTiX	6040 CTiX 6040 / CTiX Model S	20-14-00 / 20-20-00	Scarabee tray (P/N SSL01_XA003_NH) / Smiths Detection tray (P/N 34486990) / Smiths Detection tray 2 (P/N 34482148)	95596016 (2017/09/26)	C2	28/05/2020 16/01/2020(CC) 03/01/2022(CE) 14/01/2023(CC)
Smiths Detection	HI-SCAN 6040 CTiX	6040 CTiX / 6040 CTiX Model S	20-27-00	MacDonald Humfrey tray (P/N 34460689) / Smiths Detection tray (P/N 34486990) / Smiths Detection tray 2 (P/N 34482148)	95596016 (2017/09/26)	C3	19/10/2018 16/01/2020(CC) 03/01/2022(CE) 14/01/2023(CC)
Smiths Detection	HI-SCAN 6040 CTiX	6040 CTiX / 6040 CTiX Model S	20-30-00	MacDonald Humfrey tray (P/N 34460689) / Scarabee tray (P/N SSL01_XA003_NH) / Smiths Detection tray (P/N 34486990)	95596016 Rev. 1 (2017/09/26)	C3	20/12/2018 14/01/2023(CC)
Smiths Detection	HI-SCAN 6040 CTiX	6040 CTiX / 6040 CTiX Model S	20-31-00	MacDonald Humfrey tray (P/N 34460689) / Scarabee tray (P/N SSL01_XA003_NH) / Smiths Detection tray (P/N 34486990)	95596016 Rev. 1 (2017/09/26)	C2	20/12/2018 14/01/2023(CC)
Smiths Detection	HI-SCAN 6040 CTiX	6040 CTiX / 6040 CTiX Model S	20-30-00	Smiths Detection tray 2 (P/N 34482148) / Vanderlande tray (P10128 / 095527-727)	95596016	C2 & C3	5/9/2019 14/01/2023(CC)
Smiths Detection	HI-SCAN 6040 CTiX	6040 CTiX / 6040 CTiX Model S	20-36-00 / 20-41-00	Mac Donald Humfrey tray (P/N34460689) / Scarabee tray (P/N SSL01_XA003_NH) / Smiths tray (P/N 34486990)	95596016	C3	29/11/2019 14/01/2023(CC)
Smiths Detection	HI-SCAN 6040 CTiX	6040 CTiX / 6040 CTiX Model S	20-50-00	OneTray tray (P/N OT_VAS013) / Cassioli tray (P/N S030012FPLT) / Smiths Detection tray 3 (P/N 34496512) / Smiths Detection tray 3 (P/N 34493797) / Smiths Detection tray 3 (P/N 34495373)	95596016	C3	24/02/2021 14/01/2023(CC)
Smiths Detection	HI-SCAN 6040 CTiX	6040 CTiX / 6040 CTiX Model S	20-50-00	SD 3.1 Tray (P/N 34512380 & 34512428 & P/N 34512431 )	95596016	C3	23/10/2023
SST Labs	E3S 690	E3S 690	1.4.2	EV tray	SSQP-06-027 Rev No. 4	C3	18/10/2023

Updates to 02/06/2025

Standard C1/C1+: Screening requires the divestment of electronics and liquids, aerosols and gels (LAGs).
Standard C2/C2+: Allows screening of baggage containing portable computers and other large electrical items.
Standard C3: Allows screening of baggage containing portable computers and other large electrical items and LAGs.
Standard C4: Same CONOPS as Standard C3.