## Cover_sheet
Impact of Measures: England and Wales Headline tables
National Energy Efficiency Data-Framework (NEED)
This workbook presents Accredited Official Statistics on estimated gas savings resulting from energy efficiency measures installed mid-May 2022 to mid-May 2023 and estimated electricity saving from solar panels installed February 2022 to January 2023. These are estimated savings for the first year after installation. Gas savings estimates are also provided for the most commonly occurring combinations of energy efficiency measures.
Owing to methodological changes, the figures in these tables may not be directly comparable to those published in previous years. For consistent time series showing how the savings from single energy efficiency measures vary between successive installation years see Impact of Measures by year of installation: England and Wales in:
Impact of Measures data tables
Contents
This cover sheet is followed by a table of contents and notes page providing additional information/ clarification for the subsequent data tables.
Publication dates
Publication date: 26 June 2025
Next update: June 2026
Methodology
The Impact of Measures estimates are based on comparing the gas consumption in properties before and after an energy efficiency measure has been installed (or electricity consumption before and after solar PV has been installed). The changes in consumption for properties which have had the given measure installed are compared with the changes in consumption for similar properties with no energy efficiency measures known to have been installed over the period in question.
The Impact of Measures estimates are weighted, which means that they have been adjusted to be representative of the entire housing stock, rather than just the properties which had the given measures installed during the given year.
For gas, only households with a valid gas consumption figure between 2,500 and 50,000 kWh have been included in this analysis. For electricity, only households with valid electricity consumption figure between 500 and 25,000 kWh have been included.
Estimates based on small sample sizes are likely to be less reliable.
More details about how the Impact of Measures estimates are calculated can be found in:
NEED methodology note
Units
Both percentage savings and actual saving are provided.
Actual savings are presented in kilowatt hours (kWh) rounded to the nearest 100 kWh.
These savings refer to positive savings. For example, a figure of 2.0% indicates a 2.0% decrease in energy consumption following the installation of the measure, compared to if the measure had not been installed.
Domestic NEED publication data and documents
Statistical releases (including data sources and methodology)
Consumption data tables
Impact of Measures data tables
Property level domestic consumption data
Contact details
Responsible statistician: Hiten Shah
energyefficiency.stats@energysecurity.gov.uk
newsdesk@energysecurity.gov.uk

## Contents
Contents
Table	Title
Table 1	Estimated energy savings resulting from the installation of an energy efficiency measure
Table 2	Estimated energy savings resulting from the installation of a combination of energy efficiency measures
Table 3	Estimated energy savings resulting from the installation of an energy efficiency measure - distribution of percentage savings
Table 4	Estimated energy savings resulting from the installation of a combination of energy efficiency measures - distribution of percentage savings

## Notes
Notes
This worksheet contains one table.
Note	Description
Note 1	Loft insulation includes roof and 'room-in-roof' insulation.

## Table_1
Table 1: Estimated energy savings resulting from the installation of an energy efficiency measure
Installation year: 2022
This worksheet contains one table.
Energy efficiency measure	Savings shown	Notes	Number in / sample	Median / percentage / saving	Mean / percentage / saving	Median / saving / (kWh)	Mean / saving / (kWh)
Condensing Boiler	Gas savings		347,616	3.5%	2.5%	425	483
Solid Wall Insulation	Gas savings		1,248	15.6%	15.0%	1,837	2,199
Cavity Wall Insulation	Gas savings		1,255	7.7%	7.5%	899	1,029
Loft Insulation	Gas savings	[Note 1]	1,288	2.2%	2.4%	263	299
Solar PV	Electricity savings		14,743	15.5%	13.6%	420	481

## Table_2
Table 2: Estimated energy savings resulting from the installation of a combination of energy efficiency measures
Installation year: 2022
This worksheet contains one table.
Combination of measures	Savings shown	Notes	Number / in sample	Median / percentage / saving	Mean / percentage / saving	Median / saving / (kWh)	Mean / saving / (kWh)
Cavity Wall Insulation and Loft Insulation	Gas savings	[Note 1]	1,009	8.9%	8.7%	1,041	1,265
Condensing Boiler and Heat Controls	Gas savings		1,420	10.6%	8.3%	1,283	1,379

## Table_3
Table 3: Estimated energy savings resulting from the installation of an energy efficiency measure - distribution of percentage savings
Installation year: 2022
This worksheet contains one table.
Energy efficiency measure	Energy source	Variable	Notes	Number / in sample	Mean	5th / percentile	Lower / quartile	Median	Upper / quartile	95th / percentile
Condensing Boiler	Gas	Intervention group: Change in consumption		347,616	13.3%	-23.7%	1.0%	14.0%	26.9%	48.3%
Condensing Boiler	Gas	Control group: Change in consumption		347,616	10.8%	-18.7%	-0.4%	9.8%	21.4%	44.7%
Condensing Boiler	Gas	Savings estimate		347,616	2.5%	-45.1%	-14.7%	3.5%	20.9%	46.2%
Solid Wall Insulation	Gas	Intervention group: Change in consumption		1,248	26.8%	-6.1%	16.4%	27.6%	39.4%	57.1%
Solid Wall Insulation	Gas	Control group: Change in consumption		1,248	11.8%	-22.5%	-0.5%	11.1%	24.2%	48.9%
Solid Wall Insulation	Gas	Savings estimate		1,248	15.0%	-32.6%	-3.0%	15.6%	33.6%	59.3%
Cavity Wall Insulation	Gas	Intervention group: Change in consumption		1,255	19.0%	-9.2%	8.4%	19.1%	29.4%	48.5%
Cavity Wall Insulation	Gas	Control group: Change in consumption		1,255	11.4%	-18.6%	0.0%	10.4%	22.3%	45.2%
Cavity Wall Insulation	Gas	Savings estimate		1,255	7.5%	-33.4%	-8.3%	7.7%	23.5%	47.5%
Loft Insulation	Gas	Intervention group: Change in consumption	[Note 1]	1,288	14.0%	-18.2%	2.0%	12.8%	26.3%	47.3%
Loft Insulation	Gas	Control group: Change in consumption	[Note 1]	1,288	11.6%	-22.2%	-0.6%	10.8%	23.7%	48.8%
Loft Insulation	Gas	Savings estimate	[Note 1]	1,288	2.4%	-44.7%	-15.7%	2.2%	20.6%	49.1%
Solar PV	Electricity	Intervention group: Change in consumption		14,743	20.1%	-34.1%	5.4%	22.9%	39.0%	63.7%
Solar PV	Electricity	Control group: Change in consumption		14,743	6.5%	-36.4%	-6.8%	6.9%	21.0%	48.2%
Solar PV	Electricity	Savings estimate		14,743	13.6%	-51.0%	-8.7%	15.5%	38.2%	70.8%

## Table_4
Table 4: Estimated energy savings resulting from the installation of a combination of energy efficiency measures - distribution of percentage savings
Installation year: 2022
This worksheet contains one table.
Energy efficiency measure	Energy source	Variable	Notes	Number / in sample	Mean	5th / percentile	Lower / quartile	Median	Upper / quartile	95th / percentile
Cavity Wall Insulation and Loft Insulation	Gas	Intervention group: Change in consumption	[Note 1]	1,009	20.2%	-11.5%	8.0%	20.3%	32.4%	50.5%
Cavity Wall Insulation and Loft Insulation	Gas	Control group: Change in consumption	[Note 1]	1,009	11.5%	-18.9%	0.0%	10.7%	22.3%	46.5%
Cavity Wall Insulation and Loft Insulation	Gas	Savings estimate	[Note 1]	1,009	8.7%	-34.5%	-8.5%	8.9%	26.1%	50.0%
Condensing Boiler and Heat Controls	Gas	Intervention group: Change in consumption		1,420	19.1%	-27.6%	6.5%	21.2%	35.6%	55.3%
Condensing Boiler and Heat Controls	Gas	Control group: Change in consumption		1,420	10.8%	-18.7%	-0.5%	9.8%	21.4%	45.3%
Condensing Boiler and Heat Controls	Gas	Savings estimate		1,420	8.3%	-45.5%	-9.4%	10.6%	28.7%	53.3%