## Cover_sheet
Impact of Measures: Percentage savings in the years following installation, England and Wales
National Energy Efficiency Data-Framework (NEED)
This workbook presents Accredited Official Statistics on estimated gas savings resulting from energy efficiency measures installed and electricity savings from solar panels. While the other Impact of Measures tables show estimated savings from energy efficiency measures in year 1 after installation, this workbook presents estimates showing how savings vary in subsequent years. These tables are based on installations made in the years 2011 - 2017, and estimated savings are shown for the years following installation up to and including 2023.
Contents
This cover sheet is followed by a table of contents and notes page providing additional information/ clarification for the subsequent data tables.
Publication dates
Publication date: 26 June 2025
Next update: June 2026
Methodology
The Impact of Measures estimates are based on comparing the gas consumption in properties before and after an energy efficiency measure has been installed (or electricity consumption before and after solar PV has been installed). The changes in consumption for properties which have had the given measure installed are compared with the changes in consumption for similar properties with no energy efficiency measures known to have been installed over the period in question.
The Impact of Measures estimates are weighted, which means that they have been adjusted to be representative of the entire housing stock, rather than just the properties which had the given measures installed during the given year.
For gas, only households with a valid gas consumption figure between 2,500 and 50,000 kWh have been included in this analysis. For electricity, only households with valid electricity consumption figure between 500 and 25,000 kWh have been included.
Estimates based on small sample sizes are likely to be less reliable.
More details about how the Impact of Measures estimates and calculated can be found in:
NEED methodology note
Units and 'no data'
Percentage savings are provided which refer to positive savings. For example, a figure of 2.0% indicates a 2.0% decrease in energy consumption following the installation of the measure, compared to if the measure had not been installed.
Savings estimates are only provided from the years following installation up to and including 2023. So, for example, for 2017 installations, savings estimates could only be provided for years 1 - 6 after installation (2018 - 2023) and so years 7 - 12 are left blank.
Domestic NEED publication data and documents
Statistical releases (including data sources and methodology)
Consumption data tables
Impact of Measures data tables
Property level domestic consumption data
Contact details
Responsible statistician: Hiten Shah
energyefficiency.stats@energysecurity.gov.uk
newsdesk@energysecurity.gov.uk

## Contents
Contents
Table	Title
Table 1	Estimated percentage savings in gas consumption in the years following installation: Condensing boilers
Table 2	Estimated percentage savings in gas consumption in the years following installation: Solid wall insulation
Table 3	Estimated percentage savings in gas consumption in the years following installation: Cavity wall insulation
Table 4	Estimated percentage savings in gas consumption in the years following installation: Loft insulation
Table 5	Estimated percentage savings in electricity consumption in the years following installation: Solar PV

## Notes
Notes
This worksheet contains one table.
Note	Description
Note 1	Loft insulation includes roof and 'room-in-roof' insulation.

## Table_1
Table 1: Estimated percentage savings in gas consumption in the years following installation: Condensing boilers
This worksheet contains one table.
Freeze panes are active on this sheet. To turn off freeze panes select the 'View' ribbon then 'Freeze Panes' then 'Unfreeze Panes' or use [Alt W, F].
Year after / installation	Sample size: / 2011 installations	Sample size: / 2012 installations	Sample size: / 2013 installations	Sample size: / 2014 installations	Sample size: / 2015 installations	Sample size: / 2016 installations	Sample size: / 2017 installations	Median savings: / 2011 installations	Median savings: / 2012 installations	Median savings: / 2013 installations	Median savings: / 2014 installations	Median savings: / 2015 installations	Median savings: / 2016 installations	Median savings: / 2017 installations	Mean savings: / 2011 installations	Mean savings: / 2012 installations	Mean savings: / 2013 installations	Mean savings: / 2014 installations	Mean savings: / 2015 installations	Mean savings: / 2016 installations	Mean savings: / 2017 installations
1	268,403	266,990	335,673	382,730	417,395	521,437	189,295	8.2%	7.7%	7.0%	6.4%	6.8%	5.7%	5.7%	6.3%	6.1%	5.4%	5.0%	5.4%	4.2%	4.1%
2	261,217	273,106	315,791	210,379	501,144	471,019	167,066	8.0%	7.6%	6.8%	6.7%	6.3%	5.5%	5.5%	6.0%	5.7%	4.9%	5.0%	4.4%	3.2%	3.3%
3	264,480	257,014	172,757	247,989	448,312	407,016	157,263	7.8%	7.3%	6.9%	6.3%	6.2%	5.4%	5.3%	5.9%	5.6%	5.1%	4.5%	4.1%	3.0%	3.0%
4	247,788	139,323	203,072	218,982	386,106	388,282	128,078	7.5%	7.5%	6.5%	6.2%	6.0%	4.9%	5.1%	5.7%	5.8%	4.6%	4.5%	3.9%	2.6%	3.0%
5	133,117	164,992	179,465	187,291	366,962	308,412	110,061	7.5%	7.1%	6.3%	6.0%	5.7%	4.7%	4.2%	5.8%	5.4%	4.5%	4.3%	3.5%	2.6%	2.6%
6	157,322	145,621	152,783	176,127	290,884	261,874	92,296	7.1%	6.8%	6.1%	5.8%	5.3%	3.6%	4.4%	5.4%	5.2%	4.3%	4.1%	3.3%	1.9%	2.8%
7	138,237	123,353	142,993	138,315	245,789	216,802		6.8%	6.5%	5.8%	5.4%	4.1%	3.7%		5.1%	4.9%	3.9%	3.9%	2.6%	2.1%
8	117,153	115,641	111,576	115,953	202,119			6.5%	6.3%	5.2%	4.3%	4.1%			4.9%	4.8%	3.6%	3.2%	2.6%
9	108,862	89,432	93,111	94,126				6.3%	5.5%	4.0%	4.2%				4.7%	4.3%	2.9%	3.1%
10	83,958	73,793	74,598					5.5%	4.2%	4.0%					4.2%	3.4%	2.9%
11	68,936	58,734					4.0%	4.2%					3.2%	3.2%
12	54,679					3.9%					3.1%

## Table_2
Table 2: Estimated percentage savings in gas consumption in the years following installation: Solid wall insulation
This worksheet contains one table.
Freeze panes are active on this sheet. To turn off freeze panes select the 'View' ribbon then 'Freeze Panes' then 'Unfreeze Panes' or use [Alt W, F].
Year after / installation	Sample size: / 2011 installations	Sample size: / 2012 installations	Sample size: / 2013 installations	Sample size: / 2014 installations	Sample size: / 2015 installations	Sample size: / 2016 installations	Sample size: / 2017 installations	Median savings: / 2011 installations	Median savings: / 2012 installations	Median savings: / 2013 installations	Median savings: / 2014 installations	Median savings: / 2015 installations	Median savings: / 2016 installations	Median savings: / 2017 installations	Mean savings: / 2011 installations	Mean savings: / 2012 installations	Mean savings: / 2013 installations	Mean savings: / 2014 installations	Mean savings: / 2015 installations	Mean savings: / 2016 installations	Mean savings: / 2017 installations
1	2,270	4,933	10,987	12,664	11,131	6,879	894	14.4%	18.5%	11.3%	13.4%	14.3%	15.0%	19.0%	14.1%	17.8%	11.2%	13.2%	14.1%	14.7%	18.2%
2	2,084	4,721	9,863	5,967	12,818	5,773	720	15.8%	16.5%	11.1%	14.9%	15.6%	15.3%	19.2%	15.1%	16.3%	10.9%	14.6%	15.9%	16.1%	18.5%
3	1,984	4,215	4,636	6,782	10,793	4,684	657	14.0%	18.0%	13.3%	15.7%	16.6%	15.9%	18.6%	14.2%	17.6%	11.9%	15.4%	16.2%	15.7%	17.2%
4	1,721	1,965	5,097	5,726	8,655	4,257	478	16.1%	20.7%	14.6%	16.1%	16.1%	16.6%	18.5%	15.5%	18.9%	13.6%	16.0%	16.0%	16.6%	17.6%
5	773	2,178	4,246	4,572	7,889	3,186	414	17.8%	21.1%	14.0%	15.7%	16.4%	14.4%	16.6%	17.6%	19.8%	13.3%	15.5%	16.1%	14.8%	15.9%
6	870	1,826	3,331	4,146	5,739	2,637	319	17.1%	19.5%	13.5%	16.5%	15.0%	12.1%	16.7%	16.7%	18.4%	12.4%	16.5%	15.4%	12.4%	16.3%
7	745	1,476	3,073	2,989	4,705	1,981		17.6%	17.6%	14.2%	15.7%	13.3%	14.5%		17.5%	16.7%	13.2%	16.1%	13.4%	14.9%
8	570	1,374	2,166	2,431	3,603			15.3%	18.4%	11.5%	13.5%	13.8%			15.8%	18.3%	12.1%	14.0%	16.0%
9	533	959	1,806	1,861				15.4%	19.1%	11.1%	13.8%				15.2%	18.8%	11.1%	13.9%
10	370	830	1,416					14.8%	16.6%	12.4%					14.0%	16.5%	12.0%
11	297	646					10.8%	15.0%					10.7%	15.3%
12	231					13.5%					14.4%

## Table_3
Table 3: Estimated percentage savings in gas consumption in the years following installation: Cavity wall insulation
This worksheet contains one table.
Freeze panes are active on this sheet. To turn off freeze panes select the 'View' ribbon then 'Freeze Panes' then 'Unfreeze Panes' or use [Alt W, F].
Year after / installation	Sample size: / 2011 installations	Sample size: / 2012 installations	Sample size: / 2013 installations	Sample size: / 2014 installations	Sample size: / 2015 installations	Sample size: / 2016 installations	Sample size: / 2017 installations	Median savings: / 2011 installations	Median savings: / 2012 installations	Median savings: / 2013 installations	Median savings: / 2014 installations	Median savings: / 2015 installations	Median savings: / 2016 installations	Median savings: / 2017 installations	Mean savings: / 2011 installations	Mean savings: / 2012 installations	Mean savings: / 2013 installations	Mean savings: / 2014 installations	Mean savings: / 2015 installations	Mean savings: / 2016 installations	Mean savings: / 2017 installations
1	126,466	143,547	58,115	71,792	41,278	27,742	7,466	8.4%	7.7%	6.1%	8.4%	8.1%	7.8%	7.7%	7.7%	7.2%	5.8%	7.8%	7.4%	7.0%	6.6%
2	118,932	140,513	52,798	35,065	46,654	23,219	5,944	8.2%	7.7%	6.4%	8.6%	8.2%	7.9%	8.3%	7.6%	7.2%	6.1%	8.1%	7.3%	6.8%	7.2%
3	115,651	127,786	26,503	39,976	39,118	18,615	5,063	8.1%	7.9%	6.4%	8.6%	8.3%	7.8%	8.4%	7.5%	7.5%	6.2%	8.0%	7.4%	6.8%	7.3%
4	104,713	64,245	30,120	33,814	31,686	16,556	3,798	8.0%	7.8%	6.4%	8.7%	8.4%	7.9%	7.0%	7.6%	7.5%	6.3%	8.2%	7.4%	6.8%	6.0%
5	52,583	72,242	25,532	27,477	28,166	12,312	3,061	7.8%	7.7%	6.5%	8.7%	8.3%	7.2%	6.1%	7.4%	7.5%	6.4%	8.1%	7.6%	6.2%	5.3%
6	59,210	61,198	20,829	24,722	20,981	9,848	2,441	7.7%	7.6%	6.5%	8.8%	7.7%	6.0%	6.4%	7.4%	7.5%	6.3%	8.2%	6.8%	5.3%	5.7%
7	50,068	50,000	18,763	18,453	16,556	7,707		7.8%	7.6%	6.7%	8.3%	6.3%	6.3%		7.7%	7.5%	6.6%	8.0%	5.8%	5.5%
8	40,983	44,749	14,226	14,839	13,028			7.8%	7.9%	6.6%	7.6%	6.6%			7.6%	7.7%	6.6%	7.3%	5.9%
9	36,371	34,020	11,368	11,670				8.0%	7.7%	6.0%	7.4%				7.8%	7.7%	6.0%	7.2%
10	27,524	27,270	9,082					7.8%	6.7%	6.1%					7.7%	6.9%	6.1%
11	21,995	21,698					6.4%	6.5%					6.4%	6.7%
12	17,517					6.2%					6.3%

## Table_4
Table 4: Estimated percentage savings in gas consumption in the years following installation: Loft insulation [Note 1]
This worksheet contains one table.
Freeze panes are active on this sheet. To turn off freeze panes select the 'View' ribbon then 'Freeze Panes' then 'Unfreeze Panes' or use [Alt W, F].
Year after / installation	Sample size: / 2011 installations	Sample size: / 2012 installations	Sample size: / 2013 installations	Sample size: / 2014 installations	Sample size: / 2015 installations	Sample size: / 2016 installations	Sample size: / 2017 installations	Median savings: / 2011 installations	Median savings: / 2012 installations	Median savings: / 2013 installations	Median savings: / 2014 installations	Median savings: / 2015 installations	Median savings: / 2016 installations	Median savings: / 2017 installations	Mean savings: / 2011 installations	Mean savings: / 2012 installations	Mean savings: / 2013 installations	Mean savings: / 2014 installations	Mean savings: / 2015 installations	Mean savings: / 2016 installations	Mean savings: / 2017 installations
1	222,287	327,080	141,401	34,756	26,770	12,631	2,429	2.5%	2.5%	1.8%	3.4%	2.6%	1.5%	4.4%	2.3%	2.3%	1.6%	2.7%	1.8%	0.4%	3.5%
2	205,873	310,498	126,331	16,202	29,866	10,696	1,963	2.5%	2.5%	1.9%	3.2%	2.2%	0.5%	4.4%	2.4%	2.2%	1.8%	2.1%	1.0%	-1.9%	3.0%
3	195,126	277,578	60,826	17,989	25,324	8,602	1,711	2.4%	2.4%	1.9%	3.3%	2.0%	0.3%	3.4%	2.3%	2.2%	1.7%	2.1%	0.4%	-2.5%	1.8%
4	174,555	135,368	69,419	15,129	20,619	7,691	1,291	2.3%	2.3%	1.9%	3.2%	1.8%	-0.5%	3.4%	2.3%	2.1%	1.7%	1.7%	0.3%	-3.4%	1.4%
5	85,238	153,287	58,520	12,213	18,512	5,684	1,026	2.2%	2.3%	1.8%	3.4%	1.6%	0.1%	2.6%	2.2%	2.1%	1.5%	1.8%	0.0%	-2.9%	1.3%
6	96,479	128,947	47,673	10,985	13,881	4,529	813	2.2%	2.3%	1.7%	3.4%	1.8%	0.4%	1.5%	2.1%	2.0%	1.4%	1.7%	0.1%	-2.0%	0.5%
7	80,918	104,573	42,979	8,140	11,098	3,494		2.1%	2.1%	1.8%	3.0%	1.7%	0.4%		2.0%	1.8%	1.5%	1.2%	0.6%	-2.0%
8	65,625	93,844	32,033	6,575	8,619			2.0%	2.0%	1.7%	2.5%	1.3%			1.9%	1.7%	1.4%	1.2%	-0.1%
9	58,642	69,935	25,695	5,078				1.9%	1.6%	1.6%	2.9%				1.8%	1.2%	1.4%	1.5%
10	43,796	55,983	20,088					1.5%	1.3%	1.6%					1.3%	1.1%	1.2%
11	35,066	43,519					0.8%	1.1%					0.7%	0.7%
12	27,114					0.8%					0.6%

## Table_5
Table 5: Estimated percentage savings in electricity consumption in the years following installation: Solar PV
This worksheet contains one table.
Freeze panes are active on this sheet. To turn off freeze panes select the 'View' ribbon then 'Freeze Panes' then 'Unfreeze Panes' or use [Alt W, F].
Year after / installation	Sample size: / 2011 installations	Sample size: / 2012 installations	Sample size: / 2013 installations	Sample size: / 2014 installations	Sample size: / 2015 installations	Sample size: / 2016 installations	Sample size: / 2017 installations	Median savings: / 2011 installations	Median savings: / 2012 installations	Median savings: / 2013 installations	Median savings: / 2014 installations	Median savings: / 2015 installations	Median savings: / 2016 installations	Median savings: / 2017 installations	Mean savings: / 2011 installations	Mean savings: / 2012 installations	Mean savings: / 2013 installations	Mean savings: / 2014 installations	Mean savings: / 2015 installations	Mean savings: / 2016 installations	Mean savings: / 2017 installations
1	65,564	53,520	34,285	46,227	59,029	6,474	4,174	12.9%	12.4%	15.6%	14.1%	14.3%	13.3%	12.9%	12.2%	11.5%	14.6%	12.9%	12.9%	11.0%	10.1%
2	62,644	48,619	32,024	42,914	48,492	5,379	3,421	13.3%	12.1%	13.4%	13.5%	13.4%	12.5%	10.1%	12.7%	11.0%	12.5%	12.5%	12.0%	10.0%	7.0%
3	57,506	45,326	29,850	35,640	40,159	4,333	2,813	12.5%	10.0%	13.0%	12.9%	12.6%	11.4%	8.2%	11.9%	9.2%	12.2%	12.1%	11.3%	8.5%	4.2%
4	53,916	41,765	24,918	29,600	32,254	3,542	2,316	10.8%	9.5%	12.2%	12.6%	12.3%	9.2%	5.5%	10.4%	8.9%	11.4%	11.9%	11.0%	5.8%	1.5%
5	49,878	35,247	21,104	23,960	26,401	2,927	1,906	10.5%	9.0%	11.7%	12.2%	11.5%	7.7%	5.3%	10.1%	8.4%	11.0%	11.6%	10.3%	3.9%	1.9%
6	43,063	29,888	17,302	19,592	21,850	2,346	1,494	9.8%	9.0%	11.4%	11.2%	9.6%	7.0%	3.8%	9.5%	8.5%	10.8%	10.7%	8.6%	4.8%	0.5%
7	37,439	24,394	14,214	16,143	17,482	1,811		9.4%	9.0%	10.3%	9.2%	8.7%	5.8%		9.5%	8.6%	10.1%	8.4%	7.6%	2.5%
8	31,194	20,003	11,644	12,893	13,669			9.2%	7.6%	9.1%	8.4%	7.4%			9.1%	7.0%	9.2%	7.5%	6.2%
9	25,698	16,608	9,300	10,028				7.6%	6.2%	9.2%	7.2%				7.5%	5.9%	8.9%	6.2%
10	21,649	13,459	7,233					6.2%	6.2%	7.4%					6.1%	6.1%	6.8%
11	17,632	10,659					6.2%	5.4%					6.0%	5.3%
12	13,813					5.6%					5.5%