## Contents
EHS Briefing: Modelling a revised Decent Homes Standard for consultation
Annex B - Data Dictionary

Tab 1	Data Dictionary

Date:	2nd July 2025
Contact:	ehs@communities.gov.uk

## Data_Dictionary
Decent Homes Standard review (DHS2) - criteria and components modelled

DHS2 component	Original Component Definition	Modelled Component Definition	Updated definition of disrepair	Key input variable(s) from English Housing Survey	Notes	Source of costs
HHSRS (Criterion A)
HHSRS Category 1 hazards		Any dwelling that has any Category 1 HHSRS hazard assessed by the EHS	Definition remains the same	No new modelling was required to create the 26 hazards	26 hazard model
Disrepair (Criterion B)

Key components
External Wall structure disrepair	Replace 5% or more or repair 30% or more and in the backlog on element age	Wall structure disrepair threshold - replace/repair 10% or more or any urgent repair (as a proxy to identify 'not structurally sound or not weather tight').	Not structurally sound or not weather tight	fexws1rn, fexws1rp, fexws1ur, / fexws2rn, fexws2rp, fexws2ur		urgent repair cost from EHS repair cost model added to current 'cost to make decent' syntax
External Wall finish disrepair	Replace/repoint/renew 50% or more and in the backlog on element age	Wall finish disrepair threshold - replace/repoint/renew 20% or more OR any urgent repair (as a proxy to identify 'not structurally sound or not weather tight.	Not structurally sound or not weather tight	fexwf1re, fexwf1rn, fexwf1ur, / fexwf2re, fexwf2rn, fexwf2ur		urgent repair cost from EHS repair cost model added to current 'cost to make decent' syntax
Roof structure disrepair	Replace 5% or more or strengthen 30% or more and in the backlog on element age	Roof structure disrepair threshold - replace/strengthen 10% or more OR any urgent repair (as a proxy to identify 'not structurally sound or not weather tight').	Not structurally sound or not weather tight	fexrs1rn, fexrs1st, fexrs1ur, / fexrs2rn, fexrs2st, fexrs2ur		urgent repair cost from EHS repair cost model added to current 'cost to make decent' syntax
Roof cover disrepair	Replace or isolated repairs to 50% or more and in the backlog on element age	Roof cover disrepair threshold - replace/repair 20% or more OR any urgent repair (as a proxy to identify 'not structurally sound or not weather tight').	Not structurally sound or not weather tight	fexrc1rn, fexrc1is, fexrc1ur, / fexrc2rn, fexrc2is, fexrc2ur		urgent repair cost from EHS repair cost model added to current 'cost to make decent' syntax
Window disrepair	Replace at least one window or repair/replace sash/member to least two windows (excludes easing sashes, reglazing or repainting) and in the backlog on element age	Window disrepair threshold - replace or replace/repair sash of 1 or more OR any urgent repair (as a proxy to identify 'not structurally sound or not weather tight').	Not weather tight, unable to make secure / lock, unable to use properly (i.e. open and close)	fexwn1rn, fexwn1rp, fexwn1ur, / fexwn2rn, fexwn2rp, fexwn2ur		urgent repair cost from EHS repair cost model added to current 'cost to make decent' syntax
External door disrepair	Replace at least one door and in the backlog on element age	External door disrepair threshold - replace any one door OR any urgent repair (as a proxy for 'not weathertight or unable to make secure / lock, unable to use properly)	Not weather tight, unable to make secure / lock, unable to use properly (i.e. open and close)	fexdf1rn, fexdf1ur / fexdf2rn, fexdf2ur		urgent repair cost from EHS repair cost model added to current 'cost to make decent' syntax
Kitchen disrepair	Replacement/major repair of 3 or more items out of the 6 (cold water drinking supply, hot water, sink, cooking provision, cupboards, worktop) and in the backlog on element age	Kitchen disrepair threshold - install/replace/major repair of 1 or more items of 6 (cold water drinking supply, hot water, sink, cooking provision, cupboards, worktop)	Major repairs required or more than one of the following items need to be replaced: cold water drinking supply, hot water, sink, cooking provision, cupboards, worktop	fincldac, finhotac, finsnkac, fincokac, fincupac, finwrkac		costs already included in 'cost to make decent' syntax
Bathroom disrepair	Major repairs or replace 2 or more items out of 3 (bath, wash hand basin, WC) and in the backlog on element age	Bathroom disrepair threshold - install/replace/major repair of 1 or more items of 3 bath/shower, wash hand basin, WC)	Major repairs required or more than one of the following items need to be replaced: bath, freestanding shower, wash hand basin, WC	finbatac, finwhbac, finlooac		costs already included in 'cost to make decent' syntax
Chimney disrepair	Replace/repoint/renew 50% or more and in the backlog on element age	Chimney disrepair threshold - rebuild or partial rebuild of 1 chimney or more OR any urgent repair (as a proxy to identify 'not structurally sound or not weather tight').	Not structurally sound or not weather tight	fexcs1rn, fexcs1pt, fexcs1ur / fexcs2rn, fexcs2pt, fexcs2ur		urgent repair cost from EHS repair cost model added to current 'cost to make decent' syntax
Heating systems disrepair	Replace or major repair to CH boiler, CH distribution or storage heaters and in the backlog on element age	Heating disrepair threshold - replacement/major repair of primary heating appliance or primary heating distribution	Requires replacement or major repair	finchbac, finchdac		costs already included in 'cost to make decent' syntax
Electrical sytems disrepair	Replace or major repair to system and in the backlog on element age	Electrical system disrepair threshold - install/replace/major repair to system	Requires remedial work or rewiring	finelepr, fineleac		costs already included in 'cost to make decent' syntax
Fire alarm system	N/A	Fire alarm disrepair threshold - renew/major/minor repair to fire alarm system where present and common areas are part of escape route, ie if a dwelling has fire alarm system in common area that needs any remedial action, it will fail.	Requires replacement or major repair	fcpescap, fcpalmpr, fcpalmac		repair cost from EHS repair cost model added to current 'cost to make decent' syntax
Lifts	N/A	Lift disrepair threshold - lift present and not working, ie where a lift is present and not working, dwelling will fail.	Requires replacement or repair	fcplftex, fcplftwk		Treated as part of annual service charge - added in notional £50 per annum at 2019 prices
Internal doors disrepair	N/A	Internal doors disrepair threshold - renew/repair/rehang at least 1 door in any of the 4 surveyed rooms or circulation space.	Requires replacement or major repair	findrsrn, findrsrp		repair cost from EHS repair cost model added to current 'cost to make decent' syntax
Sprinkler systems	N/A	Requires replacement or major repair	Requires replacement or major repair	Not possible to model		N/A
Internal wall finish disrepair	N/A	Internal wall disrepair threshold - hack off/replaster any quantity (at least 1/10) to any of the 4 surveyed rooms or circulation space.	Plaster requires major repair (due to flaking, crumbling, damp)	finwlspl		repair cost from EHS repair cost model added to current 'cost to make decent' syntax
Mechanical ventilation	N/A	Disrepair threshold - any surveyed room with inadequate room or appliance ventilation or extractor fan disrepair. There are 2 elements to this: / 1. kitchen or bathroom extractor fan present but not working; / 2. any of the 4 surveyed rooms or circulation space lack adequate room or appliance ventilation. / Dwelling will fail if either of these 2 elements exist	Requires replacement or major repair	finkxtpr, finkxtwk, finbxtpr, finbxtwk / findfxrv findfxvt		added in cost for 2 extractor fans with unit cost taken from cost to make safe model
Other components

Roof features, i.e. gutters and soil stacks disrepair	N/A	Disrepair threshold - any rainwater goods replacement/repair needed. There are 2 types of rainwater goods covered: gutters and stacks/wastes. / Dwelling will fail if any replacement/repair is required to either of these features	Requires replacement, repair or major unblocking	fexrf1rp, fexrf1rn, fexrf2rp, fexrf2rn - types 3 and 4 only		repair cost from EHS repair cost model added to current 'cost to make decent' syntax
Balustrades disrepair	N/A	Disrepair threshold - any replacement/repair to any stair balustrades. There are 2 elements to this: / 1. Any replacement/repair of balustrades in the 3 types of accessways in common areas (where present) / 2. Where stairs are present in dwelling and balustrades need replacing or need repairing. / The dwelling will fail if any of these elements exist	Requires replacement or repair	fcpbalfl, fcpbalrn, fcpbalrp / finstrpr, finstrbl, finstrrp		repair cost from EHS repair cost model added to current 'cost to make decent' syntax
Stair-treads disrepair	N/A	Disrepair threshold - any replacement/repair to any stair-treads. There are 2 elements to this: / 1. Common areas where floors/treads in the 3 accessways need to be renewed or repaired. / 2. Where stairs are present in dwelling and treads need repairing. / The dwelling will fail if any of these elements exist	Requires replacement or repair	fcpflrfl, fcpflrrn, fcpflrrp / finstrpr, finstrtr		repair cost from EHS repair cost model added to current 'cost to make decent' syntax
Boundary walls disrepair	N/A	Disrepair threshold - any replacement/repair/demolition of boundary wall needed for any of the 3 reasons assessed (unsafe height, out of plumb, horizontal cracking)	Not structurally sound	fstbwre fstbwrp fstbwdm	Not included in private rented sector standard	Not in current EHS repair cost model. Added cost from external source
Curtilage disrepair	N/A	There are 4 variables created for curtilage disrepair using data on shared facilities/services / 1. communal parking - any major disrepair - dwelling fails if major repair to the listed communal parking facilities / 2. drying areas - dwelling fails if there are major repairs needed / 3. play areas - dwelling fails if there are major repairs needed / 4. hard landscaping - dwelling fails if there are major repairs needed	Not safe for residents	ffcgarac ffcmulac ffcundac ffcrooac ffccovac, / ffcdarpr, ffcdarac, / ffcplapr, ffcplaac, / ffchrdpr, ffchrdac	Not included in private rented sector standard	repair cost from EHS repair cost model added to current 'cost to make decent' syntax. Cost for SRS only
Pathways disrepair	N/A	Pathways disrepair threshold - any external paths need repair (no repair if not present). There are 2 elements of this component: / 1. Plot - any renewal/repair to paving needed / 2. Shared areas - landscaping section where there is minor or major repair to paths or path is not firm and even. / Dwelling will fail if either of these 2 elements exist.	Damaged in a manner that restricts residents’ ability to access buildings	fexplotf, fexplotr, fexpffl, fexpfrn / ffcafirm ffcpatac	Not included in private rented sector standard	repair cost from EHS repair cost model added to current 'cost to make decent' syntax. Cost for SRS only
Steps disrepair	N/A	Steps disrepair threshold - there are 2 elements of this component: / 1. Plot - any renewal/repair of steps / 2. Shared areas where risks from falls from stairs or level surfaces or between levels are significantly higher than average but not Category 1 hazards. / Dwelling will fail if either of these 2 elements exist.	Damaged in a manner that restricts residents’ ability to access buildings	fexplotf, fexplotr, fexpffl, fexpfrp / ffchsstr, ffchslvl, ffchsbtw / hsrstair, hsronlev, hsrbtlev	Not included in private rented sector standard	repair cost from EHS repair cost model added to current 'cost to make decent' syntax. Cost for SRS only
Fire Signage disrepair	N/A	Signage disrepair threshold - any renewal of existing sign posting in common areas needed and common areas are part of escape route, ie if a dwelling has sign posting in common area that needs renewing, it will fail.	Damage making it difficult or not possible to read	fcppres, fcpescap, fcpsgnpr, fcpsgnac	Not included in private rented sector standard	repair cost from EHS repair cost model added to current 'cost to make decent' syntax. Cost for SRS only
External lighting disrepair	N/A	Ext lighting disrepair threshold - there are 2 elements of this component: / 1. any major/minor disrepair to existing external lighting of shared facilities (where present) / 2. any faults to accessway lighting in the 3 types of accessway (where present) '. / Dwelling will fail if either of these 2 elements exist.	Requires replacement or repair to 2 or more lights	ffclitpr, ffclitac / fcpaxlfl	Not included in private rented sector standard	repair cost from EHS repair cost model added to current 'cost to make decent' syntax. Cost for SRS only
Bin stores disrepair	N/A	Bin store disrepair threshold - where bin stores or paladin stores exist in shared areas and have any major/minor repair, dwelling will fail.	No safe access for residents	ffcbinpr, ffcbinac, ffcpalpr, ffcpalac	Not included in private rented sector standard	repair cost from EHS repair cost model added to current 'cost to make decent' syntax. Cost for SRS only
Door entry disrepair	N/A	Door entry disrepair threshold - where door entry system is present but not working in shared areas, dwelling will fail.	Requires replacement or repair	fcpentpr, fcpentwk		Treated as part of annual service charge - added in notional figure of £20 per year at 2019 prices
Handrails	N/A	Requires replacement or repair e.g. not attached fully, damage that causes risk of injury such as falls	Requires replacement or repair	Not possible to model		N/A

Modernisation (Criterion C)
Lacks more than one essential services/facilities. Removal of kitchen and bathroom age from list of essential services/facilities
kitchen must have adequate space and layout	If there are significant problems with kitchen space or layout, the dwelling will fail.	If there are significant problems with kitchen space or layout, the dwelling will fail.	Definition remains the same	finkdfsp, finkdfla		costs already included in 'cost to make decent' syntax
dwelling must have an appropriately located bathroom and WC	If there are significant problems with bathroom location or bath/shower is badly located or the WC is external to dwelling, the dwelling will fail.	If there are significant problems with bathroom location or bath/shower is badly located or the WC is external to dwelling, the dwelling will fail.	Definition remains the same	finbadlo, finbdflo, finlooin		costs already included in 'cost to make decent' syntax
dwelling must have adequate external noise insulation	If heavy traffic or motorway intrusion or rail/air noise in local area is coded 3-5 (reasonable problem or worse) and dwelling not fully double glazed and does not fail on window disrepair, it is or coded 4 or 5 (significant problem), the dwelling fails on noise	If heavy traffic or motorway intrusion or rail/air noise in local area is coded 3-5 (reasonable problem or worse) and dwelling not fully double glazed and does not fail on window disrepair, it is or coded 4 or 5 (significant problem), the dwelling fails on noise	Definition remains the same	fartraff, farmotor, farrails / dblglaz4 / windhrep (see disrepair variables above)		costs already included in 'cost to make decent' syntax
flats must have adequate size and layout of common entrance areas where these exist	If any 2 of the 3 types of accessway are present and classed as tight for space, dwelling fails on common areas arrangement	If any 2 of the 3 types of accessway are present and classed as tight for space, dwelling fails on common areas arrangement	Definition remains the same	fcpsizes		costs already included in 'cost to make decent' syntax
Floor coverings	N/A	Landlords must provide suitable floor coverings for the property at the beginning of the tenancy	N/A	Not possible to model		N/A
Window restrictors	N/A	Require that all rented properties must provide child-resistant window restrictors, which can be overridden by an adult, on all windows which present a fall risk for children	N/A	Not possible to model		N/A
Minimum Home Security Measures	N/A	Doors and windows provide a reasonable degree of protection from unauthorised access	N/A	Not possible to model		N/A

Thermal Comfort (Criterion D)

Require that a dwelling should have efficient (programmable) heating.The primary heating system must have a distribution system sufficient to provide heat to the whole home.		All wet central heating systems, storage radiators, warm air systems and communal systems are considered efficient and are programmable if they have a programmer and room thermostat if a CH, warm air of communal system, and was installed in 2006 or later if a storage heater	N/A	heat7x, mainfuel / finohtyp, finchpro, finchrom, finchtrv, finchtzc, finchbag	All dwellings built post 1990 are assumed to have an efficient programmable heating system / For dwellings with electric storage heaters - no information collected on controls so it is assumed that time and temperatures controls are present unless the system is installed before 2006 (which assumes no controls).	cost from EPC model added into current 'cost to make decent' syntax.
Cross reference Minimum Energy Efficiency Standards (currently EPC E in the PRS)		PRS must be at least band E by 2023 (ie those with MEES EPC bands F and G will fail)	N/A	EPceeb12e		cost from EPC model added into current 'cost to make decent' syntax.

Damp and mould (Criterion E)

No damp and mould	N/A	Damp problems present in 1 or more rooms and likelihood of suffering illness is >= 1 in 180	Properties should be free from damp and mould	fhsdalik / dampalf		Only those with these hazards that are not already costed under criteria A will be assigned a damp disrepair cost. This cost is taken from the make safe model which assigns cost to mitigate damp hazard.