## Sheet1
v4: 18/11/2025	The summary below consolidates the published references of standards. It reproduces information already in notices of publication. It contains all references which, when the summary was generated, still provided a presumption of conformity together with references already removed. The summary does not as such generate legal effects.
Legislation reference (A)	Reference number of the designated standard (B)	Title of the designated standard (C)	Date of start of presumption of conformity (1)	Notice of Publication reference (2)	Restriction (3)	Date of start of presumption of conformity with restriction (4)	Notice of Publication reference of a restriction (5)	Date of removal from publication (end of presumption of conformity) (6)	Notice of Publication reference for removal (7)
Regulation 2016/425	EN 30-1-1:2021	Domestic cooking appliances burning gas – Part 1-1: Safety – General	06/09/2024	0102/24	Restrictions: / (a) EN 30-1-1:2021 does not cover the essential requirement set out in point 3.2.4 of Annex I to Regulation (EU) 2016/426 as it has effect in domestic law. / (b) EN 30-1-1:2021 covers the essential requirement set out in point 3.4.4 of Annex I to Regulation (EU) 2016/426 as it has effect in domestic law as regards carbon monoxide but does not cover that requirement as regards other harmful concentrations of substances likely to present a danger to health.	06/09/2024	0102/24	08/04/2025	0110/25
Regulation 2016/425	EN 30-1-1:2021+A1:2023	Domestic cooking appliances burning gas – Part 1-1: Safety – General	08/04/2025	0110/25	Restrictions: / (a) EN 30-1-1:2021+A1:2023 does not cover the essential requirement set out in point 3.2.4 of Annex I to Regulation (EU) 2016/426 as it has effect in domestic law. / (b) EN 30-1-1:2021+A1:2023 covers the essential requirement set out in point 3.4.4 of Annex I to Regulation (EU) 2016/426 as it has effect in domestic law as regards carbon monoxide but does not cover that requirement as regards other harmful concentrations of substances likely to present a danger to health.	08/04/2025	0110/25	-	-
Regulation 2016/425	EN 30-1-2:2023	Domestic cooking appliances burning gas – Part 1-2: Safety – Appliances having forced-convection ovens	06/09/2024	0102/24	-	-	-	08/04/2025	0110/25
Regulation 2016/425	EN 30-1-2:2023+A1:2024	Domestic cooking appliances burning gas - Part 1-2: Safety - Appliances having forced-convection ovens	08/04/2025	0110/25	-	-	-	-	-
Regulation 2016/425	EN 30-2-1:2024	Domestic cooking appliances burning gas - Part 2-1: Rational use of energy - General	18/11/2025	0124/25	-	-	-	-	-
Regulation 2016/425	EN 88-1:2022	Safety and control devices for gas burners and gas burning appliances – Part 1: Pressure regulators for inlet pressures up to and including 50 kPa	06/09/2024	0102/24	-	-	-	08/04/2025	0110/25
Regulation 2016/425	EN 88-1:2022+A1:2023	Safety and control devices for gas burners and gas burning appliances - Part 1: Pressure regulators for inlet pressures up to and including 50 kPa	08/04/2025	0110/25	-	-	-	-	-
Regulation 2016/425	EN 88-2:2022+A1:2024	Safety and control devices for gas burners and gas burning appliances - Part 2: Pressure regulators for inlet pressures above 50 kPa up to and including 500 kPa	18/11/2025	0124/25	-	-	-	-	-
Regulation 2016/425	EN 88-3:2022+A1:2024	Safety and control devices for gas burners and gas burning appliances - Part 3: Pressure and/or flow rate regulators for inlet pressures up to and including 500 kPa, electronic types	18/11/2025	0124/25	-	-	-	-	-
Regulation 2016/425	EN 203-1:2021	Gas heated catering equipment – Part 1: General safety requirements	06/09/2024	0102/24	-	-	-	08/04/2025	0110/25
Regulation 2016/425	EN 203-1:2021+A1:2023	Gas heated catering equipment - Part 1: General safety requirements	08/04/2025	0110/25	-	-	-	-	-
Regulation 2016/425	EN 203-2-1:2021	Gas heated catering equipment – Part 2-1: Specific requirements – Open burners and wok burners	06/09/2024	0102/24	-	-	-	08/04/2025	0110/25
Regulation 2016/425	EN 203-2-1:2021+A1:2023	Gas heated catering equipment - Part 2-1: Specific requirements - Open burners and wok burners	08/04/2025	0110/25	-	-	-	-	-
Regulation 2016/425	EN 203-2-2:2021	Gas heated catering equipment – Part 2-2: Specific requirements – Ovens	06/09/2024	0102/24	-	-	-	08/04/2025	0110/25
Regulation 2016/425	EN 203-2-2:2021+A1:2023	Gas heated catering equipment - Part 2-2: Specific requirements - Ovens	08/04/2025	0110/25	-	-	-	-	-
Regulation 2016/425	EN 203-2-4:2021	Gas heated catering equipment – Part 2-4: Specific requirements – Fryers	06/09/2024	0102/24	-	-	-	08/04/2025	0110/25
Regulation 2016/425	EN 203-2-4:2021+A1:2023	Gas heated catering equipment - Part 2-4: Specific requirements - Fryers	08/04/2025	0110/25	-	-	-	-	-
Regulation 2016/425	EN 257:2022	Mechanical thermostats for gas-burning appliances	06/09/2024	0102/24	-	-	-	08/04/2025	0110/25
Regulation 2016/425	EN 257:2022+A1:2023	Mechanical thermostats for gas-burning appliances	08/04/2025	0110/25	-	-	-	-	-
Regulation 2016/425	EN 549:2019+A1:2023	Rubber materials for seals and diaphragms for gas appliances and gas equipment	06/09/2024	0102/24	-	-	-	08/04/2025	0110/25
Regulation 2016/425	EN 549:2019+A2:2024	Rubber materials for seals and diaphragms for gas appliances and gas equipment	08/04/2025	0110/25	-	-	-	-	-
Regulation 2016/425	EN 751-3:2022	Sealing materials for metallic threaded joints in contact with 1st, 2nd and 3rd family gases and hot water – Part 3: Unsintered PTFE tapes and PTFE strings	06/09/2024	0102/24	-	-	-	08/04/2025	0110/25
Regulation 2016/425	EN 751-3:2022+A1:2023	Sealing materials for metallic threaded joints in contact with 1st, 2nd and 3rd family gases and hot water - Part 3: Unsintered PTFE tapes and PTFE strings	08/04/2025	0110/25	-	-	-	-	-
Regulation 2016/425	EN 1106:2022	Manually operated taps for gas burning appliances	06/09/2024	0102/24	-	-	-	08/04/2025	0110/25
Regulation 2016/425	EN 1106:2022+A1:2023	Manually operated taps for gas burning appliances	08/04/2025	0110/25	-	-	-	-	-
Regulation 2016/425	EN 125:2022+A1:2024	Flame supervision devices for gas burning appliances - Thermoelectric flame supervision devices	18/11/2025	0124/25	-	-	-	-	-
Regulation 2016/425	EN 1854:2022	Safety and control devices for burners and appliances burning gaseous and/or liquid fuels – Pressure sensing devices for gas burners and gas burning appliances	06/09/2024	0102/24	-	-	-	08/04/2025	0110/25
Regulation 2016/425	EN 1854:2022+A1:2023	Safety and control devices for burners and appliances burning gaseous and/or liquid fuels - Pressure sensing devices for gas burners and gas burning appliances	08/04/2025	0110/25	-	-	-	-	-
Regulation 2016/425	EN 15502-1:2021	Gas-fired heating boilers – Part 1: General requirements and tests	06/09/2024	0102/24	-	-	-	08/04/2025	0110/25
Regulation 2016/425	EN 15502-1:2021+A1:2023	Gas-fired heating boilers - Part 1: General requirements and tests	08/04/2025	0110/25	-	-	-	-	-
Regulation 2016/425	EN 15502-2-1:2022	Gas-fired central heating boilers – Part 2-1: Specific standard for type C appliances and type B2, B3 and B5 appliances of a nominal heat input not exceeding 1 000kW	06/09/2024	0102/24	-	-	-	19/07/2025	0117/25
Regulation 2016/425	EN 15502-2-1:2022+A1:2023	Gas-fired central heating boilers - Part 2-1: Specific standard for type C appliances and type B2, B3 and B5 appliances of a nominal heat input not exceeding 1 000 kW	19/07/2025	0117/25	-	-	-	18/11/2025	0124/25
Regulation 2016/425	EN 15502-2-1:2022+A1:2023, / EN 15502-2-1:2022+A1:2023/AC:2024	Gas-fired central heating boilers - Part 2-1: Specific standard for type C appliances and type B2, B3 and B5 appliances of a nominal heat input not exceeding 1 000 kW	18/11/2025	0124/25	-	-	-	-	-
Regulation 2016/425	EN 15502-2-2:2024	Gas-fired central heating boilers - Part 2-2: Specific standard for type B1 appliances	18/11/2025	0124/25	-	-	-	-	-
Regulation 2016/425	EN 16304:2022+A1:2024	Automatic vent valves for gas burners and gas burning appliances	18/11/2025	0124/25	-	-	-	-	-
Regulation 2016/425	EN 16898:2022	Safety and control devices for gas burners and gas burning appliances – Gas filters having a maximum working pressure up to and including 600 kPa	06/09/2024	0102/24	-	-	-	08/04/2025	0110/25
Regulation 2016/425	EN 16898:2022+A1:2023	Safety and control devices for gas burners and gas burning appliances - Gas filters having a maximum working pressure up to and including 600 kPa	08/04/2025	0110/25	-	-	-	-	-
					-	-	-	-	-
					-	-	-	-	-
					-	-	-	-	-
					-	-		-	-
					-	-	-	-	-
					-	-	-	-	-
					-	-	-	-	-

					-	-	-	-	-
					-	-	-	-	-
					-	-	-	-	-