# Nitrates: challenges for the water environment
November 2025

# Contents

## Background
### Relevance and accuracy of data
This document has been produced by bringing together the readily available information on the topic. Quality assurance of the information included so far is not complete. As a result, the document may contain some errors or inaccuracies. Please let us know of any other relevant evidence or if you are aware of any issues with the information. This will help us to build a comprehensive and robust evidence base to underpin decision-making in river basin management planning.
## Executive summary
### The problems with nitrate in water, generally and in England
The main concerns with high concentrations of nitrate in water are:
- harm to human health from drinking water after abstraction from ground or surface waters
- eutrophication of lowland surface waters
- acidification and eutrophication of upland waters
- nutrient enrichment in sensitive habitats like Groundwater Dependent Terrestrial Ecosystems (GWDTE)
Fifty-five per cent of England is designated as a Nitrate Vulnerable Zone (NVZ) due primarily to elevated nitrate concentrations in groundwater and rivers, and to a lesser degree because of eutrophication of estuaries, lakes and reservoirs.
Groundwater is a major source of drinking water supply and nearly 30% of groundwater used for that purpose in England must now be blended, treated, or replaced to meet tap water nitrate standards. Treatment is expensive with a nitrate removal plant costing upwards of £8 million. This cost is ultimately passed on to the water consumer through higher bills.
All groundwater bodies are Drinking Water Protected Areas (DrWPA) where the aim is to prevent any need for increased levels of water treatment. Sixty-one groundwater bodies failed the DrWPA test in 2019. Nitrate is the commonest cause of groundwater bodies in England not achieving ‘good chemical status’ under the Water Framework Directive. In the 2019 classifications for the Water Environment (Water Framework Directive) Regulations (hereafter termed the WFDR), 108 of 271 (40%) groundwater bodies were at poor chemical status for nitrate[1], with a further 5 at risk for ammonia (42%).
[1] Environment Agency, 2019 classifications for nitrate in groundwater bodies.
Future risks are posed by climate change as more frequent storm events are predicted to increase nitrate losses from land to water, with hotter summers exacerbating the effect of eutrophication.

### Progress being made in tackling nitrate pollution of water
Agriculture is the dominant source of nitrate in surface waters (contributing around 60% to 70% of total inputs), with sewage effluent a secondary contributor (20% to 25%) nationally. Agriculture is also the largest contributor of nitrogen (N) at risk of leaching to groundwater in England (83%), with approximately 45% of that from inorganic fertiliser, and 22% from cattle.
In general, nitrate concentrations are highest in the drier, arable-dominated southern and eastern areas of England. This coincides with where water companies are most dependent on groundwater for public water supply and base flow to rivers.
NVZ Action Programmes (under the Nitrate Pollution Prevention Regulations 2015[2])  to reduce agricultural nitrate pollution have been in place since the late 1990s. The Harmonised Monitoring Scheme (HMS) network shows nitrate concentrations in England’s principal rivers have seen a general reduction from their peak in the late 1990s, with a decrease of 19% in the arithmetic from 1998 to 2023[3].
[2] The Nitrate Pollution Prevention Regulations 2015 (https://www.legislation.gov.uk/uksi/2015/668/contents/made)
[3] State of the water environment: long-term trends in river quality in England: 2024 - GOV.UK
Additional mechanisms more recently adopted to manage nitrate are groundwater safeguard zones (SgZs), which are non-statutory areas delineated around a borehole(s) used for drinking water supply where the water quality has deteriorated. Within SgZs, voluntary measures are put in place with the aim of stopping any further deterioration and reducing the level of drinking water treatment.
### Needs and proposals for the future
Because of the time lag issue precluding water quality improvements being realised for decades, meeting WFDR objectives for nitrate is challenging, particularly for groundwater. However, irrespective of this, the current measures appear insufficient to deliver WFDR objectives in the long term and it seems that a review of the policy options is needed.
Targeting measures to where they can be most effective would have the most value, in terms of improvements to water quality, uses and associated costs. This could mean, for example, targeting:
- catchments used for public drinking water abstraction that are at risk of deteriorating to the point that treatment must be introduced, replaced or increased, requiring additional capital expenditure
- DrWPAs where significant numbers of small or private water supplies from groundwater are particularly at risk
The Environmental Targets (Water) (England) Regulations 2023[4] set a statutory target of 40% reductions in total N (TN), total phosphorus (TP) and sediment losses from agricultural land to water by 2038 (against a 2018 baseline). The target recognises that it is the TN load that requires reduction. Nitrate is only one form of N contributing to water quality problems and there is a need to quantify the organic and particulate N load transported to waters from agricultural land.
[4] The Environmental Targets (Water) (England) Regulations 2023
The government has published a policy paper on reducing the impact of nutrients on protected “Habitats Sites” which are in unfavourable condition and where housing development can only proceed if it is “nutrient neutral”. In England, 27 water catchments (encompassing 31 internationally important water bodies and protected sites) are in unfavourable status due to nutrient pollution. The paper set out various forms of government support for local authorities and others in implementing nutrient neutrality. It also sets out plans for addressing the sources of pollution to restore our protected sites and reduce nutrient pollution more widely through the Environment Act targets[5].
[5] https://www.gov.uk/government/publications/nutrient-pollution-reducing-the-impact-on-protected-sites/nutrient-pollution-reducing-the-impact-on-protected-sites
In addition, the Levelling-Up and Regeneration Act (2023) placed a legal duty on water companies in England to upgrade wastewater treatment works by 2030, in certain protected sites which are unfavourable due to excess nutrients, to the highest achievable technological levels. Larger wastewater treatment works[6] in these protected areas[7], are required to upgrade treatment to achieve 0.25mg/l TP or 10mg/l TN or both, depending on which is the nutrient of concern.
[6] Information about nutrient significant plants - GOV.UK
[7] Notice of designation of sensitive catchment areas 2024 - GOV.UK
Also, a Nutrient Mitigation Scheme has been established by Natural England, helping wildlife and boosting access to nature by investing in projects like new and expanded wetlands and woodlands. This will allow local planning authorities to grant planning permission for new developments in areas with nutrient pollution issues, providing for the development of sustainable new homes and ensuring building can go ahead.
New measures include additional government funding for Environment Agency agriculture officers, to increase advice-led regulatory farm inspections from 4,000 a year in 2023 to 6,000 a year by 2029. The government are also funding the roll out of three Environmental Land Management Schemes (ELMS) to pay for environmental and climate goods and services.
The Sustainable Farming Incentive (SFI) pays farmers to adopt and maintain sustainable farming practices that can protect and enhance the natural environment alongside food production and also support farm productivity (including by optimising the use of inputs and making better use of natural resources). Countryside Stewardship Higher Tier (CSHT) pays for more targeted actions relating to specific locations, features and habitats. Landscape Recovery pays for bespoke, longer-term, larger scale projects to enhance the natural environment. There has also been a Farming Investment Fund offering grants for equipment and infrastructure to help farmers to increase their productivity whilst reducing pollution. Government funding for Catchment Sensitive Farming (CSF) has also increased and the scheme was extended to cover all of England in 2023. Water company funded catchment schemes, SGZ action plans and other voluntary advice and incentive mechanisms will have important roles to play in securing the necessary agricultural improvements.
In June 2025, the Environment and Climate Change Committee published a report called ‘Time to reduce, recycle and reuse N’[8]. Key recommendations included calling on the government to:
[8] House of Lords - Nitrogen: time to reduce, recycle, reuse - Environment and Climate Change Committee (https://publications.parliament.uk/pa/ld5901/ldselect/ldenvcl/161/16102.htm)
- simplify the regulatory system and toughening enforcement
- implement a circular approach to N management
- take a more strategic approach to N pollution
This supports our view that as a nation, we need to use N more efficiently, reducing excessive imports and wasteful surpluses that result in damaging losses to the environment. All sectors need to adopt more source control, recovery and recycling of N.
## 1. The problem
### 1.1 Overview
Nitrate (as a form of N) is one of the key nutrients involved in the pollution of rivers and streams and are the main pollutant in groundwater sources[9].
[9] House of Commons Environmental Audit Committee UK Progress on Reducing Nitrate Pollution Eleventh Report of Session 2017–19 Online: Nitrates (parliament.uk)
The total amount of reactive, or biologically available, N created by human activities increased significantly between 1890 and 1990, with most of that increase taking place in the second half of the twentieth century largely as a result of the intensification of agriculture including increased fertiliser use[10]. This along with emissions from sewage treatment are the primary causes for the nitrate concentrations we are finding today in our rivers, lakes, groundwaters, transitional and coastal waters and wetlands. Some of these are above the numerical standards set to protect our drinking water and ecology
[10] Millennium Ecosystem Assessment, 2005. Ecosystems and Human Well-being: Synthesis. Island Press, Washington, DC.
The main concerns associated with nitrate in water are:
- harm to human health from drinking water with elevated concentrations of nitrate, after abstraction from ground or surface waters (the World Health Organisation standard is 50 mg/l nitrate at the tap)
- eutrophication (excessive plant growth and algal blooms) in lowland surface waters, including rivers, estuaries and coastal zones that increase flood risk and can harm humans and animals
- aerial deposition of nitrate leading to acidification and nutrient enrichment of upland waters including springs, streams, lakes and reservoirs
- deterioration of GWDTE due to excess nutrient inputs, leading to unfavourable conditions of designated conservation sites

There are multiple standards and objectives for nitrate in the domestic regulations for different water categories, making implementation of controls complex. It is necessary to consider the following domestic regulations in relation to nitrate control:
Urban Waste Water Treatment Directive Regulations
- Nitrate Pollution Prevention Regulations
- WFDR particularly environmental objectives to:
  - prevent deterioration
  - reverse significant and sustained upward trends of pollutants in groundwater
  - to protect, enhance and restore water bodies in Article 13
  - avoid deterioration of water quality in DrWPAs in order to reduce the level of purification treatment required in the production of drinking water, Article 8.
Drinking Water Directive Regulations

The extent of NVZs designated under the Nitrates Pollution Prevention Regulations is a good measure of the extent of nitrate pollution nationally, particularly in lowland areas:
- 44% of land in England is NVZ because rivers breach the 50 mg/l test
- 25% of England is NVZ because groundwater breach the 50 mg/l test
- 6% of England is NVZ because of eutrophication is estuaries, lakes and reservoirs
These designations overlap resulting in 55% of England being in an NVZ.

### 1.2 Nitrate in rivers and lakes
Figure 1 displays the increase in nitrate over time in the River Thames since 1870. Concentrations were first recorded at below 2 mg/l and slowly increased to around 4mg/l in the early 1970s. A steep rise to just under 8 mg/l occurred in the mid-1970s and since then there has been a very slow shallow decline to around 7 mg/l. Similar trends are seen in other UK rivers [11].
[11] from Nimmo-Smith et al (2007). Evaluating the Implementation of the Nitrates Directive in Denmark and England using an Actor-Orientated Approach. European Environment. 17, 124–144 and Burt et al (Nitrate in United Kingdom Rivers: Policy and Its Outcomes Since 1970. Environmental Science and Technology. 2011, 45, 175–181
#### Figure 1. Nitrate (mg NO3 – N/L) concentrations in the River Thames (1860 to 2010)[12]
[12] Howden et al. 2010. Nitrate concentrations and fluxes in the River Thames over 140 years (1868–2008): are increases irreversible? HYDROLOGICAL PROCESSES Hydrol. Process. 24, 2657–2662

Under the WFDR we must identify DrWPAs and, if there is a risk of deterioration, put in place measures that aim to reduce the level of purification treatment in producing drinking water.
In England, there are 12 surface water bodies identified as not meeting the WFDR Article 8(2) 'no deterioration' objective[13] due to high levels of nitrate. Elevated nitrate can also affect the ecological quality of surface waters through the process of eutrophication. This is when excess nutrients cause algal and plant proliferation, damaging the quality and uses of waters as well as the ecology. Nitrate is generally the main nutrient involved in eutrophication of estuaries and coastal waters. However, recent studies have demonstrated that nitrate may play more of a role than was previously considered the case, alongside phosphorus (P), in eutrophication of some freshwaters, particularly lakes[14].
[13] Environment Agency, WIYBY_ DRWPA_SW_FINAL.xls. Contact: enquiries@environment-agency.gov.uk
[14] Method Statement for Nitrate Vulnerable Zone review – Eutrophic, Environment Agency report to Defra & Welsh Government – supporting paper for the Implementation of the Nitrates Directive 2013 – 2016. April 2012
The UK Technical Advisory Group (UKTAG) for the WFDR consulted in 2019 on proposed lake N standards, for use alongside the current P standards for eutrophication control[15]. These are now in place since the 2022 river basin management plans. The 2019 WFDR classifications covered 280 lake water bodies, 155 of which were non-compliant with the new N standard for good ecological status, which is 55% of the assessed lake water bodies.
[15] http://wfduk.org/sites/default/files/May%202019%20UK%20TAG%20Standards%20Consultation%20Document_0.pdf
Sixty-eight lakes and reservoirs and 16 estuaries in England are designated as eutrophic under the Nitrates Directive. In these areas nitrate from agricultural sources dominates.
Table 1 shows that the mean concentration of nitrate in surface waters has remained stable when comparing the periods of 2016 to 2019 and 2020 to 2023, while the maximum concentrations have reduced slightly. Total inorganic N = (nitrate + nitrite) + ammonium.
#### Table 1. Summary surface water monitoring statistics for the 2016 to 2019 and 2020 to 2023 periods in NVZs[16]
[16] The Nitrate Pollution Prevention Regulations 2015 Post Implementation Review

Figure 2 shows the N (Total Inorganic N – TIN) concentrations in rivers across England for the reporting period 2020 to 2023[17]. The low levels of nitrate in western and northern England (mean of 0 to 2.3 TIN mg/l) contrast with higher levels (a mean of over 9 TIN mg/l, with some sites over 11.3 TIN mg/l) in central and eastern areas. These differences are due to rainfall and land use, with eastern areas having predominantly drier, arable agricultural land and western and northern England being wetter with more livestock.
[17] Defra, draft Report on state of implementation of the Nitrates Directive in the United Kingdom 2020 – 2023.
#### Figure 2. Mean N concentrations (TIN mg/l) in rivers and lakes sampling points, for the period 2020 to 2023 inclusive[18]
[18] Defra, draft Report on state of implementation of the Nitrates Directive in the United Kingdom 2020 – 2023.

Figure 3 is based on data from the Harmonised Monitoring Scheme network which uses data from the bottom end of most major rivers, pooling the data for England. This graph indicates that the geometric mean nitrate concentration decreased by 5% over the period 1980 to 2024, and from the year of peak nitrate concentration (1996), it has decreased by 22%.
#### Figure 3. Geometric mean concentration of nitrate over time for Harmonised Monitoring Scheme sites in England, from 1980 to 2024.
Green line: smooth trend over long-term. Red points: unsmoothed. Vertical red lines and green ribbon indicate 95% confidence intervals (Environment Agency).

### 1.3 Nitrate in groundwater
Groundwater contributes significant baseflow to rivers and lakes especially in chalk and limestone areas, as well as being a source of drinking water for 17 to 18 million people. 10 to 15 million of which are in the South and East of England where the groundwater is the dominant source of supply.
Natural groundwater typically contains nitrate (NO3) concentrations less than 10 mg/l. However, for some decades, concentrations of nitrate in groundwater have been shown to be on a rising trend from 1945 to 1996[19].
[19] Nitrate contamination | Groundwater | British Geological Survey (BGS)
N compounds, such as nitrate and ammoniacal N, are preventing environmental targets being reached for many groundwater bodies. Seventy-seven (28%) groundwater bodies have rising trends for nitrate or ammonia and a total of 97 are at poor chemical status for nitrate or ammonia (35%). Sixty-one (23%) groundwater bodies do not meet the DrWPA test requirements to achieve good chemical status. Within those 61, there are 236 Safeguard Zones (SGZ) aiming to reduce deterioration of drinking water sources. 92% of all SGZ are for N compounds.
Groundwater safeguard zones (SgZs) are non-statutory areas delineated around a borehole(s) used for drinking water supply where the water quality has deteriorated. Within SgZs, voluntary measures are put in place with the aim of stopping any further deterioration and reducing the level of drinking water treatment.
Nitrate in drinking water is expensive to treat. A new nitrate removal plant for groundwater can cost £8m for example, with annual running costs of some £250k. Wessex Water spent £12 million on a treatment plant in Poole in 2008 which costs nearly £1m annually to run and Anglian Water have invested £100m to deal with high nitrate groundwater sources[20]. These costs are then ultimately funded by water consumers and as concentrations continue to rise further treatment will be needed in future.
[20] House of Commons Environmental Audit Committee UK Progress on Reducing Nitrate Pollution Eleventh Report of Session 2017–19 Online: Nitrates (parliament.uk)
Further nitrate removal plans are expected in the next decade, with costs expected to exceed £25 million. The timescales for land use change impacts on nitrate at the water table will vary substantially depending on the dominant process controlling nitrate fluctuations. Processes which represent a transfer of mass (bypass flow) will impact concentrations much more rapidly than processes representing a transfer of energy (piston flow).
Whilst groundwater is a major source of drinking water, its other uses support habitats, streams and rivers. Estimates for 2023 show that the UK N balance was a surplus of 82.9 kg/ha of managed agricultural land. This represented an increase of 3.8 kg/ha (+4.8%) compared to 2022, and a decrease of 25.5 kg/ha (-23.5%) compared to 2000 (Defra, 2024).
Nitrates deposited on the land that aren’t used in the soil zone migrate down to the water table over time through what’s known as the unsaturated zone. This is the area of rock between the base of the soil and water table which then forms the saturated zone (that is, rock that is predominantly wet). The speed of nitrate movement to the water table and saturated zone beneath varies depending on the type of rock and how water is able to move through it. Fractures or cracks in the rock provide rapid pathways, for example days or weeks, whereas water trickling through pore spaces in the rock is much slower taking years or decades to reach the water table.
Some of the slowest movements of nitrate are seen on chalk in south and east England where the unsaturated zone is 50 to 100+ metres (m) thick. A large store of nitrate is held in the unsaturated zone, estimated to be in the range of 800 to >1700 kt N. About 70% of the nitrate mass is estimated to be in the Chalk, with the remainder split between the Permo-Triassic sandstones, the Jurassic Oolitic limestones and minor aquifers[21] (Figure 4).
[21] Ascott, M.J.; Wang, L.; Stuart, M.E.; Ward, R.S.; Hart, A.. 2016 Quantification of nitrate storage in the vadose (unsaturated) zone: a missing component of terrestrial N budgets. Hydrological Processes, 30 (12). 1903-1915

#### Figure 4: Quantification of nitrate storage in the unsaturated zone 21

Current controls on fertiliser application mean that the unsaturated zone is now a nitrate source, and a 2015 estimate suggested the net flux from the unsaturated zone to groundwater to be 72 kt N/a 21. In England we have a surplus in the soil zone[22], some of which leaches to groundwater creating an ongoing source; and legacy stores of nitrate in the unsaturated zone which are migrating down to the water table.
[22] Defra (2024) Official Statistics: Online: Soil nutrient balances UK, 2023 - statistics notice - GOV.UK [Online: Accessed 08/07/2025)
Groundwater at and below the water table receives nitrate from the unsaturated rock above, which has had a rapid (days) or convoluted (decades) route from the surface. This means a mix of current and historic pollution is impacting our groundwaters.
Once in groundwater the nitrate can migrate through riverbeds or emerge at springs before entering rivers and ultimately heading out to sea. Sensitivity of riverine and coastal waters to nutrients is well documented.
The concentration of nitrate mass in the chalk and permo-triassic sandstones coincides with England’s principal groundwater drinking water sources. This creates a problem as it has potential to cause harm to human health if nitrate concentrations exceed the 50 mg/l drinking water standard. Extensive treatment is in place to remove nutrients ensuring tap water is safe to drink. However, this comes at a cost to consumers in the order of £8 million - £12 million plus £1 million running (EAC, 2018) for a single water treatment works. Nitrate removal technologies like ion exchange plants are carbon and resource intensive to run and will need replacement at the end of their asset life if elevated concentrations from human activities continue.
WFDR set objectives for groundwater bodies to get to good chemical status. In the 2019 classifications for the WFDR, 108 of 271 (40%) groundwater bodies were at poor chemical status for nitrate[23]. In addition, 73 groundwater bodies (27%) failed the trend test as a result of increasing nitrate concentrations (compared to 69 in 2015).
[23] Environment Agency, 2019 classifications for nitrate in groundwater bodies.
The mass of nitrate in the unsaturated zone should be included in future terrestrial N budgets at national and global scales to improve ecosystem management. Where nitrate applications to the land surface decrease, this can have a diluting effect if new waters interact with old groundwater. However, the speed of water movement through the unsaturated zone and the amount of interaction between old and young groundwater is variable. This makes it difficult to predict with accuracy when peak concentrations of nitrate will occur in groundwater. In areas where nitrate concentrations in groundwater have not yet peaked, concentrations in base flow to rivers will also continue to be high.
Not all nitrate in groundwater is historic and preferential flow through fracture networks in the Dorset chalk show that lag times in the saturated zone are often less than a month, giving groundwater velocities of 100 to 200 m/d and fracture porosity of ∼0.001. This contrasts with the matrix porosity of ∼0.3 and the associated travel time of several decades; and demonstrates the dual-porosity structure of chalk aquifers[24].
[24] Worthington S (2004) Seasonal nitrate variation as a tracer of preferential flow in bedrock aquifers, Journal of Hydrology, Volume 643, 132015
In general, nitrate concentrations are greatest in the drier, arable-dominated southern and eastern areas[25] of England, where we are also most dependent on groundwater for public water supply and base flow to rivers[26]. Around 70% of the water bodies failing for nitrate are in these areas of the country.
[25] ADAS (2007) Diffuse nitrate pollution from agriculture – strategies for reducing nitrate leaching. ADAS report to Defra – supporting paper D3 for the consultation on implementation of the Nitrates Directive in England, July 2007
[26] Evidence for SWMI Abstraction & Flow Evidence Summary, Environment Agency, 2012
Nitrate concentrations are rising in these groundwater bodies for a number of different reasons.
When considering other forms of nitrate such as ammonia there are 77 water bodies (28%) with significant upward trends and 97 (36%) at poor status. 113 (41%) groundwater bodies have either poor status or a significant upward trend and 62 (23%) have both. These other forms of nitrate are important because they convert to nitrate in the subsurface, contributing to problem.
Groundwater is a major source of drinking water supply. Nearly 30% of groundwater used to supply drinking water now has to be blended, or treated, or has been replaced[27] to meet the 50 mg/l standard. In parts of the South East 100% of drinking water is from groundwater. All groundwater bodies are DrWPAs.
[27] United Kingdom Water Industry Research, 2004. Implications of changing groundwater quality for water resources and the UK water industry, Phase III: Financial and water resources impact. UKWIR, London, 70pp. And, Underground, under threat. The state of groundwater in England and Wales. The Environment Agency. 24pp.
SgZs are non-statutory areas delineated around a borehole(s) used for drinking water supply where the water quality has deteriorated. Within SgZs, measures are put in place with the aim of stopping any further deterioration and reducing the level of drinking water treatment.
In terms of private drinking water supplies 60% are from groundwater providing 382 million l/day[28], and serving 84980 people[29]. The DWI's latest drinking water report shows that nitrate continues to be the biggest risk to water quality in the private supply catchments after biological contaminants[30]. Nitrate was found to be present in excess of the drinking water standard in 6.7% of tests on the drinking water at private supplies in England during 2020, 6.5% in 2023 and 8.4% in 2024. Nitrate was the most common chemical substance causing failure at private drinking water supplies in England for 2021[31] through to 2024. In 2024 17 of the 114 notices served in on private water supplies were for nitrate. in 2023, nitrate tests failed in 426 samples with 58,375 consumers affected[32] and in 2024, 602 nitrate tests failed with 10,855 consumers affected, the maximum concentration being 270 mg/l some (over 5 times the drinking water standard).
[28] House of Commons Environmental Audit Committee UK Progress on Reducing Nitrate Pollution Eleventh Report of Session 2017–19 Online: Nitrates (parliament.uk)
[29] Drinking Water 2024 - Private water supplies in England - Drinking Water Inspectorate
[30] Data return findings - Drinking Water Inspectorate
[31] https://dwi-content.s3.eu-west-2.amazonaws.com/wp-content/uploads/2022/07/22160713/E02750082_DWI_Chief-Inspectors-Private-Water_England.pdf
[32] Drinking Water 2023 – Private water supplies in England
Figure 5 shows average nitrate concentrations in groundwater across England for the period 2020 to 2023. Lowest values were found in the Northwest and across much of southern England. Sites with high concentrates are evenly spread across the country although there are clusters of high concentration sites in East Anglia, Cornwall, and across the Midlands.
Table 2 suggest that both the mean and maximum concentration of TIN in groundwater have decreased slightly in the 2020 to 2023 period compared to 2016 to 2019. Less than half the number of samples were available from 2016 to 2019 and 2020 to 2023 so caution is needed in interpreting the figures.
#### Figure 5. Mean N (TIN mg/l) concentrations in groundwater sampling points, for the period 2020 to 2023 inclusive

#### Table 2 Summary of groundwater monitoring statistics for the 2016 to 2019 and 2020 to 2023 periods in NVZs 16

### 1.4 Acidification and eutrophication of upland waters
Acidification and N (N) enrichment (eutrophication) resulting from deposition are issues which primarily affect lakes and streams in upland areas of England, for example the Lake District, Pennines, Dartmoor and Exmoor. These are long term issues that result from emissions that occurred between the mid-1800s through to the 1980s, largely from burning fossil fuels.
Levels of sulphate (the main acidifying anion) in UK streams fell substantially from 1988 to 2008 following reductions in emissions. pH and acid neutralising capacity have improved, and levels of aluminium have fallen sharply in the most acidic streams. Nitrate (a secondary acidifying anion) has shown minimal change, being influenced primarily by inter-annual variations in climate. Despite the chemical improvements there has been relatively little biological recovery to date.
### 1.5 Eutrophication in estuaries and coastal waters
WFDR N standards for good ecological status exist for estuaries and coastal waters in the UK. Ninety-three per cent of monitored estuarine water bodies and 47% of monitored coastal water bodies in England exceed this standard.
A large programme of impact monitoring has been undertaken to establish whether elevated N is giving rise to eutrophication in the waters that exceed their numerical N standards. Sixteen shallow tidal harbours or estuaries in England and Wales are currently designated under the Urban Waste Water treatment and Nitrates Directives. The main issue in transitional and coastal waters is excessive growth of macroalgae on the inter-tidal areas of shallow 'harbours'.
### 1.6 Nutrient enrichment in Groundwater Dependent Terrestrial Ecosystems (GWDTE)
GWDTE are wetlands which critically depend on groundwater flows and nutrient levels. As part of the assessment of groundwater status, the Environment Agency needs to determine whether a GWDTE has been significantly damaged through the groundwater supplying it. Nitrate threshold values have been established for GWDTE between 4 and 26 mg/l nitrate (as NO3), which are considerably lower than drinking water standards (50 mg/l as NO3).
### 1.7 Sources
#### Across England and Wales, agriculture is estimated to account for 60% to 70% of nitrate losses to the surface water environment[33]. Recent modelling undertaken by the Environment Agency estimates the national loading of nitrate to rivers from agricultural sources to be 67%, with point sources (predominantly sewage treatment works) contributing 23% and the remainder coming from atmospheric deposition (7%) and urban (3%) (Figure 6). The figures are derived from SAGIS PR24 calibration models which roughly cover the period 2015 to 2020.
[33] Environment and Climate Change Committee. Nitrogen: time to reduce, recycle, reuse | 2nd Report of Session 2024-25 - published 24 July 2025 - HL Paper 161
#### Figure 6. Environment Agency source apportionment modelling for nitrate loads to rivers, based on SAGIS PR24 calibration models covering 2015 to 2020

#### Agriculture is the largest contributor to nitrate loadings to rivers (Figure 6), with the greatest contribution occurring in the East of England (Figure 7). Local apportionment studies also show the dominance of agricultural sources to nitrate loadings. For example, 3 public water supply catchments in East Anglia were studied in detail and agriculture was responsible for 74%, 94% and 95% of the nitrate[34]. The major sources of nitrate are fertilisers, including inorganic fertilisers, compost, manure, sewage sludge[35] and other materials spread on land. In addition, N deposited on agricultural soils from the atmospheric deposition (from fossil fuel combustion and ammonia emissions from farming), can be converted to nitrate through nitrification. The mobile nitrate ions then leach into groundwater and surface water.
[34] Environment Agency 2014. Progressing towards WFD objectives – the role of agriculture.
[35] Cumulative impacts on groundwater from phosphorus and nitrogen loadings (Environment Agency, 2010)
#### Figure 7. Sectoral contribution to in-river nitrate concentrations by River Basin District based on Environment Agency SAGIS modelling covering the period 2015 to 2020

The second most important contribution of N in water bodies is from sewage effluent. Figure 7 shows that the greatest contribution from sewage occurs in Thames, Anglian and Humber River Basin Districts where urban impacts are expected to be predominant.
Industry is a less significant source and other sources, such as misconnections, leaky water mains and runoff require further investigation to determine their contribution. Leaking water mains have recently been estimated to contribute around 3.6 kt of N per year to ground and surface waters in England, comprising around 20% of TN inputs to water in urban areas[36]. Mains leakage is also a significant source of P inputs to water, so is a concern with respect to both the main nutrients involved in water pollution. Where sewerage connections are not available (usually in rural areas), domestic septic tanks may also provide a locally significant N loading to groundwater[37].
[36] Ascott M J, Gooddy D C, Surridge B W J, 2018. Public Water Supply Is Responsible for Significant Fluxes of Inorganic Nitrogen in the Environment. Environ. Sci. Technol. 2018, 52, 24, 14050–14060.
[37] Cumulative impacts on groundwater from phosphorus and nitrogen loadings (Environment Agency, 2010)
There are many interactions between these sectors, including pollutant transfer and feedback loops. The sources of nitrate pollution must be considered in the context of the N system, understanding how different forms of N move between air, land and water[38].
[38] A new UK Nitrogen Balance Sheet (UK-NBS) Microsoft Word - UKCEH_UK_N_balance_Report_v2.docx
Figure 8 shows the number of reasons for not achieving good status (RNAGS) in England due to nitrate by the sector responsible. Known sources are mostly assigned to agriculture and rural land management followed by the water industry.
#### Figure 8. Counts of the number of reasons for not achieving good status (RNAGS) (not number of water bodies), due to nitrate by sector responsible, England only (Environment Agency March 2019)

The TN at risk of leaching to groundwater from all sectors in 2020 was estimated to be 665 kT N. The agricultural sector remains the most significant source of N leaching to groundwater in the Inventory, contributing approximately 549 kT N of N, which represents around 83% of the total (665 kT N)[39]. Within the agricultural sector, approximately 45% of the N load to agricultural land comes from inorganic fertiliser, followed by cattle (22%), atmospheric N deposition (7%), biological N fixation (7%), poultry (6%), sheep and goats (5%), pigs (3%), anaerobic digestate (3%), compost (1%), planting material including seeds (1%) and other livestock including horses, goats and farmed deer (<1%).
[39] Environment Agency. 2025 (in press). National Groundwater Nitrogen Inventory and Heat Maps for England. Bristol, England.
#### Figure 9. Percentage sector contribution to National Agriculture N loads

### 1.8 Atmospheric emissions
The main sources of emissions of N oxides (NOx), sulphur dioxide and ammonia are power generation, refineries, chemicals and metals industry, agriculture, road transport and households. Emissions have been greatly reduced in recent decades through the United Nations Economic Commission for Europe and EU control measures. For example, UK NOx emissions have decreased by 50% since 1986 and SO2 emissions were down 94% between 1970 and 2010.
Direct deposition of N compounds is a minor contributor (just 0.7%) to the nitrate budget for inland surface waters. However, recent research has found that 90% of groundwater dependent wetlands were exceeding the critical load for atmospheric N deposition. Emissions of ammonia have decreased by 14% since 1990, to 265 thousand tonnes in 2023[40]. The agricultural sector is the biggest contributor to ammonia pollution, producing 87% of all UK ammonia emissions in 2023. Changes in the trend of emissions of ammonia are largely driven by changes to farming practices and herd sizes.
[40] Emissions of air pollutants in the UK – Ammonia (NH3) - GOV.UK
### 1.9 Acidification
Recovery from acidification is underway but is a slow process. Soils continue to release pollutants such as sulphur, N and metals to water for many years until buffering capacity is restored. However, we expect further significant reductions in emissions of SOx and NOx in the next few years, mainly at fossil-fuelled power stations through regulatory controls under the Large Combustion Plant Directive and the Industrial Emissions Directive.
### 1.10 Risk of deterioration
Until the rise of the last 2 years, nitrate concentrations in rivers had been, in general, gently decreasing which is likely to reflect reduced use of N-based fertilisers and reduced livestock numbers. Figure 9 shows application rates (in kg/ha) to crops and grassland since 1972 (for England and Wales)[41]. Applications rates to crops have decreased since the peak in the 2000’s, and in 2024 they were at 140 kg/ha of N. N application rates for grass have also reduced from over 130 kg/ha in the late 1980s to around 33kg/ha in 2024. This could reflect high fertiliser prices, improved nutrient management practices through better farm business decision-making, regulatory drivers (for example NVZs) and other measures such as CSF and specific agri-environment schemes. The reduction in fertiliser N application rates is not reflected in soil N balances, which have remained relatively static since 2010 at around 80 kgN/ha in English soils[42].
[41] The British Survey of Fertiliser Practice 2024
[42] UK and England soil nutrient balances, 2023 - GOV.UK
Figure 11 shows that nitrate loading from agriculture has fallen since 1996 both inside (from 2800 to around 2000 kg/km2/yr nitrate loading in 2013) and outside of NVZs (from 2200 to around 1400 kg/km2/yr nitrate loading in 2013).
#### Figure 10. Overall application rates (kg/ha) of total N on tillage crops and grassland, England and Wales 1972 to 2024 (British Survey of Fertiliser Practice, 2024)

#### Figure 11. Comparison of N loading between inside and outside NVZ areas across each designation round (data taken from NEAP-N model runs).

However, recent changes in farming practice and the growth of anaerobic digestion have meant that more materials are now being spread on land, some of which would previously have gone to landfill. The nitrate from these materials is often not utilised by the crop as they can be spread at times of the year when crop growth is slow and leaching to ground is high. This ‘hidden’ nitrate is contributing to increases in nitrate leaching and continued deterioration of groundwater.
An Environment Agency study has shown that nitrate leaching from materials to land could be having a significant impact on raw groundwater in some sensitive locations. Further work is needed to understand this risk and put in place further action to reduce the risk of pollution, particularly the effects of leaching to groundwater.
In future, climate change may affect nitrate dilution and loading by altering rainfall intensity, duration and location, and agricultural practices[43]. More frequent storm events, particularly in winter, are likely to increase nitrate losses from land to water while hotter summers seem likely to exacerbate the effects of eutrophication. Population change and concern for food security and food pricing could lead to agricultural intensification, with increasing nitrate loadings to water and different distribution patterns. A 2023 study showed the extent of nitrate fluctuation in groundwater appears to be controlled by precipitation and groundwater level fluctuation[44].
[43] UK National Ecosystem Assessment (2011); UK National Ecosystem Assessment; Synthesis of the Key Findings; Oxford: Information Press; p 10 – figure from same source
[44] Analysis of climate variability and change in observational groundwater quality data - NERC Open Research Archive
Future climate change may change the magnitude and timing of seasonal fluctuations impact on water supplies[45], having a knock-on effect on drinking water treatment[46]. Population increase would also bring challenges in dealing with increased volumes of sewage effluent. Measures used by the water industry to reduce nitrate is energy intensive and besides extra cost will increase greenhouse gas emissions[47]. Assessments of the risk of deterioration by 2030 and 2050 have been undertaken for nitrate, providing an indication of the possible ‘direction of change’ in quality.
[45] Groundwater quality: global challenges, emerging threats and novel approaches | Hydrogeology Journal
[46] Regional scale evaluation of nitrate fluctuations in groundwater using cluster analysis and standardised hydrometeorological indices - ScienceDirect
[47] Limiting climate change, Water Industry Carbon reduction
The risk assessment made use of existing WFDR monitoring data to identify:
- water bodies close to the lower class status boundaries (for rivers)
- where nitrate concentrations were in relation to standards (estuaries and coastal waters)
- where there may be rising nitrate trends (groundwater bodies)
The effect of population increase and changes in agricultural activities were also factored into the assessment alongside a weighting of these scores based on estimates of apportionment of their impacts. These risk factors and weightings were combined for assessment using Geographical Information Systems (GIS) overlays. Climate change was considered where this could compound pressures from particular activities. The resulting activity scores were then applied to water bodies that, from current information, were seen to be potentially at risk of deterioration. Water body scores from all activities were divided into 3 equal categories to correspond to low, medium and high risk of deterioration.
The results indicate that there is some risk of deterioration from the current nitrate standards in estuaries and coastal waters, groundwater and DrWPAs. The results also suggest that there will be broadly the same number of water bodies at risk of deteriorating in status in 2030 and in 2050. This may simply confirm that there are certain areas that are more vulnerable to deterioration, or it could indicate that the assessment method used was not able to discriminate between the impacts from pressures to 2030 and to 2050.
The qualitative assessment indicates that around 8% of estuaries and coastal waters in England may be at risk of deterioration compared with current nitrate standards. This was based on deterioration from a nitrate standard and so does not necessarily translate directly to a eutrophication problem or risk.
Over 86% of groundwaters in England are at risk of failing their chemical objectives for nitrate by 2027, this figure also includes those at risk of deteriorating from their current status. Groundwater is expected to continue to deteriorate for nitrates between now and 2050 unless interventions to prevent the continued deterioration and pressures of climate change and population growth are mitigated.
A 2007 study showed that more than 40% of sampled groundwater sites had rising nitrate trends that could exceed the drinking water standard by 2015[48]. More information on DrWPAs can be found in the DrWPA Pressure Report.
[48] Stuart et al (2007) Screening for long-term trends in groundwater nitrate monitoring data. BGS and CEH, Wallingford. Quarterly Journal of Engineering Geology and Hydrogeology; 2007; v. 40; issue.4; p. 361-376;
### 1.11 Evidence gaps
The main evidence gaps regarding the problem are:
- there are currently no formal nitrate standards for freshwaters within the WFD, although there are thresholds for surface and groundwaters in the Nitrates Directive and groundwater threshold values set within the WFDR
- a review into climate change impacts is needed as we do not fully understand the impact that changes in climate may have on N transport and fate
- a review of how we monitor for nitrate and assess the impacts of nitrate pollution is needed because our monitoring networks are now much smaller; 54% less samples were available for the groundwater NVZ assessment in 2024, hindering the ability to assess water quality – the review should consider how we monitor in the unsaturated zone to help us predict future nitrate concentrations, why samples are not available, and novel remote sensing techniques
- Lack of a collated evidence base on how public and private water supplies are affected by nitrate pollution
- greater evidence on how and where river base flow is affected by nitrate from groundwater is needed
- a review of nitrate leaching to groundwater is needed as there is growing concern that some recent changes in farming (for example spreading materials on land) may be leading to an increase in nitrate leaching
- nutrient source apportionment tools need to better consider mains water leakage
- greater quantitative understanding of the importance of organic and particulate N species in the TN load transported to and within waters from agricultural land
- Greater quantitative assessment of organic manure nutrient content and the effects of diet and behaviour in nutrient concentrations
- Understanding and including the effects of including direct deposition of organic manures from animals on nutrient balances and in NVZ calculations, future water transfer schemes and their effect on the flux of nitrates
- further research on the health effects of nitrate concentrations
The timescales for land use change impacts on nitrate at the water table will vary substantially depending on the dominant process controlling nitrate fluctuations. Processes which represent a transfer of mass (bypass flow) will impact concentrations much more rapidly than processes representing a transfer of energy (piston flow).

## 2. Current control measures
Control measures to address the impact of nitrate cover two main sources: agriculture and direct discharges of sewage.
### 2.1 Regulatory controls for agriculture
Regulatory farm inspections are undertaken for permitted farms (intensive pig and poultry under the 2016 Environmental Permitting Regulations) and non-permitted farms. During a regulatory inspection on non-permitted farms, Environment Agency officers work with farmers to increase their levels of compliance with existing environmental regulations.
The main agricultural regulations for non-permitted farms to protect and improve water quality are the:
- Silage, Slurry and Agricultural Fuel Oil storage regulations (The Water Resources (Control of Pollution) (Silage, Slurry and Agricultural Fuel Oil (England) Regulations 2010)
- NVZs under the Nitrate Pollution Prevention Regulations 2015
- Farming Rules for Water (The Reduction and Prevention of Agricultural Diffuse Pollution (England) Regulations 2018)
- Sludge (Use in Agriculture) Regulations 1989
#### 2.1.1 Nitrate Vulnerable Zones (NVZs)
Areas of land that drain into waters that are polluted or threatened by nitrate, and which contribute to nitrate pollution, from agricultural sources are currently designated as NVZs. These zones cover approximately 55% of England following the review completed in 2024 [49]. The total combined NVZ area is 7,215,191 ha yet the individual methods comprise:
[49] Nitrate vulnerable zones - GOV.UK
- surface water designations 5,692,455 ha
- groundwater designations 3,284,449 ha
- eutrophic designations 824,727 ha
Figure 12 shows the proposed 2025 to 2028 designations of NVZs on grounds of high nitrate in rivers, groundwater and eutrophication[50]. Devon and Cornwall, the north-west and parts of the south-east have the fewest designations, with the east and midlands regions having the most. Fifty-five per cent of land in England is in an NVZ. Estimates of costs to the agricultural sector of complying with the (2008 revised) NVZ regulations are between £44 million and £65 million per year[51].
[50] NVZ designations – EA April 2012
[51] NIT18 project, Lord et al 2011 http://archive.defra.gov.uk/environment/quality/water/waterquality/diffuse/nitrate/documents/consultation-supportdocs/g3-nit18-report.pdf
Estimates of the effectiveness of NVZs (based on the 2002 programme) put the overall national reduction of nitrate lost to the water environment in NVZs as between 2% and 7% (reductions at a catchment scale varied between 2% and 20%). Measures outside of NVZs may result in a further 4% reduction in nitrate losses from agriculture. Modelling approaches at a catchment scale predict reductions of environmental losses for CSF Target Areas of up to 20% for nitrate (2010 – but with very high uncertainty). Such NVZ and CSF reductions would not be cumulative.
The current NVZ action programme (began in 2016) is more stringent than the 2009 programme and is therefore expected to deliver greater reductions than those stated above. The revised programme requires all livestock farmers to provide storage for the slurry they produce which allows optimum spreading, and also to observe closed periods for slurry spreading. However, adherence to the NVZ action programme is often compromised by inadequate slurry storage preventing efficient and timely use of slurries. Slurry stores built pre 1991 are currently exempt from the Silage, Slurry and Agricultural Fuel Oil (SSAFO) Regulations 2010 which cover the construction and maintenance, positioning and minimum capacity of stores.
#### Figure 12. NVZ designations (2025)

Business as usual predictions suggest a 19% reduction in agricultural nitrate losses by 2015, mainly due to reducing animal numbers in response to economic drivers[52].
[52] http://www.environment-agency.gov.uk/research/policy/33061.aspx http://www.defra.gov.uk/foodfarm/landmanage/water/csf/documents/BAUII-Cambridge-Final-Apr2006.pdf
Although the NVZ action programme has been effective at making a modest reduction in nitrate leaching, the measures are not sufficiently robust to improve failing groundwater bodies to good chemical status. In terms of delivering measures to get groundwater bodies to good status substantial changes to farming practice are needed, such as widespread use of cover crops or applying N at below the economic rate. Currently there are insufficient mechanisms available to put these effective measures in place.
#### 2.1.2 Farming Rules for Water (2018)
The Reduction and Prevention of Agricultural Diffuse Pollution (England) Regulations 2018, commonly referred to as the Farming Rules for Water (2018) was estimated to provide a modest reduction in nitrate leaching. They also provide a statutory countrywide baseline to protect water quality by reducing diffuse pollution from agriculture. For example, the rules state that all applications of organic manures must be planned so that they do not exceed the needs of the soil and crop on the land or give rise to a significant risk of agricultural diffuse pollution.
When assessing if planned spreading would give rise to a significant risk of agricultural diffuse pollution from nitrate leaching, farmers must consider:
- the readily available N (RAN) content of different organic manures
- the soil type of the receiving land
- whether all appropriate reasonable precautions are being taken to help mitigate against the risk of diffuse pollution
- whether the requirements under the Nitrate Pollution Prevention Regulations 2015 for holdings located in a NVZ are being met
Farming Rules for Water, however, are unlikely to provide the scale of benefit needed to prevent deterioration in groundwater. Whilst it restricts some activities within 50m of a borehole well or spring, groundwater directly beneath a farm or field is often out of sight and out of mind but remains vulnerable to pollutants which may move rapidly or accumulate in the subsurface.
### 2.2 Voluntary action
New ELMS were introduced by the government in 2021 to support the transition away from the EU Common Agricultural Policy to a domestic approach to agriculture and the environment. These reward farmers and land managers for producing public goods including habitat protection and creation, water quality and biodiversity recovery alongside food production. Three new schemes SFI, CSHT and Landscape Recovery, are supplemented by one-off grants to support farm productivity, innovation, research and development.
CSF is a collaborative initiative led by Natural England in partnership with Defra, the Environment Agency and the Forestry Commission. CSF now covers all of England, giving farmers access to free, confidential, tailored advice and support for improving water quality, air quality and natural flood management (NFM) practices to over 28,000 farms representing 4.4 million hectares or 49% of the farmed area of England. 4,782 farms (representing 796,759 hectares) received advice on ammonia emissions to air and 3,916 farms (representing 799,006 hectares) received advice on NFM.
As of November 2024, CSF had delivered advice on over 200,000 practices to 28,761 farm holdings, representing 49% of the farmed area of England. Between 2006 and 2018, CSF advice led to a 4% reduction in nitrate (across the target areas of CSF phase 1 priority catchments). Eighty-five per cent of farmers who met their CSF Adviser indicated they were a person they could trust[53].
[53] Catchment Sensitive Farming Evaluation Report – Water Quality Phases 1 to 4 (2006-2018) - NE731
The Catchment-Based Approach is also maturing and contributing to water quality improvements.
For agriculture, local circumstances dictate which combinations of measures are the most cost-effective. National assessments suggest that the most effective measures (in terms of cost and nitrate leaching reduction) are:
having a nutrient management plan – this includes:
  - using a fertiliser recommendation system
  - knowing the N content of manures, composts and slurries
  - integrating fertiliser and manure nutrient supply
- establishing growing cover crops in the autumn (a SFI option)
- calibrating fertiliser spreaders (predicted 8% reduction in leaching)
- undersowing spring cereals
- adopting reduced cultivation systems
- changing land-use, for example changing intensively farmed arable land to less intensively managed grassland or woodland
- reducing stocking density
### 2.3 Water supply and effluent management
Conditions on permits for discharges are used to regulate the contribution of nitrate entering surface waters from wastewater (sewage) treatment works and industry. Conventional primary and secondary treatment at sewage works removes 20% to 30% of the N in raw sewage[54]. Where effluent needs tertiary treatment, levels of N reduction can be around 70 to 80% to meet effluent N standards of 10 to 15 mg/l[55]. This may be needed, for example to meet Urban Waste Water Treatment Directive Regulations requirements for saline waters affected by eutrophication.
[54] Water Pollution Control Federation (1983). Nutrient Control, Manual of Practice FD-7. and Tchobanoglous, G., and Burton, F. L., (1991) Wastewater Engineering: Treatment, Disposal and Reuse. Third Edition. Metcalf & Eddy, Inc., McGraw-Hill.
[55] UWWTD 91/271/EEC
Improvements to leaking sewers will reduce N loss to groundwater, and to surface waters where there is good connection with groundwater. Leakage reduction programmes for mains water pipelines where nitrate in drinking water is at relatively high concentration will have the additional benefit of limiting the return of this pollutant to groundwater.
Drainage and Wastewater Management Plans are the new way for organisations to work together to improve drainage and environmental water quality[56]. Water companies’ drainage and sewerage water management plans will need to clearly assess impacts on the environment and how these can be reduced or improved over the 25-year period. They should make a significant contribution to securing a healthier water environment, whilst protecting public health and wildlife by reducing pollution incidents, and the management of their contribution to reducing urban diffuse pollution[57]
[56] Drainage and Wastewater Management Plans | Water UK
[57] Guiding principles for drainage and wastewater management plans - GOV.UK (www.gov.uk)
#### Case study: Estuaries and coastal waters
Langstone Harbour was designated as a Sensitive Area (Eutrophic) in 1999 and an NVZ in 2008. A major sewage discharge was transferred elsewhere, and farming practices were controlled to reduce nitrate losses. The harbour now meets its N standard and there are signs that the excess macroalgal growth is diminishing.
### 2.4 Safeguard zones (SgZ)
Non-statutory SgZ are areas identified to focus efforts in tackling pollution in DrWPAs. Activities within a SgZ could include CSF, environmental permits, pollution prevention advice, local campaigns, product labelling and other voluntary initiatives.
There are also water company led catchment schemes to reduce nitrate concentrations in their abstractions in SgZ, and many of these schemes are delivering positive outcomes. Between 2020 and 2025, companies will complete 29 measures to improve the water they abstract from the environment (all of these will improve nitrate in groundwater and 7 will also to improve microbial quality). A further 236 measures to prevent deterioration of abstracted potable water quality; and 77 investigations into why water quality is deteriorating which will result in recommendations for measures.
Mostly these measures to prevent deterioration and investigations are for nitrates and pesticides. Indicative costs for these measures and investigations are £95 million to £115 million. This equates to 1.9% to 2.3% of the entire indicative capital costs (£4.9 billion) that companies will spend between 2020 and 2025. Between 2015 and 2020 approximately £69 million was apportioned to companies to implement 170 DrWPA measures identified in SGZ.
Whilst measures in SGZ have positive effects on water quality in some cases more may need to be done to reduce pollution concentrations.
### 2.5 Measures acting in combination
 A case study on groundwater quality is summarised in this section.
#### Case study: ChaMP Project
Brighton ChaMP for Water was established to protect and improve the quality of groundwater in the Brighton Chalk block, to ensure it remains a sustainable resource for public water supply. The project is a collaboration between the South Downs National Park Authority, the Environment Agency, Southern Water, the University of Brighton and Brighton & Hove City Council. They work together with Natural England and the Brighton and Lewes Downs UNESCO Biosphere (the Living Coast) to protect the aquifer. The project involves:
- providing practical advice and improvements to land management in the urban and rural area
- raising public and land manager awareness of groundwater protection
- undertaking research to increase knowledge of the issues and monitor the project’s success
## 3. Potential solutions and possible approaches
### 3.1 Overview and proposed new targets and actions
Overall, the progress towards delivering the nitrate related objectives for groundwater has been slow. From a groundwater perspective there has been further deterioration over all three river basin planning cycles and within protected areas. Whilst some of this is due to historic nitrate, it is increasingly clear that current measures are not sufficiently robust to deliver WFDR objectives in the long term. A comprehensive review of measures and approaches are needed to achieve good chemical status and other WFDR objectives.
Meeting WFDR objectives is unlikely for most groundwater bodies covered by the NVZ action programme and will be very difficult for those that are outside NVZs[58]. A review under the Nitrates Regulations is undertaken every 4 years.
[58] Stuart et al (2007) Screening for long-term trends in groundwater nitrate monitoring data. BGS and CEH, Wallingford. Quarterly Journal of Engineering Geology and Hydrogeology; 2007; v. 40; issue.4; p. 361-376; United Kingdom Water Industry Research, 2004. Implications of changing groundwater quality for water resources and the UK water industry, Phase III: Financial and water resources impact. UKWIR, London, 70pp
The Environment Agency’s vision for groundwater is that it meets environmental standards and targets, such as drinking water standards. This is ambitious and may differ from other sectors. These could be to meet ecological standards, or a because of the time-lag between changes in agricultural practice and resultant improvement in groundwater quality. Even dramatic land use change may not be effective in delivering good status by 2027. Current environmental management strategies rarely consider the nitrate time-lag Targeting measures to where they can be most effective is expected to have greatest value, in terms of both improvements to water quality in the environment and in delivering tangible benefits. This could mean, for example, targeting:
- catchments used for abstractions for public water supply that are at risk of deteriorating to the point that treatment needs to be introduced or increased, where this would require additional capital expenditure
- DrWPAs where significant numbers of small water supplies from groundwater are particularly at risk
The Environmental Targets (Water) (England) Regulations 2023 include an ambitious statutory target of 40% reduction in the TN load from agricultural land to water by 2038 (against a 2018 baseline)[59]. Delivery pathways are still being developed, but the Environmental Improvement Plan 2023[60] stated that delivery will include ‘paying farmers to protect and enhance watercourses through new farming schemes, and investing in improved slurry storage and management through our grants, providing advice to farmers to improve their practices through the expanded CSF partnership scheme, and ensuring farmers are meeting legal standards of responsible farming through our expanded and targeted farm visits programme’. In June 2025 government announced:
[59] The Environmental Targets (Water) (England) Regulations 2023
[60] Environmental Improvement Plan
- a doubling of funding for regulatory farm inspections carried out by the Environment Agency with the expected number of inspections reaching a record 6,000 a year by 2029
- More than £2.7 billion will be invested in sustainable farming and nature recovery a year from 2026 to 2027, to 2028 to 2029
- Funding paid to farmers under the Environmental Land Management Schemes will increase by 150% from £800m in 2023 to 2024 to £2 billion by 2028 to 2029
Alongside actions to target direct losses to water, ones to reduce air pollution have an important role to play. Ammonia emissions, primarily from farming, cause excessive N accumulation in soils which has an impact on the biodiversity of sensitive natural habitats, but can also contribute to water quality issues. The Environmental Improvement Plan 2023 includes legal emission reduction targets for five damaging pollutants by 2030 relative to 2005 levels including one for reducing emissions of ammonia by 16%. The plan included:
- commitments to supporting farmers in reducing ammonia emissions by using incentives in ELMS
- providing grants for emission-reducing equipment and slurry storage infrastructure
- considering expanding environmental permitting conditions to dairy and intensive beef farms
- providing targeted, locally informed on-farm advice through the CSF programme
The government has also published a policy paper on reducing the impact of nutrients on protected “habitats sites” which are in unfavourable condition. This included details about nutrient pollution and new development, including requirements for nutrient neutral development[61]. The paper set out various forms of government support for local authorities and others in implementing nutrient neutrality. It also described plans for addressing the sources of pollution to restore our protected sites and reduce nutrient pollution more widely through the Environment Act targets.
[61] https://www.gov.uk/government/publications/nutrient-pollution-reducing-the-impact-on-protected-sites/nutrient-pollution-reducing-the-impact-on-protected-sites
Since the publishing of this policy paper, the Planning and Infrastructure Bill has also been brought forward by government, which includes the proposed Nature Restoration Fund (NRF). The NRF is proposed to support development via the production of Environmental Delivery Plans (EDPs) which will model and identify conservation measures to prevent further deterioration to the protected site, and support its recovery.
In addition, following the policy paper, the Levelling-Up and Regeneration Act (2023) placed a legal duty on water companies in England to upgrade wastewater treatment works by 2030, in certain protected sites which are unfavourable due to excess nutrients, to the highest achievable technological levels. Larger wastewater treatment works[62] in these protected areas[63], are required to upgrade treatment to achieve 0.25mg/l TP or 10mg/l TN or both, depending on which is the nutrient of concern.
[62] Information about nutrient significant plants - GOV.UK
[63] Notice of designation of sensitive catchment areas 2024 - GOV.UK
Also, a Nutrient Mitigation Scheme has been established by Natural England, helping wildlife and boosting access to nature by investing in projects like new and expanded wetlands and woodlands. This will allow local planning authorities to grant planning permission for new developments in areas with nutrient pollution issues, providing for the development of sustainable new homes and ensuring building can go ahead.
In 2025, the Environment and Climate Change Committee of the House of Lords published the results of its report entitled ‘N: time to reduce, recycle, reuse’ as part of the committee’s inquiry on this issue[64]. It looks at what issue with N (as a whole) presents a case for more effective N management, looks at the role of the agriculture and water industry sectors, as well as transport, and industry and their effect in air quality. It highlights significant governance issues which cause a fragmented policy landscape.
[64] Nitrogen: time to reduce, recycle, reuse
The lack of a holistic, cross-departmental approach to N management means there are missed opportunities to deliver synergies with other government priorities, including climate mitigation efforts, flood management, and nature recovery. Effective N management also aligns with the Defra’s focus on the circular economy. There are a range of existing and emerging opportunities to reduce, recycle and reuse N from residue streams like solid manure, slurry and wastewater, which should be maximised. Responding to these challenges, the report focuses on three priorities:
1. Simplifying the regulatory system and toughening enforcement. The current system is too complex and confusing to be effective. Enforcement is insufficient and there is a lack of advice and support, particularly for farmers, to ensure regulations are understood and followed.
2. Implementing a circular approach to N management. This involves three key principles: reductions in inputs, efficient use that minimises losses, and reuse of what is left. There is an opportunity both to avoid the costs of excess reactive N and to turn that N ‘waste’ into a valuable commodity. Technological approaches such as slurry separators, anaerobic digestion, drying manures and creating fertiliser products such as nutrient-dense pellets present an opportunity to generate new markets. The government must provide clear policy direction for the agriculture, wastewater, and industry sectors on innovative approaches for recycling N and provide adequate support to improve uptake.
3. Taking a more strategic approach to N pollution. The government should quantify the major flows, sources and sinks (a balance sheet) for N pollution and the economic impacts of this pollution. It should use this as a basis for plans to manage the problem more effectively and in an integrated way, and to turn economic costs into benefits. This needs to bring together the existing targets, strategies and plans relating to N. This will require working across government departments.
As a nation, we need to use N more efficiently, reducing excessive imports and wasteful surpluses that result in damaging losses to the environment. All sectors need to adopt more source control, recovery and recycling of N.
Suitable measures could include:
- assessing and reducing the N content of materials imported to the UK
- switching from imported or manufactured N based raw materials in industry and fertiliser to recovered N based raw materials
- reducing the N content of animal feed
- increasing the capture and reuse of forms of N that escape to air
- farm scale and catchment scale nutrient budgeting
- making greater use of recycled and recovered N in storable forms
- treating waste containing N so that the N is recovered to storable products and achieves “end of waste”
- development of more efficient forms of fertiliser and methods for their application
- education, societal awareness raising and debate to make the public more aware of the links between dietary choices, food production, waste management and sustainability
- development and adoption of wastewater treatment processes to reduce all forms of N in effluent to low levels whilst also facilitating effective N recycling and/or recovery into storable forms
- increased capture, recycling and recovery of N from biosolids, slurry and digestate to facilitate efficient circular use of N without transferring pollutants to land or creating surpluses
- addressing inefficiencies in the food chain could also significantly improve wider N sustainability
- reducing food waste and increasing recycling, with less disposal to landfill, could also significantly improve the sustainable management of N
- net reductions in nutrient pollution secured through EDPs will be part of the suite of mechanisms available for controlling nutrient loads, as will nutrient markets more generally. These cannot solve the problem at source however and need to be seen in context with the concerted cross-sector effort to increase the sustainability and circularity of N use
In July 2022 the government announced that a new legal duty will be placed on water companies in England to upgrade wastewater treatment works by 2030 in ‘nutrient neutrality’ areas to the highest achievable technological levels.
### 3.2 Preliminary ecosystem services context
The ecosystem services approach is one potential solution to the nitrates pressure. The National Ecosystem Assessment underlines the importance of managing ecosystems in a more integrated way, to achieve a wider range of services and benefits. But the distribution of providers and beneficiaries of ecosystem services is not evenly spread. The management of ecosystem services can be localised, while the beneficiaries may be widely distributed. Utility companies are increasingly involved in land management intervention aimed at improving the quality of raw water supplies, such as the Sustainable Catchment Management Programme (SCaMP – a partnership approach between RSPB and United Utilities that facilitated payments to farmers for more sustainable operations). These schemes have potential to promote sustainable land use, deliver ecosystems service benefits, and reduce costs for firms.
Where beneficiaries are local to the source of ecosystem services, this will affect the way those ecosystems are valued and managed.
Assessment of the evidence presented in the Nitrates Evidence Pack indicates the following (note that this is not a comprehensive assessment).
Beneficiaries of nitrate use include:
- farmers, through improved yields and income
- food industry, through cheaper source materials
- consumers, through availability of food and cheaper pricing
- secondary polluters, through availability of cheaper disposal options for sewage sludge and other organic wastes
Owners of disbenefits associated with nitrate use and pollution include:
- water-dependent biodiversity impacted by nitrate in water bodies
- water companies, through treatment needed to ensure clean drinking water in supply (costs for treatment or blending)
- people, through higher nitrate in drinking water, higher costs of drinking water supply and its pricing, loss of amenity in eutrophic waters
Principal players are farmers, wastewater treatment companies, general public (as users of water and food, plus producers of waste).
Interveners and facilitators are:
- water companies (end of pipe treatment and land management intervention)
- farmers (changed land practice, fertilisers)
- retail (supermarket) sector
- government at all levels (regulation, incentive schemes, planning and development)
- the Environment Agency, Natural England and co-deliverers
## References