   Workplace Inspection Checklist / Report
This use of this workplace inspection checklist / report template is not mandatory and may be used and / or modified (for example expanded to cover issues / hazards appropriate to the area concerned).
Note: Links to the relevant JSP topic have been included in the sub-section titles where appropriate.
Area Inspected:					Date of inspection
Inspected by:		Role / Job Title
Previous identified actions
Hazard area			yes	no	n/a	Comments
Access and Egress (See also JSP 375 Chapter 3)
1.1 Are vehicle and pedestrian routes separated and kept clear?
1.2 Are all vehicles parked in the correct car parking bays / area?
1.3 Are there any vehicle parking infringements?
1.4 Are the speed limits around the estate clearly marked?
1.5 Are adequate control measures (for example, guardrails) in place at staffed gates to protect personnel from moving vehicles?
1.6 Where applicable, are external perimeter barriers secure and free of damage that could be exploited by a trespasser?
1.7 Are visitors requested to sign a visitor’s log?
1.8 Are visitors provided with a safety brief?
1.9 Are doors to restricted areas (for example, plant room) secured?
1.10 Are there arrangements for making sure the workplace is accessible for all personnel, for example, electronic doors fitted?
1.11 Are there snow and ice clearance procedures in place and is appropriate equipment available?
1.12 Are access and egress routes unobstructed?
1.13 Are access and egress routes clear of trip Hazards?
Asbestos (See also JSP 375 Chapter 36)
2.1 Are any areas containing asbestos identified and marked?
2.2 Are materials containing asbestos in good condition / sealed?
2.3 Is a copy of the asbestos management plan, risk assessment and asbestos register readily available to all personnel concerned?
Building infrastructure (See also JSP 850)
3.1 Is the building infrastructure in good repair? If not are issues such as roof leaking, windows letting in drafts, damp on wall and so on recorded, reported and actioned timely?
3.2 Has there been a change in use of the building?
Chemicals (See also JSP 375 Chapter 11)
4.1 Are all containers clearly labelled with contents, hazards warnings, and so on?
4.2 Is there a COSHH inventory in place and is it up to date?
4.3 Are COSHH assessments available for substances and products used / stored?
4.4 Are emergency and clean up procedures readily available?
4.5 Are substances and products used / stored correctly in minimum quantities and in secure cabinets?
4.6 Are substances and products in appropriate containers (not decanted into unsuitable / unmarked containers)?
4.7 Are Safety Data Sheets available?
Electrical Safety (See also JSP 375 Chapter 23)
5.1 Are electrical equipment and tools checked and maintained (in-date)?
5.2 Are power sockets free from overloaded?
5.3 Is the use of extension leads minimised; there is no daisy-chaining or use of cube adapters?
5.4 Are electrical panels secured?
5.5 Are all electrical fixtures in a serviceable condition?
5.6 Is there evidence that electrical safety checks have been conducted and include cables and cable runs? for example PAT, RCB / RCBO ratings.
5.7 Is there evidence that the charging of electrical vehicles and other lithium batteries are in line with JSP 375 Chapter 23?
Emergency Precautions (inclusive of fire) (see also JSP 375 Chapter 1 and JSP 426)
6.1 Are emergency instructions displayed throughout the workplace?
6.2 Are any local instructions, such as TagEvac displayed at the workplace where appropriate?
6.3 Is emergency lighting adequate?
6.4 Where applicable are emergency alarms able to be seen and heard by all personnel?
6.5 Are flammable materials stored in appropriate cabinets / facilities?
6.6 Are escape routes / exits clearly marked, always illuminated and kept clear?
6.7 Do final exit doors and panic hardware operate correctly e.g. not swollen or seized?
6.8 Are there sufficient fire signs?
6.9 Are firefighting appliances of the correct type, inspected, tested and in the correct place?
6.10 Are fire alarm tests and evacuation drills carried out and recorded on a regular basis?
6.11 Are PEEPs required for the area?
6.12 Where PEEPs are required, have they been completed?
6.13 If there is a PEEP or an evacuation chair required, are there sufficient suitably trained personnel available to provide assistance during an emergency?
First Aid (See also JPS 375 Chapter 5)
7.1 Are first aid arrangements, such as first aid kits, eyewash kits, medical countermeasures or trauma kits clearly identified, serviced, re-stocked, displayed and up to date?
7.2 If there are Defibrillators in the area, are the appropriate checks being completed and recorded iaw manufacturer’s instructions?
7.3 Are there sufficient first aid trained personnel in the area at all times the area is occupied, or alternative out of hours first aid arrangements publicised?
Housekeeping (See also JSP 375 Chapter 2, Chapter 6 and Chapter 8 and JSP 418 Leaflet 3)
8.1 Are floors in good condition, kept dry and clear of obstructions?
8.2 Are there means for mopping / wiping up spillages?
8.3 Are trailing leads and cables secured or covered?
8.4 Are guardrails, handrails, edge protection and so on in place and in good repair?
8.5 Are stairways in good condition, kept dry and clear of obstructions?
8.6 Are stair treads in good condition?
8.7 Do doors open and close correctly?
8.8 Are work areas, surfaces and walls kept clean and tidy?
8.9 Is waste being managed appropriately for example, segregated, stored and disposed of iaw the organisations procedures?
8.10 Are there hazard warning (yellow) signs in place where required?
8.11 Are there prohibit (red) signs in place where required?
8.12 Are there safe condition (green) signs in place where required?
8.13 Are there mandatory (blue) signs in place where required?
8.14 Are signs in prominent positions?
Lighting (See also JSP 375 Chapter 2 and Chapter 12)
9.1 Is the inside lighting suitable for the personnel and task, especially for intricate or safety critical work?
9.2 Is the outside lighting adequate and functioning correctly to enable safe movement around the site / area?
9.3 Do shadows, mirrors or glazing create hazards?
9.4 Are stairs and corridors properly lit?
9.5 Do any light sources need replacing?
9.6 Is there adequate natural light (are windows clean)?
9.7 Are blinds (where fitted) functioning properly?
Lifting, Manual Handling and Storage (See also JSP 375 Chapter 10)
10.1 Is manual and materials handling equipment available and used whenever possible? (e.g. sack trolley, dolly, cart conveyor, lift or pallet truck and so on)
10.2 Are personnel trained in manual handling with con sideration given to any disabilities and / or gender specific risks and inclusive practices?
10.3 Are heavy items stored at a convenient height to suit the user?
Storage Areas
11.1 Is racking / shelving in good repair, stabilised inspected and the load capacity clearly labelled where appropriate?
11.2 Is the weight of loads known and / or clearly marked?
11.3 Is the storage area bunded (if applicable)?
11.4 Is portable equipment stored safely and securely when necessary if not in use?
Machinery and Work Equipment (See also JSP 375 Chapter 22)
12.1 Has defective equipment been taken out of service when awaiting repair?
12.2 Are all guards on machinery in place and well maintained?
12.3 Are emergency power shut off buttons considered to be suitably visible and assessable?
12.4 Do personnel have the necessary competencies / training to safely operate machines and work equipment?
12.5 Is the use of equipment limited to competent staff and is a list of competent staff available?
12.6 Has machinery and work equipment been maintained in accordance with manufacturers / Defence recommended schedules?
12.7 Are in date certificates held for equipment that requires Statutory testing i.e. LOLER and are they displayed by that equipment?
Noise (See also JSP 375 Chapter 25)
13.1 Are noise levels acceptable or are adequate controls implemented to mitigate to an acceptable level?
13.2 Have noise assessments been completed for the area / building by competent personnel?
13.3 Are Hearing Protection Zones and entrances marked with the appropriate signage?
13.4 Are personnel wearing the appropriate hearing protection for the workplace activity?
Space (See also JSP 375 Chapter 2 and The Workplace (Health, Safety and Welfare Regulations 1992)
14.1 Is there sufficient space (at least 11 cubic metres) for personnel to perform their tasks safely and comfortably, taking into account ergonomic factors and the needs of different body types and gendered safety concerns?
Personal Protective Equipment (See also JSP 375 Chapter 15)
15.1 Is appropriate PPE provided to reflect the diversity of the workforce, so that it is effective, comfortable, well-fitting and used?
15.2 Is there evidence of user feedback from personnel?
15.3 Are PPE checks recorded (using MOD Forms 5030 and 5031), and defective equipment promptly replaced?
15.4 Is PPE stored in a clean and safe place?
15.5 Have users been trained in the safe use of their issued PPE?
15.6 Where PPE is required for an activity, is the product appropriately detailed within the risk assessment and being correctly worn by the user?
Temperature (working indoors) (See also JSP 375 Chapter 2)
16.1 Is the temperature comfortable, for example, at least 16OC or 13OC if most of the work involves rigorous physical effort?
16.2 Are there suitable areas where breaks can be taken away from hot / cold areas?
Toilets and Washing Facilities (See also JSP 375 Chapter 2)
17.1 Are toilets clean and in good repair?
17.2 Are washing facilities (hot water, soap and towels) serviceable?
17.3 Are sanitary disposal facilities provided where appropriate?
17.4 Is there clear access and egress to toilet and washing facilities for personnel with mobility issues?
17.5 Are accessible toilets and washing facilities close to where the task is being conducted?
Ventilation (See also JSP 375 Chapter 2)
18.1 Are ventilation systems to remove fumes, steam and so on working correctly and being used properly?
18.2 Are there records to show when the ventilation system(s) was last inspected, maintained and where necessary tested?
18.3 Is there an adequate supply of fresh air?
18.4 Do windows (that are designed to be opened) open and close properly?
Other issues
19.1 Is there evidence of effective communication (for example, safety Noticeboard, appropriate briefings and so on) of inspection findings, corrective actions, and safety improvements?
19.2 Is there sufficient fresh water / drink making facilities in the vicinity of where the task is being conducted?
19.3 Are break-out areas provided for personnel to step away from their working environment?
19.4 Are suitable desks, chairs, and adequate personal space provided, with consideration for accessibility needs related to disabilities and long-term or chronic medical conditions, to enable personnel to perform their tasks effectively?
19.5 Are there suitable facilities for nursing mothers to rest / feed / change nappies for their child? (See JSP 375 Chapter 20 (New and Expectant Mothers))

Checklist / Ref No	Remedial Action	Person / Responsible for Action	Date Action / Completed	Remarks

Executive summary

Commander / manager name: (and signature)		Role /Job title		Date