## Description of variables
Description of variables
| Unique ID | Plain English description with key details
| Load Factors | The ratio of average annual output to its total potentil output if a plant was to operate at full capacity over its lifetime.
| Pre development and construction phasing | Pre-development and construction phasing of spend. For modelling purposes cost associated with pre-developmet and construction are phased annually, according to a typical expenditure profile and project timing assumptions.The phasing factor used for the analysis is reported on a % basis to the nearest interger.
| Availability | Availability. Defined as the maximum potential time that a generation plant is available to produce electricity annually. The availability factor is reported as a % value to two decimal places. The factor varies between different technologies, reflecting differences in how generation assets are operated and the downtime required for maintenance. For example, availability of a PV plant is 99% allowing for maintenance downtime, parts replacement, panel washing and hours of sunlight.
| Net Power | Net power represents the maximum available generation capacity taking into account parasitic load requirements. Capacity is reported as a MW figure to one decmal place.
| Plant operating period | Operation period. The expected time period over which a generation project can operate and produce electricity. It is reported to one decimal place (e.g. 25.0 years).
| Capex learning | How capital costs change over time into the future. This is based on the year construction starts.
| Opex learning | Opex cost adjustment. The cost of different technologies is expected to change over time. For each technology there is an opex cost forecast which takes into account stakeholder expectationsand literature. Using stakeholder and literature data there is a cost adjustment index that could be appplied to opex costs. The adjustment factor is reported on a % basis to two decimal places.
| Pre Development Period | Pre-development period. The time period required by a generation projects to achieve technical design, planning permission and regulatory compliance. It is reported as a value to one decimal place (e.g. 1.5 years).
| Construction Period | Construction period. The time period required by a generation projects to bring it to operational readiness. It is reported as value to one decimal place (e.g. 2.0 years). The assumption includes delivery of a generator and associated infrastructure and grid connection.
| Pre Development Cost | Pre-development cost is assumed to comprise of two sets of cost which include two seperate line items within the LCM template: 1) pre-licencing, technical and design cost; and 2) regulatory, licensing and public enquiry cost.. It should be noted that due to uncertainty pre-development costs are assumed to remain constant. Please note that pre-development cost is reported on a £/kW basis.
| Construction Cost | Construction cost is assumed to include project design, procurement and EPC construction cost. In addition, other capital costs such as site works, roads and utility connections (water, gas etc.) were captured here. Other generation equipment such as CHP, boiler and other equipment were also captured. It should be noted that capital cost excludes interest costs during construction and the cost of land. Please note that construction cost is reported on a £/kW installed basis.
| Infrastructure Cost | Infrastructure cost. Assumed to comprise grid connection cost (e.g. underground cable costs), local substation and substation cost. The boundary of cost is assumed to include the site where the generator is located, associated electrical infrastructure and connection to the nearest point on the electricity grid. Please note that infrastructure is reported as a total cost in £'000.
| Fixed Opex | Fixed O&M cost. Assumed to represent the ongoing cost of keeping a generator ready for operation. It comprise of fixed elements of cost including labour, planned / unplanned maintenance, spares and consumables. It is reported on a £/MW basis to the nearest integer.
| Variable O&M | Variable O&M cost. Is output related expenditure and calculated on a £/MWh basis. The cost is assumed to include output related expenditures such as disposal and treatement of waste.
| Insurance Cost | Insurance cost. Represents the ongoing annual cost of insuring a generation asset. It is reported on a £/MW/ basis to the nearest integer.
| UoS | Network Use of System (UoS) charges. These are the costs of connecting to and using the transmission network. The UoS cost includes TNUoS and DUoS costs only calculated as a £/kW/per annum. BSUoS cost is charged to a generator on a £/MWh basis. For the analysis BEIS has therefore included the BSUoS cost element with the variable operating cost. It should be noted the analysis does not take into account or estimate system wide costs.
| Gate fees | Gate fees are the fees charged for disposal/treatment of waste, which is a revenue for EfW/ACT technologies.
| Heat revenue | Heat revenues from selling heat to an offtaker are subtracted from LCOE calculations, relevant for CHP technologies.
| Net efficiency | Efficency (Low heating value) - used to calculate fuel required (MWh) for generation
| Decommissioning costs | Cost of decommissioning the project at end of life, plus any revenue from scrappage value. Typically modelled as a proportion of construction costs, with the exception of offshore wind.
| RQM | Renewable Qualifying Multiplier: In the Contracts for Difference scheme generators only receive CfD subsidy payments for the proportion of their output that relates to qualifying, low-carbon generation - known as the Renewables Qualifying Multiplier (RQM). For real-world payments, this is calculated based on monthly fuel data provided by the generator, but for CfD modelling purposes we assume a flat 50%.
| Deflators | A conversion factor used to convert GBP in e.g 2017 prices to 2014 prices (the model is based on 2014£)
| Hurdle rates | Minimum rate of return required for project.

## Onshore Wind LCOE
Example LCOE calculation - Onshore wind
| Technology |  | Onshore Wind |  | 2024 prices
| Low/Medium/High |  | Medium
| Project start |  | 2020 |  |  | <- represent input cells required
| Construction start |  | 2028 |  | Note that values may not exactly align with those in the generation costs report and Annex A due to rounding of inputs.
| Operation start |  | 2030
| Plant decommissioned |  | 2065
Heat revenue ends
| Net power output | MW | 51.6
| Net efficiency (LHV) | % | 100%
| Hurdle rate | % | 7.6%
| Hours per year | hours | 8760
| Total levelised cost excluding decommissioning | £/MWh | 57.9703
[7 empty] | Project start | [7 empty] | Construction start |  | Operation start | [34 empty] | Plant decommissioned
[7 empty] | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081
| Discounting | % |  |  |  |  | 100% | 92.94% | 86.37% | 80.27% | 74.6% | 69.33% | 64.44% | 59.88% | 55.65% | 51.72% | 48.07% | 44.68% | 41.52% | 38.59% | 35.86% | 33.33% | 30.97% | 28.79% | 26.75% | 24.86% | 23.11% | 21.48% | 19.96% | 18.55% | 17.24% | 16.02% | 14.89% | 13.84% | 12.86% | 11.95% | 11.11% | 10.32% | 9.594% | 8.917% | 8.287% | 7.701% | 7.157% | 6.652% | 6.182% | 5.745% | 5.34% | 4.962% | 4.612% | 4.286% | 3.983% | 3.702% | 3.441% | 3.198% | 2.972% | 2.762% | 2.567% | 2.385% | 2.217% | 2.06% | 1.915% | 1.78% | 1.654% | 1.537% | 1.429% | 1.328% | 1.234% | 1.147%
| Plant Output |  |  |  | Total
| Gross load factor | % |  | First value in load factor trajectory relates to 1st year of operation |  |  | Operation start 2030: 36.4%; Operation start 2031: 36.4%; Operation start 2032: 36.4%; Operation start 2033: 36.4%; Operation start 2034: 36.4%; Operation start 2035: 36.4%; Operation start 2036: 36.4%; Operation start 2037: 36.4%; Operation start 2038: 36.4%; Operation start 2039: 36.4%; Operation start 2040: 36.4%; Operation start 2041: 36.4%; Operation start 2042: 36.4%; Operation start 2043: 36.4%; Operation start 2044: 36.4%; Operation start 2045: 36.4%; Operation start 2046: 36.4%; Operation start 2047: 36.4%; Operation start 2048: 36.4%; Operation start 2049: 36.4%; Operation start 2050: 36.4%; Operation start 2051: 36.4%; Operation start 2052: 36.4%; Operation start 2053: 36.4%; Operation start 2054: 36.4%; Operation start 2055: 36.4%; Operation start 2056: 36.4%; Operation start 2057: 36.4%; Operation start 2058: 36.4%; Operation start 2059: 36.4%; Operation start 2060: 36.4%; Operation start 2061: 36.4%; Operation start 2062: 36.4%; Operation start 2063: 36.4%; Operation start 2064: 36.4%
| Availability | % |  | First value in availability trajectory relates to 1st year of operation |  |  | Operation start 2030: 100%; Operation start 2031: 100%; Operation start 2032: 100%; Operation start 2033: 100%; Operation start 2034: 100%; Operation start 2035: 100%; Operation start 2036: 100%; Operation start 2037: 100%; Operation start 2038: 100%; Operation start 2039: 100%; Operation start 2040: 100%; Operation start 2041: 100%; Operation start 2042: 100%; Operation start 2043: 100%; Operation start 2044: 100%; Operation start 2045: 100%; Operation start 2046: 100%; Operation start 2047: 100%; Operation start 2048: 100%; Operation start 2049: 100%; Operation start 2050: 100%; Operation start 2051: 100%; Operation start 2052: 100%; Operation start 2053: 100%; Operation start 2054: 100%; Operation start 2055: 100%; Operation start 2056: 100%; Operation start 2057: 100%; Operation start 2058: 100%; Operation start 2059: 100%; Operation start 2060: 100%; Operation start 2061: 100%; Operation start 2062: 100%; Operation start 2063: 100%; Operation start 2064: 100%
| Generation | MWh |  | Net power output x Gross load factor x Availability x Hours per year |  |  | Operation start 2030: 164533.824; Operation start 2031: 164533.824; Operation start 2032: 164533.824; Operation start 2033: 164533.824; Operation start 2034: 164533.824; Operation start 2035: 164533.824; Operation start 2036: 164533.824; Operation start 2037: 164533.824; Operation start 2038: 164533.824; Operation start 2039: 164533.824; Operation start 2040: 164533.824; Operation start 2041: 164533.824; Operation start 2042: 164533.824; Operation start 2043: 164533.824; Operation start 2044: 164533.824; Operation start 2045: 164533.824; Operation start 2046: 164533.824; Operation start 2047: 164533.824; Operation start 2048: 164533.824; Operation start 2049: 164533.824; Operation start 2050: 164533.824; Operation start 2051: 164533.824; Operation start 2052: 164533.824; Operation start 2053: 164533.824; Operation start 2054: 164533.824; Operation start 2055: 164533.824; Operation start 2056: 164533.824; Operation start 2057: 164533.824; Operation start 2058: 164533.824; Operation start 2059: 164533.824; Operation start 2060: 164533.824; Operation start 2061: 164533.824; Operation start 2062: 164533.824; Operation start 2063: 164533.824; Operation start 2064: 164533.824
| Discounted generation | MWh |  | Generation x Discounting factor | 1033537.4128 |  | Operation start 2030: 79091.9855; Operation start 2031: 73505.5627; Operation start 2032: 68313.72; Operation start 2033: 63488.5874; Operation start 2034: 59004.2634; Operation start 2035: 54836.676; Operation start 2036: 50963.4535; Operation start 2037: 47363.8044; Operation start 2038: 44018.4056; Operation start 2039: 40909.2989; Operation start 2040: 38019.7945; Operation start 2041: 35334.3815; Operation start 2042: 32838.6445; Operation start 2043: 30519.1863; Operation start 2044: 28363.5561; Operation start 2045: 26360.1822; Operation start 2046: 24498.3106; Operation start 2047: 22767.9467; Operation start 2048: 21159.8017; Operation start 2049: 19665.2433; Operation start 2050: 18276.2484; Operation start 2051: 16985.3609; Operation start 2052: 15785.6514; Operation start 2053: 14670.6798; Operation start 2054: 13634.4608; Operation start 2055: 12671.4319; Operation start 2056: 11776.4237; Operation start 2057: 10944.6317; Operation start 2058: 10171.5908; Operation start 2059: 9453.1513; Operation start 2060: 8785.4566; Operation start 2061: 8164.9225; Operation start 2062: 7588.2179; Operation start 2063: 7052.2472; Operation start 2064: 6554.133
| Pre-development |  |  |  | 3.3791
| Phasing profile | % |  | First value in phasing profile relates to 1st year of pre-development |  |  | Project start 2020: 13.33%; Project start 2021: 13.33%; Project start 2022: 13.33%; Project start 2023: 13.33%; Project start 2024: 13.33%; Project start 2025: 13.33%; Project start 2026: 13.33%; Project start 2027: 6.7%
| Pre-licensing costs, technical and design | £/kW |  |  | 84.88
|  | £m |  | £/kW x Net power output (MW) x 1000 / 1000000 x phasing profile | 4.3798 |  | Project start 2020: 0.58397; Project start 2021: 0.58397; Project start 2022: 0.58397; Project start 2023: 0.58397; Project start 2024: 0.58397; Project start 2025: 0.58397; Project start 2026: 0.58397; Project start 2027: 0.29345
| Regulatory + licensing + public enquiry | £/kW |  |  | 0
|  | £m |  | £/kW x Net power output (MW) x 1000 / 1000000 x phasing profile | 0 |  | Project start 2020: 0; Project start 2021: 0; Project start 2022: 0; Project start 2023: 0; Project start 2024: 0; Project start 2025: 0; Project start 2026: 0; Project start 2027: 0
| Total pre-development costs | £m |  | Sum of pre-licensing + Regulatory |  |  | Project start 2020: 0.58397; Project start 2021: 0.58397; Project start 2022: 0.58397; Project start 2023: 0.58397; Project start 2024: 0.58397; Project start 2025: 0.58397; Project start 2026: 0.58397; Project start 2027: 0.29345
| Discounted pre-development costs | £m |  | Pre-development costs x Discounting factor | 3.4924 |  | Project start 2020: 0.58397; Project start 2021: 0.54273; Project start 2022: 0.50439; Project start 2023: 0.46877; Project start 2024: 0.43566; Project start 2025: 0.40489; Project start 2026: 0.37629; Project start 2027: 0.17573
| Construction costs |  |  |  | 42.3136
| Construction phasing profile | % |  | First year in phasing profile relates to 1st year of construction |  |  | Construction start 2028: 57.1%; Construction start 2029: 42.9%
| Capital cost | £/kW |  |  | 1255
| Capital cost after accounting for cost adjustment | £m |  | £/kW x cost adjustment x Net power output (MW) x 1000 / 1000000 x phasing profile | 64.758 |  | Construction start 2028: 36.9768; Construction start 2029: 27.7812
| Infrastructure cost | £'000s |  |  | 16276.0252
|  | £m |  | £'000s /1000 x phasing profile | 16.276 |  | Construction start 2028: 9.2936; Construction start 2029: 6.9824
| Totl construction costs | £m |  | Sum of capital costs + infrastructure costs |  |  | Construction start 2028: 46.2704; Construction start 2029: 34.7636
| Discounted construction costs | £m |  | Construction costs x Discounting factor | 43.7327 |  | Construction start 2028: 25.7517; Construction start 2029: 17.981
| Fixed O&M |  |  |  | 12.2776
| Fixed O&M | £/MW |  | First year in O&M trajectory relates to 1st year of operation |  |  | Operation start 2030: 18447.2723; Operation start 2031: 18447.2723; Operation start 2032: 18447.2723; Operation start 2033: 18447.2723; Operation start 2034: 18447.2723; Operation start 2035: 18447.2723; Operation start 2036: 18447.2723; Operation start 2037: 18447.2723; Operation start 2038: 18447.2723; Operation start 2039: 18447.2723; Operation start 2040: 18447.2723; Operation start 2041: 18447.2723; Operation start 2042: 18447.2723; Operation start 2043: 18447.2723; Operation start 2044: 18447.2723; Operation start 2045: 18447.2723; Operation start 2046: 18447.2723; Operation start 2047: 18447.2723; Operation start 2048: 18447.2723; Operation start 2049: 18447.2723; Operation start 2050: 18447.2723; Operation start 2051: 18447.2723; Operation start 2052: 18447.2723; Operation start 2053: 18447.2723; Operation start 2054: 18447.2723; Operation start 2055: 18447.2723; Operation start 2056: 18447.2723; Operation start 2057: 18447.2723; Operation start 2058: 18447.2723; Operation start 2059: 18447.2723; Operation start 2060: 18447.2723; Operation start 2061: 18447.2723; Operation start 2062: 18447.2723; Operation start 2063: 18447.2723; Operation start 2064: 18447.2723
|  | £m |  | £/MW x Net power output (MW) /1000000 |  |  | Operation start 2030: 0.95188; Operation start 2031: 0.95188; Operation start 2032: 0.95188; Operation start 2033: 0.95188; Operation start 2034: 0.95188; Operation start 2035: 0.95188; Operation start 2036: 0.95188; Operation start 2037: 0.95188; Operation start 2038: 0.95188; Operation start 2039: 0.95188; Operation start 2040: 0.95188; Operation start 2041: 0.95188; Operation start 2042: 0.95188; Operation start 2043: 0.95188; Operation start 2044: 0.95188; Operation start 2045: 0.95188; Operation start 2046: 0.95188; Operation start 2047: 0.95188; Operation start 2048: 0.95188; Operation start 2049: 0.95188; Operation start 2050: 0.95188; Operation start 2051: 0.95188; Operation start 2052: 0.95188; Operation start 2053: 0.95188; Operation start 2054: 0.95188; Operation start 2055: 0.95188; Operation start 2056: 0.95188; Operation start 2057: 0.95188; Operation start 2058: 0.95188; Operation start 2059: 0.95188; Operation start 2060: 0.95188; Operation start 2061: 0.95188; Operation start 2062: 0.95188; Operation start 2063: 0.95188; Operation start 2064: 0.95188
| Insurance | £/MW |  |  |  |  | Operation start 2030: 3790.9067; Operation start 2031: 3790.9067; Operation start 2032: 3790.9067; Operation start 2033: 3790.9067; Operation start 2034: 3790.9067; Operation start 2035: 3790.9067; Operation start 2036: 3790.9067; Operation start 2037: 3790.9067; Operation start 2038: 3790.9067; Operation start 2039: 3790.9067; Operation start 2040: 3790.9067; Operation start 2041: 3790.9067; Operation start 2042: 3790.9067; Operation start 2043: 3790.9067; Operation start 2044: 3790.9067; Operation start 2045: 3790.9067; Operation start 2046: 3790.9067; Operation start 2047: 3790.9067; Operation start 2048: 3790.9067; Operation start 2049: 3790.9067; Operation start 2050: 3790.9067; Operation start 2051: 3790.9067; Operation start 2052: 3790.9067; Operation start 2053: 3790.9067; Operation start 2054: 3790.9067; Operation start 2055: 3790.9067; Operation start 2056: 3790.9067; Operation start 2057: 3790.9067; Operation start 2058: 3790.9067; Operation start 2059: 3790.9067; Operation start 2060: 3790.9067; Operation start 2061: 3790.9067; Operation start 2062: 3790.9067; Operation start 2063: 3790.9067; Operation start 2064: 3790.9067
|  | £m |  | £/MW x Net power output (MW) /1000000 |  |  | Operation start 2030: 0.19561; Operation start 2031: 0.19561; Operation start 2032: 0.19561; Operation start 2033: 0.19561; Operation start 2034: 0.19561; Operation start 2035: 0.19561; Operation start 2036: 0.19561; Operation start 2037: 0.19561; Operation start 2038: 0.19561; Operation start 2039: 0.19561; Operation start 2040: 0.19561; Operation start 2041: 0.19561; Operation start 2042: 0.19561; Operation start 2043: 0.19561; Operation start 2044: 0.19561; Operation start 2045: 0.19561; Operation start 2046: 0.19561; Operation start 2047: 0.19561; Operation start 2048: 0.19561; Operation start 2049: 0.19561; Operation start 2050: 0.19561; Operation start 2051: 0.19561; Operation start 2052: 0.19561; Operation start 2053: 0.19561; Operation start 2054: 0.19561; Operation start 2055: 0.19561; Operation start 2056: 0.19561; Operation start 2057: 0.19561; Operation start 2058: 0.19561; Operation start 2059: 0.19561; Operation start 2060: 0.19561; Operation start 2061: 0.19561; Operation start 2062: 0.19561; Operation start 2063: 0.19561; Operation start 2064: 0.19561
| Connection and UoS charge | £/MW |  |  |  |  | Operation start 2030: 17730.2674; Operation start 2031: 17730.2674; Operation start 2032: 17730.2674; Operation start 2033: 17730.2674; Operation start 2034: 17730.2674; Operation start 2035: 17730.2674; Operation start 2036: 17730.2674; Operation start 2037: 17730.2674; Operation start 2038: 17730.2674; Operation start 2039: 17730.2674; Operation start 2040: 17730.2674; Operation start 2041: 17730.2674; Operation start 2042: 17730.2674; Operation start 2043: 17730.2674; Operation start 2044: 17730.2674; Operation start 2045: 17730.2674; Operation start 2046: 17730.2674; Operation start 2047: 17730.2674; Operation start 2048: 17730.2674; Operation start 2049: 17730.2674; Operation start 2050: 17730.2674; Operation start 2051: 17730.2674; Operation start 2052: 17730.2674; Operation start 2053: 17730.2674; Operation start 2054: 17730.2674; Operation start 2055: 17730.2674; Operation start 2056: 17730.2674; Operation start 2057: 17730.2674; Operation start 2058: 17730.2674; Operation start 2059: 17730.2674; Operation start 2060: 17730.2674; Operation start 2061: 17730.2674; Operation start 2062: 17730.2674; Operation start 2063: 17730.2674; Operation start 2064: 17730.2674
|  | £m |  | £/MW x Net power output (MW) /1000000 |  |  | Operation start 2030: 0.91488; Operation start 2031: 0.91488; Operation start 2032: 0.91488; Operation start 2033: 0.91488; Operation start 2034: 0.91488; Operation start 2035: 0.91488; Operation start 2036: 0.91488; Operation start 2037: 0.91488; Operation start 2038: 0.91488; Operation start 2039: 0.91488; Operation start 2040: 0.91488; Operation start 2041: 0.91488; Operation start 2042: 0.91488; Operation start 2043: 0.91488; Operation start 2044: 0.91488; Operation start 2045: 0.91488; Operation start 2046: 0.91488; Operation start 2047: 0.91488; Operation start 2048: 0.91488; Operation start 2049: 0.91488; Operation start 2050: 0.91488; Operation start 2051: 0.91488; Operation start 2052: 0.91488; Operation start 2053: 0.91488; Operation start 2054: 0.91488; Operation start 2055: 0.91488; Operation start 2056: 0.91488; Operation start 2057: 0.91488; Operation start 2058: 0.91488; Operation start 2059: 0.91488; Operation start 2060: 0.91488; Operation start 2061: 0.91488; Operation start 2062: 0.91488; Operation start 2063: 0.91488; Operation start 2064: 0.91488
| Total fixed O&M | £m |  | Fixed O&M + Insurance + Connection and UoS charge |  |  | Operation start 2030: 2.0624; Operation start 2031: 2.0624; Operation start 2032: 2.0624; Operation start 2033: 2.0624; Operation start 2034: 2.0624; Operation start 2035: 2.0624; Operation start 2036: 2.0624; Operation start 2037: 2.0624; Operation start 2038: 2.0624; Operation start 2039: 2.0624; Operation start 2040: 2.0624; Operation start 2041: 2.0624; Operation start 2042: 2.0624; Operation start 2043: 2.0624; Operation start 2044: 2.0624; Operation start 2045: 2.0624; Operation start 2046: 2.0624; Operation start 2047: 2.0624; Operation start 2048: 2.0624; Operation start 2049: 2.0624; Operation start 2050: 2.0624; Operation start 2051: 2.0624; Operation start 2052: 2.0624; Operation start 2053: 2.0624; Operation start 2054: 2.0624; Operation start 2055: 2.0624; Operation start 2056: 2.0624; Operation start 2057: 2.0624; Operation start 2058: 2.0624; Operation start 2059: 2.0624; Operation start 2060: 2.0624; Operation start 2061: 2.0624; Operation start 2062: 2.0624; Operation start 2063: 2.0624; Operation start 2064: 2.0624
| Discounted Total Fixed O&M | £m |  | Total Fixed O&M x Discounting factor | 12.6894 |  | Operation start 2030: 0.99139; Operation start 2031: 0.92137; Operation start 2032: 0.85629; Operation start 2033: 0.79581; Operation start 2034: 0.7396; Operation start 2035: 0.68736; Operation start 2036: 0.63881; Operation start 2037: 0.59369; Operation start 2038: 0.55175; Operation start 2039: 0.51278; Operation start 2040: 0.47656; Operation start 2041: 0.4429; Operation start 2042: 0.41162; Operation start 2043: 0.38255; Operation start 2044: 0.35553; Operation start 2045: 0.33042; Operation start 2046: 0.30708; Operation start 2047: 0.28539; Operation start 2048: 0.26523; Operation start 2049: 0.2465; Operation start 2050: 0.22909; Operation start 2051: 0.21291; Operation start 2052: 0.19787; Operation start 2053: 0.18389; Operation start 2054: 0.1709; Operation start 2055: 0.15883; Operation start 2056: 0.14761; Operation start 2057: 0.13719; Operation start 2058: 0.1275; Operation start 2059: 0.11849; Operation start 2060: 0.11012; Operation start 2061: 0.10234; Operation start 2062: 0.095116; Operation start 2063: 0.088397; Operation start 2064: 0.082154
| Variable O&M |  |  |  | 0
| Variable O&M | £/MWh |  | First year in O&M trajectory relates to 1st year of operation |  |  | Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Operation start 2055: 0; Operation start 2056: 0; Operation start 2057: 0; Operation start 2058: 0; Operation start 2059: 0; Operation start 2060: 0; Operation start 2061: 0; Operation start 2062: 0; Operation start 2063: 0; Operation start 2064: 0
|  | £m |  | £/MWh x generation /1000000 |  |  | Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Operation start 2055: 0; Operation start 2056: 0; Operation start 2057: 0; Operation start 2058: 0; Operation start 2059: 0; Operation start 2060: 0; Operation start 2061: 0; Operation start 2062: 0; Operation start 2063: 0; Operation start 2064: 0
| Discounted Variable O&M | £m |  | Variable O&M x Discounting factor | 0 |  | Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Operation start 2055: 0; Operation start 2056: 0; Operation start 2057: 0; Operation start 2058: 0; Operation start 2059: 0; Operation start 2060: 0; Operation start 2061: 0; Operation start 2062: 0; Operation start 2063: 0; Operation start 2064: 0
| Fuel costs |  |  |  | 0
| Fuel price | £/MWh |  |  |  |  | Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Operation start 2055: 0; Operation start 2056: 0; Operation start 2057: 0; Operation start 2058: 0; Operation start 2059: 0; Operation start 2060: 0; Operation start 2061: 0; Operation start 2062: 0; Operation start 2063: 0; Operation start 2064: 0
| Fuel consumption | MWh |  | Generation / fuel efficiency |  |  | Operation start 2030: 164533.824; Operation start 2031: 164533.824; Operation start 2032: 164533.824; Operation start 2033: 164533.824; Operation start 2034: 164533.824; Operation start 2035: 164533.824; Operation start 2036: 164533.824; Operation start 2037: 164533.824; Operation start 2038: 164533.824; Operation start 2039: 164533.824; Operation start 2040: 164533.824; Operation start 2041: 164533.824; Operation start 2042: 164533.824; Operation start 2043: 164533.824; Operation start 2044: 164533.824; Operation start 2045: 164533.824; Operation start 2046: 164533.824; Operation start 2047: 164533.824; Operation start 2048: 164533.824; Operation start 2049: 164533.824; Operation start 2050: 164533.824; Operation start 2051: 164533.824; Operation start 2052: 164533.824; Operation start 2053: 164533.824; Operation start 2054: 164533.824; Operation start 2055: 164533.824; Operation start 2056: 164533.824; Operation start 2057: 164533.824; Operation start 2058: 164533.824; Operation start 2059: 164533.824; Operation start 2060: 164533.824; Operation start 2061: 164533.824; Operation start 2062: 164533.824; Operation start 2063: 164533.824; Operation start 2064: 164533.824
| Fuel cost | £m |  | Gate fee price/fuel price x fuel consumption /1000000 |  |  | Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Operation start 2055: 0; Operation start 2056: 0; Operation start 2057: 0; Operation start 2058: 0; Operation start 2059: 0; Operation start 2060: 0; Operation start 2061: 0; Operation start 2062: 0; Operation start 2063: 0; Operation start 2064: 0
| Discounted fuel cost | £m |  | Gate fee cost/fuel cost x Discounting Factor | 0 |  | Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Operation start 2055: 0; Operation start 2056: 0; Operation start 2057: 0; Operation start 2058: 0; Operation start 2059: 0; Operation start 2060: 0; Operation start 2061: 0; Operation start 2062: 0; Operation start 2063: 0; Operation start 2064: 0
| Heat revenues (for CHPs) |  |  |  | 0
| Heat revenue price | £/MWh |  | Heat revenue price, a negative value is this is revenue from selling heat produced. Lasts for 20 years as this is the assumed length of heat offtaker contracts |  |  | Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Operation start 2055: 0; Operation start 2056: 0; Operation start 2057: 0; Operation start 2058: 0; Operation start 2059: 0; Operation start 2060: 0; Operation start 2061: 0; Operation start 2062: 0; Operation start 2063: 0; Operation start 2064: 0
| Heat revenue | £m |  | Heat revenue price x Generation |  |  | Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Operation start 2055: 0; Operation start 2056: 0; Operation start 2057: 0; Operation start 2058: 0; Operation start 2059: 0; Operation start 2060: 0; Operation start 2061: 0; Operation start 2062: 0; Operation start 2063: 0; Operation start 2064: 0
| Discounted heat revenue | £m |  | Heat revenue x Discounting factor | 0 |  | Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Operation start 2055: 0; Operation start 2056: 0; Operation start 2057: 0; Operation start 2058: 0; Operation start 2059: 0; Operation start 2060: 0; Operation start 2061: 0; Operation start 2062: 0; Operation start 2063: 0; Operation start 2064: 0
Note on B25: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Doesn’t take into account load factor adjustment?

## CCGT LCOE
Example LCOE calculation - CCGT
| Technology |  | CCGT H Class
| Low/Medium/High |  | Medium |  | 2024 prices
| Project start |  | 2025
| Construction start |  | 2027 |  |  | <- represent input cells required
| Operation start |  | 2030 |  | Note that values may not exactly align with those in the generation costs report and Annex A due to rounding of inputs.
| Plant decommissioned |  | 2055
| Heat revenue ends |  | 2055
| Net power output | MW | 1666 |  | Note that the Carbon price used in our modelling is internal assumptions not the published figure below
| Net efficiency (LHV) | % | 60.23%
| Hurdle rate | % | 8.9%
| Hours per year | hours | 8760
| Fuel calorific value (gross) | MWh/therm | 0.0293
| Total levelised cost excluding decommissioning | £/MWh | 132.9002
[7 empty] | Project start |  | Construction start |  |  | Operation start | [24 empty] | Plant decommissioned
[7 empty] | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054 | 2055 | 2056 | 2057 | 2058 | 2059 | 2060 | 2061 | 2062 | 2063 | 2064 | 2065 | 2066 | 2067 | 2068 | 2069 | 2070 | 2071 | 2072 | 2073 | 2074 | 2075 | 2076 | 2077 | 2078 | 2079 | 2080 | 2081
| Discounting | % |  |  |  |  | 100% | 91.83% | 84.32% | 77.43% | 71.1% | 65.29% | 59.96% | 55.06% | 50.56% | 46.42% | 42.63% | 39.15% | 35.95% | 33.01% | 30.31% | 27.83% | 25.56% | 23.47% | 21.55% | 19.79% | 18.17% | 16.69% | 15.32% | 14.07% | 12.92% | 11.87% | 10.9% | 10.01% | 9.188% | 8.437% | 7.748% | 7.114% | 6.533% | 5.999% | 5.509% | 5.059% | 4.645% | 4.265% | 3.917% | 3.597% | 3.303% | 3.033% | 2.785% | 2.557% | 2.348% | 2.156% | 1.98% | 1.818% | 1.67% | 1.533% | 1.408% | 1.293% | 1.187% | 1.09% | 1.001% | 0.9193% | 0.8442%
| Plant Output |  |  |  | Total
| Gross load factor | % |  | First value in load factor trajectory relates to 1st year of operation |  |  | Operation start 2030: 30%; Operation start 2031: 30%; Operation start 2032: 30%; Operation start 2033: 30%; Operation start 2034: 30%; Operation start 2035: 30%; Operation start 2036: 30%; Operation start 2037: 30%; Operation start 2038: 30%; Operation start 2039: 30%; Operation start 2040: 30%; Operation start 2041: 30%; Operation start 2042: 30%; Operation start 2043: 30%; Operation start 2044: 30%; Operation start 2045: 30%; Operation start 2046: 30%; Operation start 2047: 30%; Operation start 2048: 30%; Operation start 2049: 30%; Operation start 2050: 30%; Operation start 2051: 30%; Operation start 2052: 30%; Operation start 2053: 30%; Operation start 2054: 30%
| Availability | % |  | First value in availability trajectory relates to 1st year of operation |  |  | Operation start 2030: 93%; Operation start 2031: 93%; Operation start 2032: 93%; Operation start 2033: 93%; Operation start 2034: 93%; Operation start 2035: 93%; Operation start 2036: 93%; Operation start 2037: 93%; Operation start 2038: 93%; Operation start 2039: 93%; Operation start 2040: 93%; Operation start 2041: 93%; Operation start 2042: 93%; Operation start 2043: 93%; Operation start 2044: 93%; Operation start 2045: 93%; Operation start 2046: 93%; Operation start 2047: 93%; Operation start 2048: 93%; Operation start 2049: 93%; Operation start 2050: 93%; Operation start 2051: 93%; Operation start 2052: 93%; Operation start 2053: 93%; Operation start 2054: 93%
| Generation | MWh |  | Net power output x Gross load factor x Availability x Hours per year |  |  | Operation start 2030: 4071770.64; Operation start 2031: 4071770.64; Operation start 2032: 4071770.64; Operation start 2033: 4071770.64; Operation start 2034: 4071770.64; Operation start 2035: 4071770.64; Operation start 2036: 4071770.64; Operation start 2037: 4071770.64; Operation start 2038: 4071770.64; Operation start 2039: 4071770.64; Operation start 2040: 4071770.64; Operation start 2041: 4071770.64; Operation start 2042: 4071770.64; Operation start 2043: 4071770.64; Operation start 2044: 4071770.64; Operation start 2045: 4071770.64; Operation start 2046: 4071770.64; Operation start 2047: 4071770.64; Operation start 2048: 4071770.64; Operation start 2049: 4071770.64; Operation start 2050: 4071770.64; Operation start 2051: 4071770.64; Operation start 2052: 4071770.64; Operation start 2053: 4071770.64; Operation start 2054: 4071770.64
| Discounted generation | MWh |  | Generation x Discounting factor | 28669851.4162 |  | Operation start 2030: 2658544.3383; Operation start 2031: 2441271.2014; Operation start 2032: 2241755.0059; Operation start 2033: 2058544.5417; Operation start 2034: 1890307.2008; Operation start 2035: 1735819.2845; Operation start 2036: 1593957.1024; Operation start 2037: 1463688.7992; Operation start 2038: 1344066.8496; Operation start 2039: 1234221.1659; Operation start 2040: 1133352.7694; Operation start 2041: 1040727.9792; Operation start 2042: 955673.0755; Operation start 2043: 877569.399; Operation start 2044: 805848.8512; Operation start 2045: 739989.7624; Operation start 2046: 679513.0968; Operation start 2047: 623978.9686; Operation start 2048: 572983.4422; Operation start 2049: 526155.5943; Operation start 2050: 483154.8157; Operation start 2051: 443668.334; Operation start 2052: 407408.9385; Operation start 2053: 374112.8912; Operation start 2054: 343538.0084
| Pre-development |  |  |  | 0.94835
| Phasing profile | % |  | First value in phasing profile relates to 1st year of pre-development |  |  | Project start 2025: 43.5%; Project start 2026: 56.5%
| Pre-licensing costs, technical and design | £/kW |  |  | 17.11
|  | £m |  | £/kW x Net power output (MW) x 1000 / 1000000 x phasing profile | 28.5053 |  | Project start 2025: 12.3998; Project start 2026: 16.1055
| Regulatory + licensing + public enquiry | £/kW |  |  | 0
|  | £m |  | £/kW x Net power output (MW) x 1000 / 1000000 x phasing profile | 0 |  | Project start 2025: 0; Project start 2026: 0
| Total pre-development costs | £m |  | Sum of pre-licensing + Regulatory |  |  | Project start 2025: 12.3998; Project start 2026: 16.1055
| Discounted pre-development costs | £m |  | Pre-development costs x Discounting factor | 27.189 |  | Project start 2025: 12.3998; Project start 2026: 14.7892
| Construction costs |  |  |  | 45.1434
| Construction phasing profile | % |  | First year in phasing profile relates to 1st year of construction |  |  | Construction start 2027: 35%; Construction start 2028: 45%; Construction start 2029: 20%
| Capital cost | £/kW |  |  | 974
| Capital cost after accounting for cost adjustment | £m |  | £/kW x cost adjustment x Net power output (MW) x 1000 / 1000000 x phasing profile | 1622.684 |  | Construction start 2027: 567.9394; Construction start 2028: 730.2078; Construction start 2029: 324.5368
| Infrastructure cost | £'000s |  |  | 24420
|  | £m |  | £'000s /1000 x phasing profile | 24.42 |  | Construction start 2027: 8.547; Construction start 2028: 10.989; Construction start 2029: 4.884
| Totl construction costs | £m |  | Sum of capital costs + infrastructure costs |  |  | Construction start 2027: 576.4864; Construction start 2028: 741.1968; Construction start 2029: 329.4208
| Discounted construction costs | £m |  | Construction costs x Discounting factor | 1294.255 |  | Construction start 2027: 486.1086; Construction start 2028: 573.9181; Construction start 2029: 234.2284
| Fixed O&M |  |  |  | 9.3676
| Fixed O&M | £/MW |  | First year in O&M trajectory relates to 1st year of operation |  |  | Operation start 2030: 16034.9508; Operation start 2031: 16034.9508; Operation start 2032: 16034.9508; Operation start 2033: 16034.9508; Operation start 2034: 16034.9508; Operation start 2035: 16034.9508; Operation start 2036: 16034.9508; Operation start 2037: 16034.9508; Operation start 2038: 16034.9508; Operation start 2039: 16034.9508; Operation start 2040: 16034.9508; Operation start 2041: 16034.9508; Operation start 2042: 16034.9508; Operation start 2043: 16034.9508; Operation start 2044: 16034.9508; Operation start 2045: 16034.9508; Operation start 2046: 16034.9508; Operation start 2047: 16034.9508; Operation start 2048: 16034.9508; Operation start 2049: 16034.9508; Operation start 2050: 16034.9508; Operation start 2051: 16034.9508; Operation start 2052: 16034.9508; Operation start 2053: 16034.9508; Operation start 2054: 16034.9508
|  | £m |  | £/MW x Net power output (MW) /1000000 |  |  | Operation start 2030: 26.7142; Operation start 2031: 26.7142; Operation start 2032: 26.7142; Operation start 2033: 26.7142; Operation start 2034: 26.7142; Operation start 2035: 26.7142; Operation start 2036: 26.7142; Operation start 2037: 26.7142; Operation start 2038: 26.7142; Operation start 2039: 26.7142; Operation start 2040: 26.7142; Operation start 2041: 26.7142; Operation start 2042: 26.7142; Operation start 2043: 26.7142; Operation start 2044: 26.7142; Operation start 2045: 26.7142; Operation start 2046: 26.7142; Operation start 2047: 26.7142; Operation start 2048: 26.7142; Operation start 2049: 26.7142; Operation start 2050: 26.7142; Operation start 2051: 26.7142; Operation start 2052: 26.7142; Operation start 2053: 26.7142; Operation start 2054: 26.7142
| Insurance | £/MW |  |  |  |  | Operation start 2030: 2464.6185; Operation start 2031: 2464.6185; Operation start 2032: 2464.6185; Operation start 2033: 2464.6185; Operation start 2034: 2464.6185; Operation start 2035: 2464.6185; Operation start 2036: 2464.6185; Operation start 2037: 2464.6185; Operation start 2038: 2464.6185; Operation start 2039: 2464.6185; Operation start 2040: 2464.6185; Operation start 2041: 2464.6185; Operation start 2042: 2464.6185; Operation start 2043: 2464.6185; Operation start 2044: 2464.6185; Operation start 2045: 2464.6185; Operation start 2046: 2464.6185; Operation start 2047: 2464.6185; Operation start 2048: 2464.6185; Operation start 2049: 2464.6185; Operation start 2050: 2464.6185; Operation start 2051: 2464.6185; Operation start 2052: 2464.6185; Operation start 2053: 2464.6185; Operation start 2054: 2464.6185
|  | £m |  | £/MW x Net power output (MW) /1000000 |  |  | Operation start 2030: 4.1061; Operation start 2031: 4.1061; Operation start 2032: 4.1061; Operation start 2033: 4.1061; Operation start 2034: 4.1061; Operation start 2035: 4.1061; Operation start 2036: 4.1061; Operation start 2037: 4.1061; Operation start 2038: 4.1061; Operation start 2039: 4.1061; Operation start 2040: 4.1061; Operation start 2041: 4.1061; Operation start 2042: 4.1061; Operation start 2043: 4.1061; Operation start 2044: 4.1061; Operation start 2045: 4.1061; Operation start 2046: 4.1061; Operation start 2047: 4.1061; Operation start 2048: 4.1061; Operation start 2049: 4.1061; Operation start 2050: 4.1061; Operation start 2051: 4.1061; Operation start 2052: 4.1061; Operation start 2053: 4.1061; Operation start 2054: 4.1061
| Connection and UoS charge | £/MW |  |  |  |  | Operation start 2030: 4395.1921; Operation start 2031: 4395.1921; Operation start 2032: 4395.1921; Operation start 2033: 4395.1921; Operation start 2034: 4395.1921; Operation start 2035: 4395.1921; Operation start 2036: 4395.1921; Operation start 2037: 4395.1921; Operation start 2038: 4395.1921; Operation start 2039: 4395.1921; Operation start 2040: 4395.1921; Operation start 2041: 4395.1921; Operation start 2042: 4395.1921; Operation start 2043: 4395.1921; Operation start 2044: 4395.1921; Operation start 2045: 4395.1921; Operation start 2046: 4395.1921; Operation start 2047: 4395.1921; Operation start 2048: 4395.1921; Operation start 2049: 4395.1921; Operation start 2050: 4395.1921; Operation start 2051: 4395.1921; Operation start 2052: 4395.1921; Operation start 2053: 4395.1921; Operation start 2054: 4395.1921
|  | £m |  | £/MW x Net power output (MW) /1000000 |  |  | Operation start 2030: 7.3224; Operation start 2031: 7.3224; Operation start 2032: 7.3224; Operation start 2033: 7.3224; Operation start 2034: 7.3224; Operation start 2035: 7.3224; Operation start 2036: 7.3224; Operation start 2037: 7.3224; Operation start 2038: 7.3224; Operation start 2039: 7.3224; Operation start 2040: 7.3224; Operation start 2041: 7.3224; Operation start 2042: 7.3224; Operation start 2043: 7.3224; Operation start 2044: 7.3224; Operation start 2045: 7.3224; Operation start 2046: 7.3224; Operation start 2047: 7.3224; Operation start 2048: 7.3224; Operation start 2049: 7.3224; Operation start 2050: 7.3224; Operation start 2051: 7.3224; Operation start 2052: 7.3224; Operation start 2053: 7.3224; Operation start 2054: 7.3224
| Total fixed O&M | £m |  | Fixed O&M + Insurance + Connection and UoS charge |  |  | Operation start 2030: 38.1427; Operation start 2031: 38.1427; Operation start 2032: 38.1427; Operation start 2033: 38.1427; Operation start 2034: 38.1427; Operation start 2035: 38.1427; Operation start 2036: 38.1427; Operation start 2037: 38.1427; Operation start 2038: 38.1427; Operation start 2039: 38.1427; Operation start 2040: 38.1427; Operation start 2041: 38.1427; Operation start 2042: 38.1427; Operation start 2043: 38.1427; Operation start 2044: 38.1427; Operation start 2045: 38.1427; Operation start 2046: 38.1427; Operation start 2047: 38.1427; Operation start 2048: 38.1427; Operation start 2049: 38.1427; Operation start 2050: 38.1427; Operation start 2051: 38.1427; Operation start 2052: 38.1427; Operation start 2053: 38.1427; Operation start 2054: 38.1427
| Discounted Total Fixed O&M | £m |  | Total Fixed O&M x Discounting factor | 268.5674 |  | Operation start 2030: 24.9041; Operation start 2031: 22.8688; Operation start 2032: 20.9998; Operation start 2033: 19.2836; Operation start 2034: 17.7076; Operation start 2035: 16.2604; Operation start 2036: 14.9315; Operation start 2037: 13.7112; Operation start 2038: 12.5907; Operation start 2039: 11.5617; Operation start 2040: 10.6168; Operation start 2041: 9.7491; Operation start 2042: 8.9524; Operation start 2043: 8.2207; Operation start 2044: 7.5489; Operation start 2045: 6.9319; Operation start 2046: 6.3654; Operation start 2047: 5.8452; Operation start 2048: 5.3675; Operation start 2049: 4.9288; Operation start 2050: 4.526; Operation start 2051: 4.1561; Operation start 2052: 3.8164; Operation start 2053: 3.5045; Operation start 2054: 3.2181
| Variable O&M |  |  |  | 4.5545
| Variable O&M | £/MWh |  | First year in O&M trajectory relates to 1st year of operation |  |  | Operation start 2030: 4.5545; Operation start 2031: 4.5545; Operation start 2032: 4.5545; Operation start 2033: 4.5545; Operation start 2034: 4.5545; Operation start 2035: 4.5545; Operation start 2036: 4.5545; Operation start 2037: 4.5545; Operation start 2038: 4.5545; Operation start 2039: 4.5545; Operation start 2040: 4.5545; Operation start 2041: 4.5545; Operation start 2042: 4.5545; Operation start 2043: 4.5545; Operation start 2044: 4.5545; Operation start 2045: 4.5545; Operation start 2046: 4.5545; Operation start 2047: 4.5545; Operation start 2048: 4.5545; Operation start 2049: 4.5545; Operation start 2050: 4.5545; Operation start 2051: 4.5545; Operation start 2052: 4.5545; Operation start 2053: 4.5545; Operation start 2054: 4.5545
|  | £m |  | £/MWh x cost adjustment factor x generation /1000000 |  |  | Operation start 2030: 18.5448; Operation start 2031: 18.5448; Operation start 2032: 18.5448; Operation start 2033: 18.5448; Operation start 2034: 18.5448; Operation start 2035: 18.5448; Operation start 2036: 18.5448; Operation start 2037: 18.5448; Operation start 2038: 18.5448; Operation start 2039: 18.5448; Operation start 2040: 18.5448; Operation start 2041: 18.5448; Operation start 2042: 18.5448; Operation start 2043: 18.5448; Operation start 2044: 18.5448; Operation start 2045: 18.5448; Operation start 2046: 18.5448; Operation start 2047: 18.5448; Operation start 2048: 18.5448; Operation start 2049: 18.5448; Operation start 2050: 18.5448; Operation start 2051: 18.5448; Operation start 2052: 18.5448; Operation start 2053: 18.5448; Operation start 2054: 18.5448
| Discounted Variable O&M | £m |  | Variable O&M x Discounting factor | 130.5766 |  | Operation start 2030: 12.1083; Operation start 2031: 11.1187; Operation start 2032: 10.2101; Operation start 2033: 9.3756; Operation start 2034: 8.6094; Operation start 2035: 7.9058; Operation start 2036: 7.2597; Operation start 2037: 6.6664; Operation start 2038: 6.1215; Operation start 2039: 5.6212; Operation start 2040: 5.1618; Operation start 2041: 4.74; Operation start 2042: 4.3526; Operation start 2043: 3.9969; Operation start 2044: 3.6702; Operation start 2045: 3.3703; Operation start 2046: 3.0948; Operation start 2047: 2.8419; Operation start 2048: 2.6096; Operation start 2049: 2.3964; Operation start 2050: 2.2005; Operation start 2051: 2.0207; Operation start 2052: 1.8555; Operation start 2053: 1.7039; Operation start 2054: 1.5646
| Fuel costs |  |  |  | 39.7738
| Fuel price | £/Therm |  |  |  |  | Operation start 2030: 0.72806; Operation start 2031: 0.71766; Operation start 2032: 0.71766; Operation start 2033: 0.71766; Operation start 2034: 0.70726; Operation start 2035: 0.70726; Operation start 2036: 0.69686; Operation start 2037: 0.69686; Operation start 2038: 0.69686; Operation start 2039: 0.68646; Operation start 2040: 0.68646; Operation start 2041: 0.68646; Operation start 2042: 0.68646; Operation start 2043: 0.68646; Operation start 2044: 0.68646; Operation start 2045: 0.68646; Operation start 2046: 0.68646; Operation start 2047: 0.68646; Operation start 2048: 0.68646; Operation start 2049: 0.68646; Operation start 2050: 0.68646; Operation start 2051: 0.68646; Operation start 2052: 0.68646; Operation start 2053: 0.68646; Operation start 2054: 0.68646
| Fuel consumption | MWh |  | Generation / net fuel efficiency (LHV) |  |  | Operation start 2030: 6760612.3268; Operation start 2031: 6760612.3268; Operation start 2032: 6760612.3268; Operation start 2033: 6760612.3268; Operation start 2034: 6760612.3268; Operation start 2035: 6760612.3268; Operation start 2036: 6760612.3268; Operation start 2037: 6760612.3268; Operation start 2038: 6760612.3268; Operation start 2039: 6760612.3268; Operation start 2040: 6760612.3268; Operation start 2041: 6760612.3268; Operation start 2042: 6760612.3268; Operation start 2043: 6760612.3268; Operation start 2044: 6760612.3268; Operation start 2045: 6760612.3268; Operation start 2046: 6760612.3268; Operation start 2047: 6760612.3268; Operation start 2048: 6760612.3268; Operation start 2049: 6760612.3268; Operation start 2050: 6760612.3268; Operation start 2051: 6760612.3268; Operation start 2052: 6760612.3268; Operation start 2053: 6760612.3268; Operation start 2054: 6760612.3268
|  | Therm |  |  |  |  | Operation start 2030: 230737622.0755; Operation start 2031: 230737622.0755; Operation start 2032: 230737622.0755; Operation start 2033: 230737622.0755; Operation start 2034: 230737622.0755; Operation start 2035: 230737622.0755; Operation start 2036: 230737622.0755; Operation start 2037: 230737622.0755; Operation start 2038: 230737622.0755; Operation start 2039: 230737622.0755; Operation start 2040: 230737622.0755; Operation start 2041: 230737622.0755; Operation start 2042: 230737622.0755; Operation start 2043: 230737622.0755; Operation start 2044: 230737622.0755; Operation start 2045: 230737622.0755; Operation start 2046: 230737622.0755; Operation start 2047: 230737622.0755; Operation start 2048: 230737622.0755; Operation start 2049: 230737622.0755; Operation start 2050: 230737622.0755; Operation start 2051: 230737622.0755; Operation start 2052: 230737622.0755; Operation start 2053: 230737622.0755; Operation start 2054: 230737622.0755
| Fuel cost | £m |  | Gate fee price/fuel price x fuel consumption /1000000 |  |  | Operation start 2030: 167.9907; Operation start 2031: 165.5908; Operation start 2032: 165.5908; Operation start 2033: 165.5908; Operation start 2034: 163.191; Operation start 2035: 163.191; Operation start 2036: 160.7911; Operation start 2037: 160.7911; Operation start 2038: 160.7911; Operation start 2039: 158.3912; Operation start 2040: 158.3912; Operation start 2041: 158.3912; Operation start 2042: 158.3912; Operation start 2043: 158.3912; Operation start 2044: 158.3912; Operation start 2045: 158.3912; Operation start 2046: 158.3912; Operation start 2047: 158.3912; Operation start 2048: 158.3912; Operation start 2049: 158.3912; Operation start 2050: 158.3912; Operation start 2051: 158.3912; Operation start 2052: 158.3912; Operation start 2053: 158.3912; Operation start 2054: 158.3912
| Discounted fuel cost | £m |  | Gate fee cost/fuel cost x Discounting Factor | 1140.3094 |  | Operation start 2030: 109.6846; Operation start 2031: 99.2817; Operation start 2032: 91.1677; Operation start 2033: 83.7169; Operation start 2034: 75.7609; Operation start 2035: 69.5692; Operation start 2036: 62.9441; Operation start 2037: 57.7999; Operation start 2038: 53.0762; Operation start 2039: 48.011; Operation start 2040: 44.0872; Operation start 2041: 40.4842; Operation start 2042: 37.1755; Operation start 2043: 34.1373; Operation start 2044: 31.3474; Operation start 2045: 28.7855; Operation start 2046: 26.433; Operation start 2047: 24.2727; Operation start 2048: 22.289; Operation start 2049: 20.4674; Operation start 2050: 18.7946; Operation start 2051: 17.2586; Operation start 2052: 15.8481; Operation start 2053: 14.5529; Operation start 2054: 13.3636
| Decommissioning and waste costs |  |  |  | 0
| Waste cost | £m |  |  |  |  | Project start 2025: 0; Project start 2026: 0; Construction start 2027: 0; Construction start 2028: 0; Construction start 2029: 0; Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Plant decommissioned 2055: 0; Plant decommissioned 2056: 0
| Decommissioning cost | £m |  |  |  |  | Project start 2025: 0; Project start 2026: 0; Construction start 2027: 0; Construction start 2028: 0; Construction start 2029: 0; Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Plant decommissioned 2055: 0; Plant decommissioned 2056: 0
| Decommissioning and waste cost | £m |  | ((Decommissioning cost x Net power output) + Waste cost x Net generation)/1000000 |  |  | Project start 2025: 0; Project start 2026: 0; Construction start 2027: 0; Construction start 2028: 0; Construction start 2029: 0; Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Plant decommissioned 2055: 0; Plant decommissioned 2056: 0
| Discounted decommissioning and waste cost | £m |  | Decommissioning and waste cost x Discounting factor | 0 |  | Project start 2025: 0; Project start 2026: 0; Construction start 2027: 0; Construction start 2028: 0; Construction start 2029: 0; Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Plant decommissioned 2055: 0; Plant decommissioned 2056: 0
| Carbon costs |  |  |  | 33.1125
| Carbon price | £/tCO2 |  | Captures the social costs of carbon emissions |  |  | Operation start 2030: 78; Operation start 2031: 85; Operation start 2032: 91; Operation start 2033: 97; Operation start 2034: 100; Operation start 2035: 109; Operation start 2036: 115; Operation start 2037: 122; Operation start 2038: 130; Operation start 2039: 132; Operation start 2040: 128; Operation start 2041: 125; Operation start 2042: 122; Operation start 2043: 118; Operation start 2044: 119; Operation start 2045: 120; Operation start 2046: 119; Operation start 2047: 119; Operation start 2048: 121; Operation start 2049: 122; Operation start 2050: 124; Operation start 2051: 124; Operation start 2052: 124; Operation start 2053: 124; Operation start 2054: 124
| CO2 scrubbing | % |  | Percentage adjustment |  |  | Project start 2025: 0; Project start 2026: 0; Construction start 2027: 0; Construction start 2028: 0; Construction start 2029: 0; Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0
| Fuel carbon content | kgCO2/Therm |  |  |  |  | Operation start 2030: 5.3705; Operation start 2031: 5.3705; Operation start 2032: 5.3705; Operation start 2033: 5.3705; Operation start 2034: 5.3705; Operation start 2035: 5.3705; Operation start 2036: 5.3705; Operation start 2037: 5.3705; Operation start 2038: 5.3705; Operation start 2039: 5.3705; Operation start 2040: 5.3705; Operation start 2041: 5.3705; Operation start 2042: 5.3705; Operation start 2043: 5.3705; Operation start 2044: 5.3705; Operation start 2045: 5.3705; Operation start 2046: 5.3705; Operation start 2047: 5.3705; Operation start 2048: 5.3705; Operation start 2049: 5.3705; Operation start 2050: 5.3705; Operation start 2051: 5.3705; Operation start 2052: 5.3705; Operation start 2053: 5.3705; Operation start 2054: 5.3705
| Carbon emissions | KgCO2 |  | Fuel consumption x Fuel carbon content |  |  | Project start 2025: 0; Project start 2026: 0; Construction start 2027: 0; Construction start 2028: 0; Construction start 2029: 0; Operation start 2030: 1239175522.615; Operation start 2031: 1239175522.615; Operation start 2032: 1239175522.615; Operation start 2033: 1239175522.615; Operation start 2034: 1239175522.615; Operation start 2035: 1239175522.615; Operation start 2036: 1239175522.615; Operation start 2037: 1239175522.615; Operation start 2038: 1239175522.615; Operation start 2039: 1239175522.615; Operation start 2040: 1239175522.615; Operation start 2041: 1239175522.615; Operation start 2042: 1239175522.615; Operation start 2043: 1239175522.615; Operation start 2044: 1239175522.615; Operation start 2045: 1239175522.615; Operation start 2046: 1239175522.615; Operation start 2047: 1239175522.615; Operation start 2048: 1239175522.615; Operation start 2049: 1239175522.615; Operation start 2050: 1239175522.615; Operation start 2051: 1239175522.615; Operation start 2052: 1239175522.615; Operation start 2053: 1239175522.615; Operation start 2054: 1239175522.615
| Carbon captured | KgCO2 |  | Carbon emissions x CO2 scrubbing |  |  | Project start 2025: 0; Project start 2026: 0; Construction start 2027: 0; Construction start 2028: 0; Construction start 2029: 0; Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0
| Carbon cost | £m |  | (Carbon emissions - Carbon captured) x Carbon Price / 1000000 |  |  | Project start 2025: 0; Project start 2026: 0; Construction start 2027: 0; Construction start 2028: 0; Construction start 2029: 0; Operation start 2030: 96.6557; Operation start 2031: 105.3299; Operation start 2032: 112.765; Operation start 2033: 120.2; Operation start 2034: 123.9176; Operation start 2035: 135.0701; Operation start 2036: 142.5052; Operation start 2037: 151.1794; Operation start 2038: 161.0928; Operation start 2039: 163.5712; Operation start 2040: 158.6145; Operation start 2041: 154.8969; Operation start 2042: 151.1794; Operation start 2043: 146.2227; Operation start 2044: 147.4619; Operation start 2045: 148.7011; Operation start 2046: 147.4619; Operation start 2047: 147.4619; Operation start 2048: 149.9402; Operation start 2049: 151.1794; Operation start 2050: 153.6578; Operation start 2051: 153.6578; Operation start 2052: 153.6578; Operation start 2053: 153.6578; Operation start 2054: 153.6578
| Discounted carbon cost | £m |  | Carbon cost x Discounting factor | 949.3314 |  | Project start 2025: 0; Project start 2026: 0; Construction start 2027: 0; Construction start 2028: 0; Construction start 2029: 0; Operation start 2030: 63.1085; Operation start 2031: 63.1516; Operation start 2032: 62.0839; Operation start 2033: 60.7689; Operation start 2034: 57.5283; Operation start 2035: 57.5812; Operation start 2036: 55.7858; Operation start 2037: 54.3448; Operation start 2038: 53.1758; Operation start 2039: 49.5811; Operation start 2040: 44.1494; Operation start 2041: 39.591; Operation start 2042: 35.4829; Operation start 2043: 31.5147; Operation start 2044: 29.1844; Operation start 2045: 27.0244; Operation start 2046: 24.609; Operation start 2047: 22.5978; Operation start 2048: 21.0997; Operation start 2049: 19.5355; Operation start 2050: 18.233; Operation start 2051: 16.7429; Operation start 2052: 15.3745; Operation start 2053: 14.118; Operation start 2054: 12.9642
| CO2 capture and storage costs |  |  |  | 0
| CO2 capture and storage | £/kgCO2 |  |  |  |  | Construction start 2027: 0; Construction start 2028: 0; Construction start 2029: 0; Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Plant decommissioned 2055: 0; Plant decommissioned 2056: 0
| Carbon capture and storage cost | £m |  | Carbon captured x CO2 capture and storage |  |  | Construction start 2027: 0; Construction start 2028: 0; Construction start 2029: 0; Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Plant decommissioned 2055: 0; Plant decommissioned 2056: 0
| Discounted Carbon capture and storage costs | £m |  | Carbon capture and storage cost x Discounting factor | 0 |  | Construction start 2027: 0; Construction start 2028: 0; Construction start 2029: 0; Operation start 2030: 0; Operation start 2031: 0; Operation start 2032: 0; Operation start 2033: 0; Operation start 2034: 0; Operation start 2035: 0; Operation start 2036: 0; Operation start 2037: 0; Operation start 2038: 0; Operation start 2039: 0; Operation start 2040: 0; Operation start 2041: 0; Operation start 2042: 0; Operation start 2043: 0; Operation start 2044: 0; Operation start 2045: 0; Operation start 2046: 0; Operation start 2047: 0; Operation start 2048: 0; Operation start 2049: 0; Operation start 2050: 0; Operation start 2051: 0; Operation start 2052: 0; Operation start 2053: 0; Operation start 2054: 0; Plant decommissioned 2055: 0; Plant decommissioned 2056: 0

## Deflators
GDP Deflators
Source | GDP_Deflators_Spring_Statement___QNA_March_2025_update.xlsx
GDP DEFLATORS AT MARKET PRICES, AND MONEY GDP
Outturn data are as at the Quarterly National Accounts from ONS - last updated 31 March 2022.
Forecast data are consistent with OBR Spring Statement EFO data as at 23 March 2022.
Calendar year
GDP deflator at market prices
| Calendar year | 2024 = 100
| 1955 | 3.1679
| 1956 | 3.3878
| 1957 | 3.5235
| 1958 | 3.6521
| 1959 | 3.6786
| 1960 | 3.7169
| 1961 | 3.8577
| 1962 | 3.9966
| 1963 | 4.0547
| 1964 | 4.1996
| 1965 | 4.4492
| 1966 | 4.6867
| 1967 | 4.8248
| 1968 | 5.0273
| 1969 | 5.3605
| 1970 | 5.8765
| 1971 | 6.3631
| 1972 | 6.8436
| 1973 | 7.4514
| 1974 | 8.6561
| 1975 | 10.9184
| 1976 | 12.6082
| 1977 | 14.3556
| 1978 | 16.0501
| 1979 | 18.3682
| 1980 | 22.0786
| 1981 | 24.7991
| 1982 | 26.784
| 1983 | 28.2704
| 1984 | 29.7492
| 1985 | 31.3556
| 1986 | 32.7553
| 1987 | 34.5575
| 1988 | 36.685
| 1989 | 39.6309
| 1990 | 43.0184
| 1991 | 45.9092
| 1992 | 47.417
| 1993 | 48.8401
| 1994 | 49.7426
| 1995 | 51.0415
| 1996 | 53.153
| 1997 | 53.0774
| 1998 | 53.7581
| 1999 | 54.5006
| 2000 | 55.1133
| 2001 | 55.9459
| 2002 | 57.129
| 2003 | 58.4926
| 2004 | 60.0065
| 2005 | 61.7714
| 2006 | 63.4984
| 2007 | 64.9245
| 2008 | 67.1673
| 2009 | 68.4272
| 2010 | 69.513
| 2011 | 71.0404
| 2012 | 72.1356
| 2013 | 73.6561
| 2014 | 74.6273
| 2015 | 75.1203
| 2016 | 76.5934
| 2017 | 78.0156
| 2018 | 79.5149
| 2019 | 81.2098
| 2020 | 85.4292
| 2021 | 85.3082
| 2022 | 89.9435
| 2023 | 96.1459
| 2024 | 100 | values after 2024 are projections
| 2025 (1), (2) | 103.1785
| 2026 (1), (2) | 104.9037
| 2027 (1), (2) | 106.9759
| 2028 (1), (2) | 109.0879
| 2029 (1), (2) | 111.1509
Sources and footnotes:
| GDP Deflator: | Financial years 1955-56 to 2023-24 taken from ONS series L8GG in data tables: Table N.
https://www.ons.gov.uk/file?uri=/economy/grossdomesticproductgdp/datasets/uksecondestimateofgdpdatatables/quarter4octtodec2024quarterlynationalaccounts/quarterlynationalaccountsdatatables.xlsx
Calendar years 1955 to 2024 taken from ONS series MNF2 in data tables: Table O.
https://www.ons.gov.uk/file?uri=/economy/grossdomesticproductgdp/datasets/uksecondestimateofgdpdatatables/quarter4octtodec2024quarterlynationalaccounts/quarterlynationalaccountsdatatables.xlsx
For years 2024-25 to 2029-30 (2025 to 2029): taken from the Office for Budget Responsibility (OBR) GDP deflator forecasts as of March 2025 EFO detailed forecast tables.
https://obr.uk/efo/economic-and-fiscal-outlook-march-2025/
| Money GDP: | For years 1955-56 to 2023-24 (1955 to 2024): ONS data for money GDP not seasonally adjusted series BKTL in data tables: Table N.
https://www.ons.gov.uk/file?uri=/economy/grossdomesticproductgdp/datasets/uksecondestimateofgdpdatatables/quarter4octtodec2024quarterlynationalaccounts/quarterlynationalaccountsdatatables.xlsx
For years 1955-56 to 2023-24: ONS data for money GDP seasonally adjusted series YBHA in data tables: Table N.
https://www.ons.gov.uk/file?uri=/economy/grossdomesticproductgdp/datasets/uksecondestimateofgdpdatatables/quarter4octtodec2024quarterlynationalaccounts/quarterlynationalaccountsdatatables.xlsx
For years 2024-25 to 2029-30 (2025 to 2029): taken from the Office for Budget Responsibility (OBR) GDP deflator forecasts as of March 2025 EFO detailed forecast tables.
https://obr.uk/efo/economic-and-fiscal-outlook-march-2025/
Footnotes:
| (1) | For years 2024-25 to 2029-30 (2025 to 2029), this presentation only shows percentage changes in line with data taken from the OBR GDP deflator forecasts as of March 2025 EFO detailed forecast tables.
| (2) | For years 2024-25 to 2029-30 (2025 to 2029), money GDP forecasts from the OBR as of the Spring Statement, March 2025.
| (3) | Non-Seasonally adjusted money GDP (BKTL) from 1955-56 to 2023-24 (1955 to 2024) consistent with ONS Quarterly National Accounts release of 28 March 2025.
| (4) | Seasonally adjusted money GDP (YBHA) from 1955-56 to 2023-24 consistent with ONS Quarterly National Accounts release of 28 March 2025.
| (5) | For further information and the 'User's Guide' to these series, please visit the following page on the GOV.UK website at:
https://www.gov.uk/government/publications/gross-domestic-product-gdp-deflators-user-guide
| (6) | For practical examples of how to use the GDP deflator series, please visit the following page on the GOV.UK website at:
https://www.gov.uk/government/publications/how-to-use-the-gdp-deflator-series-practical-examples