## Read_me
Newborn blood spot screening programme laboratory assurance evidence requirements (NBS)
	Screening Quality Assurance Service
The screening assessment report specifies in addition to ISO15189:2022 the specific NBS screening requirements. For example, it does not list anything specific for user feedback which is part of ISO 15189:2022 but if there are relevant findings regarding this which may impact on the screening pathway the UKAS assessment manager will add a row to the report template and include the finding in the screening IAR so that NHS England SQAS is aware.

In line with the UKAS Customer Agreement, Laboratories MUST notify UKAS, as soon as practicable, of any planned/actual significant change to: / • legal, commercial, ownership or organisational status / • top management or key screening personnel / • premises, equipment, facilities, resources or working environment / • screening processes, practices or procedures, including analyser upgrades, supplier/manufacturer changes, method changes / • the end-to-end screening process.

## Project_Info
Newborn blood spot screening programme laboratory assurance evidence requirements

Project Code
Assessment type
Organisation name
Customer number
Last day of assessment
Date report issued
Assessment manager/ Lead assessor and Technical assessor (if applicable)
Location of screening (if multisite)
Number of screening Mandatory (M) findings
Number of screening Recommended (R) findings
Screening Recommendation/Decision

## Scope
Newborn blood spot screening programme laboratory assurance evidence requirements

Scope	Assessor's comment
Does the laboratory under assessment perform/manage all stages of the end-to-end examination process (except referral for confirmation testing)? If not please detail arrangements, and ensure requirements of TPS 71 accreditation of healthcare processes delivered between multiple entities are assessed
Screening tests performed in-house including sample type, method/analyser
Confirmation tests performed in-house including sample type, method/analyser
Confirmation tests referred including UKAS CAB name, number and accreditation status for relevant tests
If already accredited, document any changes in testing since last assessment (analyser upgrades with same measurement principles, new analyser/methods, change to referral etc)
Where minor change to equipment/technique used/extension to scope (ETS) not required; verification provided and assessment comments in screening report
Where required was an ETS submitted (if so, please state project number, if not confirm requirement for ETS application discussed with lab)
If new method/analyser - previous testing withdrawn from accredited scope/schedule? (If not state when this will be done)

## Screening_Report
ISO 15189:2022	ISO requirement	Laboratory quality assurance requirements for newborn blood spot	Evidence	NBS specific requirements (UKAS assessor to provide answers to questions and/or provide commentary)	Response Y/N	UKAS assessor reporting comments (use this section to add further comments as required)	Mandatory/Recommended finding(s) raised (M/R)?
PLEASE CONFIRM WHETHER ANY OTHER FINDINGS/ISSUES WERE RAISED DURING THE ASSESSMENT THAT RELATE TO THE SCREENING PROGRAMME (STATE YES/NO AND IF YES ADD ADDITIONAL ROWS AT THE BOTTOM OF THIS SPREADSHEET AND PROVIDE DETAILS)
5.2	Laboratory director	The laboratory must: / • have oversight and leadership of screening / • include a named lead biomedical scientist (BMS) or clinical scientist in the management structure for screening / • have laboratory director (consultant level) as the named person who is ultimately accountable for the service, some duties may be delegated to other qualified personnel, but the ultimate responsibility is maintained by the laboratory director / • named clinical lead who must be a fellow of the royal college of pathologists.	• job description for named clinical lead/laboratory director and any other qualified personnel with delegated responsibilities / • organogram showing screening roles and accountability within the governance structure of the organisation	Is the clinical lead for screening either the laboratory director or another qualified personnel with delegated responsibility?
				Is the clinical lead for screening a fellow of the royal college of pathologists?
				Is the job description for the clinical lead for screening appropriate?
				Does the job description for the clinical lead and named lead biomedical scientist (BMS) include screening roles and responsibilities?
5.3.3, 5.4.1a, b, 8.6.2	Structure and authority (governance and communication)	The laboratory must participate in the cross-organisational and multidisciplinary arrangements for governance, management, communication and development of the screening pathway, including: / • having clear communication arrangements with users and commissioners of the service, including public health / • sharing information on laboratory screening performance, quality indicators and incidents / • participation in screening safety incident investigations as appropriate / • engagement from the laboratory team on organisation screening governance groups.	• defined responsibility, authority, lines of communication and interrelationship of all personnel involved in the screening pathway / • agenda/minutes, terms of reference for screening groups / • performance reports / • incident outcome reports/action plans	Comment on arrangements about: / • defined responsibility, authority, lines of communication and interrelationship of all personnel involved in the screening pathway / • sharing of information by the laboratory on screening performance, quality indicators and incidents / • engagement in screening governance groups.	n/a
5.6, 8.5	Risk management, opportunities for improvement	The laboratory must have a documented risk management policy for the laboratory aspects of the screening programme describing the steps in the testing pathway where errors could occur, and the procedures taken to minimise the risk of the error occurring. This must be part of an overall risk management policy for the screening programme and include the laboratory interaction with other services in the screening pathway. / The laboratory must have ‘in-house’ back up equipment critical to the preparation of dried blood spot samples and their subsequent analysis.	• risk management documented procedure / • risk assessments of protocols / • risk register	Is there a documented risk assessment for the end-to-end aspects of the screening programme, and actions to address risks and opportunities for improvement? If no, comment on the management of risk including development of a risk management policy.
				Is there evidence of ‘in-house’ back up for equipment critical to the preparation of dried blood spot samples and their subsequent analysis? (NEW REQUIREMENT)
7.6.4, 7.8	Downtime plans, continuity and emergency preparedness planning	The laboratory must have a viable contingency plan to continue the provision of NBS screening in the event of any failures to the laboratory service (contingency plans must specify test turnaround times are achieved).	• verification of any backup analysers/systems (including information systems) / • comparison with 'routine' or 'partner' system / • standard operating procedures/policy / • business contingency/emergency plans / • evidence of testing business contingency, this should at minimum include evidence of 'tabletop' exercises with the nominated partner provider to ensure that transport logistics and repatriation of data is considered	Is there a viable contingency plan to continue the provision of NBS to ensure specified test turnaround times are achieved in the event of any failures to the laboratory service?
				Has the contingency plan been tested?
6.2.1, 6.2.2, 6.2.4, 6.2.5	Personnel, competence requirements, CPD	The laboratory must include NBS related training, competency assessment and continuous professional development (CPD) for staff involved in any aspect of the screening work.	• training/competency procedures/policy / • training/competency records / • evidence of screening related CPD in the laboratory	Are screening laboratory staff part of the same organisation and subject to the same induction programme as the main laboratory workforce?
				Are there defined and implemented screening related: / • training programmes / • competency assessment following training (comment on objective competency criteria and adequacy of records held to demonstrate these are fulfilled) / • and periodic reassessment of competency? / Do these include the clinical lead for screening (as appropriate to the role)?
				Comment on the qualifications/grades of staff performing the analysis and reviewing/reporting results.	n/a
				Has a laboratory representative attended UK Newborn Screening Laboratory Network (UKNSLN) meeting in the last year?
				Comment on any other continuing professional development (CPD) issues (e.g. supplier user group meetings, presentations at journal clubs, e-learning participation). Include any difficulties experienced in accessing materials, meetings etc.	n/a
				Is the suitability and effectiveness of the CPD programmes and activities periodically reviewed?
				With reference to all staff assessed (including consultants /medical staff) comment on: / • job descriptions / • whether there are any concerns about staff resource and if so what and including any objective evidence of staff shortages or absence of key staff / • staffing resilience and the number of staff trained and able to perform the tasks associated with NBS screening / • overall conclusions re: personnel.	n/a
6.7, 7.2.2	Service agreements/ Laboratory information for patients and users	No requirement to check a formal agreement/direct contractual link between the screening labs and the maternity units and other users, however arrangements between the parties including roles and responsibilities shall be clearly defined (see also 5.4.1a, b above) and reviewed regularly. The laboratory shall review its capability and resources to meet the requirements at regular intervals or when there are any changes. It shall also demonstrate the following arrangements with users: / • sample and requesting requirements / • sample acceptance/rejection criteria / • advice of any screening activities to be performed by referral laboratories / • turnaround times / • how non-conformances are notified to maternity units and other users / • use of the failsafe system etc. / The results and performance of the screening programme should be included in an annual report produced by the screening laboratory.	• defined responsibilities of all personnel/groups involved in the screening pathway / • information for (or service agreements with) users including maternity units / • annual report including activity/throughput	Does the laboratory have suitable user information and/or agreements to ensure that there is a common understanding with users including maternity units in relation to topics in column C?
				Does the laboratory produce and make available to users an annual report on performance?
6.8.2	Referral laboratories	Policy/procedure/criteria for choice/approval shall be in place for referral laboratories, including any required personnel qualifications and demonstration of competence. / The NBS screening laboratories must use reference laboratories accredited to ISO 15189:2022. / Where a referral laboratory provides a service as part of the programme's screening pathway the following shall be documented: / • procedures for specimen referral including criteria for referral, packaging/sending samples, ensuring results are returned to the referring laboratory and subsequent management including reporting results including: / • agreed roles and responsibilities including who is responsible for the provision of screening data / • arrangements for confirming specimen receipt / • management of critical results / • how performance will be monitored (the turnaround time [TaT] is the same irrespective of whether testing is performed in-house or sent to a reference laboratory) / • a list of all referral laboratories shall be maintained / • reports must include identification of all examinations or parts of examinations performed by a referral laboratory, including information provided by consultants, without alteration, as well as the name of the laboratory performing the examinations.	Note that some screening laboratories are specified directly by commissioners and the laboratory is not free to exercise choice or select a particular referral laboratory, but the primary laboratory must still demonstrate rationale for use, monitoring against defined criteria, escalation/action where requirements are not met. / • evidence that referral laboratory has agreed to arrangements/requirements, e.g. formal contract / • procedures for handling samples, reporting results / • reports meet requirements / • documented procedures in guidelines, service agreements or user guides	Has laboratory demonstrated suitable rationale for use of the NBS referral lab(s)?
				Are documented agreements/procedures in place covering the areas in column C?
				Does the lab monitor referral lab performance against defined criteria including TaTs, with escalation/action where requirements are not met?
				Do reports identify all examinations performed by a referral laboratory, including the name of the laboratory performing the examinations (if not is there suitable justification, e.g. simplified report format agreed with users)?
		[IMDs] Screening laboratories will send screen positive samples for Isovaleric Acidaemia (IVA) for second line testing as part of agreed changes to the laboratory process which began on the 1 September 2025. Samples will be sent in line with the laboratory guide to newborn blood spot screening for inherited metabolic diseases (IMDs) (ref 1) to include a second line test for C5 Isobars.		Are referrals made in line with the requirements for IMDs, CF and SCD in column C?
		[IMDs] There should be written agreed procedures describing the working arrangements between the screening laboratory and the referral laboratory for total homocysteine analysis where it is not available locally. The referral laboratory should meet the performance standards specified in laboratory guide to newborn blood spot screening for inherited metabolic diseases (ref 1).
		[CF] Screening laboratories will refer all samples with confirmed IRT concentrations above a defined cut-off for genetic analysis of the CFTR gene.
		[SCD] Where a pre-transfusion newborn blood spot sample is not available, DNA extracted from the white cells in the blood spot is analysed, thus overcoming the complications caused by the presence of transfused red cells on the blood spot card. Kings College Hospital and Sheffield Children’s Hospital provide this service for England.
7.2.6	Sample receipt	The laboratory must have clear acceptance and rejection criteria for samples that includes (ref 33): / • essential clinical and demographic information including NHS number / • identify and record un-labelled or mislabelled specimens, and specimens unsuitable for analysis, and request and receive repeat specimens / • screening for CF can only be completed up to 8 weeks of age (ref 2) / • where screening is accepted, the sample must be taken no later than 14 calendar days after the baby’s first birthday. Once the baby is above this age, then they are no longer eligible for screening (ref 3) / • IMD samples that do not meet the national screening requirements (for example red cell transfusion, poor blood spot quality, delayed in transit) and require a repeat sample must be analysed and positive results acted upon (ref 1). / Local agreements between the laboratory and maternity service must be in place to facilitate communication and timely management of: / • incomplete information on the blood spot card / • requests for repeat samples for inadequate or insufficient screening samples and borderline results / • requirement for repeat samples due to laboratory non-conformity (repeat sample must be requested as soon as non-conformity is identified by notifying the screening team and testing and reporting of the new sample must be expedited). / The laboratory must use nationally agreed status codes for NBS screening specimen receipt (ref 7). / Screening laboratories will scan blood spot card labels that meet the NBS output-based specification into the laboratory information management system to uniquely identify the baby and track them through the system (ref 28). / NBS screening data must be uploaded at least daily onto the NBSFS system to ensure babies who may have missed screening can be followed up with minimal delay (ref 8). Samples received should be uploaded into NBSFS within 24 hours of its availability within the Laboratory Information Management Systems (LIMs). / The laboratory shall have a documented procedure for monitoring the transportation of samples to ensure that: / • the predicted number of samples arrive daily are monitored / • the transit time of samples is monitored to ensure that they do not exceed the maximum permissible time in transit / • the integrity of samples arriving in the laboratory are assessed.	• documented procedures in guidelines, service agreements or user guides / • staff competency logs for receipt of blood spots / • education update sessions / • card image (in colour) to be sent to midwifery if a card is rejected and a repeat requested / • bar-coded labels and data on NBS-S03 / • use of status codes / • uploads to NBSFS / • documented procedures that includes the volume and timeliness of receipt of NBS cards received per day and feedback to sample takers	Do procedures, agreements or user guides cover acceptance and rejection criteria and cover aspects in column C?
				Does the laboratory send a card image (in colour) to midwifery if a card is rejected and a repeat requested? If no, please comment in column G.
				Does the laboratory use nationally agreed status codes for NBS screening specimen receipt? If no, comment on reasons and plans to use in column G.
				Does the laboratory receive and scan bar-coded labels that meets the NBS output-based specification for blood spot card labels?
				Does the laboratory have processes to enable matching of received samples to registered births (this is part of the daily download, the matching of samples received is done by the laboratory and this allows the Failsafe System to highlight any babies who are not tested)? / Does the laboratory upload NBS screening data at least daily (working days) onto the NBSFS system? / If no, please comment in column G.
				Does the laboratory have procedures in place for monitoring daily volume of samples and transit times?
7.2.3	Requests for providing laboratory examinations	The laboratory must use the standard NBS card (or equivalent) as approved and reviewed by the NHS England. / The laboratory must have a process for dealing with declines for individual/group of conditions. Screening can be declined for congenital hypothyroidism (CHT), sickle cell disease (SCD) and cystic fibrosis (CF) individually, but the IMDs can only be declined as a group. / Where 'research contact/involvement' is declined by parents this must be recorded on the card and the information stored by the laboratory in a searchable and retrievable form.	• NBS card (scanned copy) / • documented processes / • audits	Does the laboratory use the standard NBS card (or equivalent) as approved by the NHS England? If no, please comment in column G.
				Does the laboratory have a process in place to deal with declines? If no, please comment in column G.
				Does the laboratory store information where research contact/involvement is declined by parents and is this in a searchable and retrievable form? If no, please comment in column G.
7.3	Examination processes (selection, verification and validation)	Each NBS laboratory handbook defines the analytical methods including the protocols and action limits that must be used. Laboratories should be able to quote calibration traceability to a higher order reference material or reference procedure for immunoassay calibration material and mass spectrometry internal standards. / The laboratory must submit its assays on https://ukas.my.site.com/readinessassessment/applyforaccreditation and be UKAS accredited for those assays.	• validation / verification reports demonstrating tests meet requirements detailed in laboratory handbook / • documented procedures	[IMDs] Does the laboratory use the recommended analytical method for IMDs as specified in column C, and was the method suitably validated/verified demonstrating the specified performance criteria were met including traceability?
				[IMDs] Does the laboratory use the recommended screening protocols/ flowcharts in the IMD laboratory handbook?
				[CHT] Does the laboratory use an analytical method for CHT that is fit for purpose and was the method suitably validated/verified demonstrating the specified performance criteria were met including traceability?
		[IMDs] Newborn screening for the IMDs should be provided using the nationally agreed screening protocols described in the laboratory guide to newborn blood spot screening for inherited metabolic diseases (ref 1). No alternative method should be used. The screening laboratory must use the Revvity NeoBase™ 2 Non-derivatised MSMS commercial assay kit for the IMDs, procured centrally by NHS England until 31 March 2027.
		[CHT] Screening for CHT should use methods that are fit for purpose and the protocol specified in laboratory guide to screening for CHT in the UK (ref 4).
		[CF] Screening for CF should use methods that are fit for purpose and the protocol specified in Cystic fibrosis screening laboratory handbook (ref 2).
		[SCD] The analytical procedures must be capable of detecting haemoglobins S, C, DPunjab, E, and OArab, in addition to HbF and HbA. Newborn samples are typically composed of HbF (75%) with approximately 25% HbA and small quantities of acetylated HbF. The procedures used must therefore be sensitive, reliable and reproducible in terms of detecting small quantities of HbA and the abnormal haemoglobin fractions listed, in the presence of large amounts of HbF. The methods used must be validated for newborn specimens (ref 5). / The type of analysis must use a method specified in acceptable analytical protocols (ref 6) and where a second line test is required must also be selected from the acceptable analytical protocols (ref 6) but must have a different scientific principle from the first-line test. / The laboratory must use the acceptable analytical protocols detailed in the NHS SCT screening handbook for newborn laboratories. Laboratories must send screen positive samples from first line screening and those indicated by using the TMS action values for second-line testing.
				[CHT] Does the laboratory use the recommended screening protocols/ flowcharts in the CHT laboratory handbook?
				[CF] Does the laboratory use an analytical method(s) for CF that are fit for purpose and was the method suitably validated/verified demonstrating the specified performance criteria were met including traceability?
				[CF] Does the laboratory use the recommended screening protocols/ flowcharts in the CF laboratory handbook?
				[SCD] Does the laboratory use the recommended analytical protocols for first-line screening and second-line testing as specified in the SCT newborn screening handbook and column C, and were the methods suitably validated/verified demonstrating the specified performance criteria were met including traceability?
				[SCD] Does the laboratory follow the required action values in the SCT newborn screening handbook laboratory handbook?
7.3.7.2	Internal Quality Control (IQC)	[IMDs] Newborn blood spot IQC for each IMD analyte measured should be performed with each plate of samples. IQC material should be used at concentrations which provide a clinically relevant challenge to the assay. Laboratories should consider, where possible, inclusion of IQC at concentrations near clinical decision limits (ref 1).	• documented evidence of monitoring, and appropriate actions where deviations exists	Does the laboratory perform IQC in line with national guidance/ specified in column C? If no, please comment in column G.
		[CF] For CF include IQC samples at 3 IRT levels with each analysis batch. Each laboratory should assign acceptable ranges for these samples (ref 2).
		[CHT] IQC samples covering at least two, but ideally three, TSH levels should be included with each analysis batch. Each laboratory should assign acceptable ranges for these samples. It is important to include an internal quality control (IQC) close to the borderline TSH cut-off of 8.0mU/L. Dried blood spots available from the Centers for Disease Control and Prevention (CDC) can also be used for IQC purposes to provide a third party IQC. These achieve levels of precision (coefficient of variation) of approximately 7 to 10% at TSH concentrations of approximately 8 and 20 mU/L WB. Each laboratory should assess and regularly monitor their own precision data (ref 4).
		[SCD] IQC for SCT should be in line with quality control measures for newborn screening for sickle cell disease (ref 29).
7.3.7.3	External quality assessment (EQA)	Laboratories must be satisfied they understand the capabilities and limitations of their assays. The equipment and protocol chosen must fulfil the requirements of the screening programme and demonstrate suitable performance on external quality assurance (EQA). The laboratory must participate in ISO 17043 accredited EQA schemes. All laboratories must participate in the UKNEQAS scheme which includes phenylalanine (PKU), methionine (HCU), octanoylcarnitine (C8), decanoylcarnitine (C10)(MCADD), leucine, isoleucine and allo-isoleuceine combined (MSUD), C5 acylcarnitines (IVA), C5-DC acylcarnitine (GA1), succinylacetone (HT1), thyroid stimulating hormone (CHT), immunoreactive trypsinogen (CF) and SCD. Where laboratories refer samples for second tier testing for homocystinuria (HCU), participation, by the referral laboratory, in a blood spot scheme EQA scheme for homocysteine is also required.	• EQA performance reports	Does the laboratory participate in ISO 17043 EQA accredited schemes relating to NBS screening as specified in column C?
				Does the laboratory have a process in place to review EQA data at regular intervals and action any issues raised about performance from the EQA scheme?
				Were there any EQA issues, if yes, has the laboratory taken appropriate action including assessment of clinical significance?
6.2.3, 7.4.1	Result review and release	The laboratory shall have procedures to ensure that authorised personnel review the results of examinations before release and evaluate them against internal quality control and, as appropriate, available clinical information and previous examination results. / When the procedure for reviewing results involves automatic selection and reporting, review criteria shall be established, approved and documented.	• staff qualifications and competencies / • verification of reporting software / • regular audit of validity of any rule- based systems in use / • documented procedures / • audit trail of reported results / • scanned/screenshot copy of report / • audit data	Are screen positive results authorised by biomedical scientists, or clinical scientists? If no, comment on authorisation processes and staff completing this task in column G.
				When the procedure for reviewing results involves automatic selection and reporting, are the criteria for automated selection, review and release: / • specified, readily available and understood by personnel responsible for authorising the release of results / • validated and approved by competent/authorised personnel before use and after changes to the reporting system? / If no, please comment on authorisation processes for the review of results before release in column G.
				Are there processes in place to ensure dedicated/undisturbed focused time when authorising results? The lack of this has been a common theme on screening safety incidents.
		Screening laboratories and Child Health Information Services (CHISs) should use the national status codes and subcodes to record the outcomes of NBS screening. Ideally, the laboratory sends screening results to CHISs and the newborn blood spot failsafe solution (NBSFS) using electronic messaging. Status codes should also be used for reporting to the NBSFS (refs 7, 8, and 9). / Where reports are issued directly to CHIS these should include the following information: / • identification of the laboratory that issued the report / • identification of conditions screened for / • patient identification including NHS number and date of birth / • date of sample collection / • specific comment when screening is declined / • relevant status codes and subcodes / • other comments consistent with laboratory handbooks; date and time of report. (This will differ from the ISO 15189 data reporting requirements)		Is the laboratory result report compliant the newborn screening results status codes and subcodes for reporting results to CHIS and the (NBSFS)?
		Reports of all screening results should have a generic disclaimer saying: ‘These tests are screening tests. No screening test is 100% reliable’ (ref 1, 2 and 4).		Do the laboratory result reports contain the disclaimer specified in column C?
		[IMDs] The laboratory analytical service should be configured to enable phenylketonuria (PKU), medium-chain acyl-CoA dehydrogenase deficiency (MCADD), maple syrup urine disease (MSUD), glutaric aciduria type 1 (GA1) and hereditary tyrosinaemia type 1 (HT1) screen positive results to be reported within 3 working days of receipt of an adequate sample (ref 1).		Is the laboratory analytical service configured to meet the requirement for reporting screen positive results for IMDs specified in column C?
		[IMDs] The laboratory should refer babies with positive screening results for an IMD the same or next working day, depending on the condition, following confirmation of a positive result. The referral notification should include a link to the IMD initial clinical referral guidelines (ref 10). / Template letters are available for the screening laboratory to notify: / • the designated clinician for a baby with a suspected IMD (ref 11) / • the baby’s GP of a ‘suspected’ result (ref 12) / • the baby’s GP of a ‘confirmed’ result (ref 13)		Do the laboratory processes meet the requirements for referral of screen positive IMDs specified in column C including use of template letters?
		IMD - the laboratory should only release the positive result to CHIS and NBSFS when it is confirmed by the clinician that the parent(s) have been contacted (ref 1 and 14).		Do the laboratory have processes in place to communicate screen positive IMD results as specified?
		CHT testing needs to be performed frequently enough to permit referral of screen positive results within 2 to 4 working days of sample receipt (ref 4). / The laboratory should refer babies with positive screening results for CHT the same or next working day following confirmation of a positive result. / The screening laboratory should report the screen positive result, verbally and in writing, either: / • to the paediatric endocrine team (regional specialist team), or / • to a clearly identified lead paediatrician with a special interest in CHT or with experience of managing these patients. / The referral notification should include a link to the CHT initial clinical referral guidelines (ref 15). A template letter is available for the screening laboratory to notify the baby’s GP of the ‘CHT suspected’ result (ref 16).		Does the laboratory processes meet the requirements for screen positive CHT results specified in column C including use of template letters?
		[CF] Analysis for IRT should be performed frequently enough to generate a screening test result (including any retest results, where required, to be confirmed in duplicate), no later than 4 working days from receipt of an adequate sample. Definitive results from genetic analysis must be available on or before the 4th working day from receipt of the sample within the genetic laboratory (ref 2). / Laboratory services should be configured to enable CF newborn screening to be completed in time for all babies with positive screening results to have their first clinic appointment by: / • day 28 for babies in whom 2 Cystic Fibrosis Transmembrane Conductance Regulator (CFTR) variants have been detected / • day 35 for babies who have needed a second sample IRT measurement.		Is the laboratory analytical service configured to meet the requirements reporting screen positive results for CF specified in column C?
		[CF] The laboratory should refer babies with positive screening results for CF the same or next working day following confirmation of a positive result in line with the ‘managing positive results from cystic fibrosis screening’ guidelines (ref 17). The screening laboratory should report the screen positive result by phone and in writing to the regional CF centre. / ‘Cystic fibrosis: presumed positive’ template letters are available for the screening laboratory to notify the designated clinician and the baby’s GP of the ‘CF suspected’ result (ref 18).		Does the laboratory have processes in place to communicate screen positive CF results as specified in column C?
		[CF] Each laboratory should have an agreed arrangement for the communication and follow-up of ‘probable CF carrier’ results. This should be in line with the ‘managing positive results from cystic fibrosis screening’ guidelines (ref 17). Where possible, the screening laboratory should have a screening nurse specialist contact the family health visitor (or preferably a designated health visitor if there is an appointed lead health visitor for giving screening results to families) by phone. They should also send confirmation of the result to the family in writing. / The laboratory should inform the baby’s GP of the result in writing. A ‘cystic fibrosis: probable carrier’ template letter is available (ref 19). The communication with the GP should include a link to the ‘cystic fibrosis carrier’ leaflet as well as information about which healthcare professional has been informed of the final result and will be communicating it to the parents/carers.		Does the laboratory have processes in place to communicate probable CF carrier results as specified in column C?
		SCD results must be interpreted and reported in line with interpretation and reporting of results (ref 20), action values for tandem mass spectrometry screening (ref 21) and reporting newborn sickle cell screening results (ref 22) and recorded on the SCT NBO system (ref 23).		Do the laboratory processes for interpreting and reporting SCT results meet the requirements specified in column C?
6.3.3, 7.4.2	Post-examination handling of samples (storage)	Storage after analysis should follow guidelines in the ‘Code of Practice for the Retention and Storage of Residual Spots’(ref)'. / The code of practice for the retention and storage of residual newborn blood spots is currently under review. Screening laboratories are requested not to destroy any residual newborn blood spot cards and NHS England will notify the laboratories directly with the outcome of the review when completed (ref 27).	• documented procedures for retention (including retention times) and disposal of samples	Are the specified retention times and storage clearly documented? If no, please comment in column G.
8.3.2	Control of documents	The laboratory must make sure that all documents required by the quality management system (QMS), including documents of external origin (see reference tab) are controlled to make sure there is no unintended use of obsolete documents. / The following external documents, as a minimum are expected to be controlled: / • NHS England Patient Safety Incident Response Framework (ref 24) / • Managing safety incidents in NHS screening programmes (ref 25) / • Newborn blood spot screening standards valid for data collected from 1 April 2021 (ref 26) / • Sickle cell and thalassaemia screening standards valid for data collected from 1 April 2018 (ref 32) / • Cystic fibrosis screening laboratory handbook (ref 2) / • Laboratory guide to screening for CHT in the UK (ref 4) / • A laboratory guide to newborn blood spot screening for inherited metabolic diseases (ref 1) / • SCT screening: handbook for newborn laboratories (ref 5) / • NBSFS operational level agreements for laboratory users (ref 8) / • Newborn blood spot screening: code of practice for residual spots (ref 27) / • NHS numbers for newborn screening: output-based specification for the blood spot card label (ref 28) / • Newborn blood spot screening: sampling guidelines (ref 33) / • NHS newborn blood spot (NBS) screening programme status codes (ref 7) / • Newborn blood spot screening: programme handbook	• screenshots / evidence of listed documents within QMS	Are all specified documents available in the QMS and suitable procedures in place to check for updates? If no, please provide detail in column G.
6.4.6, 6.6.6, 8.7	Nonconformities, corrective actions and adverse events	The laboratory must have a documented procedure to identify and manage screening nonconformities. / Laboratories will comply with the national guidance for the management of safety concerns and NHS England’s guidance for managing safety incidents in NHS screening programmes (ref 24 and 25).	• incident management / non-conformity procedure demonstrating link to local, NHS England and SQAS frameworks for screening incidents	• Are screening nonconformities reviewed, managed and reported according to local, NHS England and SQAS frameworks for screening incidents? / • Were there any screening incidents since the last assessment, if so were these managed appropriately? / • How does this connect to the laboratory’s processes for managing incidents within its own organisation?
8.8.2	Quality indicators	The laboratory must comply with requirements for reporting and meeting thresholds for the NBS screening standards and key performance indicators (KPIs) (ref 26). / The laboratory must: / • have local arrangements in place for submitting data annually and as a minimum meet the acceptable threshold for NBS-S03, S04, S05, S07a, b, c, S09, S11 / • submit data quarterly for NBS-S06 (KPI NB2) / • submit data on SCT screen positive babies to the National Congenital Anomalies and Rare Diseases Register (NCARDRS) (ref 32) / • review turnaround times at departmental quality meetings (this can be by exception) and at management reviews.	Submit complete data on time for: / • standards / • KPIs / • NCARDRS / • condition specific annual data / • affected not detected submissions	Does the laboratory submit annual data on NBS-S03, S04, S05, S07a, b, c, S09, S11 to NHS England? If no, comment on reasons and plans to submit in column G.
				Are thresholds for NBS-S03, S04, S05, S07a, b, c, S09, S11 met? If no, comment on reasons and plans to meet threshold in column G.
				Does the laboratory submit quarterly data by screening laboratory and by maternity service on NBS-S06 (KPI NB2) to NHS England? If no, comment on reasons and plans to submit in column G.
				Does the laboratory submit data to NCARDRS on SCT screen positive babies? If no, comment on reasons and plans to submit in column G.
				Comment on the laboratory processes for reviewing data locally and communicating performance to users.	n/a
		Where national population data gathering is in place, such as the immunoreactive trypsinogen (IRT) and IMD assays, laboratories must participate, collect and return data in a timely way. The IRT data is collected by members of the IRT monitoring team (Portsmouth for AutoDelfia users and Liverpool for GSP users) quarterly. IMD population monitoring is quarterly and co-ordinated by Southeast Thames Laboratory.		Does the laboratory participate in national data collection processes as specified in column C? If no, comment on reasons and plans to submit in column G.
		Laboratories should request information from clinical services on each presumptive positive case. Data on each case notified to the clinical referral services (‘condition suspected’ and ‘other disorders follow-up’) should be collated and anonymised before submission to the NBS screening programme annually. / Follow-up information is also required on all cases reported as CF carriers. For each case, send the CF carrier follow-up form to the relevant health professional (specialist health visitor/counsellor) for completion. The anonymised data from the form should comprise part of the annual screening standards data submission by the screening laboratory to the NBS screening programme.		Does the laboratory have processes in place to collect data as specified in column C from clinical services? / Does the laboratory submit this data anonymised annually to the NBS programme?
		[IMD and CF] Babies diagnosed with an IMD or CF not identified through newborn screening: / The clinical team should gather the details in conjunction with the screening laboratory director using the ‘IMD or CF notification of case not detected through screening’ form. The laboratory director should collate and anonymise the data and send it as soon as possible to the NBS screening programme at england.annb-qa-admin@nhs.net. Data on false negative cases are collated on an annual basis as an important part of the audit and evaluation of the IMD screening programme (refs 30 and 31).		Does the laboratory have a process in place collating and submitting 'affected not detected' forms for IMDs and CF to NHS England?
8.8.3	Internal audits	The laboratory must include NBS audit in its laboratory audit schedule as specified: / The laboratory must undertake two annual vertical audits randomly selected from screen positive samples to include: / • one sickle cell condition and / • one other condition, for example one of the inherited metabolic diseases where a more urgent referral is indicated / The audits should include the time of sampling, transport, arrival of the blood spot screening sample at the laboratory, booking in, analysis, result availability and clinical referral including reassurance that the family were contacted, where this is relevant.	• audit schedule / • vertical audit / • audit action plans / • minutes of meetings where audits are discussed	Does the laboratory undertake an annual vertical audit of the screening pathway, incorporating these quality assurance requirements, from arrival of the specimen in the laboratory to receipt of 'condition suspected' results by clinical services, for SCT and one of the other (CHT, CF, IMD) tests which should alternate each year? / Comment on: / • any aspects of the screening pathway not included in the audit / • if the audit consists of randomly selected specimens with 'condition suspected' results.
8.9	Management reviews	The laboratory management review must specifically include review of the laboratory’s performance in the delivery of the NBS programme.	• management review document / • minutes of meetings where review is discussed and signed off	Is NBS performance included in the management review of the QMS?

## Findings
Findings

## References
References

Number	Name of Document	Weblink
Overarching	Newborn blood spot screening: programme handbook	https://www.gov.uk/government/publications/health-professional-handbook-newborn-blood-spot-screening
1	A laboratory guide to newborn blood spot screening for inherited metabolic diseases	https://www.gov.uk/government/publications/newborn-blood-spot-screening-laboratory-guide-for-imds/a-laboratory-guide-to-newborn-blood-spot-screening-for-inherited-metabolic-diseases
2	Cystic fibrosis screening laboratory handbook	https://www.gov.uk/government/publications/cystic-fibrosis-screening-laboratory-handbook/cystic-fibrosis-screening-laboratory-handbook
3	Newborn blood spot screening: movers in with no available records	https://www.gov.uk/government/publications/movers-in-screening-babies-with-no-available-records/xxxx
4	Laboratory guide to screening for CHT in the UK	https://www.gov.uk/government/publications/congenital-hypothyroidism-screening-laboratory-handbook/a-laboratory-guide-to-newborn-blood-spot-screening-in-the-uk-for-congenital-hypothyroidism
5	SCT screening: handbook for newborn laboratories	https://www.gov.uk/government/publications/sct-screening-handbook-for-newborn-laboratories
6	SCT Acceptable analytical protocols	https://www.gov.uk/government/publications/sct-screening-handbook-for-newborn-laboratories/acceptable-analytical-protocols
7	Status codes for NHS newborn blood spot (NBS) screening programme	https://www.gov.uk/government/publications/status-codes-for-the-newborn-blood-spot-nbs-screening-programme/nhs-newborn-blood-spot-nbs-screening-programme-status-codes
8	NBSFS operational level agreements for laboratory users	https://www.gov.uk/government/publications/newborn-blood-spot-screening-failsafe-solution-user-guide/nbsfs-operational-level-agreements-for-laboratory-users
9	NBSFS user guide	https://www.gov.uk/government/publications/newborn-blood-spot-screening-failsafe-solution-user-guide/newborn-blood-spot-screening-failsafe-solution-user-guide
10	British Inherited Metabolic Diseases Group NBS guidelines	https://bimdg.org.uk/guidelines/nbs-guidelines/
11	Inherited metabolic diseases: presumptive positive template letter	https://www.gov.uk/government/publications/inherited-metabolic-diseases-presumptive-positive-template-letter
12	Inherited metabolic diseases: suspected condition template GP letter	https://www.gov.uk/government/publications/inherited-metabolic-diseases-suspected-condition-template-gp-letter
13	Inherited metabolic diseases: confirmed diagnosis template GP letter	https://www.gov.uk/government/publications/inherited-metabolic-diseases-confirmed-diagnosis-template-letter
14	Newborn blood spot screening: reporting positive results from laboratories	https://www.gov.uk/government/publications/newborn-blood-spot-screening-reporting-positive-results-from-laboratories
15	Congenital hypothyroidism: initial clinical referral guidelines	https://www.gov.uk/government/publications/congenital-hypothyroidism-initial-clinical-referral-guidelines
16	Congenital hypothyroidism (CHT) suspected: letter template	https://www.gov.uk/government/publications/congenital-hypothyroidism-cht-suspected-letter-template
17	Newborn blood spot: managing positive results from cystic fibrosis screening	https://www.gov.uk/government/publications/clinical-referral-national-standard-protocol-for-cystic-fibrosis/newborn-blood-spot-managing-positive-results-from-cystic-fibrosis-screening
18	Cystic fibrosis: presumed positive template letter	https://www.gov.uk/government/publications/cystic-fibrosis-presumed-positive-template-letter
19	Cystic fibrosis: probable carrier template letter	Cystic fibrosis: probable carrier template letter - GOV.UK
20	Interpretation and reporting of results (SCT)	https://www.gov.uk/government/publications/sct-screening-handbook-for-newborn-laboratories/interpretation-of-results
21	Action values for tandem mass spectrometry screening	https://www.gov.uk/government/publications/sct-screening-handbook-for-newborn-laboratories/action-values-for-tandem-mass-spectrometry-screening
22	Reporting newborn sickle cell screening results	Reporting_newborn_sickle_cell_results_final_updated_110422.pdf
23	SCT newborn outcomes solution: overview	https://www.gov.uk/government/publications/sickle-cell-and-thalassaemia-screening-newborn-outcomes-system/sct-newborn-outcomes-system-overview
24	NHS England Patient Safety Incident Response Framework	https://www.england.nhs.uk/patient-safety/patient-safety-insight/incident-response-framework/
25	Managing safety incidents in NHS screening programmes	https://www.gov.uk/government/publications/managing-safety-incidents-in-nhs-screening-programmes/managing-safety-incidents-in-nhs-screening-programmes
26	Newborn blood spot screening standards valid for data collected from 1 April 2021	https://www.gov.uk/government/publications/standards-for-nhs-newborn-blood-spot-screening/newborn-blood-spot-screening-standards-valid-for-data-collected-from-1-april-2017
27	Newborn blood spot screening: code of practice for residual spots	https://www.gov.uk/government/publications/newborn-blood-spot-screening-code-of-practice-for-the-retention-and-storage-of-residual-spots
28	NHS numbers for newborn screening: output-based specification for the blood spot card label	https://www.gov.uk/government/publications/nhs-numbers-for-newborn-screening-specification-for-the-blood-spot-card-label/nhs-numbers-for-newborn-screening-output-based-specification-for-the-blood-spot-card-label
29	Quality control measures for newborn screening for sickle cell disease	https://www.gov.uk/government/publications/sct-screening-handbook-for-newborn-laboratories/quality-control-measures-for-newborn-screening-for-sickle-cell-disease
30	Inherited metabolic diseases: affected not detected form	https://www.gov.uk/government/publications/inherited-metabolic-diseases-affected-not-detected-form
31	Notification of cystic fibrosis (CF) diagnosis not identified through screening	https://www.gov.uk/government/publications/notification-of-cystic-fibrosis-cf-diagnosis-not-identified-through-screening
32	Sickle cell and thalassaemia screening standards valid for data collected from 1 April 2018	https://www.gov.uk/government/publications/sickle-cell-and-thalassaemia-screening-programme-standards/sickle-cell-and-thalassaemia-screening-standards-valid-for-data-collected-from-1-april-2019
33	Newborn blood spot screening: sampling guidelines	https://www.gov.uk/government/publications/newborn-blood-spot-screening-sampling-guidelines

## Sheet1
Yes
No