## Read me
Fetal anomaly screening programme laboratory assurance evidence requirements
The screening assessment report specifies in addition to ISO15189:2022 the specific FASP screening requirements. For example it does not list anything specific for user feedback or internal quality control (IQC) which is part of ISO 15189:2022 but if there are relevant findings regarding this which may impact on the screening pathway the UKAS assessment manager will add a row to the report template and include the finding in the screening IAR so that NHS England SQAS is aware.
In line with the UKAS Customer Agreement, Laboratories MUST notify UKAS, as soon as practicable, of any planned/actual significant change to: • legal, commercial, ownership or organisational status • top management or key screening personnel • premises, equipment, facilities, resources or working environment • screening processes, practices or procedures, including analyser upgrades, supplier/manufacturer changes, method changes • the end-to-end screening process.
Screening Quality Assurance Service

## Project Info
Fetal anomaly screening programme laboratory assurance evidence requirements
Project Code
Assessment type
Organisation name
Customer number
Last day of assessment
Date report issued
Assessment manager/ Lead assessor and Technical assessor (if applicable)
Location of screening (if multisite)
Number of screening Mandatory (M) findings
Number of screening Recommended (R) findings
Screening Recommendation/Decision

## Scope
Fetal anomaly screening programme laboratory assurance evidence requirements
Scope | Assessor's comment
Does the laboratory under assessment perform/manage all stages of the end-to-end examination process (except referral for confirmation testing)? If not please detail arrangements, and ensure requirements of TPS 71 accreditation of healthcare processes delivered between multiple entities are assessed
Screening tests performed in-house including sample type, method/analyser
Confirmation tests performed in-house including sample type, method/analyser
Confirmation tests referred including UKAS CAB name, number and accreditation status for relevant tests
If already accredited, document any changes in testing since last assessment (analyser upgrades with same measurement principles, new analyser/methods, change to referral etc)
Where minor change to equipment/technique used/extension to scope (ETS) not required; verification provided and assessment comments in screening report
Where required was an ETS submitted (if so, please state project number, if not confirm requirement for ETS application discussed with lab)
If new method/analyser - previous testing withdrawn from accredited scope/schedule? (If not state when this will be done)

## Screening Report
ISO 15189:2022 | ISO requirement | Laboratory quality assurance requirements for Down's syndrome, Edwards' syndrome and Patau's syndrome | Evidence | FASP specific requirements (UKAS assessor to provide answers to questions and/or provide commentary) | Response Y/N | UKAS assessor reporting comments (use this section to add further comments as required) | Mandatory/ Recommended finding(s) raised (M/R)?
PLEASE CONFIRM WHETHER ANY OTHER FINDINGS/ISSUES WERE RAISED DURING THE ASSESSMENT THAT RELATE TO THE SCREENING PROGRAMME (STATE YES/NO AND IF YES ADD ADDITIONAL ROWS AT THE BOTTOM OF THIS SPREADSHEET AND PROVIDE DETAILS)
5.2 | Laboratory director | The laboratory must: • have oversight and leadership of screening • include a named lead biomedical scientist (BMS) or clinical scientist in the management structure for screening • have laboratory director as the named person who is ultimately accountable for the service, some duties may be delegated to other qualified personnel, but the ultimate responsibility is maintained by the laboratory director • named clinical lead who must be a fellow of the royal college of pathologists. | • job description for named clinical lead/laboratory director and any other qualified personnel with delegated responsibilities • organogram showing screening roles and accountability within the governance structure of the organisation | Is the clinical lead for screening either the laboratory director or another qualified personnel with delegated responsibility?
Is the clinical lead for screening a fellow of the royal college of pathologists?
Is the job description for the clinical lead for screening appropriate?
Does the job description for the clinical lead and named lead biomedical scientist (BMS) include screening roles and responsibilities?
5.3.3, 5.4.1a, b, 8.6.2 | Structure and authority (governance and communication) | The laboratory must participate in the cross-organisational and multidisciplinary arrangements for governance, management, communication and development of the screening pathway, including: • having clear communication arrangements with users and commissioners of the service, including public health • sharing information on laboratory screening performance, quality indicators and incidents • participation in screening safety incident investigations as appropriate • engagement from the laboratory team on organisation screening governance groups. | • defined responsibility, authority, lines of communication and interrelationship of all personnel involved in the screening pathway • agenda/minutes, terms of reference for screening groups • performance reports • incident outcome reports/action plans | Comment on arrangements about: • defined responsibility, authority, lines of communication and interrelationship of all personnel involved in the screening pathway • sharing of information by the laboratory on screening performance, quality indicators and incidents • engagement in screening governance groups. | n/a
5.6, 8.5 | Risk management, opportunities for improvement | The laboratory must have a documented risk management policy for the laboratory aspects of the screening programme describing the steps in the testing pathway where errors could occur, and the procedures taken to minimise the risk of the error occurring. This must be part of an overall risk management policy for the screening programme and include the laboratory interaction with other services in the screening pathway. | • risk management documented procedure • risk assessments of protocols • risk register | Is there a documented risk assessment for the end-to-end aspects of the screening programme, and actions to address risks and opportunities for improvement? If no, comment on the management of risk including development of a risk management policy.
Are there any potential single points of failure observed (equipment, staff), resilience in situations of national emergency?
7.6.4, 7.8 | Downtime plans, continuity and emergency preparedness planning | The laboratory must have a viable contingency plan to continue the provision of FASP in the event of any failures to the laboratory service (contingency plans must specify test turnaround times are achieved). | • verification of any backup analysers/systems (including information systems) • comparison with 'routine' or 'partner' system • standard operating procedures/policy • business contingency/emergency plans • evidence of testing business contingency, as a minimum include evidence of 'tabletop' exercises with the nominated partner provider to ensure transport logistics and repatriation of data is considered | Is there a viable contingency plan to continue the provision of FASP to ensure specified test turnaround times are achieved in the event of any failures to the laboratory service?
Has the contingency plan been tested?
6.2.1, 6.2.2, 6.2.4, 6.2.5 | Personnel, competence requirements, CPD | The laboratory must include FASP related training, competency assessment and continuous professional development (CPD) for staff involved in any aspect of the screening work. | • training/competency procedures/policy • training/competency records • evidence of screening related CPD in the laboratory | Are screening laboratory staff part of the same organisation and subject to the same induction programme as the main laboratory workforce?
Are there defined and implemented screening related: • training programmes • competency assessment following training (comment on objective competency criteria and adequacy of records held to demonstrate these are fulfilled) • and periodic reassessment of competency? Do these include the clinical lead for screening (as appropriate to the role)?
|  |  |  | Comment on the qualifications/grades of staff performing the analysis and reviewing/reporting results. | n/a
Has a laboratory representative attended the FASP national biochemistry meeting in the last two years?
Has any relevant new lab staff attended DQASS training in the last two years?
Is there evidence that relevant laboratory staff are undertaking recommended FASP e-Learning? (NEW REQUIREMENT)
|  |  |  | Comment on any other continuing professional development (CPD) issues (e.g. supplier user group meetings, presentations at journal clubs, e-learning participation). Include any difficulties experienced in accessing materials, meetings etc. | n/a
Is the suitability and effectiveness of the CPD programmes and activities periodically reviewed?
|  |  |  | With reference to all staff assessed (including consultants /medical staff) comment on: • job descriptions • whether there are any concerns about staff resource and if so what and including any objective evidence of staff shortages or absence of key staff • staffing resilience and the number of staff trained and able to perform the tasks associated with FASP screening • overall conclusions re: personnel. | n/a
6.7, 7.2.2 | Service agreements/ Laboratory information for patients and users | No requirement to check a formal agreement/direct contractual link between the screening labs and the maternity units and other users, however arrangements between the parties including roles and responsibilities shall be clearly defined (see also 5.4.1a, b above) and reviewed regularly. The laboratory shall review its capability and resources to meet the requirements at regular intervals or when there are any changes. It shall also demonstrate the following arrangements with users: • sample and requesting requirements • sample acceptance/rejection criteria • advice of any screening activities to be performed by referral laboratories • turnaround times • how non-conformances are notified to maternity units and other users • use of the failsafe system etc. | • defined responsibilities of all personnel/groups involved in the screening pathway • information for (or service agreements with) users including maternity units | Does the laboratory have suitable user information and/or agreements to ensure there is a common understanding with users including maternity units in relation to topics in column C?
|  | Laboratories must: • be able to evidence an annual throughput of 8,000 samples or more for the screening strategy (combined test and quadruple test), or • be in a formal network with a minimum individual throughput of 2,000 samples per screening strategy and total network throughput of 8000 samples or more. | • DQASS laboratory report (most recent)- evidence of sample throughput for standalone and networked laboratories • Memorandum of Understanding (MoU) for networks | • If standalone laboratory, is it meeting sufficient sample throughput per annum for the screening strategy (state numbers)? • If networked laboratory is the laboratory and network meeting sufficient sample throughput per annum for the screening strategy (state numbers)?
6.8.2 | Referral laboratories | Policy/procedure/criteria for choice/approval shall be in place for referral laboratories, including any required personnel qualifications and demonstration of competence. The FASP screening laboratories must use reference laboratories accredited to ISO 15189:2012/2022. Where a referral laboratory provides a service as part of the programme's pathway the following shall be documented: • procedures for specimen referral including criteria for referral, packaging/sending samples, ensuring results are returned to the referring laboratory and subsequent management and reporting of results including: • agreed roles and responsibilities including who is responsible for the provision of screening data • arrangements for confirming specimen receipt • management of critical results • how performance will be monitored (the turnaround time [TaT] • a list of all referral laboratories shall be maintained • reports must include identification of all examinations or parts of examinations performed by a referral laboratory, including information provided by consultants, without alteration, as well as the name of the laboratory performing the examinations. | Note that some screening laboratories are specified directly by commissioners and the laboratory is not free to exercise choice or select a particular referral laboratory, but the primary laboratory must still demonstrate rationale for use, monitoring against defined criteria, escalation/action where requirements are not met. • evidence that referral laboratory has agreed to arrangements/requirements, e.g. formal contract • procedures for handling samples, reporting results • reports meet requirements • documented procedures in guidelines, service agreements or user guides | Has laboratory demonstrated suitable rationale for use of the FASP referral lab(s)?
Are documented agreements/procedures in place covering the areas in column C?
Does the lab monitor referral lab performance against defined criteria including TaTs, with escalation/action where requirements are not met?
Do reports identify all examinations performed by a referral laboratory, including the name of the laboratory performing the examinations (if not is there suitable justification, e.g. simplified report format agreed with users)?
6.4 | Equipment | The laboratory must use chance calculation software compliant with FASP software specification (ref). The minimum requirement includes: • CE marking • configurability audit validation • median regression equations for gestation and weight (log cubic) - A + Bx+ C×2 +D×3 and marker specific truncation limits for gestation and weight. | • gap analysis and communication with the software supplier about the requirements for software used in the laboratory to meet minimum requirements or to move from meeting minimal requirements to the full requirements | Does the chance calculation software conform to the minimum requirement of the FASP software specification? If no, please comment on engagement with the software supplier, review at management meetings, and inclusion in the technical specification of any potential procurement in column G.
|  | Action plans for improvement should be developed, documented and implemented, as appropriate in cases where the software meets the minimum requirement, but does not demonstrate compliance with the complete software specification. The effectiveness of these actions taken shall be determined through a focused review or audit. |  | Does the chance calculation software conform to the full requirement of the FASP software specification? If no, please comment on engagement with the software supplier, review at management meetings, and inclusion in the technical specification of any potential procurement in column G.
|  | The software should be configurable to adjust for (number of levels and values should be configurable): • ethnicity, smoking, twins, diabetes, IVF pregnancy • assay distribution parameters: means (by gestational day) and truncation limits • updates: factor updates, regression updates, testing, audit trail, previously recorded chance results remain unchanged on recalculation of chance result -all previous information must be recorded for audit purposes • ability to export data to DQASS and NCARDRS. | • screenshots of configurability/evidence of changes to these parameters • the verification process for changes to median equations - documentation of process/ examples of changes made and associated evidence • exports sent to DQASS and NCARDRS | • Can the laboratory make changes to calculated chance result based on the specified adjustment factors? • If yes, is there a documented process for factor updates? • If yes, is there evidence of these changes being made?
|  | Where a change is made to software including a factor or equation update following the DQASS feedback call, test data supplied by DQASS must be run and a report sent to DQASS of the outcomes including medians (MoMs) when required, prior to use with live samples. | • documented process for regression updates/ examples of changes made and associated evidence | • Is there a documented process for regression updates? • Is there evidence of these being performed and testing completed prior to reporting with live samples?
|  | New equipment/software or a process change requiring verification should be implemented with consideration to the current performance/trending of patient medians by CUSUMs (cumulative sum). | • evidence that median equations are considered when making a change | Prior to implementing a change (e.g - new equipment), is there evidence that the current performance/trending of patient medians by CUSUMs, are considered?
6.6 | Reagents and consumables | Where a new reagent lot is received, acceptance testing should be undertaken in line with the documented procedure including a review of medians prior to use. | • documented evidence of completed lot acceptance testing forms, with authorisation date prior to first use of reagent | Does the laboratory undertake acceptance testing and consider the impact on median equations before implementing new reagents/consumables? If no, please comment in column G.
7.2.2, 7.2.6 | Pre-examination processes (laboratory information for patients and users)/ Sample receipt | The laboratory must have clear acceptance and rejection criteria for samples to include: • essential clinical and demographic information • adequacy of sample labelling • sample quality. A sample is regarded as inadequate if the sample: • did not contain sufficient blood to perform all tests • was not in the correct tube or was contaminated • did not arrive at the laboratory as specified in the FASP handbook (ref- specimen and transport) • was not taken at the correct time (for combined screening CRL between 45.0mm and 84.0mm, for quadruple screening head circumference (HC) greater than 101.0mm up to 20 weeks and zero days) • did not have all data fields completed, as listed on the KPI template, to enable identification of the woman, analysis and reporting of results, including samples where the result needed recalculating after reporting Local agreements between the laboratory and maternity service must be in place to facilitate communication and timely management of: • incomplete information on the request form or blood sample with no accompanying request • requests for repeat samples for inadequate or insufficient screening samples • requirement for repeat samples due to laboratory non-conformity (repeat sample must be requested as soon as non-conformity is identified by notifying the screening team and reporting of the new sample must be expedited). | • documented procedures in guidelines, service agreements or user guides | Do procedures, agreements or user guides cover acceptance and rejection criteria, identifying, recording and actioning of inadequate samples?
7.2.3 | Requests for providing laboratory examinations | The laboratory paper or electronic request must include the data fields specified as essential in the FASP laboratory handbook (ref - request form and data fields required for Down’s syndrome, Edwards’ syndrome and Patau’s syndrome screening'). The request must be able to accommodate acceptance of all screening tests (Down's syndrome and Edwards' syndrome/ Patau's syndrome), acceptance of one test (Down's syndrome or Edwards' syndrome/ Patau's syndrome or declines of all tests. | • request form (scanned paper copy or screenshot of electronic request) | Does the laboratory’s request conform to FASP handbook (request form and data fields)? If no, comment on reasons and plans to conform in column G.
7.2.5, 7.2.7.3 | Sample transportation and stability | Sample transport meets the requirements specified in the FASP handbook (ref) to maximise sample stability: Whole blood (unseparated) samples can be stored at: • room temperature (20 degrees Celsius) for 48 hours • 4 degrees Celsius for 5 days Samples received as whole blood after 48 hours from sample collection must be rejected. Serum (separated) samples can be stored at: • room temperature (20 degrees Celsius) for 72 hours • 4 degrees Celsius for 14 days All samples transported or stored at room temperature for longer than 72 hours must be rejected. | • service agreements/information for users • audits • KPI FA4 | • Does the laboratory acceptance and rejection criteria meet the FASP specification? If no, comment on reasons and plans to conform in column G. • Is there evidence of audit, monitoring and action where rejection rates are high?
7.2.6 | Sample receipt | The sample must be clearly identified as an antenatal screening sample to: • enable screening laboratories to identify antenatal samples as distinct from other samples • match these samples to women for whom screening was offered, accepted and by the specific maternity service • identify and record un-labelled or mislabelled specimens, and specimens unsuitable for analysis, and request and receive repeat specimens. | • documented procedures | Does the laboratory have processes in place to: • ensure the sample is identified as antenatal and booked in appropriately (note these will be different to or extensions of the main laboratory specimen reception)?
• receive and process specimens to enable matching of these against the cohort of women who accepted screening by maternity service?
• identify and record un-labelled or mislabelled specimens, and specimens unsuitable for analysis, and request and receive repeat specimens?
7.3 | Examination processes (selection, verification and validation) | The laboratory must use the recommended combination of markers for the combined and quadruple tests set out in the FASP handbook: • combined test: ultrasound markers of a paired Crown Rump Length/Nuchal Translucency measurement and biochemical markers of PAPP-A and free beta hCG • quadruple test: biochemical markers of AFP, hCG (total, intact or free beta subunit), uE3 and Inhibin-A. Biochemical markers should be analysed between 10+0 and 20+0 weeks of pregnancy. Gestational age must be calculated using the correct formulae. Screening in twins including vanished twins and IVF pregnancies must follow FASP guidance specified in the handbook. The laboratory must submit its assays on https://ukas.my.site.com/readinessassessment/applyforaccreditation and be UKAS accredited for those assays. | • documented procedures • service agreements • DQASS reports | Does the laboratory use the recommended combination of markers for combined and quadruple screening set out in the FASP handbook? If no, please state areas where outside of FASP policy in column G.
Does the laboratory use the correct formulae and timeframes for gestational age? If no, please state areas where outside of FASP policy in column G.
Does the laboratory follow FASP guidance for screening in twins including vanished twins and IVF pregnancies? If no, please state areas where outside of FASP policy in column G.
Does the laboratory use the combined or quadruple test or any of the individual markers to screen for other conditions outside of FASP policy eg use of PAPP-A to screen for small for gestational age, AFP to screen for Neural Tube Defects? If yes, provide details and assurance this process is separate to FASP screening including reporting in column G.
7.3.7.3 | External quality assessment (EQA) | Laboratories must be satisfied that they understand the capabilities and limitations of their assays. The equipment and protocol chosen must fulfil the requirements of the screening programme and demonstrate suitable performance on external quality assurance (EQA). The laboratory must participate in ISO 17043 Accredited EQA schemes. | • EQA performance reports | Does the laboratory participate in ISO 17043 EQA schemes relating to Down's syndrome, Edwards' syndrome and Patau's syndrome (state which)?
Does the laboratory have a process in place to review EQA data at regular intervals and action any issues raised about performance from the EQA scheme?
Were there any EQA issues, if yes, has the laboratory taken appropriate action including assessment of clinical significance?
7.4.1 | Post-examination processes (reporting of results) | The laboratory must make sure results are reported as specified in the FASP handbook (ref - chance result report content): • using national chance cut off (1 in 150) • chance at term Phased implementation (comment on status and communication with software supplier and raise a recommendation not a finding) across England of: • highest reported chance greater than 1 in 2 • lowest reported chance less than 1 in 5,000 • reporting significant digits - for chances of 1 in 200 or higher, report whole numbers up to 3 significant digits - for chances less than 1 in 200, report up to 2 significant digits. Chance results from combined or quadruple tests must only be recalculated in exceptional circumstances (i.e. where the woman has already received the initial result). There must be failsafe arrangements for: • ensuring higher chance results are received by clinical services • an escalation process for where screening is incomplete. | • scanned/screenshot copy of report • documented procedures • KPI FA4 data • audit | • Is the laboratory result reporting procedure and reports compliant with the FASP handbook? If no, please comment on engagement with the software supplier, action plan and timescales in column G.
• Does the report clearly identify results that were recalculated and the reasons why? • Are requests for recalculations documented • Does the KPI (FA4) data explain why results were recalculated in exceptional circumstances?
Does the laboratory have an escalation process for incomplete screening? Comment on whether this has been audited?
6.2.3, 7.4.1 | Result review and release | The laboratory shall have procedures to ensure authorised personnel review the results of examinations before release and evaluate them against internal quality control and, as appropriate, available clinical information and previous examination results. When the procedure for reviewing results involves automatic selection and reporting, review criteria shall be established, approved and documented. | • staff qualifications and competencies • verification of reporting software • regular audit of validity of any rule- based systems in use • documented procedures • audit trail of reported results | Are higher chance results authorised by biomedical scientists, or clinical scientists? If no, please comment on authorisation processes and staff completing this task in column G.
When the procedure for reviewing results involves automatic selection and reporting, are the criteria for automated selection, review and release: • specified, readily available and understood by personnel responsible for authorising the release of results • validated and approved by competent/authorised personnel before use and after changes to the reporting system? If no, please comment on authorisation processes for the review of results before release in column G.
Are there processes in place to ensure dedicated/undisturbed focused time when authorising results? The lack of this has been a common theme on screening safety incidents.
8.3.2 | Control of documents | The laboratory must make sure that all documents required by the quality management system (QMS), including documents of external origin (see reference tab) are controlled to make sure there is no unintended use of obsolete documents. The following external documents, as a minimum are expected to be controlled: • NHS England Patient Safety Incident Response Framework • Managing safety incidents in NHS screening programmes • FASP screening standards/key performance indicators • FASP screening handbook • FASP chance calculation software requirements • Down’s syndrome screening quality assurance support service guidance | • screenshots / evidence of listed documents within QMS | Are all specified documents available in the QMS and suitable procedures in place to check for updates? If no, please provide detail in column G.
6.4.6, 6.6.6, 8.7 | Nonconformities, corrective actions and adverse events | The laboratory must have a documented procedure to identify and manage screening nonconformities. Laboratories will comply with the national guidance for the management of safety concerns and NHS England’s guidance for managing safety incidents in NHS screening programmes. | • incident management / non-conformity procedure demonstrating link to local, NHS England and SQAS frameworks for screening incidents | • Are screening nonconformities reviewed, managed and reported according to local, NHS England and SQAS frameworks for screening incidents? • Were there any screening incidents since the last assessment, if so were these managed appropriately? • How does this connect to the laboratory’s processes for managing incidents within its own organisation?
8.6.1 | Continual improvements | The laboratory must participate in DQASS, review their DQASS feedback with the lead biochemist participating in the feedback call with NHS England, and evidence they are addressing the actions in the DQASS report in a timely manner. | • feedback calls with DQASS • completed actions | Is the laboratory participating in DQASS?
Is the lead scientist biochemist or lead BMS (for the lab or network) participating in feedback calls?
Is there evidence of timely actions in response to DQASS reports where relevant?
Is there good communication and co-ordination across the laboratory network (where relevant) to specifically to address DQASS actions?
8.8.2 | Quality indicators | The laboratory must comply with requirements for reporting and meeting thresholds for the FASP screening standards and key performance indicators (KPIs). The laboratory must: • have local arrangements in place for submitting data annually and as a minimum meet the acceptable threshold for FASP-S05 • submit data quarterly for FASP-S06 (KPI FA4) • submit data six monthly to DQASS as per DQASS submission date specified on the DQASS website (ref) • submit data monthly on higher chance screening results to the National Congenital Anomaly and Rare Diseases Register (NCARDRS) • review turnaround times at departmental quality meetings (this can be by exception) and at management reviews. | Submit complete data on time for: • standards • KPIs • DQASS • NCARDRS | Does the laboratory submit annual data on FASP-S05 to NHS England? If no, comment on reasons and plans to submit in column G.
Are thresholds for FASP-S05 met? If no, comment on reasons and plans to meet threshold in column G.
Does the laboratory submit quarterly data on FASP-S06 (KPI FA4) to NHS England? If no, comment on reasons and plans to submit in column G.
Does the laboratory submit six monthly timely data to DQASS? If no, comment on reasons and plans to submit in column G.
Does the laboratory submit monthly data to NCARDRS for any higher chance screening results? If no, comment on reasons and plans to submit in column G.
|  |  |  | Comment on the laboratory processes for reviewing data locally and communicating performance to users. | n/a
8.8.3 | Internal audits | The laboratory must include in its laboratory audit schedule an annual vertical audit of an antenatal screening sample. The audit should randomly select a higher chance T21, T18 or T13 sample. In laboratories providing both combined and quadruple testing it is acceptable for the annual audit to relate to either test. Wherever possible the audits should alternate between the two tests. The audit should include arrival and receipt of the antenatal screening sample at the laboratory, communication and acknowledgement of receipt of a higher chance result to clinical services. | • audit schedule • vertical audit • audit action plans • minutes of meetings where audits are discussed | Does the laboratory undertake an annual vertical audit of the screening pathway, incorporating these quality assurance requirements, from arrival of the specimen in the laboratory to receipt of higher chance results by clinical services, for combined and/or quadruple tests? Comment on: • any aspects of the screening pathway not included in the audit • if the audit consists of randomly selected specimens with higher chance results.
8.9 | Management reviews | The laboratory management review must specifically include review of the laboratory’s performance in the delivery of the FASP programme. | • management review document • minutes of meetings where review is discussed and signed off | Is FASP performance included in the management review of the QMS?

## Findings
Findings

## References
References
Document | Weblink
NHS England Patient Safety Incident Response Framework | https://www.england.nhs.uk/patient-safety/patient-safety-insight/incident-response-framework/
Managing safety incidents in NHS screening programmes | https://www.gov.uk/government/publications/managing-safety-incidents-in-nhs-screening-programmes/managing-safety-incidents-in-nhs-screening-programmes
FASP screening standards/key performance indicators | https://www.gov.uk/government/publications/fetal-anomaly-screening-programme-standards
FASP screening programme handbook | https://www.gov.uk/government/publications/fetal-anomaly-screening-programme-handbook
Chance calculation software requirements for Down’s syndrome, Edwards' syndrome and Patau's screening | https://www.gov.uk/government/publications/downs-syndrome-screening-risk-calculation-software-requirements
Down's syndrome, Edwards' syndrome and Patau's syndrome quality assurance support service (DQASS) | https://www.gov.uk/guidance/downs-syndrome-screening-quality-assurance-support-service