## Read me
Infectious diseases in pregnancy screening programme laboratory assurance evidence requirements (IDPS)
The screening assessment report specifies in addition to ISO15189:2022 the specific IDPS screening requirements. For example it does not list anything specific for user feedback or internal quality control (IQC) which is part of ISO 15189:2022 but if there are relevant findings regarding this which may impact on the screening pathway the UKAS assessment manager will add a row to the report template and include the finding in the screening IAR so that NHS England SQAS is aware.
In line with the UKAS Customer Agreement, Laboratories MUST notify UKAS, as soon as practicable, of any planned/actual significant change to: • legal, commercial, ownership or organisational status • top management or key screening personnel • premises, equipment, facilities, resources or working environment • screening processes, practices or procedures, including analyser upgrades, supplier/manufacturer changes, method changes • the end-to-end screening process.
Screening Quality Assurance Service

## Project Info
Infectious diseases in pregnancy screening programme laboratory assurance evidence requirements
Project Code
Assessment type
Organisation name
Customer number
Last day of assessment
Date report issued
Assessment manager/ Lead assessor and Technical assessor (if applicable)
Location of screening (if multisite)
Number of screening Mandatory (M) findings
Number of screening Recommended (R) findings
Screening Recommendation/Decision

## Scope
Infectious diseases in pregnancy screening programme laboratory assurance evidence requirements
Scope | Assessor's comment
Does the laboratory under assessment perform/manage all stages of the end-to-end examination process (except referral for confirmation testing)? If not please detail arrangements, and ensure requirements of TPS 71 accreditation of healthcare processes delivered between multiple entities are assessed
Screening tests performed in-house including sample type, method/analyser
Confirmation tests performed in-house including sample type, method/analyser
Confirmation tests referred including UKAS CAB name, number and accreditation status for relevant tests
If already accredited, document any changes in testing since last assessment (analyser upgrades with same measurement principles, new analyser/methods, change to referral etc)
Where minor change to equipment/technique used/extension to scope (ETS) not required; verification provided and assessment comments in screening report
Where required was an ETS submitted (if so, please state project number, if not confirm requirement for ETS application discussed with lab)
If new method/analyser - previous testing withdrawn from accredited scope/schedule? (If not state when this will be done)

## Screening Report
ISO 15189:2022 | ISO requirement | Laboratory quality assurance requirements for HIV, hepatitis B, syphilis screening | Evidence | IDPS specific requirements (UKAS assessor to provide answers to questions and/or provide commentary) | Response Y/N | UKAS assessor reporting comments (use this section to add further comments as required) | Mandatory/Recommended finding(s) raised (M/R)?
PLEASE CONFIRM WHETHER ANY OTHER FINDINGS/ISSUES WERE RAISED DURING THE ASSESSMENT THAT RELATE TO THE SCREENING PROGRAMME (STATE YES/NO AND IF YES ADD ADDITIONAL ROWS AT THE BOTTOM OF THIS SPREADSHEET AND PROVIDE DETAILS)
5.2 | Laboratory director | The laboratory must: • have oversight and leadership of screening • include a named senior biomedical scientist (BMS) in the management structure for screening • have a named, discipline-specific clinical lead from a virology, microbiology or infectious diseases background, who has passed the FRCPath Part 2 by examination (or has a recognised examination if qualified overseas), who has day-to-day responsibility for the IDPS service • have the clinical head of pathology, clinical director or laboratory director as the named person who is ultimately accountable for the service. | • job description for named clinical lead/laboratory director and any other qualified personnel with delegated responsibilities • organogram showing screening roles and accountability within the governance structure of the organisation | Is the clinical lead for screening either the laboratory director or another qualified personnel with delegated responsibility?
Has the clinical lead for screening passed the FRCPath Part 2 by examination (or has a recognised examination if qualified overseas)?
Is the clinical lead for screening from a virology, microbiology or infectious diseases background?
Does the job description for the clinical lead and named senior biomedical scientist (BMS) include screening roles and responsibilities?
5.3.3, 5.4.1a, b, 8.6.2 | Structure and authority (governance and communication) | The laboratory must participate in the cross-organisational and multidisciplinary arrangements for governance, management, communication and development of the screening pathway, including: • having clear communication arrangements with users and commissioners of the service, including public health • sharing information on laboratory screening performance, quality indicators and incidents • participation in screening safety incident investigations as appropriate. | • defined responsibility, authority, lines of communication and interrelationship of all personnel involved in the screening pathway • agenda/minutes, terms of reference for screening groups • performance reports • incident outcome reports/action plans | Comment on arrangements about: • defined responsibility, authority, lines of communication and interrelationship of all personnel involved in the screening pathway • sharing of information by the laboratory on screening performance, quality indicators and incidents • participation in IDPS MDT and governance groups. | n/a
There must be representation from the laboratory team on IDPS multidisciplinary team (MDT) where relevant for clinical decision making.
There must be representation from the laboratory team on organisation screening governance groups.
5.6, 8.5 | Risk management, opportunities for improvement | The laboratory must have a documented risk management policy for the laboratory aspects of the screening programme describing the steps in the testing pathway where errors could occur, and the procedures taken to minimise the risk of the error occurring. This must be part of an overall risk management policy for the screening programme and include the laboratory interaction with other services in the screening pathway. | • risk management documented procedure • risk assessments of protocols • risk register | Is there a documented risk assessment for the end-to-end aspects of the screening programme, and actions to address risks and opportunities for improvement? If no, comment on the management of risk including development of a risk management policy.
Are there any potential single points of failure observed (equipment, staff), resilience in situations of national emergency?
7.6.4, 7.8 | Downtime plans, continuity and emergency preparedness planning | The laboratory must have a viable contingency plan to continue the provision of IDPS in the event of any failures to the laboratory service (contingency plans must specify test turnaround times are achieved). | • verification of any backup analysers/systems (including information systems) • comparison with 'routine' or 'partner' system • standard operating procedures/policy • business contingency/emergency plans • evidence of testing business contingency, as a minimum include evidence of 'tabletop' exercises with the nominated partner provider to ensure transport logistics and repatriation of data is considered | Is there a viable contingency plan to continue the provision of IDPS to ensure specified test turnaround times are achieved in the event of any failures to the laboratory service?
Has the contingency plan been tested?
6.2.1, 6.2.2, 6.2.4, 6.2.5 | Personnel, competence requirements, CPD | The laboratory must include IDPS related training, competency assessment and continuous professional development (CPD) for staff involved in any aspect of the screening work. E-Learning requirements are as follows: Screening laboratory staff are required to complete 'NHS infectious diseases in pregnancy screening' every 24 months Screening laboratory staff (including medical and clinical lead) involved in the reporting and/or authorising of results must complete, once as new starter and every 24 months thereafter: • Introduction to population screening • Antenatal and newborn screening e-learning module (Unit 3 Infectious Diseases in Pregnancy). | • training/competency procedures/policy • training/competency records • evidence of screening related CPD in the laboratory • completion of e-Learning | Are screening laboratory staff part of the same organisation and subject to the same induction programme as the main laboratory workforce?
Are there defined and implemented screening related: • training programmes • competency assessment following training (comment on objective competency criteria and adequacy of records held to demonstrate these are fulfilled) • and periodic reassessment of competency? Do these include the clinical lead for screening (as appropriate to the role)?
|  |  |  | Comment on the qualifications/grades of staff performing the analysis and reviewing/reporting results. | n/a
Has a laboratory representative attended IDPS national programme meetings in the last 24 months?
Is there evidence that relevant laboratory staff are undertaking recommended IDPS e-Learning? (NEW REQUIREMENT)
|  |  |  | Comment on any other continuing professional development (CPD) issues (e.g. supplier user group meetings, presentations at journal clubs, e-learning participation). Include any difficulties experienced in accessing materials, meetings etc. | n/a
Is the suitability and effectiveness of the CPD programmes and activities periodically reviewed?
|  |  |  | With reference to all staff assessed (including consultants /medical staff) comment on: • job descriptions • whether there are any concerns about staff resource and if so what and including any objective evidence of staff shortages or absence of key staff • staffing resilience and the number of staff trained and able to perform the tasks associated with IDPS screening • overall conclusions re: personnel. | n/a
6.7, 7.2.2 | Service agreements/ Laboratory information for patients and users | No requirement to check a formal agreement/direct contractual link between the screening labs and the maternity units and other users, however arrangements between the parties including roles and responsibilities shall be clearly defined (see also 5.4.1a, b above) and reviewed regularly. The laboratory shall review its capability and resources to meet the requirements at regular intervals or when there are any changes. It shall also demonstrate the following arrangements with users: • sample and requesting requirements • sample acceptance/rejection criteria • advice of any screening activities to be performed by referral laboratories • turnaround times • how non-conformances are notified to maternity units and other users • use of the failsafe system etc. | • defined responsibilities of all personnel/groups involved in the screening pathway • information for (or service agreements with) users including maternity units | Does the laboratory have suitable user information and/or agreements to ensure there is a common understanding with users including maternity units in relation to topics in column C?
6.8.2 | Referral laboratories | Policy/procedure/criteria for choice/approval shall be in place for referral laboratories, including any required personnel qualifications and demonstration of competence. The IDPS screening laboratories must use reference laboratories accredited to ISO 15189:2012/2022 for confirmation of screen positive results when this is not available in-house. Where a referral laboratory provides a service as part of the programme's ANNB confirmatory/diagnostic pathway the following shall be documented: • procedures for specimen referral including criteria for referral, packaging/sending samples, ensuring results are returned to the referring laboratory and subsequent management and reporting of results including: • agreed roles and responsibilities including who is responsible for the provision of screening data • arrangements for confirming specimen receipt • management of critical results • how performance will be monitored (the turnaround time [TaT] is the same irrespective of whether confirmatory testing is performed in-house or sent to a reference laboratory) • a list of all referral laboratories shall be maintained • reports must include identification of all examinations or parts of examinations performed by a referral laboratory, including information provided by consultants, without alteration, as well as the name of the laboratory performing the examinations. | Note that some screening laboratories are specified directly by commissioners and the laboratory is not free to exercise choice or select a particular referral laboratory, but the primary laboratory must still demonstrate rationale for use, monitoring against defined criteria, escalation/action where requirements are not met. • evidence that referral laboratory has agreed to arrangements/requirements, e.g. formal contract • procedures for handling samples, reporting results • reports meet requirements • documented procedures in guidelines, service agreements or user guides | Has laboratory demonstrated suitable rationale for use of the IDPS referral lab(s)?
Are documented agreements/procedures in place covering the areas in column C?
Does the lab monitor referral lab performance against defined criteria including TaTs, with escalation/action where requirements are not met?
Do reports identify all examinations performed by a referral laboratory, including the name of the laboratory performing the examinations (if not is there suitable justification, e.g. simplified report format agreed with users)?
7.2.2, 7.2.6 | Pre-examination processes (laboratory information for patients and users) | The laboratory must have clear acceptance and rejection criteria for samples to include: • essential clinical and demographic information • adequacy of sample labelling • sample quality. A sample is regarded as inadequate if the: • blood sample has insufficient blood to perform all tests • blood sample is in the wrong tube or is lysed or contaminated • sample label and/or request do not have all required data fields completed accurately. Local agreements between the laboratory and maternity service must be in place to facilitate communication and timely management of: • incomplete information on the request form or blood sample with no accompanying request • requests for repeat samples for inadequate or insufficient screening samples • requirement for repeat samples due to laboratory non-conformity (repeat sample must be requested as soon as non-conformity is identified by notifying the screening team and testing of the new sample must be expedited). | • documented procedures in guidelines, service agreements or user guides | Do procedures, agreements or user guides cover acceptance and rejection criteria, identifying, recording and actioning of inadequate samples?
7.2.3 | Requests for providing laboratory examinations | The laboratory paper or electronic request must include the data fields specified in the IDPS laboratory handbook (ref - minimum data fields table). The request must be able to accommodate acceptance of all screening tests, to decline all tests or accept the offer of just one or two tests. | • request form (scanned paper copy or screenshot of electronic request) | Does the laboratory’s request conform to IDPS laboratory handbook (minimum data fields table)? If no, comment on reasons and plans to conform in column G.
|  | The initial screening tests for all three infections (HIV, hepatitis B and syphilis) should ideally be performed in a single laboratory or within a single multidisciplinary pathology department or network to make sure there is efficient coordination of processing the sample and reporting the results. |  | Are all tests performed in a single laboratory/network? If no, describe arrangements in column G (NHS England would like to assess current arrangements).
7.2.6 | Sample receipt | The sample must be clearly identified as an antenatal screening sample to: • enable screening laboratories to identify antenatal samples as distinct from other samples • match these samples to women for whom screening was offered, accepted and by the specific maternity service • identify and record un-labelled or mislabelled specimens, and specimens unsuitable for analysis, and request and receive repeat specimens. Samples received in the screening laboratory must be recorded as received on the laboratory information management system. Samples should be ‘logged’ as antenatal samples, assigned a laboratory accession number and booked for the appropriate tests according to the request within 24 hours of receipt in the laboratory. It must be standard practice to make sure any labels attached to the sample on receipt in the laboratory do not obscure the woman’s identity (either written or attached label). | • documented procedures | Does the laboratory have processes in place to: • ensure the sample is identified as antenatal and booked in appropriately?
• receive and process specimens to enable matching of these against the cohort of women who accepted screening by maternity service?
• identify and record un-labelled or mislabelled specimens, and specimens unsuitable for analysis, and request and receive repeat specimens?
• log samples received as per requirements within 24 hours of receipt?
• manage labels as required?
7.3 | Examination processes (selection, verification and validation) | The laboratory must use the screening algorithms as defined in the IDPS laboratory handbook (ref). These define the conditions to be tested and the analytical methods that must be used, together with any national action limits and diagnostic sensitivity and specificity that must be achieved. The laboratory must submit its assays on https://ukas.my.site.com/readinessassessment/applyforaccreditation and be UKAS accredited for those assays. | • validation / verification reports demonstrating tests meet requirements detailed in laboratory handbook | Does the laboratory use the recommended analytical methods in the IDPS laboratory handbook?
Were methods suitably validated/verified demonstrating the performance criteria specified in the IDPS laboratory handbook (e.g. sensitivity/specificity) are met? Do the screening test results fall within manufacturer defined specificity? If not does the laboratory undertake repeat testing as specified in the assay instructions for use?
Do confirmatory methods meet the requirements specified in the IDPS laboratory handbook?
Are the flowcharts for screening and confirmation in the IDPS laboratory handbook for management of results followed?
7.3.7.3 | External quality assessment (EQA) | Laboratories must be satisfied they understand the capabilities and limitations of their assays. The equipment and protocol chosen must fulfil the requirements of the screening programme and demonstrate suitable performance on external quality assurance (EQA). The laboratory must participate in ISO 17043 Accredited EQA schemes. When reviewing EQA performance ensure that the EQA schemes relating to HIV, hepatitis B and syphilis are included. | • EQA performance reports | Does the laboratory participate in ISO 17043 EQA schemes relating to HIV, hepatitis B and syphilis (state which)?
Does the laboratory have a process in place to review EQA data at regular intervals and action any issues raised about performance from the EQA scheme?
Were there any EQA issues, if yes, has the laboratory taken appropriate action including assessment of clinical significance?
7.4.1 | Post-examination processes (reporting of results) | The laboratory must make sure results are reported as specified in the IDPS laboratory handbook (ref - results table and reporting comments for each test). | • scanned/screenshot copy of report • documented procedures • audit | Is the laboratory result reporting procedure and reports compliant with the IDPS laboratory handbook? If no, please give details, rationale and plans to address this in column G.
When screening is negative for all three infections laboratories are required to add the following comment to reports to reinforce this message: ‘Negative at time the screening sample was taken. Please offer testing at any time in pregnancy if the woman has a new exposure risk or develops relevant symptoms.'
Positive or equivocal screening results must only be reported on the screening sample for HIV, hepatitis B and syphilis following confirmation of the result using appropriate analytical methods.
In addition to electronic reporting, laboratories must directly inform the screening team or infectious diseases midwife of all confirmed positive results, preferably by use of a generic email address or by telephone. The laboratory team must record when and to whom they gave the result.
|  | The laboratory must have an escalation process for incomplete screening tests. |  | Does the laboratory have an escalation process for incomplete screening? Comment on whether this has been audited?
6.2.3, 7.2.6.1f, 7.4.1 | Result review and release | The laboratory shall have procedures to ensure authorised personnel review the results of examinations before release and evaluate them against internal quality control and, as appropriate, available clinical information and previous examination results. When the procedure for reviewing results involves automatic selection and reporting, the review criteria shall be established, approved and documented. Where the woman is newly diagnosed with a confirmed positive result for HIV, hepatitis B or syphilis a repeat or confirmatory serology sample is required to confirm the positive status of the initial screening sample. | • staff qualifications and competencies • verification of reporting software • regular audit of validity of any rule- based systems in use • documented procedures • audit trail of reported results | Are confirmed screen positive results authorised by biomedical scientists, or clinical scientists? If no, please comment on authorisation processes and staff completing this task in column G.
When the procedure for reviewing results involves automatic selection and reporting, are the criteria for automated selection, review and release: • specified, readily available and understood by personnel responsible for authorising the release of results • validated and approved by competent/authorised personnel before use and after changes to the reporting system? If no, please comment on authorisation processes for the review of results before release in column G.
Are there processes in place to ensure dedicated/undisturbed focused time when authorising results? The lack of this has been a common theme on screening safety incidents.
Is there is procedure in place for confirmatory serology samples in cases of newly diagnosed HIV, hepatitis B and syphilis results?
|  | Where a screening laboratory does not undertake in-house confirmation, a sample testing equivocal, positive or detected in the screening assay will be sent to a reference laboratory for confirmation. Although the reference laboratory may report the sample has tested negative or not detected in their assays, the screening laboratory should also take their own result into account when reporting. This combination of results is reported as inconclusive, and a repeat sample must be requested. |  | Are processes in place for reviewing results from reference laboratories? Please comment in column G.
|  |  |  | Comment on what would happen if reference lab result and the in-house screen are incompatible? Please comment in column G. | n/a
|  | There must be a process in place between the laboratory and the screening coordinator or infectious diseases midwife to alert them to an inconclusive result and the need for a repeat sample to exclude recent infection. The repeat sample must be taken a minimum of 2 weeks from the date of the initial sample, and laboratories must aim to give a definitive result on the repeat sample. |  | Are there documented processes for communicating and following up inconclusive results and requesting repeat samples (within 2 weeks of the initial sample) where required? Comment on whether there has been any audits undertaken to evidence this is happening in practice?
|  | A follow-up list of relevant results must be produced each week (or more frequently by local agreement) and sent to the screening coordinator, infectious diseases midwife or other nominated person. The follow-up list must include all positive and inconclusive results and all samples not processed because the request is incomplete or the sample is inadequate or insufficient. |  | Does the laboratory produce follow up lists as specified?
|  | URGENT SCREENING Tests must be performed urgently for all women presenting in labour who are either un-booked or with no evidence of screening results from a UKAS accredited laboratory. The initial screening tests must be performed as soon as possible, ideally on sample receipt but within a maximum of 24 hours. This handbook does not specify the turnaround time for confirmatory testing, if required, but this must be expedited and local standard operating procedures must specify how this will be achieved. Most of these urgent screening results will be ‘not detected’ and can be reported promptly. If any of the screening tests are ‘detected’ there needs to be an urgent clinician to clinician conversation. This should be between the laboratory clinician and the on-call obstetrician and paediatrician. This is the only circumstance in which an unconfirmed result can be given verbally and acted upon. The clinicians must be informed that the result is provisional. The reporting of the results on the laboratory IT system must wait until all confirmatory tests are completed. Once completed, laboratories must directly inform the screening team or specialist midwife of the results as outlined above. |  | Are there documented procedures in place for managing timely screening for un-booked women? Comment on whether there has been any audits to demonstrate these procedures are effective?
|  | Make sure tests are performed promptly for all women who are ‘late bookers’. The need for urgent screening is less acute than for un-booked women presenting in labour but must be performed promptly, either on the day of receipt or next working day if received out of hours. |  | Are there documented procedures in place for managing timely screening for late bookers? Comment on whether there has been any audits to demonstrate these procedures are effective?
6.3.3, 7.4.2 | Post-examination handling of samples (storage) | The laboratory has system(s) in place for the retention and disposal of samples including documentation on, and adherence to retention times. When the screening tests are complete an aliquot (a suggested minimum volume of 300 microliters) from the screening specimen must be stored frozen at a maximum temperature of -20 degrees Celsius for at least 2 years. | • documented procedures for retention (including retention times) and disposal of samples | Are the specified retention times and temperatures clearly documented and adhered to?
|  | In cases where there is insufficient volume to store an aliquot of the screening sample a local process must be in place to document, monitor and manage this, for example by requesting a repeat sample and informing the women of the reason. Laboratories must consider reporting the proportion of samples where it is not possible to store an aliquot of the screening sample to maternity services to drive improvement. |  | Are processes in place to manage cases where there is insufficient volume to store an aliquot? If no, please comment on plans to address this in column G.
8.3.2 | Control of documents | The laboratory must make sure all documents required by the quality management system (QMS), including documents of external origin (see reference tab) are controlled to make sure there is no unintended use of obsolete documents. The following external documents, as a minimum are expected to be controlled: • NHS England Patient Safety Incident Response Framework • Managing safety incidents in NHS screening programmes • IDPS screening standards/key performance indicators • IDPS screening handbook • IDPS laboratory handbook | • screenshots / evidence of listed documents within QMS | Are all specified documents available in the QMS and suitable procedures in place to check for updates? If no, please provide detail in column G.
6.4.6, 6.6.6, 8.7 | Nonconformities, corrective actions and adverse events | The laboratory must have a documented procedure to identify and manage screening nonconformities. Laboratories will comply with the national guidance for the management of safety concerns and NHS England’s guidance for managing safety incidents in NHS screening programmes. | • incident management / non-conformity procedure demonstrating link to local, NHS England and SQAS frameworks for screening incidents | • Are screening nonconformities reviewed, managed and reported according to local, NHS England and SQAS frameworks for screening incidents? • Were there any screening incidents since the last assessment, if so were these managed appropriately? • How does this connect to the laboratory’s processes for managing incidents within its own organisation?
8.8.2 | Quality indicators | The laboratory must comply with requirements for reporting and meeting thresholds for IDPS screening standards and key performance indicators (KPIs). The laboratory must: • have local arrangements in place for submitting data annually and as a minimum meet the acceptable threshold for IDPS-S04 • have local agreements to report the turnaround times to the local screening team every three months • review turnaround times at departmental quality meetings (this can be by exception) and at management reviews. | Submit complete data on time for: • standards • KPIs | Does the laboratory submit annual data directly or via maternity service on IDPS-SO4 to NHS England? If no, comment on reasons and plans to submit in column G.
Are thresholds for IDPS-SO4 met? If no, comment on reasons and plans to meet threshold in column G.
|  |  |  | Comment on the laboratory processes for reviewing data locally and communicating performance to users. | n/a
8.8.3 | Internal audits | The laboratory must include in its laboratory audit schedule an annual vertical audit of an antenatal screening sample. The audit should randomly select a confirmed screen positive sample. A different infection should be selected each year so that over a 3-year cycle confirmed screen positive samples for HIV, hepatitis B and syphilis samples are audited. The audit should include arrival and receipt of the antenatal screening sample at the laboratory, communication and acknowledgement of receipt of a confirmed screen positive result to clinical services. | • audit schedule • vertical audit • audit action plans • minutes of meetings where audits are discussed | Does the laboratory undertake an annual vertical audit of the screening pathway, incorporating the quality assurance requirements of arrival of the specimen in the laboratory to receipt of confirmed screen positive results by clinical services for HIV, hepatitis B and syphilis screening? Comment on: • any aspects of the screening pathway not included in the audit • if the audit consists of randomly selected specimens with confirmed screen positive results.
8.9 | Management reviews | The laboratory management review must specifically include review of the laboratory’s performance in the delivery of the IDPS programme. | • management review document • minutes of meetings where review is discussed and signed off | Is IDPS performance included in the management review of the QMS?

## Findings
Findings

## References
References
Document | Weblink
NHS England Patient Safety Incident Response Framework | https://www.england.nhs.uk/patient-safety/patient-safety-insight/incident-response-framework/
Managing safety incidents in NHS screening programmes | https://www.gov.uk/government/publications/managing-safety-incidents-in-nhs-screening-programmes/managing-safety-incidents-in-nhs-screening-programmes
IDPS screening standards/key performance indicators | https://www.gov.uk/government/publications/infectious-diseases-in-pregnancy-screening-programme-standards
IDPS screening programme handbook | https://www.gov.uk/government/publications/infectious-diseases-in-pregnancy-screening-programme-handbook
IDPS laboratory handbook | https://www.gov.uk/government/publications/infectious-diseases-in-pregnancy-screening-programme-laboratory-handbook
e-Learning available on NHSE elfH | https://portal.e-lfh.org.uk/Dashboard