## Read_me
Sickle cell and thalassaemia screening programme laboratory assurance evidence requirements (SCT)
The screening assessment report specifies in addition to ISO15189:2022 the specific SCT screening requirements. For example it does not list anything specific for user feedback or internal quality control (IQC) which is part of ISO 15189:2022 but if there are relevant findings regarding this which may impact on the screening pathway the UKAS assessment manager will add a row to the report template and include the finding in the screening IAR so that NHS England SQAS is aware.
In line with the UKAS Customer Agreement, Laboratories MUST notify UKAS, as soon as practicable, of any planned/actual significant change to: • legal, commercial, ownership or organisational status • top management or key screening personnel • premises, equipment, facilities, resources or working environment • screening processes, practices or procedures, including analyser upgrades, supplier/manufacturer changes, method changes • the end-to-end screening process.
Screening Quality Assurance Service

## Project_Info
Sickle cell and thalassaemia screening programme laboratory assurance evidence requirements
Project Code
Assessment type
Organisation name
Customer number
Last day of assessment
Date report issued
Assessment manager/ Lead assessor and Technical assessor (if applicable)
Location of screening (if multisite)
Number of screening Mandatory (M) findings
Number of screening Recommended (R) findings
Screening Recommendation/Decision

## Scope
Sickle cell and thalassaemia screening programme laboratory assurance evidence requirements
Scope | Assessor's comment
Does the laboratory under assessment perform/manage all stages of the end-to-end examination process (except referral for confirmation testing)? If not, please detail arrangements and ensure requirements of TPS 71 accreditation of healthcare processes delivered between multiple entities are assessed Where the full blood count (FBC) is done in a different laboratory, the screening laboratory needs to be assured the FBC laboratory is UKAS accredited)
Screening tests performed in-house including sample type, method/analyser
Confirmation tests performed in-house including sample type, method/analyser
Confirmation tests referred including UKAS CAB name, number and accreditation status for relevant tests
If already accredited, document any changes in testing since last assessment (analyser upgrades with same measurement principles, new analyser/methods, change to referral etc)
Where minor change to equipment/technique used/extension to scope (ETS) not required; verification provided and assessment comments in screening report
Where required was an ETS submitted (if so, please state project number, if not confirm requirement for ETS application discussed with lab)
If new method/analyser - previous testing withdrawn from accredited scope/schedule? (If not state when this will be done)

## Screening_Report
ISO 15189:2022 | ISO requirement | Laboratory quality assurance requirements for sickle cell and thalassaemia screening | Evidence | SCT specific requirements (UKAS assessor to provide answers to questions and/or provide commentary) | Response Y/N | UKAS assessor reporting comments (use this section to add further comments as required) | Mandatory/Recommended finding(s) raised (M/R)?
PLEASE CONFIRM WHETHER ANY OTHER FINDINGS/ISSUES WERE RAISED DURING THE ASSESSMENT THAT RELATE TO THE SCREENING PROGRAMME (STATE YES/NO AND IF YES ADD ADDITIONAL ROWS AT THE BOTTOM OF THIS SPREADSHEET AND PROVIDE DETAILS)
5.2 | Laboratory director | The laboratory must: • have oversight and leadership of screening • include a named senior biomedical scientist (BMS) in the management structure for screening • have laboratory director as the named person who is ultimately accountable for the service, some duties may be delegated to other qualified personnel, but the ultimate responsibility is maintained by the laboratory director • named clinical lead who must be a fellow of the royal college of pathologists. | • job description for named clinical lead/laboratory director and any other qualified personnel with delegated responsibilities • organogram showing screening roles and accountability within the governance structure of the organisation | Is the clinical lead for screening either the laboratory director or another qualified personnel with delegated responsibility?
Is the clinical lead for screening a fellow of the royal college of pathologists?
Is the job description for the clinical lead for screening appropriate?
Does the job description for the clinical lead and named senior biomedical scientist (BMS) include screening roles and responsibilities?
5.3.3, 5.4.1a, b, 8.6.2 | Structure and authority (governance and communication) | The laboratory must participate in the cross-organisational and multidisciplinary arrangements for governance, management, communication and development of the screening pathway, including: • having clear communication arrangements with users and commissioners of the service, including public health • sharing information on laboratory screening performance, quality indicators and incidents • participation in screening safety incident investigations as appropriate • engagement from the laboratory team on organisation screening governance groups. | • defined responsibility, authority, lines of communication and interrelationship of all personnel involved in the screening pathway • agenda/minutes, terms of reference for screening groups • performance reports • incident outcome reports/action plans | Comment on arrangements about: • defined responsibility, authority, lines of communication and interrelationship of all personnel involved in the screening pathway • sharing of information by the laboratory on screening performance, quality indicators and incidents • engagement in screening governance groups | n/a
5.6, 8.5 | Risk management, opportunities for improvement | The laboratory must have a documented risk management policy for the laboratory aspects of the screening programme describing the steps in the testing pathway where errors could occur, and the procedures taken to minimise the risk of the error occurring. This must be part of an overall risk management policy for the screening programme and include the laboratory interaction with other services in the screening pathway. | • risk management documented procedure • risk assessments of protocols • risk register | Is there a documented risk assessment for the end-to-end aspects of the screening programme, and actions to address risks and opportunities for improvement? If no, comment on the management of risk including development of a risk management policy.
Are there any potential single points of failure observed (equipment, staff), resilience in situations of national emergency?
7.6.4, 7.8 | Downtime plans, continuity and emergency preparedness planning | The laboratory must have a viable contingency plan to continue the provision of SCT in the event of any failures to the laboratory service (contingency plans must specify test turnaround times are achieved). | • verification of any backup analysers/systems (including information systems) • comparison with 'routine' or 'partner' system • standard operating procedures/policy • business contingency/emergency plans • evidence of testing business contingency, as a minimum include evidence of 'tabletop' exercises with the nominated partner provider to ensure transport logistics and repatriation of data is considered | Is there a viable contingency plan to continue the provision of SCT to ensure specified test turnaround times are achieved in the event of any failures to the laboratory service?
Has the contingency plan been tested?
6.2.1, 6.2.2, 6.2.4, 6.2.5 | Personnel, competence requirements, CPD | The laboratory must include SCT related training, competency assessment and continuous professional development (CPD) for staff involved in any aspect of the screening work. | • training/competency procedures/policy • training/competency records • evidence of screening related CPD in the laboratory | Are screening laboratory staff part of the same organisation and subject to the same induction programme as the main laboratory workforce?
Are there defined and implemented screening related: • training programmes • competency assessment following training (comment on objective competency criteria and adequacy of records held to demonstrate these are fulfilled) • and periodic reassessment of competency?
|  |  |  | Comment on the qualifications/grades of staff performing the analysis and reviewing/reporting results. | n/a
Has a laboratory representative (bench level staff and haematology laboratory managers) attended NHS England laboratory training days; at least once per year (minimum of one person who can feedback to other staff)? Note: training run by manufacturers/suppliers is not a substitute to NHSE training days.
Is there evidence of laboratory designed competencies with a minimum of ten different phenotypes presented as case studies and result interpretation scenarios (recommended every two years) for all staff (including medical and clinical lead) reporting and/or authorising results? (NEW REQUIREMENT)
|  |  |  | Comment on any other continuing professional development (CPD) issues (e.g. supplier user group meetings, presentations at journal clubs, e-learning participation). Include any difficulties experienced in accessing materials, meetings etc. | n/a
Is the suitability and effectiveness of the CPD programmes and activities periodically reviewed?
|  |  |  | With reference to all staff assessed (including consultants /medical staff) comment on: • job descriptions • whether there are any concerns about staff resource and if so what and including any objective evidence of staff shortages or absence of key staff • staffing resilience and the number of staff trained and able to perform the tasks associated with SCT screening • overall conclusions re: personnel. | n/a
6.7, 7.2.2 | Service agreements/ Laboratory information for patients and users | No requirement to check a formal agreement/direct contractual link between the screening labs and the maternity units and other users, however arrangements between the parties including roles and responsibilities shall be clearly defined (see also 5.4.1a, b above) and reviewed regularly. The laboratory shall review its capability and resources to meet the requirements at regular intervals or when there are any changes. It shall also demonstrate the following arrangements with users: • sample and requesting requirements • sample acceptance/rejection criteria • advice of any screening activities to be performed by referral laboratories • turnaround times • how non-conformances are notified to maternity units and other users • use of the failsafe system etc. | • defined responsibilities of all personnel/groups involved in the screening pathway • information for (or service agreements with) users including maternity units | Does the laboratory have suitable user information and/or agreements to ensure there is a common understanding with users including maternity units in relation to topics in column C?
6.8.2 | Referral laboratories | Policy/procedure/criteria for choice/approval shall be in place for referral laboratories, including any required personnel qualifications and demonstration of competence. The SCT screening laboratories must use reference laboratories accredited to ISO 15189:2012/2022. Where a referral laboratory provides a service as part of the programme's pathway the following shall be documented: • procedures for specimen referral including criteria for referral, packaging/sending samples, ensuring results are returned to the referring laboratory and subsequent management and reporting of results including: • agreed roles and responsibilities including who is responsible for the provision of screening data • arrangements for confirming specimen receipt • management of critical results • how performance will be monitored (the turnaround time [TaT] is the same irrespective of whether testing is performed in-house or sent to a reference laboratory) • a list of all referral laboratories shall be maintained • reports must include identification of all examinations or parts of examinations performed by a referral laboratory, including information provided by consultants, without alteration, as well as the name of the laboratory performing the examinations. | Note that some screening laboratories are specified directly by commissioners and the laboratory is not free to exercise choice or select a particular referral laboratory, but the primary laboratory must still demonstrate rationale for use, monitoring against defined criteria, escalation/action where requirements are not met. • evidence that referral laboratory has agreed to arrangements/requirements, e.g. formal contract • procedures for handling samples, reporting results • reports meet requirements • documented procedures in guidelines, service agreements or user guides | Has laboratory demonstrated suitable rationale for use of the SCT referral lab(s)?
Are documented agreements/procedures in place covering the areas in column C?
Does the lab monitor referral lab performance against defined criteria including TaTs, with escalation/action where requirements are not met?
Do reports identify all examinations performed by a referral laboratory, including the name of the laboratory performing the examinations (if not is there suitable justification, e.g. simplified report format agreed with users)?
7.2.2, 7.2.6 | Pre-examination processes (laboratory information for patients and users)/ Sample receipt | The laboratory must have clear acceptance and rejection criteria for samples to include: • essential clinical and demographic information • adequacy of sample labelling • sample quality. A sample is regarded as inadequate if the: • blood sample has insufficient blood to perform all tests • blood sample is in the wrong tube or is lysed or contaminated • sample label and/or request do not have all required data fields completed accurately • is outside the sample stability requirements (all samples must be screened for thalassaemia using the mean cell haemoglobin (MCH) measurement, which is stable for up to 4 to 5 days at room temperature). Local agreements between the laboratory and maternity service must be in place to facilitate communication and timely management of: • incomplete information on the request form or blood sample with no accompanying request • requests for repeat samples for inadequate or insufficient screening samples • requirement for repeat samples due to laboratory non-conformity (repeat sample must be requested as soon as non-conformity is identified by notifying the screening team and testing of the new sample must be expedited). | • documented procedures in guidelines, service agreements or user guides | Do procedures, agreements or user guides cover acceptance and rejection criteria, identifying, recording and actioning of inadequate samples?
7.2.3 | Requests for providing laboratory examinations | The specimen must include the nationally agreed dataset for the Family Origin Questionnaire (FOQ) - ref If using an electronic FOQ (eFOQ) it must include the following functions: • ability to select multiple family origins (there should be no limit to the number of categories that can be selected) • in low prevalence sites highlight when Hb variant testing is required and risk of alpha zero • in high prevalence sites highlight risk of alpha zero | • FOQ (scanned paper copy or screenshot of eFOQ electronic request where FOQ and request from are separate) • audit/KPI(ST3) data | Does the FOQ (paper or electronic) meet the requirements of the national specification? If no, comment on reasons and plans to conform in column G.
|  | The laboratory must have processes in place for identifying from the FOQ and: • treating as high risk and completing full laboratory screening if either biological parent was adopted (irrespective of family origins) • recommending testing is offered to the biological father if the pregnancy was achieved using a donor egg • recommending the fertility clinic is contacted to obtain the biological father’s haemoglobinopathy results if the pregnancy was achieved using a donor sperm and the woman's result is screen positive • recommending the fertility clinic is contacted to obtain haemoglobinopathy results of both biological parents for surrogacy pregnancies |  | Does the laboratory have documented procedures for the scenarios described in column C? If no, comment on reasons and plans to conform in column G.
|  | Laboratories must have processes in place for situations where the FOQ is not received or is incomplete to make sure test reporting is not delayed beyond the 3-day turnaround time. If necessary, the sample must be treated as high-risk family origins and tested to achieve this. Where multiple family origins are selected the presence of a high-risk family origin has priority and must result in a test. The FOQ must not be rejected if the only missing information is the gestational age. |  | Does the laboratory have processes in place for managing non-receipt and incomplete FOQs? Does this include a communication process/follow up with maternity? If no, comment on reasons and plans to conform in column G.
7.2.6 | Sample receipt | The sample must be clearly identified as an antenatal screening sample to: • enable screening laboratories to identify antenatal samples as distinct from other samples • match these samples to women for whom screening was offered, accepted and by the specific maternity service • identify and record un-labelled or mislabelled specimens, and specimens unsuitable for analysis, and request and receive repeat specimens. It must be standard practice to make sure any labels attached to the sample on receipt in the laboratory do not obscure the woman’s identity (either written or attached label). | • documented procedures | Does the laboratory have processes in place to: • ensure the sample is identified as antenatal and booked in appropriately?
• receive and process specimens to enable matching of these against the cohort of women who accepted screening by maternity service?
• identify and record un-labelled or mislabelled specimens, and specimens unsuitable for analysis, and request and receive repeat specimens?
• manage labels as required?
7.3 | Examination processes (selection, verification and validation) | The laboratory must adopt the screening algorithms as defined in the SCT laboratory handbook. These define the conditions to be tested and the analytical methods that must be used, together with any national action limits and diagnostic sensitivity and specificity that must be achieved. This includes SCT antenatal laboratory handbook (ref) where either biological parent had a bone marrow transplant or gene therapy for a haemoglobinopathy. It is essential that HbA2 is analysed by a method that clearly separates HbA2 from HbA, and detects/measures at least the most common HbA2 variant (HbA2Prime [A2]) The SCT screening laboratories must be aware of the measurement uncertainty of measured quantity values to meet the ISO15189 requirements but MUST use the national screening algorithm and national action values (refs - interpretation and reporting of antenatal screening results and significant haemoglobinopathies: guidelines for screening and diagnosis). The laboratory must submit its assays on https://ukas.my.site.com/readinessassessment/applyforaccreditation and be UKAS accredited for those assays. | • validation / verification reports demonstrating tests meet requirements detailed in laboratory handbook • maintenance documentation • information relating to calibration and traceability | Does the laboratory use the recommended analytical methods in the SCT laboratory handbook?
Does the testing algorithm follow national guidance where either biological parent had a bone marrow transplant or gene therapy for a haemoglobinopathy?
Were methods suitably validated/verified demonstrating the performance criteria specified in the SCT laboratory handbook are met?
Are methods used able to separate HbA2 from HbA, and detect/measure at least the most common HbA2 variant (HbA2Prime [A2])
Do confirmatory methods meet the requirements specified in the SCT laboratory handbook?
Are the guidelines including action values for screening and confirmation in the SCT laboratory handbook for management of results followed?
7.3.7.3 | External quality assessment (EQA) | Laboratories must be satisfied that they understand the capabilities and limitations of their assays. The equipment and protocol chosen must fulfil the requirements of the screening programme and demonstrate suitable performance on external quality assurance (EQA). The laboratory must participate in ISO 17043 Accredited EQA scheme. | • EQA performance reports | Does the laboratory participate in ISO 17043 EQA schemes relating to SCT?
Does the laboratory have a process in place to review EQA data at regular intervals and action any issues raised about performance from the EQA scheme?
Were there any EQA issues, if yes, has the laboratory taken appropriate action including assessment of clinical significance?
7.4.1 | Post-examination processes (reporting of results) | The laboratory must make sure that results are reported as specified in the SCT laboratory handbook including: Laboratories must have a universal footnote on all haemoglobinopathy results, for example, ‘unless otherwise stated, result assumes no bone marrow transplant, gene therapy or recent transfusion’ or ‘result valid if not transfused and no history of bone marrow transplant or gene therapy’. There must be failsafe arrangements for: • ensuring screen positive results are received by clinical services • an escalation process for where screening is incomplete. | • scanned/screenshot copy of report • documented procedures • audit | Is the laboratory result reporting procedure and reports consistent with the SCT laboratory handbook? If no, please state give details, rationale and plans to address this in column G.
Does the laboratory have an escalation process for incomplete screening? Comment on whether this has been audited?
6.2.3, 7.2.6.1f, 7.4.1 | Result review and release | The laboratory shall have procedures to ensure authorised personnel review the results of examinations before release and evaluate them against internal quality control and, as appropriate, available clinical information and previous examination results. Antenatal screening results must be interpreted and reviewed by two people, one of whom must be a registered scientist. Final validation is performed by staff is at the level of a specialist biomedical scientist or above with suitable expertise and demonstrated by current competency assessment. When the procedure for reviewing results involves automatic selection and reporting, the review criteria shall be established, approved and documented. | • staff qualifications and competencies • verification of reporting software • regular audit of validity of any rule- based systems in use • documented procedures • audit trail of reported results | Is final validation of results performed by staff who is at the level of a specialist biomedical scientist or above with suitable expertise and demonstrated by current competency assessment. If no, please comment on authorisation processes and staff completing this task in column G.
Are there processes in place to ensure dedicated/undisturbed focused time when authorising results? The lack of this has been a common theme on screening safety incidents.
When the procedure for reviewing results involves automatic selection and reporting, are the criteria for automated selection, review and release: • specified, readily available and understood by personnel responsible for authorising the release of results • validated and approved by competent/authorised personnel before use and after changes to the reporting system? If no, please comment on authorisation processes for the review of results before release in column G.
|  |  |  | What processes are in place for reviewing results from reference laboratories.? Please comment in column G. | n/a
|  | Women who book very late in pregnancy, or who present at the maternity unit un-booked in labour, must be offered screening for a haemoglobinopathy. Screening could be in either the intra or post-partum period if the woman is in labour. Results should be obtained within 3 working days. The offer of biological father testing should be conducted in the same way as antenatal screening early in pregnancy. |  | Are there documented procedures in place for managing timely screening for late bookers and un-booked women? Comment on whether there has been any audits to demonstrate these procedures are effective?
8.3.2 | Control of documents | The laboratory must make sure all documents required by the quality management system (QMS), including documents of external origin (see reference tab) are controlled to make sure there is no unintended use of obsolete documents. The following external documents, as a minimum are expected to be controlled: • NHS England Patient Safety Incident Response Framework • Managing safety incidents in NHS screening programmes • SCT screening standards/key performance indicators • SCT screening handbook • SCT antenatal screening laboratory handbook | • screenshots / evidence of listed documents within QMS | Are all specified documents available in the QMS and suitable procedures in place to check for updates? If no, please provide detail in column G.
6.4.6, 6.6.6, 8.7 | Nonconformities, corrective actions and adverse events | The laboratory must have a documented procedure to identify and manage screening nonconformities. Providers will comply with the national guidance for the management of safety concerns and NHS England’s guidance for managing safety incidents in NHS screening programmes. | • incident management / non-conformity procedure demonstrating link to local, NHS England and SQAS frameworks for screening incidents | • Are screening nonconformities reviewed, managed and reported according to local, NHS England and SQAS frameworks for screening incidents? • Were there any screening incidents since the last assessment, if so were these managed appropriately? • How does this connect to the laboratory’s processes for managing incidents within its own organisation?
8.8.2 | Quality indicators | The laboratory must comply with requirements for reporting and meeting thresholds for SCT screening standards and key performance indicators (KPIs). The laboratory must: • have local arrangements in place for submitting data annually and as a minimum meet the acceptable threshold for SCT-S04 • submit data to maternity services quarterly for SCT-S02 and SCT-S03 (KPIs ST2 and ST3) • review turnaround times at departmental quality meetings (this can be by exception) and at management reviews. | Submit complete data on time for: • standards • KPIs | Does the laboratory submit annual data on SCT-S04 to NHS England? If no, comment on reasons and plans to submit in column G.
Are thresholds for SCT-S04 met? If no, comment on reasons and plans to meet threshold in column G.
Does the laboratory submit quarterly data on SCT-S02 and SCT-S03 to maternity services? If no, comment on reasons and plans to submit in column G.
|  |  |  | Comment on the laboratory processes for reviewing data locally and communicating performance to users. | n/a
8.8.3 | Internal audits | The laboratory must include in its laboratory audit schedule an annual vertical audit of an antenatal screening sample. The annual vertical audit should randomly select a confirmed screen positive sample and include arrival and receipt of the antenatal screening sample at the laboratory. It should also include communication and acknowledgment of screen positive results by clinical services. | • audit schedule • vertical audit • audit action plans • minutes of meetings where audits are discussed | Does the laboratory undertake an annual vertical audit of the screening pathway, incorporating the quality assurance requirements of arrival of the specimen in the laboratory to receipt of confirmed screen positive results by clinical services for SCT screening? Comment on: • any aspects of the screening pathway not included in the audit • if the audit consists of randomly selected specimens with confirmed screen positive results.
8.9 | Management reviews | The laboratory management review must specifically include review of the laboratory’s performance in the delivery of the SCT programme. | • management review document • minutes of meetings where review is discussed and signed off | Is SCT performance included in the management review of the QMS?

## Findings
Findings

## References
References
Document | Weblink
NHS England Patient Safety Incident Response Framework | https://www.england.nhs.uk/patient-safety/patient-safety-insight/incident-response-framework/
Managing safety incidents in NHS screening programmes | https://www.gov.uk/government/publications/managing-safety-incidents-in-nhs-screening-programmes/managing-safety-incidents-in-nhs-screening-programmes
SCT screening standards/key performance indicators | https://www.gov.uk/government/publications/sickle-cell-and-thalassaemia-screening-programme-standards
SCT screening programme handbook | https://www.gov.uk/government/publications/handbook-for-sickle-cell-and-thalassaemia-screening
SCT laboratory handbook for antenatal laboratories | https://www.gov.uk/government/publications/sct-screening-handbook-for-antenatal-laboratories
Significant haemoglobinopathies: guidelines for screening and diagnosis | https://pubmed.ncbi.nlm.nih.gov/37271570/
Family Origin Questionnaire (FOQ) | https://www.gov.uk/government/publications/family-origin-questionnaire-sickle-cell-and-thalassaemia-screening/electronic-foqs-specification