## 00_DocumentHistory
Refurbishment Scope of Works
Employer's requirements
Project code: |  | [SRP/FS/FE code]
Project name: |  | [Name of school/college]
[Month] 20[XX]
Template
Revision Code | Status Code | Date | Amendment
C01 | A | 2026-01-12 | GOV.UK Publication
Project-specific
Revision Code | Status Code | Date | Amendment
Pnn | Sn | 20YY-MM-DD | DfE/Employer's Representative to add amendments made to document here and rename file to make project specific.
Contents
Worksheet |  |  | Description
00_DocumentHistory |  |  | Sheet sets out information about this resource, the file (name, revision, status and revision history) and list of contents including descriptions
01_Instructions |  |  | Information about this resource including how to use/complete
02_ProjectInputs |  |  | Project specifics to be entered into this worksheet
03_Requirements |  |  | Schedule elements in the same order as the Technical Manual e.g., structure, floors, roofs, walls etc, followed by internal elements. External works are also included.
A_Picklists |  |  | Sheet sets out the picklists used to configure this resource
B_WorkDescriptors |  |  | Sheet sets out the work descriptors used on the '03_Requirements' worksheet

## 01_Instructions
ID | Worksheet | Instructions
001 | n/a | In respect of refurbishment work to Refurbished Buildings, the required level of compliance with the Employer’s Requirements shall be set out in the project specific Refurbishment Scope of Works (RSoW), this document, following the sections and sub-sections set out in the Technical Manual under the following designations: • Remodelled Area: the total area of any internal spaces in which some internal walls are to be removed and/or rebuilt, and most elements within the space, including the fenestration, are designated as ‘Renew’ or ‘Replace’ • Refurbished Area: existing spaces or area to remain, within their existing walls, in which some elements in the space are designated as ‘Renew’, ‘Replace’ or ‘Repair’ and some are designated as ‘Retain’, but decorated where necessary • Untouched Area: existing spaces or area not within the Works, shall be left as existing with ‘No Work’ required.
002 | n/a | In the project specific RSoW, the following designations shall apply with respect to work to individual elements: • Renew: all new elements or finishes designed to satisfy the relevant requirements in the Employer’s Requirements • Replace: partially new and/or major repairs to existing elements or finishes designed to satisfy the relevant requirements in the Employer’s Requirements, where possible • Repair: isolated repairs to elements or finishes to satisfy the requirements in any project specific specification or drawing issued as part of the Employer’s Requirements • Retain: existing elements or finishes left as existing, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition • No Work: no work required; shall be left as existing.
003 | 02_ProjectInputs | Complete the table on the '02_ProjectInputs' worksheet.
004 | 03_Requirements | The Employer's Representative shall complete columns D to H and J to K of the 'Feasibility' section on the '03_Requirements' worksheet with information sufficient to describe the project specific scope of refurbishment works (referencing project specific specifications and drawings as required). Note: Column I will automatically populate based on the 'Element' type and 'Proposed Works Designation' selected.
005 | 03_Requirements | The Employer's Representative shall use the 'Generic summary of Work' as a basis to define a comprehensive scope of work for each respective 'Element'.
006 | 03_Requirements | The Employer's Representative may add additional rows where multiple or complex refurbishment works are applicable to extensive areas (e.g., multiple blocks or spaces) using the predefined list within the 'Element' column and updating the 'ID' column as required. This may be useful when used in conjunction with the 'Location and/or Occurence' column.
007 | 03_Requirements | The Employer's Representative shall ensure a cost is calculated for each 'Element' within the project specific RSoW in accordance with RICS' New Rules of Measurement (NRM) for addition into the Framework Pricing Schedule. Note: The Framework Pricing Schedule and RSoW shall be updated whenever required and always kept aligned.
008 | 03_Requirements | Under the 'Contractor's Proposals' section, the Contractor shall update the 'Project specific description of Work (Contract)' column to reflect any agreed changes to the 'Project specific description of Work (Brief)' column, including outlining all agreed variations.
009 | 03_Requirements | The Contractor shall ensure a cost is calculated for each 'Element' within the project specific RSoW in accordance with RICS' New Rules of Measurement (NRM) for addition into the Framework Pricing Schedule. Note: The Framework Pricing Schedule and RSoW shall be updated whenever required and always kept aligned.

## 02_ProjectInputs
[SRP/FS/FE code] : [Name of school/college] - Project Inputs
Subject | Value
Project code | [SRP/FS/FE code]
Project name | [Name of school/college]
Refurbishment Type | Heavy Refurbishment
Gross Internal Floor Area (GIFA) | 1234

## 03_Requirements
Feasibility | [9 empty] | Contractor's Proposals
ID | Element | Element Description | Location and/or Occurrence | Condition Grade | Condition Assessment | Proposed Works Designation | Generic summary of Work | Project specific description of Work (Brief) | Further surveys or tests required | Project specific description of Work (Contract) | Agreed variations to Brief
001 | 1_1 : Foundations and substructure |  |  | B | TA to input condition assessment | Renew | New primary structures forming foundations or below ground structures for buildings, including earth-retaining structures that are integral to the building structural frame and in boundary situations. | TA to input project specific scope of works relative to element | TA to input further surveys/tests required | Contractor to update project specific scope of works relative to element | Contractor to outline agreed variations to brief
002 | 1_2 : Lowest floor construction |  |  |  |  | Renew | New lowest floor structure, designed to be suitable for the structural performance of the floor and all anticipated loading (live and dead loads).
003 | 2_1 : Structural frames (primary structure and upper floors) |  |  |  |  | Renew | New primary structure and upper floors, designed to be suitable for the structural performance of the floor and all anticipated loading (live and dead loads).
004 | 2_1 : Structural frames (roof structure) |  |  |  |  | Renew | New roof structure, designed to be suitable for proposed roof build-up(s) and all anticipated loading (live and dead loads).
005 | 2_3 : Roofs |  |  |  |  | Renew | New roof build-up(s)/elements including insulation, coverings, fascias, flashings, upstands/parapets (including where needing to be raised due to insulation and/or drainage system), rooflights, roof access hatches, rainwater outlets, hoppers, scupper/chute outlets, weirs, overflows/emergency outlets, gutters and downpipes.
006 | 2_4 : Stairs, ramps and lifts |  |  |  |  | Renew | New stair and/or ramp structure including guarding, balustrades and barriers, designed to be suitable for the anticipated structural loading, dimensions/composition of adjacent floor structures and fire safety requirements. New lift installation including lift car, traction and electrical control gear.
007 | 2_5 : External walls |  |  |  |  | Renew | New external wall structures and/or external wall linings or finishes, designed to meet performance requirements including, but not limited to, structural loading, weathertight, thermal, fire resistance, acoustics, health and safety.
008 | 2_6 : External windows and doors |  |  |  |  | Renew | New external windows and/or doors including all framing, opening lights, door leafs, beads, linings, glazed units, louvred/solid spandrel panels, thresholds, cills and ironmongery, designed to meet performance requirements including, but not limited to, daylighting, reduction in solar gain/glare, fire resistance, acoustics and natural ventilation.
009 | 2_7 : Internal walls and partitions |  |  |  |  | Renew | New internal wall structures including masonry walls, stud partitions, movable partitions, and toilet and shower partition panels and doors, designed to meet performance requirements including, but not limited to, structural loading, fire resistance, moisture resistance, acoustics, health and safety, hygiene.
010 | 2_8 : Internal doors and glazed screens |  |  |  |  | Renew | New internal doors and/or glazed screens including all framing, opening lights, door leafs, beads, linings, glazed units, louvred/solid spandrel panels, thresholds, cills and ironmongery, designed to meet performance requirements including, but not limited to, fire resistance, acoustics and access/means of escape.
011 | 3_1 : Wall finishes |  |  |  |  | Renew | New internal wall finishes including boards, coatings (plaster, paint), coverings, tiling, panelling, padding, pattressing, splashbacks and wall ancillaries (e.g., beads, edge trims, access panels).
012 | 3_2 : Floor finishes |  |  |  |  | Renew | New floor finishes including skirting, flooring accessories and trims, and screed, levelling compounds and underlay (where required).
013 | 3_3 : Ceiling finishes |  |  |  |  | Renew | New ceiling finishes including boards, panels, rafts, coatings, coverings, framing, hangers, pattressing and ceiling ancillaries (e.g., beads, edge trims, access panels).
014 | 4_1 : Fittings, furniture and equipment (FF&E) |  |  |  |  | Renew | New fittings, furniture and equipment (FF&E), including fitted, fixed and loose furniture and equipment, and signage.
015 | 5_1 : Sanitaryware and ancillaries |  |  |  |  | Renew | New sanitaryware (e.g., taps, sinks and toilets) and/or sanitary ancillaries (e.g., soap dispensers, hand dryers and mirrors).
016 | 5_2 : Drainage |  |  |  |  | Renew | New surface water and foul water drainage, both above and below ground, including manholes and inspection chambers.
017 | 5_3 : Water installations |  |  |  |  | Renew | New water installations, including hot and cold water services and Category 5 water supplies.
018 | 5_4 : Heat source |  |  |  |  | Renew | New heat sources, including Ground Source Heat Pumps (GSHP), Air Source Heat Pumps (ASHP) and district heating connections.
019 | 5_5 : Heating and cooling systems |  |  |  |  | Renew | New heating and cooling systems, including distribution systems and emitters.
020 | 5_6 : Ventilation systems and thermal comfort |  |  |  |  | Renew | New mechanical ventilation including air handling units (AHUs), room-based ventilation units, extract fans and controls, ductwork, dampers and insulation, louvres, grilles and supply diffusers, and specialist extract systems (e.g., fume cupboards and local exhaust ventilation (LEV) systems.
021 | 5_7 : Electrical infrastructure |  |  |  |  | Renew | New electrical infrastructure, including renewable energy generating systems, high voltage (HV) and/or low voltage (LV) distribution systems, transformers, switchgear and switchboards, small power, conduit and containment, lightning protection systems and electric vehicle (EV) charging equipment.
022 | 5_8 : Daylighting and electrical lighting |  |  |  |  | Renew | New lighting installation including general internal and/or external lighting, emergency lighting, and specialist lighting (e.g., stage lighting), luminaires, controls, and battery systems.
023 | 5_9 : Fuel installations |  |  |  |  | Renew | New (gas) fuel installations to science and practical spaces, including D&T spaces and construction workshops and, where unavoidable, gas heat sources.
024 | 5_10 : Security and communication systems |  |  |  |  | Renew | New security and communication systems, including access control, intruder alarms, public address, class change, assistance alarms, and induction loops and radio aid systems.
025 | 5_11 : BMS, controls and performance monitoring |  |  |  |  | Renew | New Building Management Systems (BMS), controls and performance monitoring, including meters and sub-meters.
026 | 5_12 : Internet connectivity |  |  |  |  | Renew | New internet connectivity, including main infrastructure and backup broadband connections.
027 | 6_1 : Passive networking |  |  |  |  | Renew | New passive data cabling infrastructure and communication cabinets.
028 | 6_2 : Active networking |  |  |  |  | Renew | New enterprise level wired and wireless network to connect all devices to servers and the internet.
029 | 6_3 : AV systems and fixed equipment |  |  |  |  | Renew | New classroom, meeting room and large space audio visual (AV) systems, digital signage, and sign-in and cashless catering stations.
030 | 6_4 : Building technologies |  |  |  |  | Renew | New environmental sensors and Closed-circuit Television (CCTV), and the digital components only for Building Management Systems (BMS), access control and intruder alarms.
031 | 6_5 : Telephony |  |  |  |  | Renew | New telephone systems including physical handsets and soft phones.
032 | 8_1 : Surfaces for play, sport, paths and roads |  |  |  |  | Renew | New surfaces for play, sport, paths and roads, including external steps, ramps, guarding, balustrades and barriers, asphalt, resin bound gravel, paving, reinforced grass systems, safety play surfaces, natural and artificial pitches, kerbs, edging and sub-bases suitable for anticipated activities, structural loads and drainage requirements.
033 | 8_2 : Topsoil, subsoil and ameliorants |  |  |  |  | Renew | New topsoil, subsoil and ameliorants, and the construction of typical topographical landforms, including play slopes, ponds, mounds and amphitheatre terraces.
034 | 8_3 : Soft landscape |  |  |  |  | Renew | New plants, grass and trees including for hedgerows, planting beds, pitches, woodlands, ponds, BioSolar and green roofs, and nature-based SuDS.
035 | 8_4 : Boundary treatments, walls and fencing |  |  |  |  | Renew | New boundary treatments, walls and fencing, including mesh, railing and picket fencing, dead hedges, low retaining walls, and fencing to MUGAs and artificial grass pitches.
036 | 8_5 : Play equipment and nature habitats |  |  |  |  | Renew | New play equipment, including climbing and gym equipment, and nature habitats (also known as hibernacula).
037 | 8_6 : External furniture |  |  |  |  | Renew | New external furniture, including seating, bicycle hoops and door guards, bins, outdoor taps and signage.
038 | 8_7 : External drainage (nature-based SuDS) |  |  |  |  | Renew | New nature-based sustainable drainage systems (SuDS) for surface water management including raingardens, swales and attenuation ponds.
039 | 8_8 : Structures in the landscape |  |  |  |  | Renew | New structures in the landscape including canopies and shelters, living (willow) structures, and storage facilities for outdoor equipment and waste.
040 | 9_1 : Fire safety |  |  |  |  | Renew | New fire safety measures including fire detection and alarm systems, emergency voice communication systems, signage and wayfinding, electrical services for life safety and fire protection systems, automatic fire suppression systems (AFSS), and fire-stopping, cavity barriers and fire dampers.
041 | -_- : Swimming pools |  |  |  |  | Renew | New pool and/or associated plant, designed to meet the requirements of the Project Brief and in accordance with PWTAG guidance.

## A_Picklists
NRM1 (3rd Edition)
Revision Code | Status Code | Status Code and Description | YesNo | Code | Level 1 | Level 2 | Title | Code and Title | RSoW Level 1 and Title | RSoW Level 2 and Title | Code | Level 1 | Level 2 | Level 3 | Title | Code and Title | NRM1 Level 1 and Title | NRM1 Level 2 and Title | NRM1 Level 3 and Title | Designation | Works | Condition Grade | Description | Justification | Unit | Refurbishment Type
n/a | n/a | n/a | n/a | 1 | 1 |  | Substructure | 1 : Substructure | 1 : Substructure | 1_1 : Foundations and substructure | 0 | 0 |  |  | Facilitating works (FW) | 0 : Facilitating works (FW) | 0 : Facilitating works (FW) | 0_1 : Toxic or hazardous contaminated material treatment | 0_1_1 : Toxic or hazardous material removal | Remodelled | n/a | n/a | not applicable | Condition | m | Heavy Refurbishment
P01.01 | S0 | S0: Work in Progress | No | 1_1 | 1 | 1 | Foundations and substructure | 1_1 : Foundations and substructure | 2 : Superstructure | 1_2 : Lowest floor construction | 0_1 | 0 | 1 |  | Toxic or hazardous contaminated material treatment | 0_1 : Toxic or hazardous contaminated material treatment | 1 : Substructure (SUB) | 0_2 : Major demolition works | 0_1_2 : Contaminated land | Refurbished | Renew | A | No visible defects | Health and Safety | m² | Heavy Refurbishment (Listed)
P01.02 | S1 | S1: For Coordination | Yes | 1_2 | 1 | 2 | Lowest floor construction | 1_2 : Lowest floor construction | 3 : Internal finishes | 2_1 : Structural frames (primary structure and upper floors) | 0_1_1 | 0 | 1 | 1 | Toxic or hazardous material removal | 0_1_1 : Toxic or hazardous material removal | 2 : Superstructure | 0_3 : Temporary support to adjacent structures | 0_1_3 : Eradication of plant growth | Untouched | Replace | B | Only minor repairs required | Consequential improvements | m³ | Medium Refurbishment
P01.03 | S2 | S2: For Information |  | 2 | 2 |  | Superstructure | 2 : Superstructure | 4 : Fittings, furniture and equipment | 2_1 : Structural frames (roof structure) | 0_1_2 | 0 | 1 | 2 | Contaminated land | 0_1_2 : Contaminated land | 3 : Internal finishes | 0_4 : Specialist groundworks | 0_2_1 : Demolition works |  | Repair | C1 | Significant deterioration - Replacement required within 1 year | Functionality | no. | Medium Refurbishment (Listed)
P01.04 | S3 | S3: For Review and Comment |  | 2_1 | 2 | 1 | Structural frames (primary structure and upper floors) | 2_1 : Structural frames (primary structure and upper floors) | 5 : Services | 2_3 : Roofs | 0_1_3 | 0 | 1 | 3 | Eradication of plant growth | 0_1_3 : Eradication of plant growth | 4 : Fittings, furnishings and equipment | 0_5 : Temporary diversion works | 0_2_2 : Soft strip works |  | Retain | C2 | Significant deterioration - Replacement required within 1 to 2 years | Energy efficiency | Item | Light Refurbishment
P01.05 | S4 | S4: For Review and Authorisation |  | 2_1 | 2 | 1 | Structural frames (roof structure) | 2_1 : Structural frames (roof structure) | 6 : Technology | 2_4 : Stairs, ramps and lifts | 0_2 | 0 | 2 |  | Major demolition works | 0_2 : Major demolition works | 5 : Services | 0_6 : Extraordinary site investigation works | 0_3_1 : Temporary support to adjacent structures |  | No Work | C3 | Significant deterioration - Replacement required within 2 to 5 years | Enabling works |  | Light Refurbishment (Listed)
P01.06 | S5 | S5: For Review and Acceptance by the DfE |  | 2_3 | 2 | 3 | Roofs | 2_3 : Roofs | 7 : Work to existing buildings (not used in Technical Manual) | 2_5 : External walls | 0_2_1 | 0 | 2 | 1 | Demolition works | 0_2_1 : Demolition works | 6 : Complete buildings and building units | 1_1 : Substructure | 0_4_1 : Site dewatering and pumping |  |  | D1 | Extensive problems - Replacement required within 1 year | Planning requirement
P01.07 | Sn | Sn: Status Placeholder |  | 2_4 | 2 | 4 | Stairs, ramps and lifts | 2_4 : Stairs, ramps and lifts | 8 : External works | 2_6 : External windows and doors | 0_2_2 | 0 | 2 | 2 | Soft strip works | 0_2_2 : Soft strip works | 7 : Works to existing buildings | 2_1 : Frame | 0_4_2 : Soil stabilisation measures |  |  | D2 | Extensive problems - Replacement required wtihin 1 to 2 years | Funded by others
P01.08 | A | A: Accepted for all RIBA Stages as complete by the DfE |  | 2_5 | 2 | 5 | External walls | 2_5 : External walls | 9 : Fire safety | 2_7 : Internal walls and partitions | 0_3 | 0 | 3 |  | Temporary support to adjacent structures | 0_3 : Temporary support to adjacent structures | 8 : External works | 2_2 : Upper floors (UF) | 0_4_3 : Ground gas venting measures |  |  | D3 | Extensive problems - Replacement required wtihin 2 to 5 years | Other
P01.09 | A0 | A0: Accepted in RIBA Stage 0 as complete by the DfE |  | 2_6 | 2 | 6 | External windows and doors | 2_6 : External windows and doors | - : Other | 2_8 : Internal doors and glazed screens | 0_3_1 | 0 | 3 | 1 | Temporary support to adjacent structures | 0_3_1 : Temporary support to adjacent structures | 9 : Maintenance contractor's management and administration costs | 2_3 : Roof | 0_5_1 : Temporary diversion works
P01.10 | B0 | B0: Accepted with comments in RIBA Stage 0 as complete by the DfE |  | 2_7 | 2 | 7 | Internal walls and partitions | 2_7 : Internal walls and partitions |  | 3_1 : Wall finishes | 0_4 | 0 | 4 |  | Specialist groundworks | 0_4 : Specialist groundworks | 10 : Maintenance contractor's overhead and profit | 2_4 : Stairs and ramps | 0_5_2 : Temporary diversion to services
P01.11 | A1 | A1: Accepted in RIBA Stage 1 as complete by the DfE |  | 2_8 | 2 | 8 | Internal doors and glazed screens | 2_8 : Internal doors and glazed screens |  | 3_2 : Floor finishes | 0_4_1 | 0 | 4 | 1 | Site dewatering and pumping | 0_4_1 : Site dewatering and pumping | 11 : Consultant and specialist fees | 2_5 : External walls (EW) | 0_5_3 : Temporary diversion of waterways
P01.12 | B1 | B1: Accepted with comments in RIBA Stage 1 as complete by the DfE |  | 3 | 3 |  | Internal finishes | 3 : Internal finishes |  | 3_3 : Ceiling finishes | 0_4_2 | 0 | 4 | 2 | Soil stabilisation measures | 0_4_2 : Soil stabilisation measures | 12 : Employer definable maintenance related costs | 2_6 : Windows and external doors | 0_6_1 : Archaeological investigation
P01.13 | A2 | A2: Authorised in RIBA Stage 2 as complete by the Contractor OR Accepted in RIBA Stage 2 as complete by the DfE |  | 3_1 | 3 | 1 | Wall finishes | 3_1 : Wall finishes |  | 4_1 : Fittings, furniture and equipment (FF&E) | 0_4_3 | 0 | 4 | 3 | Ground gas venting measures | 0_4_3 : Ground gas venting measures | 13 : Risks | 2_7 : Internal walls and partitions (IW) | 0_6_2 : Reptile/wildlife mitigation measures
P01.14 | B2 | B2: Authorised with comments in RIBA Stage 2 as complete by the Contractor OR Accepted with comments in RIBA Stage 2 as complete by the DfE |  | 3_2 | 3 | 2 | Floor finishes | 3_2 : Floor finishes |  | 5_1 : Sanitaryware and ancillaries | 0_5 | 0 | 5 |  | Temporary diversion works | 0_5 : Temporary diversion works | 14 : Inflation | 2_8 : Internal doors (ID) | 0_6_3 : Other extraordinary site investigation works
P01.15 | A3 | A3: Authorised in RIBA Stage 3 as complete by the Contractor OR Accepted in RIBA Stage 3 as complete by the DfE |  | 3_3 | 3 | 3 | Ceiling finishes | 3_3 : Ceiling finishes |  | 5_2 : Drainage | 0_5_1 | 0 | 5 | 1 | Temporary diversion works | 0_5_1 : Temporary diversion works |  | 3_1 : Wall finishes (WF) | 1_1_1 : Standard foundations
P01.16 | B3 | B3: Authorised with comments in RIBA Stage 3 as complete by the Contractor OR Accepted with comments in RIBA Stage 3 as complete by the DfE |  | 4 | 4 |  | Fittings, furniture and equipment | 4 : Fittings, furniture and equipment |  | 5_3 : Water installations | 0_5_2 | 0 | 5 | 2 | Temporary diversion to services | 0_5_2 : Temporary diversion to services |  | 3_2 : Floor finishes (FF) | 1_1_2 : Specialist foundations
P01.17 | A4 | A4: Authorised in RIBA Stage 4 as complete by the Contractor OR Accepted in RIBA Stage 4 as complete by the DfE |  | 4_1 | 4 | 1 | Fittings, furniture and equipment (FF&E) | 4_1 : Fittings, furniture and equipment (FF&E) |  | 5_4 : Heat source | 0_5_3 | 0 | 5 | 3 | Temporary diversion of waterways | 0_5_3 : Temporary diversion of waterways |  | 3_3 : Ceiling finishes (CF) | 1_1_3 : Lowest floor construction
P01.18 | B4 | B4: Authorised with comments in RIBA Stage 4 as complete by the Contractor OR Accepted with comments in RIBA Stage 4 as complete by the DfE |  | 5 | 5 |  | Services | 5 : Services |  | 5_5 : Heating and cooling systems | 0_6 | 0 | 6 |  | Extraordinary site investigation works | 0_6 : Extraordinary site investigation works |  | 4_1 : Fittings, furnishings and equipment (FFE) | 1_1_4 : Basement excavation
P01.19 | A5 | A5: Authorised in RIBA Stage 5 as complete by the Contractor OR Accepted in RIBA Stage 5 as complete by the DfE |  | 5_1 | 5 | 1 | Sanitaryware and ancillaries | 5_1 : Sanitaryware and ancillaries |  | 5_6 : Ventilation systems and thermal comfort | 0_6_1 | 0 | 6 | 1 | Archaeological investigation | 0_6_1 : Archaeological investigation |  | 5_1 : Sanitary appliances (SA) | 1_1_5 : Basement retaining walls
P01.20 | B5 | B5: Authorised with comments in RIBA Stage 5 as complete by the Contractor OR Accepted with comments in RIBA Stage 5 as complete by the DfE |  | 5_2 | 5 | 2 | Drainage | 5_2 : Drainage |  | 5_7 : Electrical infrastructure | 0_6_2 | 0 | 6 | 2 | Reptile/wildlife mitigation measures | 0_6_2 : Reptile/wildlife mitigation measures |  | 5_2 : Services equipment (SE) | 2_1_1 : Steel frames
P01 | A6 | A6: Authorised as in RIBA Stage 6 as complete by the Contractor OR Accepted in RIBA Stage 6 as complete by the DfE |  | 5_3 | 5 | 3 | Water installations | 5_3 : Water installations |  | 5_8 : Daylighting and electrical lighting | 0_6_3 | 0 | 6 | 3 | Other extraordinary site investigation works | 0_6_3 : Other extraordinary site investigation works |  | 5_3 : Disposal installations (DI) | 2_1_2 : Space frames / decks
P02.01 |  |  |  | 5_4 | 5 | 4 | Heat source | 5_4 : Heat source |  | 5_9 : Fuel installations | 1 | 1 |  |  | Substructure (SUB) | 1 : Substructure (SUB) |  | 5_4 : Water installations (WI) | 2_1_3 : Concrete casings to steel frames
P02.02 |  |  |  | 5_5 | 5 | 5 | Heating and cooling systems | 5_5 : Heating and cooling systems |  | 5_10 : Security and communication systems | 1_1 | 1 | 1 |  | Substructure | 1_1 : Substructure |  | 5_5 : Heat source (HS) | 2_1_4 : Concrete frames
P02.03 |  |  |  | 5_6 | 5 | 6 | Ventilation systems and thermal comfort | 5_6 : Ventilation systems and thermal comfort |  | 5_11 : BMS, controls and performance monitoring | 1_1_1 | 1 | 1 | 1 | Standard foundations | 1_1_1 : Standard foundations |  | 5_6 : Space heating and air conditioning (SHAC) | 2_1_5 : Timber frames
P02.04 |  |  |  | 5_7 | 5 | 7 | Electrical infrastructure | 5_7 : Electrical infrastructure |  | 5_12 : Internet connectivity | 1_1_2 | 1 | 1 | 2 | Specialist foundations | 1_1_2 : Specialist foundations |  | 5_7 : Ventilation systems (VS) | 2_1_6 : Specialist frames
P02.05 |  |  |  | 5_8 | 5 | 8 | Daylighting and electrical lighting | 5_8 : Daylighting and electrical lighting |  | 6_1 : Passive networking | 1_1_3 | 1 | 1 | 3 | Lowest floor construction | 1_1_3 : Lowest floor construction |  | 5_8 : Electrical installations (EI) | 2_2_1 : Floors
P02.06 |  |  |  | 5_9 | 5 | 9 | Fuel installations | 5_9 : Fuel installations |  | 6_2 : Active networking | 1_1_4 | 1 | 1 | 4 | Basement excavation | 1_1_4 : Basement excavation |  | 5_9 : Fuel installations | 2_2_2 : Balconies
P02.07 |  |  |  | 5_10 | 5 | 10 | Security and communication systems | 5_10 : Security and communication systems |  | 6_3 : AV systems and fixed equipment | 1_1_5 | 1 | 1 | 5 | Basement retaining walls | 1_1_5 : Basement retaining walls |  | 5_10 : Lift and conveyor installations | 2_2_3 : Drainage to balconies
P02.08 |  |  |  | 5_11 | 5 | 11 | BMS, controls and performance monitoring | 5_11 : BMS, controls and performance monitoring |  | 6_4 : Building technologies | 2 | 2 |  |  | Superstructure | 2 : Superstructure |  | 5_11 : Fire and lightning protection | 2_3_1 : Roof structure
P02.09 |  |  |  | 5_12 | 5 | 12 | Internet connectivity | 5_12 : Internet connectivity |  | 6_5 : Telephony | 2_1 | 2 | 1 |  | Frame | 2_1 : Frame |  | 5_12 : Communication, security and control systems | 2_3_2 : Roof coverings
P02.10 |  |  |  | 6 | 6 |  | Technology | 6 : Technology |  | 8_1 : Surfaces for play, sport, paths and roads | 2_1_1 | 2 | 1 | 1 | Steel frames | 2_1_1 : Steel frames |  | 5_13 : Specialist installations | 2_3_3 : Specialist roof systems
P02.11 |  |  |  | 6_1 | 6 | 1 | Passive networking | 6_1 : Passive networking |  | 8_2 : Topsoil, subsoil and ameliorants | 2_1_2 | 2 | 1 | 2 | Space frames / decks | 2_1_2 : Space frames / decks |  | 5_14 : Builders' work in connection with services | 2_3_4 : Roof drainage
P02.12 |  |  |  | 6_2 | 6 | 2 | Active networking | 6_2 : Active networking |  | 8_3 : Soft landscape | 2_1_3 | 2 | 1 | 3 | Concrete casings to steel frames | 2_1_3 : Concrete casings to steel frames |  | 6_1 : Prefabricated buildings | 2_3_5 : Roof lights, skylights and openings
P02.13 |  |  |  | 6_3 | 6 | 3 | AV systems and fixed equipment | 6_3 : AV systems and fixed equipment |  | 8_4 : Boundary treatments, walls and fencing | 2_1_4 | 2 | 1 | 4 | Concrete frames | 2_1_4 : Concrete frames |  | 7_1 : Minor demolition works and alteration works | 2_3_6 : Roof features
P02.14 |  |  |  | 6_4 | 6 | 4 | Building technologies | 6_4 : Building technologies |  | 8_5 : Play equipment and nature habitats | 2_1_5 | 2 | 1 | 5 | Timber frames | 2_1_5 : Timber frames |  | 7_2 : Repairs to existing services | 2_4_1 : Stair/ramp structure
P02.15 |  |  |  | 6_5 | 6 | 5 | Telephony | 6_5 : Telephony |  | 8_6 : External furniture | 2_1_6 | 2 | 1 | 6 | Specialist frames | 2_1_6 : Specialist frames |  | 7_3 : Damp proof courses/fungus and beetle eradication | 2_4_2 : Stair/ramp finishes
P02.16 |  |  |  | 7 | 7 |  | Work to existing buildings (not used in Technical Manual) | 7 : Work to existing buildings (not used in Technical Manual) |  | 8_7 : External drainage (nature-based SuDS) | 2_2 | 2 | 2 |  | Upper floors (UF) | 2_2 : Upper floors (UF) |  | 7_4 : Facade retention | 2_4_3 : Stair/ramp balustrade and handrails
P02.17 |  |  |  | 8 | 8 |  | External works | 8 : External works |  | 8_8 : Structures in the landscape | 2_2_1 | 2 | 2 | 1 | Floors | 2_2_1 : Floors |  | 7_5 : Cleaning existing surfaces | 2_4_4 : Ladders/chutes/slides
P02.18 |  |  |  | 8_1 | 8 | 1 | Surfaces for play, sport, paths and roads | 8_1 : Surfaces for play, sport, paths and roads |  | 9_1 : Fire safety | 2_2_2 | 2 | 2 | 2 | Balconies | 2_2_2 : Balconies |  | 7_6 : Renovation works | 2_5_1 : External enclosing walls above ground floor level
P02.19 |  |  |  | 8_2 | 8 | 2 | Topsoil, subsoil and ameliorants | 8_2 : Topsoil, subsoil and ameliorants |  | 9_2 : Fire safety for MMC | 2_2_3 | 2 | 2 | 3 | Drainage to balconies | 2_2_3 : Drainage to balconies |  | 8_1 : Site preparation works | 2_5_2 : External enclosing walls below ground floor level
P02.20 |  |  |  | 8_3 | 8 | 3 | Soft landscape | 8_3 : Soft landscape |  | -_- : Other | 2_3 | 2 | 3 |  | Roof | 2_3 : Roof |  | 8_2 : Roads, paths and paving | 2_5_3 : Solar/rain screen cladding
P02 |  |  |  | 8_4 | 8 | 4 | Boundary treatments, walls and fencing | 8_4 : Boundary treatments, walls and fencing |  | -_- : Swimming pools | 2_3_1 | 2 | 3 | 1 | Roof structure | 2_3_1 : Roof structure |  | 8_3 : Soft landscaping, planting and irrigation systems | 2_5_4 : External soffits
P03.01 |  |  |  | 8_5 | 8 | 5 | Play equipment and nature habitats | 8_5 : Play equipment and nature habitats |  |  | 2_3_2 | 2 | 3 | 2 | Roof coverings | 2_3_2 : Roof coverings |  | 8_4 : Fencing, railing and walls | 2_5_5 : Subsidiary walls, balustrades, handrails, railings and proprietary balconies
P03.02 |  |  |  | 8_6 | 8 | 6 | External furniture | 8_6 : External furniture |  |  | 2_3_3 | 2 | 3 | 3 | Specialist roof systems | 2_3_3 : Specialist roof systems |  | 8_5 : Site/street furniture and equipment | 2_5_6 : Facade access/cleaning systems
P03.03 |  |  |  | 8_7 | 8 | 7 | External drainage (nature-based SuDS) | 8_7 : External drainage (nature-based SuDS) |  |  | 2_3_4 | 2 | 3 | 4 | Roof drainage | 2_3_4 : Roof drainage |  | 8_6 : External drainage | 2_6_1 : External windows
P03.04 |  |  |  | 8_8 | 8 | 8 | Structures in the landscape | 8_8 : Structures in the landscape |  |  | 2_3_5 | 2 | 3 | 5 | Roof lights, skylights and openings | 2_3_5 : Roof lights, skylights and openings |  | 8_7 : External services | 2_6_2 : External doors (ED)
P03.05 |  |  |  | 9 | 9 |  | Fire safety | 9 : Fire safety |  |  | 2_3_6 | 2 | 3 | 6 | Roof features | 2_3_6 : Roof features |  | 8_8 : Minor building works and ancillary buildings | 2_7_1 : Walls and partitions
P03.06 |  |  |  | 9_1 | 9 | 1 | Fire safety | 9_1 : Fire safety |  |  | 2_4 | 2 | 4 |  | Stairs and ramps | 2_4 : Stairs and ramps |  | 9_1 : Employer's requirements | 2_7_2 : Balustrades and handrails
P03.07 |  |  |  | 9_2 | 9 | 2 | Fire safety for MMC | 9_2 : Fire safety for MMC |  |  | 2_4_1 | 2 | 4 | 1 | Stair/ramp structure | 2_4_1 : Stair/ramp structure |  | 9_2 : Maintenance contractor's cost items | 2_7_3 : Movable room dividers
P03.08 |  |  |  | - | - |  | Other | - : Other |  |  | 2_4_2 | 2 | 4 | 2 | Stair/ramp finishes | 2_4_2 : Stair/ramp finishes |  | 10_1 : Maintenance contractor's overhead | 2_7_4 : Cubicles
P03.09 |  |  |  | -_- | - | - | Other | -_- : Other |  |  | 2_4_3 | 2 | 4 | 3 | Stair/ramp balustrade and handrails | 2_4_3 : Stair/ramp balustrade and handrails |  | 10_2 : Maintenance contractor's profit | 2_8_1 : Internal doors (ID)
P03.10 |  |  |  | -_- | - | - | Swimming pools | -_- : Swimming pools |  |  | 2_4_4 | 2 | 4 | 4 | Ladders/chutes/slides | 2_4_4 : Ladders/chutes/slides |  | 11_1 : Consultant's and specialist fees | 3_1_1 : Finishes to walls
P03.11 | [10 empty] | 2_5 | 2 | 5 |  | External walls (EW) | 2_5 : External walls (EW) |  | 11_2 : Maintenance contractor's tender / pre-contract fees | 3_2_1 : Finishes to floors
P03.12 | [10 empty] | 2_5_1 | 2 | 5 | 1 | External enclosing walls above ground floor level | 2_5_1 : External enclosing walls above ground floor level |  | 11_3 : Maintenance contractor's design fees | 3_2_2 : Raised access floors
P03.13 | [10 empty] | 2_5_2 | 2 | 5 | 2 | External enclosing walls below ground floor level | 2_5_2 : External enclosing walls below ground floor level |  | 12_1 : Employer definable maintenance related costs | 3_3_1 : Finishes to ceilings
P03.14 | [10 empty] | 2_5_3 | 2 | 5 | 3 | Solar/rain screen cladding | 2_5_3 : Solar/rain screen cladding |  | 13_1 : Design and installation risks | 3_3_2 : False ceilings
P03.15 | [10 empty] | 2_5_4 | 2 | 5 | 4 | External soffits | 2_5_4 : External soffits |  | 13_2 : Maintenance risks | 3_3_3 : Demountable suspended ceilings
P03.16 | [10 empty] | 2_5_5 | 2 | 5 | 5 | Subsidiary walls, balustrades, handrails, railings and proprietary balconies | 2_5_5 : Subsidiary walls, balustrades, handrails, railings and proprietary balconies |  | 13_3 : Employer change risks | 4_1_1 : General fittings, furnishings and equipment
P03.17 | [10 empty] | 2_5_6 | 2 | 5 | 6 | Facade access/cleaning systems | 2_5_6 : Facade access/cleaning systems |  | 13_4 : Employer other risks | 4_1_2 : Domestic kitchen fittings and equipment
P03.18 | [10 empty] | 2_6 | 2 | 6 |  | Windows and external doors | 2_6 : Windows and external doors |  | 14_1 : Tender inflation | 4_1_3 : Special-purpose fittings, furnishings & equipment
P03.19 | [10 empty] | 2_6_1 | 2 | 6 | 1 | External windows | 2_6_1 : External windows |  | 14_2 : Construction inflation | 4_1_4 : Signs/notices
P03.20 | [10 empty] | 2_6_2 | 2 | 6 | 2 | External doors (ED) | 2_6_2 : External doors (ED) |  | 14_3 : Life cycle renewal inflation | 4_1_5 : Works of art
P03 | [10 empty] | 2_7 | 2 | 7 |  | Internal walls and partitions (IW) | 2_7 : Internal walls and partitions (IW) |  | 14_4 : Life cycle discount rate | 4_1_6 : Non mechanical and non electrical equipment
P04.01 | [10 empty] | 2_7_1 | 2 | 7 | 1 | Walls and partitions | 2_7_1 : Walls and partitions |  |  | 4_1_7 : Internal planting
P04.02 | [10 empty] | 2_7_2 | 2 | 7 | 2 | Balustrades and handrails | 2_7_2 : Balustrades and handrails |  |  | 4_1_8 : Bird and vermin control
P04.03 | [10 empty] | 2_7_3 | 2 | 7 | 3 | Movable room dividers | 2_7_3 : Movable room dividers |  |  | 5_1_1 : Sanitary appliances
P04.04 | [10 empty] | 2_7_4 | 2 | 7 | 4 | Cubicles | 2_7_4 : Cubicles |  |  | 5_1_2 : Sanitary ancillaries
P04.05 | [10 empty] | 2_8 | 2 | 8 |  | Internal doors (ID) | 2_8 : Internal doors (ID) |  |  | 5_2_1 : Services equipment
P04.06 | [10 empty] | 2_8_1 | 2 | 8 | 1 | Internal doors (ID) | 2_8_1 : Internal doors (ID) |  |  | 5_3_1 : Foul drainage above ground
P04.07 | [10 empty] | 3 | 3 |  |  | Internal finishes | 3 : Internal finishes |  |  | 5_3_2 : Chemical, toxic and industrial liquid waste drainage
P04.08 | [10 empty] | 3_1 | 3 | 1 |  | Wall finishes (WF) | 3_1 : Wall finishes (WF) |  |  | 5_3_3 : Refuse disposal
P04.09 | [10 empty] | 3_1_1 | 3 | 1 | 1 | Finishes to walls | 3_1_1 : Finishes to walls |  |  | 5_4_1 : Mains water supply
P04.10 | [10 empty] | 3_2 | 3 | 2 |  | Floor finishes (FF) | 3_2 : Floor finishes (FF) |  |  | 5_4_2 : Cold water distribution
P04.11 | [10 empty] | 3_2_1 | 3 | 2 | 1 | Finishes to floors | 3_2_1 : Finishes to floors |  |  | 5_4_3 : Hot water distribution
P04.12 | [10 empty] | 3_2_2 | 3 | 2 | 2 | Raised access floors | 3_2_2 : Raised access floors |  |  | 5_4_4 : Local hot water distribution
P04.13 | [10 empty] | 3_3 | 3 | 3 |  | Ceiling finishes (CF) | 3_3 : Ceiling finishes (CF) |  |  | 5_4_5 : Steam and condensate distribution
P04.14 | [10 empty] | 3_3_1 | 3 | 3 | 1 | Finishes to ceilings | 3_3_1 : Finishes to ceilings |  |  | 5_5_1 : Heat source
P04.15 | [10 empty] | 3_3_2 | 3 | 3 | 2 | False ceilings | 3_3_2 : False ceilings |  |  | 5_6_1 : Central heating
P04.16 | [10 empty] | 3_3_3 | 3 | 3 | 3 | Demountable suspended ceilings | 3_3_3 : Demountable suspended ceilings |  |  | 5_6_2 : Local heating
P04.17 | [10 empty] | 4 | 4 |  |  | Fittings, furnishings and equipment | 4 : Fittings, furnishings and equipment |  |  | 5_6_3 : Central cooling
P04.18 | [10 empty] | 4_1 | 4 | 1 |  | Fittings, furnishings and equipment (FFE) | 4_1 : Fittings, furnishings and equipment (FFE) |  |  | 5_6_4 : Local cooling
P04.19 | [10 empty] | 4_1_1 | 4 | 1 | 1 | General fittings, furnishings and equipment | 4_1_1 : General fittings, furnishings and equipment |  |  | 5_6_5 : Central heating and cooling
P04.20 | [10 empty] | 4_1_2 | 4 | 1 | 2 | Domestic kitchen fittings and equipment | 4_1_2 : Domestic kitchen fittings and equipment |  |  | 5_6_6 : Local heating and cooling
P04 | [10 empty] | 4_1_3 | 4 | 1 | 3 | Special-purpose fittings, furnishings & equipment | 4_1_3 : Special-purpose fittings, furnishings & equipment |  |  | 5_6_7 : Central air conditioning
P05.01 | [10 empty] | 4_1_4 | 4 | 1 | 4 | Signs/notices | 4_1_4 : Signs/notices |  |  | 5_6_8 : Local air conditioning
P05.02 | [10 empty] | 4_1_5 | 4 | 1 | 5 | Works of art | 4_1_5 : Works of art |  |  | 5_7_1 : Central ventilation
P05.03 | [10 empty] | 4_1_6 | 4 | 1 | 6 | Non mechanical and non electrical equipment | 4_1_6 : Non mechanical and non electrical equipment |  |  | 5_7_2 : Local and special ventilation
P05.04 | [10 empty] | 4_1_7 | 4 | 1 | 7 | Internal planting | 4_1_7 : Internal planting |  |  | 5_7_3 : Smoke extract/control
P05.05 | [10 empty] | 4_1_8 | 4 | 1 | 8 | Bird and vermin control | 4_1_8 : Bird and vermin control |  |  | 5_8_1 : Electrical mains and sub mains distribution
P05.06 | [10 empty] | 5 | 5 |  |  | Services | 5 : Services |  |  | 5_8_2 : Power installations
P05.07 | [10 empty] | 5_1 | 5 | 1 |  | Sanitary appliances (SA) | 5_1 : Sanitary appliances (SA) |  |  | 5_8_3 : Lighting installations
P05.08 | [10 empty] | 5_1_1 | 5 | 1 | 1 | Sanitary appliances | 5_1_1 : Sanitary appliances |  |  | 5_8_4 : Specialist lighting installations
P05.09 | [10 empty] | 5_1_2 | 5 | 1 | 2 | Sanitary ancillaries | 5_1_2 : Sanitary ancillaries |  |  | 5_8_5 : Local electricity generation systems
P05.10 | [10 empty] | 5_2 | 5 | 2 |  | Services equipment (SE) | 5_2 : Services equipment (SE) |  |  | 5_8_6 : Earthling and bonding systems
P05.11 | [10 empty] | 5_2_1 | 5 | 2 | 1 | Services equipment | 5_2_1 : Services equipment |  |  | 5_9_1 : Fuel storage
P05.12 | [10 empty] | 5_3 | 5 | 3 |  | Disposal installations (DI) | 5_3 : Disposal installations (DI) |  |  | 5_9_2 : Fuel distribution systems
P05.13 | [10 empty] | 5_3_1 | 5 | 3 | 1 | Foul drainage above ground | 5_3_1 : Foul drainage above ground |  |  | 5_10_1 : Lifts
P05.14 | [10 empty] | 5_3_2 | 5 | 3 | 2 | Chemical, toxic and industrial liquid waste drainage | 5_3_2 : Chemical, toxic and industrial liquid waste drainage |  |  | 5_10_2 : Escalators
P05.15 | [10 empty] | 5_3_3 | 5 | 3 | 3 | Refuse disposal | 5_3_3 : Refuse disposal |  |  | 5_10_3 : Moving pavements
P05.16 | [10 empty] | 5_4 | 5 | 4 |  | Water installations (WI) | 5_4 : Water installations (WI) |  |  | 5_10_4 : Powered stair lifts
P05.17 | [10 empty] | 5_4_1 | 5 | 4 | 1 | Mains water supply | 5_4_1 : Mains water supply |  |  | 5_10_5 : Conveyors
P05.18 | [10 empty] | 5_4_2 | 5 | 4 | 2 | Cold water distribution | 5_4_2 : Cold water distribution |  |  | 5_10_6 : Dock levellers and scissor lifts
P05.19 | [10 empty] | 5_4_3 | 5 | 4 | 3 | Hot water distribution | 5_4_3 : Hot water distribution |  |  | 5_10_7 : Cranes and unenclosed hoists
P05.20 | [10 empty] | 5_4_4 | 5 | 4 | 4 | Local hot water distribution | 5_4_4 : Local hot water distribution |  |  | 5_10_8 : Car lifts, car stacking systems, turntables, etc.
P05 | [10 empty] | 5_4_5 | 5 | 4 | 5 | Steam and condensate distribution | 5_4_5 : Steam and condensate distribution |  |  | 5_10_9 : Document handling/delivery systems
P06.01 | [10 empty] | 5_5 | 5 | 5 |  | Heat source (HS) | 5_5 : Heat source (HS) |  |  | 5_10_10 : Other transport systems
P06.02 | [10 empty] | 5_5_1 | 5 | 5 | 1 | Heat source | 5_5_1 : Heat source |  |  | 5_11_1 : Fire fighting systems
P06.03 | [10 empty] | 5_6 | 5 | 6 |  | Space heating and air conditioning (SHAC) | 5_6 : Space heating and air conditioning (SHAC) |  |  | 5_11_2 : Fire suppression systems
P06.04 | [10 empty] | 5_6_1 | 5 | 6 | 1 | Central heating | 5_6_1 : Central heating |  |  | 5_11_3 : Lightning protection
P06.05 | [10 empty] | 5_6_2 | 5 | 6 | 2 | Local heating | 5_6_2 : Local heating |  |  | 5_12_1 : Communication systems
P06.06 | [10 empty] | 5_6_3 | 5 | 6 | 3 | Central cooling | 5_6_3 : Central cooling |  |  | 5_12_2 : Security systems
P06.07 | [10 empty] | 5_6_4 | 5 | 6 | 4 | Local cooling | 5_6_4 : Local cooling |  |  | 5_12_3 : Central control/building management systems
P06.08 | [10 empty] | 5_6_5 | 5 | 6 | 5 | Central heating and cooling | 5_6_5 : Central heating and cooling |  |  | 5_13_1 : Specialist piped supply systems
P06.09 | [10 empty] | 5_6_6 | 5 | 6 | 6 | Local heating and cooling | 5_6_6 : Local heating and cooling |  |  | 5_13_2 : Specialist refrigeration systems
P06.10 | [10 empty] | 5_6_7 | 5 | 6 | 7 | Central air conditioning | 5_6_7 : Central air conditioning |  |  | 5_13_3 : Specialist mechanical installations
P06.11 | [10 empty] | 5_6_8 | 5 | 6 | 8 | Local air conditioning | 5_6_8 : Local air conditioning |  |  | 5_13_4 : Specialist electrical installations
P06.12 | [10 empty] | 5_7 | 5 | 7 |  | Ventilation systems (VS) | 5_7 : Ventilation systems (VS) |  |  | 5_13_5 : Water features
P06.13 | [10 empty] | 5_7_1 | 5 | 7 | 1 | Central ventilation | 5_7_1 : Central ventilation |  |  | 5_14_1 : Builders' work in connection with services
P06.14 | [10 empty] | 5_7_2 | 5 | 7 | 2 | Local and special ventilation | 5_7_2 : Local and special ventilation |  |  | 6_1_1 : Complete buildings
P06.15 | [10 empty] | 5_7_3 | 5 | 7 | 3 | Smoke extract/control | 5_7_3 : Smoke extract/control |  |  | 6_1_2 : Building units
P06.16 | [10 empty] | 5_8 | 5 | 8 |  | Electrical installations (EI) | 5_8 : Electrical installations (EI) |  |  | 7_1_1 : Minor demolition and alteration works
P06.17 | [10 empty] | 5_8_1 | 5 | 8 | 1 | Electrical mains and sub mains distribution | 5_8_1 : Electrical mains and sub mains distribution |  |  | 7_2_1 : Existing services
P06.18 | [10 empty] | 5_8_2 | 5 | 8 | 2 | Power installations | 5_8_2 : Power installations |  |  | 7_3_1 : Damp proof courses
P06.19 | [10 empty] | 5_8_3 | 5 | 8 | 3 | Lighting installations | 5_8_3 : Lighting installations |  |  | 7_3_2 : Fungus/beetle eradication
P06.20 | [10 empty] | 5_8_4 | 5 | 8 | 4 | Specialist lighting installations | 5_8_4 : Specialist lighting installations |  |  | 7_4_1 : Facade retention
P06 | [10 empty] | 5_8_5 | 5 | 8 | 5 | Local electricity generation systems | 5_8_5 : Local electricity generation systems |  |  | 7_5_1 : Cleaning existing surfaces
P07.01 | [10 empty] | 5_8_6 | 5 | 8 | 6 | Earthling and bonding systems | 5_8_6 : Earthling and bonding systems |  |  | 7_5_2 : Protective coatings to existing surfaces
P07.02 | [10 empty] | 5_9 | 5 | 9 |  | Fuel installations | 5_9 : Fuel installations |  |  | 7_6_1 : Masonry repairs
P07.03 | [10 empty] | 5_9_1 | 5 | 9 | 1 | Fuel storage | 5_9_1 : Fuel storage |  |  | 7_6_2 : Concrete repairs
P07.04 | [10 empty] | 5_9_2 | 5 | 9 | 2 | Fuel distribution systems | 5_9_2 : Fuel distribution systems |  |  | 7_6_3 : Metal repairs
P07.05 | [10 empty] | 5_10 | 5 | 10 |  | Lift and conveyor installations | 5_10 : Lift and conveyor installations |  |  | 7_6_4 : Timber repairs
P07.06 | [10 empty] | 5_10_1 | 5 | 10 | 1 | Lifts | 5_10_1 : Lifts |  |  | 7_6_5 : Plastics repairs
P07.07 | [10 empty] | 5_10_2 | 5 | 10 | 2 | Escalators | 5_10_2 : Escalators |  |  | 8_1_1 : Site clearance
P07.08 | [10 empty] | 5_10_3 | 5 | 10 | 3 | Moving pavements | 5_10_3 : Moving pavements |  |  | 8_1_2 : Preparatory ground works
P07.09 | [10 empty] | 5_10_4 | 5 | 10 | 4 | Powered stair lifts | 5_10_4 : Powered stair lifts |  |  | 8_2_1 : Roads, paths and paving
P07.10 | [10 empty] | 5_10_5 | 5 | 10 | 5 | Conveyors | 5_10_5 : Conveyors |  |  | 8_2_2 : Special surfaces and paving
P07.11 | [10 empty] | 5_10_6 | 5 | 10 | 6 | Dock levellers and scissor lifts | 5_10_6 : Dock levellers and scissor lifts |  |  | 8_3_1 : Seeding and turfing
P07.12 | [10 empty] | 5_10_7 | 5 | 10 | 7 | Cranes and unenclosed hoists | 5_10_7 : Cranes and unenclosed hoists |  |  | 8_3_2 : External planting
P07.13 | [10 empty] | 5_10_8 | 5 | 10 | 8 | Car lifts, car stacking systems, turntables, etc. | 5_10_8 : Car lifts, car stacking systems, turntables, etc. |  |  | 8_3_3 : Irrigation systems
P07.14 | [10 empty] | 5_10_9 | 5 | 10 | 9 | Document handling/delivery systems | 5_10_9 : Document handling/delivery systems |  |  | 8_4_1 : Fencing and railings
P07.15 | [10 empty] | 5_10_10 | 5 | 10 | 10 | Other transport systems | 5_10_10 : Other transport systems |  |  | 8_4_2 : Walls and screens
P07.16 | [10 empty] | 5_11 | 5 | 11 |  | Fire and lightning protection | 5_11 : Fire and lightning protection |  |  | 8_4_3 : Retaining walls
P07.17 | [10 empty] | 5_11_1 | 5 | 11 | 1 | Fire fighting systems | 5_11_1 : Fire fighting systems |  |  | 8_4_4 : Barriers and guardrails
P07.18 | [10 empty] | 5_11_2 | 5 | 11 | 2 | Fire suppression systems | 5_11_2 : Fire suppression systems |  |  | 8_5_1 : Site/street furniture and equipment
P07.19 | [10 empty] | 5_11_3 | 5 | 11 | 3 | Lightning protection | 5_11_3 : Lightning protection |  |  | 8_5_2 : Ornamental features
P07.20 | [10 empty] | 5_12 | 5 | 12 |  | Communication, security and control systems | 5_12 : Communication, security and control systems |  |  | 8_6_1 : Surface water and foul drainage
P07 | [10 empty] | 5_12_1 | 5 | 12 | 1 | Communication systems | 5_12_1 : Communication systems |  |  | 8_6_2 : Ancillary drainage systems
P08.01 | [10 empty] | 5_12_2 | 5 | 12 | 2 | Security systems | 5_12_2 : Security systems |  |  | 8_6_3 : External laboratory and industrial liquid waste drainage
P08.02 | [10 empty] | 5_12_3 | 5 | 12 | 3 | Central control/building management systems | 5_12_3 : Central control/building management systems |  |  | 8_6_4 : Land drainage
P08.03 | [10 empty] | 5_13 | 5 | 13 |  | Specialist installations | 5_13 : Specialist installations |  |  | 8_7_1 : Water mains supply
P08.04 | [10 empty] | 5_13_1 | 5 | 13 | 1 | Specialist piped supply systems | 5_13_1 : Specialist piped supply systems |  |  | 8_7_2 : Electricity mains supply
P08.05 | [10 empty] | 5_13_2 | 5 | 13 | 2 | Specialist refrigeration systems | 5_13_2 : Specialist refrigeration systems |  |  | 8_7_3 : External mains transformation devices
P08.06 | [10 empty] | 5_13_3 | 5 | 13 | 3 | Specialist mechanical installations | 5_13_3 : Specialist mechanical installations |  |  | 8_7_4 : Electricity distribution to external plant and equipment
P08.07 | [10 empty] | 5_13_4 | 5 | 13 | 4 | Specialist electrical installations | 5_13_4 : Specialist electrical installations |  |  | 8_7_5 : Gas mains supply
P08.08 | [10 empty] | 5_13_5 | 5 | 13 | 5 | Water features | 5_13_5 : Water features |  |  | 8_7_6 : Telecommunications and other communication system connections
P08.09 | [10 empty] | 5_14 | 5 | 14 |  | Builders' work in connection with services | 5_14 : Builders' work in connection with services |  |  | 8_7_7 : External fuel storage and piped distribution systems
P08.10 | [10 empty] | 5_14_1 | 5 | 14 | 1 | Builders' work in connection with services | 5_14_1 : Builders' work in connection with services |  |  | 8_7_8 : External security systems
P08.11 | [10 empty] | 6 | 6 |  |  | Complete buildings and building units | 6 : Complete buildings and building units |  |  | 8_7_9 : Site/street lighting systems
P08.12 | [10 empty] | 6_1 | 6 | 1 |  | Prefabricated buildings | 6_1 : Prefabricated buildings |  |  | 8_7_10 : Local/district heating installations
P08.13 | [10 empty] | 6_1_1 | 6 | 1 | 1 | Complete buildings | 6_1_1 : Complete buildings |  |  | 8_7_11 : Builders work in connection with external services
P08.14 | [10 empty] | 6_1_2 | 6 | 1 | 2 | Building units | 6_1_2 : Building units |  |  | 8_8_1 : Minor building works
P08.15 | [10 empty] | 7 | 7 |  |  | Works to existing buildings | 7 : Works to existing buildings |  |  | 8_8_2 : Ancillary buildings and structures
P08.16 | [10 empty] | 7_1 | 7 | 1 |  | Minor demolition works and alteration works | 7_1 : Minor demolition works and alteration works |  |  | 8_8_3 : Underpinning to external site boundary walls
P08.17 | [10 empty] | 7_1_1 | 7 | 1 | 1 | Minor demolition and alteration works | 7_1_1 : Minor demolition and alteration works |  |  | 9_1_1 : Site accommodation
P08.18 | [10 empty] | 7_2 | 7 | 2 |  | Repairs to existing services | 7_2 : Repairs to existing services |  |  | 9_1_2 : Site records
P08.19 | [10 empty] | 7_2_1 | 7 | 2 | 1 | Existing services | 7_2_1 : Existing services |  |  | 9_1_3 : Completion and post-completion requirements
P08.20 | [10 empty] | 7_3 | 7 | 3 |  | Damp proof courses/fungus and beetle eradication | 7_3 : Damp proof courses/fungus and beetle eradication |  |  | 9_1_4 : Management tasks – specific types
P08 | [10 empty] | 7_3_1 | 7 | 3 | 1 | Damp proof courses | 7_3_1 : Damp proof courses |  |  | 9_2_1 : Management and staff
P09.01 | [10 empty] | 7_3_2 | 7 | 3 | 2 | Fungus/beetle eradication | 7_3_2 : Fungus/beetle eradication |  |  | 9_2_2 : Site establishment
P09.02 | [10 empty] | 7_4 | 7 | 4 |  | Facade retention | 7_4 : Facade retention |  |  | 9_2_3 : Temporary services
P09.03 | [10 empty] | 7_4_1 | 7 | 4 | 1 | Facade retention | 7_4_1 : Facade retention |  |  | 9_2_4 : Security
P09.04 | [10 empty] | 7_5 | 7 | 5 |  | Cleaning existing surfaces | 7_5 : Cleaning existing surfaces |  |  | 9_2_5 : Safety and environmental protection
P09.05 | [10 empty] | 7_5_1 | 7 | 5 | 1 | Cleaning existing surfaces | 7_5_1 : Cleaning existing surfaces |  |  | 9_2_6 : Control and protection
P09.06 | [10 empty] | 7_5_2 | 7 | 5 | 2 | Protective coatings to existing surfaces | 7_5_2 : Protective coatings to existing surfaces |  |  | 9_2_7 : Mechanical plant
P09.07 | [10 empty] | 7_6 | 7 | 6 |  | Renovation works | 7_6 : Renovation works |  |  | 9_2_8 : Temporary works – INCLUDED WITH WORK ITEMS
P09.08 | [10 empty] | 7_6_1 | 7 | 6 | 1 | Masonry repairs | 7_6_1 : Masonry repairs |  |  | 9_2_9 : Site records
P09.09 | [10 empty] | 7_6_2 | 7 | 6 | 2 | Concrete repairs | 7_6_2 : Concrete repairs |  |  | 9_2_10 : Transition and exit requirements
P09.10 | [10 empty] | 7_6_3 | 7 | 6 | 3 | Metal repairs | 7_6_3 : Metal repairs |  |  | 9_2_11 : Cleaning
P09.11 | [10 empty] | 7_6_4 | 7 | 6 | 4 | Timber repairs | 7_6_4 : Timber repairs |  |  | 9_2_12 : Fees and charges
P09.12 | [10 empty] | 7_6_5 | 7 | 6 | 5 | Plastics repairs | 7_6_5 : Plastics repairs |  |  | 9_2_13 : Site services
P09.13 | [10 empty] | 8 | 8 |  |  | External works | 8 : External works |  |  | 9_2_14 : Insurance, bonds, guarantees and warranties
P09.14 | [10 empty] | 8_1 | 8 | 1 |  | Site preparation works | 8_1 : Site preparation works |  |  | 9_2_15 : Operational Tasks
P09.15 | [10 empty] | 8_1_1 | 8 | 1 | 1 | Site clearance | 8_1_1 : Site clearance |  |  | 9_2_16 : Periodic maintenance
P09.16 | [10 empty] | 8_1_2 | 8 | 1 | 2 | Preparatory ground works | 8_1_2 : Preparatory ground works |  |  | 10_1_1 : Maintenance contractor's overhead
P09.17 | [10 empty] | 8_2 | 8 | 2 |  | Roads, paths and paving | 8_2 : Roads, paths and paving |  |  | 10_2_2 : Maintenance contractor's profit
P09.18 | [10 empty] | 8_2_1 | 8 | 2 | 1 | Roads, paths and paving | 8_2_1 : Roads, paths and paving |  |  | 11_1_1 : Consultant's and specialist fees
P09.19 | [10 empty] | 8_2_2 | 8 | 2 | 2 | Special surfaces and paving | 8_2_2 : Special surfaces and paving |  |  | 11_1_2 : Other consultant's fees
P09.20 | [10 empty] | 8_3 | 8 | 3 |  | Soft landscaping, planting and irrigation systems | 8_3 : Soft landscaping, planting and irrigation systems |  |  | 11_1_3 : Site investigation fees
P09 | [10 empty] | 8_3_1 | 8 | 3 | 1 | Seeding and turfing | 8_3_1 : Seeding and turfing |  |  | 11_1_4 : Specialist support consultant's fees
P10.01 | [10 empty] | 8_3_2 | 8 | 3 | 2 | External planting | 8_3_2 : External planting |  |  | 11_2_1 : Management and staff
P10.02 | [10 empty] | 8_3_3 | 8 | 3 | 3 | Irrigation systems | 8_3_3 : Irrigation systems |  |  | 11_2_2 : Specialist support services fees
P10.03 | [10 empty] | 8_4 | 8 | 4 |  | Fencing, railing and walls | 8_4 : Fencing, railing and walls |  |  | 11_2_3 : Temporary accommodation, services and facilities charges
P10.04 | [10 empty] | 8_4_1 | 8 | 4 | 1 | Fencing and railings | 8_4_1 : Fencing and railings |  |  | 11_2_4 : Main contractor's overhead and profit
P10.05 | [10 empty] | 8_4_2 | 8 | 4 | 2 | Walls and screens | 8_4_2 : Walls and screens |  |  | 11_3_1 : Main contractor's design consultant's fees
P10.06 | [10 empty] | 8_4_3 | 8 | 4 | 3 | Retaining walls | 8_4_3 : Retaining walls |  |  | 12_1_1 : Land acquisition costs
P10.07 | [10 empty] | 8_4_4 | 8 | 4 | 4 | Barriers and guardrails | 8_4_4 : Barriers and guardrails |  |  | 12_1_2 : Employer finance costs
P10.08 | [10 empty] | 8_5 | 8 | 5 |  | Site/street furniture and equipment | 8_5 : Site/street furniture and equipment |  |  | 12_1_3 : Fees
P10.09 | [10 empty] | 8_5_1 | 8 | 5 | 1 | Site/street furniture and equipment | 8_5_1 : Site/street furniture and equipment |  |  | 12_1_4 : Charges
P10.10 | [10 empty] | 8_5_2 | 8 | 5 | 2 | Ornamental features | 8_5_2 : Ornamental features |  |  | 12_1_5 : Planning contributions
P10.11 | [10 empty] | 8_6 | 8 | 6 |  | External drainage | 8_6 : External drainage |  |  | 12_1_6 : Insurances
P10.12 | [10 empty] | 8_6_1 | 8 | 6 | 1 | Surface water and foul drainage | 8_6_1 : Surface water and foul drainage |  |  | 12_1_7 : Archaeological field work
P10.13 | [10 empty] | 8_6_2 | 8 | 6 | 2 | Ancillary drainage systems | 8_6_2 : Ancillary drainage systems |  |  | 12_1_8 : Other specialist fieldwork
P10.14 | [10 empty] | 8_6_3 | 8 | 6 | 3 | External laboratory and industrial liquid waste drainage | 8_6_3 : External laboratory and industrial liquid waste drainage |  |  | 12_1_9 : Decanting and relocation costs
P10.15 | [10 empty] | 8_6_4 | 8 | 6 | 4 | Land drainage | 8_6_4 : Land drainage |  |  | 12_1_10 : Fittings, furnishings and equipment
P10.16 | [10 empty] | 8_7 | 8 | 7 |  | External services | 8_7 : External services |  |  | 12_1_11 : Tenant's costs/contributions
P10.17 | [10 empty] | 8_7_1 | 8 | 7 | 1 | Water mains supply | 8_7_1 : Water mains supply |  |  | 12_1_12 : Marketing costs
P10.18 | [10 empty] | 8_7_2 | 8 | 7 | 2 | Electricity mains supply | 8_7_2 : Electricity mains supply |  |  | 12_1_13 : Other employer costs
P10.19 | [10 empty] | 8_7_3 | 8 | 7 | 3 | External mains transformation devices | 8_7_3 : External mains transformation devices |  |  | 12_1_14 : Allowances
P10.20 | [10 empty] | 8_7_4 | 8 | 7 | 4 | Electricity distribution to external plant and equipment | 8_7_4 : Electricity distribution to external plant and equipment |  |  | 12_1_15 : Energy efficiency
P10 | [10 empty] | 8_7_5 | 8 | 7 | 5 | Gas mains supply | 8_7_5 : Gas mains supply |  |  | 12_1_16 : Office churn
P11.01 | [10 empty] | 8_7_6 | 8 | 7 | 6 | Telecommunications and other communication system connections | 8_7_6 : Telecommunications and other communication system connections |  |  | 12_1_17 : Soft services – operations
P11.02 | [10 empty] | 8_7_7 | 8 | 7 | 7 | External fuel storage and piped distribution systems | 8_7_7 : External fuel storage and piped distribution systems |  |  | 12_1_18 : End of life
P11.03 | [10 empty] | 8_7_8 | 8 | 7 | 8 | External security systems | 8_7_8 : External security systems |  |  | 12_1_19 : Third party income
P11.04 | [10 empty] | 8_7_9 | 8 | 7 | 9 | Site/street lighting systems | 8_7_9 : Site/street lighting systems |  |  | 12_1_20 : Loss of income
P11.05 | [10 empty] | 8_7_10 | 8 | 7 | 10 | Local/district heating installations | 8_7_10 : Local/district heating installations
P11.06 | [10 empty] | 8_7_11 | 8 | 7 | 11 | Builders work in connection with external services | 8_7_11 : Builders work in connection with external services
P11.07 | [10 empty] | 8_8 | 8 | 8 |  | Minor building works and ancillary buildings | 8_8 : Minor building works and ancillary buildings
P11.08 | [10 empty] | 8_8_1 | 8 | 8 | 1 | Minor building works | 8_8_1 : Minor building works
P11.09 | [10 empty] | 8_8_2 | 8 | 8 | 2 | Ancillary buildings and structures | 8_8_2 : Ancillary buildings and structures
P11.10 | [10 empty] | 8_8_3 | 8 | 8 | 3 | Underpinning to external site boundary walls | 8_8_3 : Underpinning to external site boundary walls
P11.11 | [10 empty] | 9 | 9 |  |  | Maintenance contractor's management and administration costs | 9 : Maintenance contractor's management and administration costs
P11.12 | [10 empty] | 9_1 | 9 | 1 |  | Employer's requirements | 9_1 : Employer's requirements
P11.13 | [10 empty] | 9_1_1 | 9 | 1 | 1 | Site accommodation | 9_1_1 : Site accommodation
P11.14 | [10 empty] | 9_1_2 | 9 | 1 | 2 | Site records | 9_1_2 : Site records
P11.15 | [10 empty] | 9_1_3 | 9 | 1 | 3 | Completion and post-completion requirements | 9_1_3 : Completion and post-completion requirements
P11.16 | [10 empty] | 9_1_4 | 9 | 1 | 4 | Management tasks – specific types | 9_1_4 : Management tasks – specific types
P11.17 | [10 empty] | 9_2 | 9 | 2 |  | Maintenance contractor's cost items | 9_2 : Maintenance contractor's cost items
P11.18 | [10 empty] | 9_2_1 | 9 | 2 | 1 | Management and staff | 9_2_1 : Management and staff
P11.19 | [10 empty] | 9_2_2 | 9 | 2 | 2 | Site establishment | 9_2_2 : Site establishment
P11.20 | [10 empty] | 9_2_3 | 9 | 2 | 3 | Temporary services | 9_2_3 : Temporary services
P11 | [10 empty] | 9_2_4 | 9 | 2 | 4 | Security | 9_2_4 : Security
P12.01 | [10 empty] | 9_2_5 | 9 | 2 | 5 | Safety and environmental protection | 9_2_5 : Safety and environmental protection
P12.02 | [10 empty] | 9_2_6 | 9 | 2 | 6 | Control and protection | 9_2_6 : Control and protection
P12.03 | [10 empty] | 9_2_7 | 9 | 2 | 7 | Mechanical plant | 9_2_7 : Mechanical plant
P12.04 | [10 empty] | 9_2_8 | 9 | 2 | 8 | Temporary works – INCLUDED WITH WORK ITEMS | 9_2_8 : Temporary works – INCLUDED WITH WORK ITEMS
P12.05 | [10 empty] | 9_2_9 | 9 | 2 | 9 | Site records | 9_2_9 : Site records
P12.06 | [10 empty] | 9_2_10 | 9 | 2 | 10 | Transition and exit requirements | 9_2_10 : Transition and exit requirements
P12.07 | [10 empty] | 9_2_11 | 9 | 2 | 11 | Cleaning | 9_2_11 : Cleaning
P12.08 | [10 empty] | 9_2_12 | 9 | 2 | 12 | Fees and charges | 9_2_12 : Fees and charges
P12.09 | [10 empty] | 9_2_13 | 9 | 2 | 13 | Site services | 9_2_13 : Site services
P12.10 | [10 empty] | 9_2_14 | 9 | 2 | 14 | Insurance, bonds, guarantees and warranties | 9_2_14 : Insurance, bonds, guarantees and warranties
P12.11 | [10 empty] | 9_2_15 | 9 | 2 | 15 | Operational Tasks | 9_2_15 : Operational Tasks
P12.12 | [10 empty] | 9_2_16 | 9 | 2 | 16 | Periodic maintenance | 9_2_16 : Periodic maintenance
P12.13 | [10 empty] | 10 | 10 |  |  | Maintenance contractor's overhead and profit | 10 : Maintenance contractor's overhead and profit
P12.14 | [10 empty] | 10_1 | 10 | 1 |  | Maintenance contractor's overhead | 10_1 : Maintenance contractor's overhead
P12.15 | [10 empty] | 10_1_1 | 10 | 1 | 1 | Maintenance contractor's overhead | 10_1_1 : Maintenance contractor's overhead
P12.16 | [10 empty] | 10_2 | 10 | 2 |  | Maintenance contractor's profit | 10_2 : Maintenance contractor's profit
P12.17 | [10 empty] | 10_2_2 | 10 | 2 | 2 | Maintenance contractor's profit | 10_2_2 : Maintenance contractor's profit
P12.18 | [10 empty] | 11 | 11 |  |  | Consultant and specialist fees | 11 : Consultant and specialist fees
P12.19 | [10 empty] | 11_1 | 11 | 1 |  | Consultant's and specialist fees | 11_1 : Consultant's and specialist fees
P12.20 | [10 empty] | 11_1_1 | 11 | 1 | 1 | Consultant's and specialist fees | 11_1_1 : Consultant's and specialist fees
P12 | [10 empty] | 11_1_2 | 11 | 1 | 2 | Other consultant's fees | 11_1_2 : Other consultant's fees
P13.01 | [10 empty] | 11_1_3 | 11 | 1 | 3 | Site investigation fees | 11_1_3 : Site investigation fees
P13.02 | [10 empty] | 11_1_4 | 11 | 1 | 4 | Specialist support consultant's fees | 11_1_4 : Specialist support consultant's fees
P13.03 | [10 empty] | 11_2 | 11 | 2 |  | Maintenance contractor's tender / pre-contract fees | 11_2 : Maintenance contractor's tender / pre-contract fees
P13.04 | [10 empty] | 11_2_1 | 11 | 2 | 1 | Management and staff | 11_2_1 : Management and staff
P13.05 | [10 empty] | 11_2_2 | 11 | 2 | 2 | Specialist support services fees | 11_2_2 : Specialist support services fees
P13.06 | [10 empty] | 11_2_3 | 11 | 2 | 3 | Temporary accommodation, services and facilities charges | 11_2_3 : Temporary accommodation, services and facilities charges
P13.07 | [10 empty] | 11_2_4 | 11 | 2 | 4 | Main contractor's overhead and profit | 11_2_4 : Main contractor's overhead and profit
P13.08 | [10 empty] | 11_3 | 11 | 3 |  | Maintenance contractor's design fees | 11_3 : Maintenance contractor's design fees
P13.09 | [10 empty] | 11_3_1 | 11 | 3 | 1 | Main contractor's design consultant's fees | 11_3_1 : Main contractor's design consultant's fees
P13.10 | [10 empty] | 12 | 12 |  |  | Employer definable maintenance related costs | 12 : Employer definable maintenance related costs
P13.11 | [10 empty] | 12_1 | 12 | 1 |  | Employer definable maintenance related costs | 12_1 : Employer definable maintenance related costs
P13.12 | [10 empty] | 12_1_1 | 12 | 1 | 1 | Land acquisition costs | 12_1_1 : Land acquisition costs
P13.13 | [10 empty] | 12_1_2 | 12 | 1 | 2 | Employer finance costs | 12_1_2 : Employer finance costs
P13.14 | [10 empty] | 12_1_3 | 12 | 1 | 3 | Fees | 12_1_3 : Fees
P13.15 | [10 empty] | 12_1_4 | 12 | 1 | 4 | Charges | 12_1_4 : Charges
P13.16 | [10 empty] | 12_1_5 | 12 | 1 | 5 | Planning contributions | 12_1_5 : Planning contributions
P13.17 | [10 empty] | 12_1_6 | 12 | 1 | 6 | Insurances | 12_1_6 : Insurances
P13.18 | [10 empty] | 12_1_7 | 12 | 1 | 7 | Archaeological field work | 12_1_7 : Archaeological field work
P13.19 | [10 empty] | 12_1_8 | 12 | 1 | 8 | Other specialist fieldwork | 12_1_8 : Other specialist fieldwork
P13.20 | [10 empty] | 12_1_9 | 12 | 1 | 9 | Decanting and relocation costs | 12_1_9 : Decanting and relocation costs
P13 | [10 empty] | 12_1_10 | 12 | 1 | 10 | Fittings, furnishings and equipment | 12_1_10 : Fittings, furnishings and equipment
P14.01 | [10 empty] | 12_1_11 | 12 | 1 | 11 | Tenant's costs/contributions | 12_1_11 : Tenant's costs/contributions
P14.02 | [10 empty] | 12_1_12 | 12 | 1 | 12 | Marketing costs | 12_1_12 : Marketing costs
P14.03 | [10 empty] | 12_1_13 | 12 | 1 | 13 | Other employer costs | 12_1_13 : Other employer costs
P14.04 | [10 empty] | 12_1_14 | 12 | 1 | 14 | Allowances | 12_1_14 : Allowances
P14.05 | [10 empty] | 12_1_15 | 12 | 1 | 15 | Energy efficiency | 12_1_15 : Energy efficiency
P14.06 | [10 empty] | 12_1_16 | 12 | 1 | 16 | Office churn | 12_1_16 : Office churn
P14.07 | [10 empty] | 12_1_17 | 12 | 1 | 17 | Soft services – operations | 12_1_17 : Soft services – operations
P14.08 | [10 empty] | 12_1_18 | 12 | 1 | 18 | End of life | 12_1_18 : End of life
P14.09 | [10 empty] | 12_1_19 | 12 | 1 | 19 | Third party income | 12_1_19 : Third party income
P14.10 | [10 empty] | 12_1_20 | 12 | 1 | 20 | Loss of income | 12_1_20 : Loss of income
P14.11 | [10 empty] | 13 | 13 |  |  | Risks | 13 : Risks
P14.12 | [10 empty] | 13_1 | 13 | 1 |  | Design and installation risks | 13_1 : Design and installation risks
P14.13 | [10 empty] | 13_2 | 13 | 2 |  | Maintenance risks | 13_2 : Maintenance risks
P14.14 | [10 empty] | 13_3 | 13 | 3 |  | Employer change risks | 13_3 : Employer change risks
P14.15 | [10 empty] | 13_4 | 13 | 4 |  | Employer other risks | 13_4 : Employer other risks
P14.16 | [10 empty] | 14 | 14 |  |  | Inflation | 14 : Inflation
P14.17 | [10 empty] | 14_1 | 14 | 1 |  | Tender inflation | 14_1 : Tender inflation
P14.18 | [10 empty] | 14_2 | 14 | 2 |  | Construction inflation | 14_2 : Construction inflation
P14.19 | [10 empty] | 14_3 | 14 | 3 |  | Life cycle renewal inflation | 14_3 : Life cycle renewal inflation
P14.20 | [10 empty] | 14_4 | 14 | 4 |  | Life cycle discount rate | 14_4 : Life cycle discount rate
P14
P15.01
P15.02
P15.03
P15.04
P15.05
P15.06
P15.07
P15.08
P15.09
P15.10
P15.11
P15.12
P15.13
P15.14
P15.15
P15.16
P15.17
P15.18
P15.19
P15.20
P15
P16.01
P16.02
P16.03
P16.04
P16.05
P16.06
P16.07
P16.08
P16.09
P16.10
P16.11
P16.12
P16.13
P16.14
P16.15
P16.16
P16.17
P16.18
P16.19
P16.20
P16
P17.01
P17.02
P17.03
P17.04
P17.05
P17.06
P17.07
P17.08
P17.09
P17.10
P17.11
P17.12
P17.13
P17.14
P17.15
P17.16
P17.17
P17.18
P17.19
P17.20
P17
P18.01
P18.02
P18.03
P18.04
P18.05
P18.06
P18.07
P18.08
P18.09
P18.10
P18.11
P18.12
P18.13
P18.14
P18.15
P18.16
P18.17
P18.18
P18.19
P18.20
P18
P19.01
P19.02
P19.03
P19.04
P19.05
P19.06
P19.07
P19.08
P19.09
P19.10
P19.11
P19.12
P19.13
P19.14
P19.15
P19.16
P19.17
P19.18
P19.19
P19.20
P19
P20.01
P20.02
P20.03
P20.04
P20.05
P20.06
P20.07
P20.08
P20.09
P20.10
P20.11
P20.12
P20.13
P20.14
P20.15
P20.16
P20.17
P20.18
P20.19
P20.20
P20
P21.01
P21.02
P21.03
P21.04
P21.05
P21.06
P21.07
P21.08
P21.09
P21.10
P21.11
P21.12
P21.13
P21.14
P21.15
P21.16
P21.17
P21.18
P21.19
P21.20
P21
P22.01
P22.02
P22.03
P22.04
P22.05
P22.06
P22.07
P22.08
P22.09
P22.10
P22.11
P22.12
P22.13
P22.14
P22.15
P22.16
P22.17
P22.18
P22.19
P22.20
P22
P23.01
P23.02
P23.03
P23.04
P23.05
P23.06
P23.07
P23.08
P23.09
P23.10
P23.11
P23.12
P23.13
P23.14
P23.15
P23.16
P23.17
P23.18
P23.19
P23.20
P23
P24.01
P24.02
P24.03
P24.04
P24.05
P24.06
P24.07
P24.08
P24.09
P24.10
P24.11
P24.12
P24.13
P24.14
P24.15
P24.16
P24.17
P24.18
P24.19
P24.20
P24
P25.01
P25.02
P25.03
P25.04
P25.05
P25.06
P25.07
P25.08
P25.09
P25.10
P25.11
P25.12
P25.13
P25.14
P25.15
P25.16
P25.17
P25.18
P25.19
P25.20
P25
P26.01
P26.02
P26.03
P26.04
P26.05
P26.06
P26.07
P26.08
P26.09
P26.10
P26.11
P26.12
P26.13
P26.14
P26.15
P26.16
P26.17
P26.18
P26.19
P26.20
P26
P27.01
P27.02
P27.03
P27.04
P27.05
P27.06
P27.07
P27.08
P27.09
P27.10
P27.11
P27.12
P27.13
P27.14
P27.15
P27.16
P27.17
P27.18
P27.19
P27.20
P27
P28.01
P28.02
P28.03
P28.04
P28.05
P28.06
P28.07
P28.08
P28.09
P28.10
P28.11
P28.12
P28.13
P28.14
P28.15
P28.16
P28.17
P28.18
P28.19
P28.20
P28
P29.01
P29.02
P29.03
P29.04
P29.05
P29.06
P29.07
P29.08
P29.09
P29.10
P29.11
P29.12
P29.13
P29.14
P29.15
P29.16
P29.17
P29.18
P29.19
P29.20
P29
P30.01
P30.02
P30.03
P30.04
P30.05
P30.06
P30.07
P30.08
P30.09
P30.10
P30.11
P30.12
P30.13
P30.14
P30.15
P30.16
P30.17
P30.18
P30.19
P30.20
P30
P31.01
P31.02
P31.03
P31.04
P31.05
P31.06
P31.07
P31.08
P31.09
P31.10
P31.11
P31.12
P31.13
P31.14
P31.15
P31.16
P31.17
P31.18
P31.19
P31.20
P31
P32.01
P32.02
P32.03
P32.04
P32.05
P32.06
P32.07
P32.08
P32.09
P32.10
P32.11
P32.12
P32.13
P32.14
P32.15
P32.16
P32.17
P32.18
P32.19
P32.20
P32
P33.01
P33.02
P33.03
P33.04
P33.05
P33.06
P33.07
P33.08
P33.09
P33.10
P33.11
P33.12
P33.13
P33.14
P33.15
P33.16
P33.17
P33.18
P33.19
P33.20
P33
P34.01
P34.02
P34.03
P34.04
P34.05
P34.06
P34.07
P34.08
P34.09
P34.10
P34.11
P34.12
P34.13
P34.14
P34.15
P34.16
P34.17
P34.18
P34.19
P34.20
P34
P35.01
P35.02
P35.03
P35.04
P35.05
P35.06
P35.07
P35.08
P35.09
P35.10
P35.11
P35.12
P35.13
P35.14
P35.15
P35.16
P35.17
P35.18
P35.19
P35.20
P35
P36.01
P36.02
P36.03
P36.04
P36.05
P36.06
P36.07
P36.08
P36.09
P36.10
P36.11
P36.12
P36.13
P36.14
P36.15
P36.16
P36.17
P36.18
P36.19
P36.20
P36
P37.01
P37.02
P37.03
P37.04
P37.05
P37.06
P37.07
P37.08
P37.09
P37.10
P37.11
P37.12
P37.13
P37.14
P37.15
P37.16
P37.17
P37.18
P37.19
P37.20
P37
P38.01
P38.02
P38.03
P38.04
P38.05
P38.06
P38.07
P38.08
P38.09
P38.10
P38.11
P38.12
P38.13
P38.14
P38.15
P38.16
P38.17
P38.18
P38.19
P38.20
P38
P39.01
P39.02
P39.03
P39.04
P39.05
P39.06
P39.07
P39.08
P39.09
P39.10
P39.11
P39.12
P39.13
P39.14
P39.15
P39.16
P39.17
P39.18
P39.19
P39.20
P39
P40.01
P40.02
P40.03
P40.04
P40.05
P40.06
P40.07
P40.08
P40.09
P40.10
P40.11
P40.12
P40.13
P40.14
P40.15
P40.16
P40.17
P40.18
P40.19
P40.20
P40
C01
C02
C03
C04
C05
C06
C07
C08
C09
C10
C11
C12
C13
C14
C15
C16
C17
C18
C19
C20
C21
C22
C23
C24
C25
C26
C27
C28
C29
C30
C31
C32
C33
C34
C35
C36
C37
C38
C39
C40
Pnn
Cnn

## B_WorkDescriptors
Works Parent | Works Code and Title | Renew | Replace | Repair | Retain | No Work
1 : Substructure | 1_1 : Foundations and substructure | New primary structures forming foundations or below ground structures for buildings, including earth-retaining structures that are integral to the building structural frame and in boundary situations. | Partially new and/or major repairs to primary structures forming foundations or below ground structures for buildings, including earth-retaining structures that are integral to the building structural frame and in boundary situations. | Isolated repairs to primary structures forming foundations or below ground structures for buildings, including earth-retaining structures that are integral to the building structural frame and in boundary situations. See project specific specification or drawing. | Existing foundations and substructure retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
1 : Substructure | 1_2 : Lowest floor construction | New lowest floor structure, designed to be suitable for the structural performance of the floor and all anticipated loading (live and dead loads). | Partially new and/or major repairs to lowest floor structure, designed to be suitable for the structural performance of the floor and all anticipated loading (live and dead loads). | Isolated repairs to lowest floor structure to ensure it is suitable for the structural performance of the floor and all anticipated loading (live and dead loads). See project specific specification or drawing. | Existing lowest floor structure retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
2 : Superstructure | 2_1 : Structural frames (primary structure and upper floors) | New primary structure and upper floors, designed to be suitable for the structural performance of the floor and all anticipated loading (live and dead loads). | Partially new and/or major repairs to primary structure and upper floors, designed to be suitable for the structural performance of the floor and all anticipated loading (live and dead loads). | Isolated repairs to primary structure and upper floors to ensure it is suitable for the structural performance of the floor and all anticipated loading (live and dead loads). See project specific specification or drawing. | Existing primary structure and upper floors retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
2 : Superstructure | 2_1 : Structural frames (roof structure) | New roof structure, designed to be suitable for proposed roof build-up(s) and all anticipated loading (live and dead loads). | Partially new and/or major repairs to roof structure, designed to be suitable for proposed roof build-up(s) and all anticipated loading (live and dead loads). | Isolated repairs to roof structure to ensure it is suitable for proposed roof build-up(s) and all anticipated loading (live and dead loads). See project specific specification or drawing. | Existing roof structure retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
2 : Superstructure | 2_3 : Roofs | New roof build-up(s)/elements including insulation, coverings, fascias, flashings, upstands/parapets (including where needing to be raised due to insulation and/or drainage system), rooflights, roof access hatches, rainwater outlets, hoppers, scupper/chute outlets, weirs, overflows/emergency outlets, gutters and downpipes. | Partially new and/or major repairs to roof build-up(s)/elements including coverings, fascias, flashings, rooflights, roof access hatches, rainwater outlets, hoppers, scupper/chute outlets, weirs, overflows/emergency outlets, gutters and downpipes, but excluding insulation and associated upstands/parapets. | Isolated repairs to roof build-up(s)/elements including coverings, fascias, flashings, rooflights, roof access hatches, rainwater outlets, hoppers, scupper/chute outlets, weirs, overflows/emergency outlets, gutters and downpipes. See project specific specification or drawing. | Existing roof build-up(s)/elements retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
2 : Superstructure | 2_4 : Stairs, ramps and lifts | New stair and/or ramp structure including guarding, balustrades and barriers, designed to be suitable for the anticipated structural loading, dimensions/composition of adjacent floor structures and fire safety requirements. New lift installation including lift car, traction and electrical control gear. | Partially new and/or major repairs to stair and/or ramp structure including guarding, balustrades and barriers, designed to be suitable for the anticipated structural loading, dimensions/composition of adjacent floor structures and fire safety requirements. Partially new and/or major repairs to lift(s) including lift car, traction and electrical control gear. | Isolated repairs to stair and/or ramp structure including guarding, balustrades and barriers (to match existing), designed to be suitable for the anticipated structural loading, dimensions/composition of adjacent floor structures and fire safety requirements. Isolated repairs to lift(s) including lift car, traction and electrical control gear. See project specific specification or drawing. | Existing stair and/or ramp structure including guarding, balustrades and barriers and/or lift(s) retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
2 : Superstructure | 2_5 : External walls | New external wall structures and/or external wall linings or finishes, designed to meet performance requirements including, but not limited to, structural loading, weathertight, thermal, fire resistance, acoustics, health and safety. | Partially new and/or major repairs to external wall structures and/or external wall linings or finishes, designed to meet performance requirements including, but not limited to, structural loading, weathertight, thermal, fire resistance, acoustics, health and safety. | Isolated repairs to external wall structures and/or external wall linings or finishes, designed to meet performance requirements including, but not limited to, structural loading, weathertight, thermal, fire resistance, acoustics, health and safety. See project specific specification or drawing. | Existing external wall structures and/or external wall linings or finishes retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
2 : Superstructure | 2_6 : External windows and doors | New external windows and/or doors including all framing, opening lights, door leafs, beads, linings, glazed units, louvred/solid spandrel panels, thresholds, cills and ironmongery, designed to meet performance requirements including, but not limited to, daylighting, reduction in solar gain/glare, fire resistance, acoustics and natural ventilation. | Partially new and/or major repairs to external windows and/or doors including all framing, opening lights, door leafs, beads, linings, glazed units, louvred/solid spandrel panels, thresholds, cills and ironmongery, designed to meet performance requirements including, but not limited to, daylighting, reduction in solar gain/glare, fire resistance, acoustics and natural ventilation. | Isolated repairs to external windows and/or doors including all framing, opening lights, door leafs, beads, linings, glazed units, louvred/solid spandrel panels, thresholds, cills and ironmongery, designed to meet performance requirements including, but not limited to, daylighting, reduction in solar gain/glare, fire resistance, acoustics and natural ventilation. See project specific specification or drawing. | Existing external windows and/or doors retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
2 : Superstructure | 2_7 : Internal walls and partitions | New internal wall structures including masonry walls, stud partitions, movable partitions, and toilet and shower partition panels and doors, designed to meet performance requirements including, but not limited to, structural loading, fire resistance, moisture resistance, acoustics, health and safety, hygiene. | Partially new and/or major repairs to internal wall structures including masonry walls, stud partitions, movable partitions, and toilet and shower partition panels and doors, designed to meet performance requirements including, but not limited to, structural loading, fire resistance, moisture resistance, acoustics, health and safety, hygiene. | Isolated repairs to internal wall structures including masonry walls, stud partitions, movable partitions, and toilet and shower partition panels and doors, designed to meet performance requirements including, but not limited to, structural loading, fire resistance, moisture resistance, acoustics, health and safety, hygiene. See project specific specification or drawing. | Existing internal wall structures retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
2 : Superstructure | 2_8 : Internal doors and glazed screens | New internal doors and/or glazed screens including all framing, opening lights, door leafs, beads, linings, glazed units, louvred/solid spandrel panels, thresholds, cills and ironmongery, designed to meet performance requirements including, but not limited to, fire resistance, acoustics and access/means of escape. | Partially new and/or major repairs to internal doors and/or glazed screens including all framing, opening lights, door leafs, beads, linings, glazed units, louvred/solid spandrel panels, thresholds, cills and ironmongery, designed to meet performance requirements including, but not limited to, fire resistance, acoustics and access/means of escape. | Isolated repairs to internal doors and/or glazed screens including all framing, opening lights, door leafs, beads, linings, glazed units, louvred/solid spandrel panels, thresholds, cills and ironmongery, designed to meet performance requirements including, but not limited to, fire resistance, acoustics and access/means of escape. See project specific specification or drawing. | Existing internal doors and glazed screens retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
3 : Internal finishes | 3_1 : Wall finishes | New internal wall finishes including boards, coatings (plaster, paint), coverings, tiling, panelling, padding, pattressing, splashbacks and wall ancillaries (e.g., beads, edge trims, access panels). | Partially new and/or major repairs to internal wall finishes including boards, coatings (plaster, paint), coverings, tiling, panelling, padding, pattressing, splashbacks and wall ancillaries (e.g., beads, edge trims, access panels). | Isolated repairs to internal wall finishes including boards, coatings (plaster, paint), coverings, tiling, panelling, padding, pattressing, splashbacks and wall ancillaries (e.g., beads, edge trims, access panels). See project specific specification or drawing. | Existing internal wall finishes retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
3 : Internal finishes | 3_2 : Floor finishes | New floor finishes including skirting, flooring accessories and trims, and screed, levelling compounds and underlay (where required). | Partially new and/or major repairs to floor finishes including skirting, flooring accessories and trims, and screed, levelling compounds and underlay (where required). | Isolated repairs to floor finishes including skirting, flooring accessories and trims, and screed, levelling compounds and underlay (where required). See project specific specification or drawing. | Existing floor finishes and associated trims, accessories and substrates retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
3 : Internal finishes | 3_3 : Ceiling finishes | New ceiling finishes including boards, panels, rafts, coatings, coverings, framing, hangers, pattressing and ceiling ancillaries (e.g., beads, edge trims, access panels). | Partially new and/or major repairs to ceiling finishes including boards, panels, rafts, coatings, coverings, framing, hangers, pattressing and ceiling ancillaries (e.g., beads, edge trims, access panels). | Isolated repairs to ceiling finishes including boards, panels, rafts, coatings, coverings, framing, hangers, pattressing and ceiling ancillaries (e.g., beads, edge trims, access panels). See project specific specification or drawing. | Existing ceiling finishes and associated ceiling ancillaries retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
4 : Fittings, furniture and equipment | 4_1 : Fittings, furniture and equipment (FF&E) | New fittings, furniture and equipment (FF&E), including fitted, fixed and loose furniture and equipment, and signage. | Partially new and/or major repairs to fittings, furniture and equipment (FF&E), including fitted, fixed and loose furniture and equipment, and signage. | Isolated repairs to fittings, furniture and equipment (FF&E), including fitted, fixed and loose furniture and equipment, and signage. See project specific specification or drawing. | Existing fittings, furniture and equipment (FF&E) retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
5 : Services | 5_1 : Sanitaryware and ancillaries | New sanitaryware (e.g., taps, sinks and toilets) and/or sanitary ancillaries (e.g., soap dispensers, hand dryers and mirrors). | Partially new and/or major repairs to sanitaryware (e.g., taps, sinks and toilets) and/or sanitary ancillaries (e.g., soap dispensers, hand dryers and mirrors). | Isolated repairs to sanitaryware (e.g., taps, sinks and toilets) and/or sanitary ancillaries (e.g., soap dispensers, hand dryers and mirrors). See project specific specification or drawing. | Existing sanitaryware and sanitary ancillaries retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
5 : Services | 5_2 : Drainage | New surface water and foul water drainage, both above and below ground, including manholes and inspection chambers. | Partially new and/or major repairs to surface water and foul water drainage, both above and below ground, including manholes and inspection chambers. | Isolated repairs to surface water and foul water drainage, both above and below ground, including manholes and inspection chambers. See project specific specification or drawing. | Existing surface water and foul water drainage, both above and below ground retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
5 : Services | 5_3 : Water installations | New water installations, including hot and cold water services and Category 5 water supplies. | Partially new and/or major repairs to water installations, including hot and cold water services and Category 5 water supplies. | Isolated repairs to water installations, including hot and cold water services and Category 5 water supplies. See project specific specification or drawing. | Existing water installations retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
5 : Services | 5_4 : Heat source | New heat sources, including Ground Source Heat Pumps (GSHP), Air Source Heat Pumps (ASHP) and district heating connections. | Partially new and/or major repairs to heat sources, including Ground Source Heat Pumps (GSHP), Air Source Heat Pumps (ASHP) and district heating connections. | Isolated repairs to heat sources, including Ground Source Heat Pumps (GSHP), Air Source Heat Pumps (ASHP) and district heating connections. See project specific specification or drawing. | Existing heat source and associated services retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
5 : Services | 5_5 : Heating and cooling systems | New heating and cooling systems, including distribution systems and emitters. | Partially new and/or major repairs to heating and cooling systems, including distribution systems and emitters. | Isolated repairs to heating and cooling systems, including distribution systems and emitters. See project specific specification or drawing. | Existing heating and cooling systems, including distribution systems and emitters retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
5 : Services | 5_6 : Ventilation systems and thermal comfort | New mechanical ventilation including air handling units (AHUs), room-based ventilation units, extract fans and controls, ductwork, dampers and insulation, louvres, grilles and supply diffusers, and specialist extract systems (e.g., fume cupboards and local exhaust ventilation (LEV) systems. | Partially new and/or major repairs to mechanical ventilation including air handling units (AHUs), room-based ventilation units, extract fans and controls, ductwork, dampers and insulation, louvres, grilles and supply diffusers, and specialist extract systems (e.g., fume cupboards and local exhaust ventilation (LEV) systems. | Isolated repairs to mechanical ventilation including air handling units (AHUs), room-based ventilation units, extract fans and controls, ductwork, dampers and insulation, louvres, grilles and supply diffusers, and specialist extract systems (e.g., fume cupboards and local exhaust ventilation (LEV) systems. See project specific specification or drawing. | Existing mechanical ventilation systems retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
5 : Services | 5_7 : Electrical infrastructure | New electrical infrastructure, including renewable energy generating systems, high voltage (HV) and/or low voltage (LV) distribution systems, transformers, switchgear and switchboards, small power, conduit and containment, lightning protection systems and electric vehicle (EV) charging equipment. | Partially new and/or major repairs to electrical infrastructure, including renewable energy generating systems, high voltage (HV) and/or low voltage (LV) distribution systems, transformers, switchgear and switchboards, small power, conduit and containment, lightning protection systems and electric vehicle (EV) charging equipment. | Isolated repairs to electrical infrastructure, including renewable energy generating systems, high voltage (HV) and/or low voltage (LV) distribution systems, transformers, switchgear and switchboards, small power, conduit and containment, lightning protection systems and electric vehicle (EV) charging equipment. See project specific specification or drawing. | Existing electrical infrastructure retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
5 : Services | 5_8 : Daylighting and electrical lighting | New lighting installation including general internal and/or external lighting, emergency lighting, and specialist lighting (e.g., stage lighting), luminaires, controls, and battery systems. | Partially new and/or major repairs to lighting installation including general internal and/or external lighting, emergency lighting, and specialist lighting (e.g., stage lighting), luminaires, controls, and battery systems. | Isolated repairs to lighting installation including general internal and/or external lighting, emergency lighting, and specialist lighting (e.g., stage lighting), luminaires, controls, and battery systems. See project specific specification or drawing. | Existing lighting installation retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
5 : Services | 5_9 : Fuel installations | New (gas) fuel installations to science and practical spaces, including D&T spaces and construction workshops and, where unavoidable, gas heat sources. | Partially new and/or major repairs to (gas) fuel installations to science and practical spaces, including D&T spaces and construction workshops and, where unavoidable, gas heat sources. | Isolated repairs to (gas) fuel installations to science and practical spaces, including D&T spaces and construction workshops and, where unavoidable, gas heat sources. See project specific specification or drawing. | Existing (gas) fuel installations retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
5 : Services | 5_10 : Security and communication systems | New security and communication systems, including access control, intruder alarms, public address, class change, assistance alarms, and induction loops and radio aid systems. | Partially new and/or major repairs to security and communication systems, including access control, intruder alarms, public address, class change, assistance alarms, and induction loops and radio aid systems. | Isolated repairs to security and communication systems, including access control, intruder alarms, public address, class change, assistance alarms, and induction loops and radio aid systems. See project specific specification or drawing. | Existing security and communication systems retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
5 : Services | 5_11 : BMS, controls and performance monitoring | New Building Management Systems (BMS), controls and performance monitoring, including meters and sub-meters. | Partially new and/or major repairs to Building Management Systems (BMS), controls and performance monitoring, including meters and sub-meters. | Isolated repairs to Building Management Systems (BMS), controls and performance monitoring, including meters and sub-meters. See project specific specification or drawing. | Existing Building Management Systems (BMS), controls and performance monitoring systems retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
5 : Services | 5_12 : Internet connectivity | New internet connectivity, including main infrastructure and backup broadband connections. | Partially new and/or major repairs to internet connectivity, including main infrastructure and backup broadband connections. | Isolated repairs to internet connectivity, including main infrastructure and backup broadband connections. See project specific specification or drawing. | Existing internet connectivity retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
6 : Technology | 6_1 : Passive networking | New passive data cabling infrastructure and communication cabinets. | Partially new and/or major repairs to passive data cabling infrastructure and communication cabinets. | Isolated repairs to passive data cabling infrastructure and communication cabinets. See project specific specification or drawing. | Existing passive networking retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
6 : Technology | 6_2 : Active networking | New enterprise level wired and wireless network to connect all devices to servers and the internet. | Partially new and/or major repairs to enterprise level wired and wireless network to connect all devices to servers and the internet. | Isolated repairs to enterprise level wired and wireless network to connect all devices to servers and the internet. See project specific specification or drawing. | Existing active networking retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
6 : Technology | 6_3 : AV systems and fixed equipment | New classroom, meeting room and large space audio visual (AV) systems, digital signage, and sign-in and cashless catering stations. | Partially new and/or major repairs to classroom, meeting room and large space audio visual (AV) systems, digital signage, and sign-in and cashless catering stations. | Isolated repairs to classroom, meeting room and large space audio visual (AV) systems, digital signage, and sign-in and cashless catering stations. See project specific specification or drawing. | Existing audio visual (AV) systems, digital signage, and sign-in and cashless catering stations retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
6 : Technology | 6_4 : Building technologies | New environmental sensors and Closed-circuit Television (CCTV), and the digital components only for Building Management Systems (BMS), access control and intruder alarms. | Partially new and/or major repairs to environmental sensors and Closed-circuit Television (CCTV), and the digital components only for Building Management Systems (BMS), access control and intruder alarms. | Isolated repairs to environmental sensors and Closed-circuit Television (CCTV), and the digital components only for Building Management Systems (BMS), access control and intruder alarms. See project specific specification or drawing. | Existing building technologies retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
6 : Technology | 6_5 : Telephony | New telephone systems including physical handsets and soft phones. | Partially new and/or major repairs to telephone systems including physical handsets and soft phones. | Isolated repairs to telephone systems including physical handsets and soft phones. See project specific specification or drawing. | Existing telephone systems retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
8 : External works | 8_1 : Surfaces for play, sport, paths and roads | New surfaces for play, sport, paths and roads, including external steps, ramps, guarding, balustrades and barriers, asphalt, resin bound gravel, paving, reinforced grass systems, safety play surfaces, natural and artificial pitches, kerbs, edging and sub-bases suitable for anticipated activities, structural loads and drainage requirements. | Partially new and/or major repairs to surfaces for play, sport, paths and roads, including external steps, ramps, guarding, balustrades and barriers, asphalt, resin bound gravel, paving, reinforced grass systems, safety play surfaces, natural and artificial pitches, kerbs, edging and sub-bases suitable for anticipated activities, structural loads and drainage requirements. | Isolated repairs to surfaces for play, sport, paths and roads, including external steps, ramps, guarding, balustrades and barriers, asphalt, resin bound gravel, paving, reinforced grass systems, safety play surfaces, natural and artificial pitches, kerbs, edging and sub-bases suitable for anticipated activities, structural loads and drainage requirements. See project specific specification or drawing. | Existing surfaces for play, sport, paths and roads (including external steps, ramps, guarding, balustrades and barriers) retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
8 : External works | 8_2 : Topsoil, subsoil and ameliorants | New topsoil, subsoil and ameliorants, and the construction of typical topographical landforms, including play slopes, ponds, mounds and amphitheatre terraces. | Partially new and/or major repairs to topsoil, subsoil and ameliorants, and the construction of typical topographical landforms, including play slopes, ponds, mounds and amphitheatre terraces. | Isolated repairs to topsoil, subsoil and ameliorants, and the construction of typical topographical landforms, including play slopes, ponds, mounds and amphitheatre terraces. See project specific specification or drawing. | Existing topsoil, subsoil and ameliorants retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
8 : External works | 8_3 : Soft landscape | New plants, grass and trees including for hedgerows, planting beds, pitches, woodlands, ponds, BioSolar and green roofs, and nature-based SuDS. | Partially new and/or major repairs to plants, grass and trees including for hedgerows, planting beds, pitches, woodlands, ponds, BioSolar and green roofs, and nature-based SuDS. | Isolated repairs to plants, grass and trees including for hedgerows, planting beds, pitches, woodlands, ponds, BioSolar and green roofs, and nature-based SuDS. See project specific specification or drawing. | Existing soft landscape retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
8 : External works | 8_4 : Boundary treatments, walls and fencing | New boundary treatments, walls and fencing, including mesh, railing and picket fencing, dead hedges, low retaining walls, and fencing to MUGAs and artificial grass pitches. | Partially new and/or major repairs to boundary treatments, walls and fencing, including mesh, railing and picket fencing, dead hedges, low retaining walls, and fencing to MUGAs and artificial grass pitches. | Isolated repairs to boundary treatments, walls and fencing, including mesh, railing and picket fencing, dead hedges, low retaining walls, and fencing to MUGAs and artificial grass pitches. See project specific specification or drawing. | Existing boundary treatments, walls and fencing retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
8 : External works | 8_5 : Play equipment and nature habitats | New play equipment, including climbing and gym equipment, and nature habitats (also known as hibernacula). | Partially new and/or major repairs to play equipment, including climbing and gym equipment, and nature habitats (also known as hibernacula). | Isolated repairs to play equipment, including climbing and gym equipment, and nature habitats (also known as hibernacula). See project specific specification or drawing. | Existing play equipment retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
8 : External works | 8_6 : External furniture | New external furniture, including seating, bicycle hoops and door guards, bins, outdoor taps and signage. | Partially new and/or major repairs to external furniture, including seating, bicycle hoops and door guards, bins, outdoor taps and signage. | Isolated repairs to external furniture, including seating, bicycle hoops and door guards, bins, outdoor taps and signage.See project specific specification or drawing. | Existing external furniture retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
8 : External works | 8_7 : External drainage (nature-based SuDS) | New nature-based sustainable drainage systems (SuDS) for surface water management including raingardens, swales and attenuation ponds. | Partially new and/or major repairs to nature-based sustainable drainage systems (SuDS) for surface water management including raingardens, swales and attenuation ponds. | Isolated repairs to nature-based sustainable drainage systems (SuDS) for surface water management including raingardens, swales and attenuation ponds. See project specific specification or drawing. | Existing nature-based sustainable drainage systems (SuDS) retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
8 : External works | 8_8 : Structures in the landscape | New structures in the landscape including canopies and shelters, living (willow) structures, and storage facilities for outdoor equipment and waste. | Partially new and/or major repairs to structures in the landscape including canopies and shelters, living (willow) structures, and storage facilities for outdoor equipment and waste. | Isolated repairs to structures in the landscape including canopies and shelters, living (willow) structures, and storage facilities for outdoor equipment and waste. See project specific specification or drawing. | Existing structures in the landscape retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
9 : Fire safety | 9_1 : Fire safety | New fire safety measures including fire detection and alarm systems, emergency voice communication systems, signage and wayfinding, electrical services for life safety and fire protection systems, automatic fire suppression systems (AFSS), and fire-stopping, cavity barriers and fire dampers. | Partially new and/or major repairs to fire safety measures including fire detection and alarm systems, emergency voice communication systems, signage and wayfinding, electrical services for life safety and fire protection systems, automatic fire suppression systems (AFSS), and fire-stopping, cavity barriers and fire dampers. | Isolated repairs to fire safety measures including fire detection and alarm systems, emergency voice communication systems, signage and wayfinding, electrical services for life safety and fire protection systems, automatic fire suppression systems (AFSS), and fire-stopping, cavity barriers and fire dampers. See project specific specification or drawing. | Existing fire safety measures retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.
- : Other | -_- : Swimming pools | New pool and/or associated plant, designed to meet the requirements of the Project Brief and in accordance with PWTAG guidance. | Partially new and/or major repairs to pool and/or associated plant, designed to meet the requirements of the Project Brief and in accordance with PWTAG guidance. | Isolated repairs to pool and/or associated plant, designed to meet the requirements of the Project Brief and in accordance with PWTAG guidance. See project specific specification or drawing. | Existing pool and associated plant retained, with no work required unless needed in order to complete other works that form part of the Scheme; overall performance shall be no worse than the existing performance and condition. | No work required, shall be left as existing.