## Document Control
APPENDIX A – EXCEL SPREADSHEET ILLUSTRATING A STANDARD CONDITION SURVEY for illustrative purposes only to show what should normally be included in a condition survey report (see accompanying document for more detail).
Establishment name: | ABC Academy
Phase of Education: | Primary
Unique Reference Number: | 100000
Local Authority: | XXXX
LA/Est Number: | 100/1000
Date | 2025-07-07
Date | Version | Editor | Comments
2025-07-07 | v1.0 | xxx | xxx

## Full Elemental List
Full Elemental List
The full elemental List is used in the DfE Condition Data Collection (CDC) programme. |  | The list is a structured framework consisting of 12 main elements (in the B coloumn), each broken down into elements (in coloumn C) and sub-elements (in the E column), which are further divided into specific construction types (in the G column). |  | This elemental list can be adapted as necessary. Use it as a pick list to select issues and streamline identification. Ensure that only relevant data is captured. |  | Condition data is recorded at the construction type level, meaning surveyors and engineers must identify which construction types are present for each sub-element during their survey, and only record data for those present.
The colour and letter coding applied to the site (s), block (b), and room (r) indicates the level at which the construction type is to be recorded during the survey.
| BLOCK (b) | Blue shading
| SITE (s) | Green shading
| ROOM (r) | Orange shading
| Reference: Element | Element | Reference: Sub Element | Sub Element | Reference: Construction Type | Construction Type
| 1 (b) | Roofs | 1.1 | Structure | 1.1.1 | Flat roof structure and deck - Generally
| 1 (b) | Roofs | 1.1 | Structure | 1.1.2 | Pitched roof structure - Generally
| 1 (b) | Roofs | 1.2 | Flat Roof Coverings and insulation | 1.2.1 | Flexible sheet; single ply or built up
| 1 (b) | Roofs | 1.2 | Flat Roof Coverings and insulation | 1.2.2 | Asphalt
| 1 (b) | Roofs | 1.2 | Flat Roof Coverings and insulation | 1.2.3 | Flat metal sheet
| 1 (b) | Roofs | 1.2 | Flat Roof Coverings and insulation | 1.2.4 | Liquid applied
| 1 (b) | Roofs | 1.2 | Flat Roof Coverings and insulation | 1.2.5 | Green roof
| 1 (b) | Roofs | 1.2 | Flat Roof Coverings and insulation | 1.2.6 | Glazed areas / rooflights
| 1 (b) | Roofs | 1.2 | Flat Roof Coverings and insulation | 1.2.7 | Inverted roof with ballast
| 1 (b) | Roofs | 1.3 | Pitched Roof Coverings and insulation | 1.3.1 | Natural slates
| 1 (b) | Roofs | 1.3 | Pitched Roof Coverings and insulation | 1.3.2 | Tiles
| 1 (b) | Roofs | 1.3 | Pitched Roof Coverings and insulation | 1.3.3 | Flexible sheet; single ply or built up
| 1 (b) | Roofs | 1.3 | Pitched Roof Coverings and insulation | 1.3.4 | Profiled fibreglass / GRP / plastic / composite sheet
| 1 (b) | Roofs | 1.3 | Pitched Roof Coverings and insulation | 1.3.5 | Profiled fibre cement sheet
| 1 (b) | Roofs | 1.3 | Pitched Roof Coverings and insulation | 1.3.6 | Profiled metal sheet; self finished
| 1 (b) | Roofs | 1.3 | Pitched Roof Coverings and insulation | 1.3.7 | Flat metal sheet
| 1 (b) | Roofs | 1.3 | Pitched Roof Coverings and insulation | 1.3.8 | Glazed areas / rooflights
| 1 (b) | Roofs | 1.4 | Flat Roof Drainage | 1.4.1 | Fibre cement
| 1 (b) | Roofs | 1.4 | Flat Roof Drainage | 1.4.2 | Cast iron
| 1 (b) | Roofs | 1.4 | Flat Roof Drainage | 1.4.3 | Aluminium
| 1 (b) | Roofs | 1.4 | Flat Roof Drainage | 1.4.4 | Other metal
| 1 (b) | Roofs | 1.4 | Flat Roof Drainage | 1.4.5 | Plastic
| 1 (b) | Roofs | 1.5 | Pitched Roof Drainage | 1.5.1 | Fibre Cement
| 1 (b) | Roofs | 1.5 | Pitched Roof Drainage | 1.5.2 | Cast iron
| 1 (b) | Roofs | 1.5 | Pitched Roof Drainage | 1.5.3 | Aluminium
| 1 (b) | Roofs | 1.5 | Pitched Roof Drainage | 1.5.4 | Other metal
| 1 (b) | Roofs | 1.5 | Pitched Roof Drainage | 1.5.5 | Plastic
| 1 (b) | Roofs | 1.6 | Fascias Soffits & Peripheral "Joinery" | 1.6.1 | Timber
| 1 (b) | Roofs | 1.6 | Fascias Soffits & Peripheral "Joinery" | 1.6.2 | Metal
| 1 (b) | Roofs | 1.6 | Fascias Soffits & Peripheral "Joinery" | 1.6.3 | Plastic
| 1 (b) | Roofs | 1.6 | Fascias Soffits & Peripheral "Joinery" | 1.6.4 | Fibre Cement/Asbestos
| 1 (b) | Roofs | 1.6 | Fascias Soffits & Peripheral "Joinery" | 1.6.5 | No Fascias Soffits & Peripheral Joinery
| 1 (b) | Roofs | 1.7 | Canopies (fixed to Blocks) | 1.7.1 | Metal
| 1 (b) | Roofs | 1.7 | Canopies (fixed to Blocks) | 1.7.2 | Timber
| 1 (b) | Roofs | 1.7 | Canopies (fixed to Blocks) | 1.7.3 | Glass/Plastics
| 2 (b) | Floors and stairs | 2.1 | Floor Structure | 2.1.1 | Ground Bearing Solid Floor Structure
| 2 (b) | Floors and stairs | 2.1 | Floor Structure | 2.1.2 | Suspended Floor Structure
| 2 (b) | Floors and stairs | 2.1 | Floor Structure | 2.1.3 | Internal Swimming Pool Structure
| 2 (b) | Floors and stairs | 2.2 | Floor Construction Finish | 2.2.1 | Concrete (and screed) Construction
| 2 (b) | Floors and stairs | 2.2 | Floor Construction Finish | 2.2.2 | Timber Boarded/Sheeted Construction
| 2 (b) | Floors and stairs | 2.2 | Floor Construction Finish | 2.2.3 | Raised Access Floor Construction (Over Concrete Construction)
| 2 (b) | Floors and stairs | 2.3 | Floor Applied Finish | 2.3.1 | Exposed Construction Finish
| 2 (b) | Floors and stairs | 2.3 | Floor Applied Finish | 2.3.2 | Hardwood strip / wood block / sprung flooring
| 2 (b) | Floors and stairs | 2.3 | Floor Applied Finish | 2.3.3 | Vinyl / rubber / cork in tiles / sheet
| 2 (b) | Floors and stairs | 2.3 | Floor Applied Finish | 2.3.4 | Ceramic Tiles / Terrazzo
| 2 (b) | Floors and stairs | 2.3 | Floor Applied Finish | 2.3.5 | Carpet
| 2 (b) | Floors and stairs | 2.4 | Internal Staircase Construction | 2.4.1 | Concrete Structure, Treads and Metal Balustrading/Handrails
| 2 (b) | Floors and stairs | 2.4 | Internal Staircase Construction | 2.4.2 | Timber Structure, Treads and Balustrading/Handrails
| 2 (b) | Floors and stairs | 2.4 | Internal Staircase Construction | 2.4.3 | Metal Structure, Treads and Balustrading/Handrails
| 2 (b) | Floors and stairs | 2.4 | Internal Staircase Construction | 2.4.4 | Concrete Structure, Combination Treads and Balustrading/Handrails
| 2 (b) | Floors and stairs | 2.4 | Internal Staircase Construction | 2.4.5 | Timber Structure, Combination Treads and Balustrading/Handrails
| 2 (b) | Floors and stairs | 2.4 | Internal Staircase Construction | 2.4.6 | Metal Structure, Combination Treads and Balustrading/Handrails
| 2 (b) | Floors and stairs | 2.5 | External Staircase Construction | 2.5.1 | Concrete Construction
| 2 (b) | Floors and stairs | 2.5 | External Staircase Construction | 2.5.2 | Metal Construction
| 2 (b) | Floors and stairs | 2.5 | External Staircase Construction | 2.5.3 | Timber Construction
| 3 (r) | Ceilings | 3.1 | Ceiling Construction | 3.1.1 | No Ceiling/ Exposed Structure
| 3 (r) | Ceilings | 3.1 | Ceiling Construction | 3.1.2 | Plaster / render / plasterboard/ timber lining/ Fibreboard/ Acoustic Lining.
| 3 (r) | Ceilings | 3.1 | Ceiling Construction | 3.1.3 | Suspended ceiling; timber boarding / panels/ fibreboard/ acoustic tiles/ metal tiles.
| 4 (b) | External walls, windows, doors | 4.1 | Block Structure | 4.1.1 | Concrete Frame
| 4 (b) | External walls, windows, doors | 4.1 | Block Structure | 4.1.2 | System Built Construction
| 4 (b) | External walls, windows, doors | 4.1 | Block Structure | 4.1.3 | Steel Frame
| 4 (b) | External walls, windows, doors | 4.1 | Block Structure | 4.1.4 | Timber Frame
| 4 (b) | External walls, windows, doors | 4.1 | Block Structure | 4.1.5 | Integral Modular Construction
| 4 (b) | External walls, windows, doors | 4.1 | Block Structure | 4.1.6 | Loadbearing Masonry
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.1 | Exposed Concrete Frame
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.2 | Exposed System Built Construction
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.3 | Unknown Envelope Substrate Beneath Applied Finish
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.4 | Exposed Steel Frame
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.5 | Exposed Timber Frame
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.6 | Exposed Integral Modular Construction
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.7 | Exposed Loadbearing Masonry
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.8 | Masonry Cladding /Infill/ Composite Construction.
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.9 | Concrete Cladding /Infill/ Composite Construction.
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.10 | Timber Cladding /Infill/ Composite Construction.
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.11 | Fibre cement/ fibreglass/UPVC/GRP sheet cladding /Infill /Composite Construction.
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.12 | Metal sheet cladding / Infill/ Composite Construction
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.13 | Frameless Glazing
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.14 | Component Metal Windows & Doors
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.15 | Component Timber Windows & Doors
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.16 | Component PVCu Windows & Doors
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.17 | Fully Glazed Framed Curtain Walling or Integrated Window & Door Sections
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.18 | 75/25 Part Glazed Part Infill Panel Framed Curtain Walling or Integrated Window & Door Sections
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.19 | 50/50 Part Glazed Part Infill Panel Framed Curtain Walling or Integrated Window & Door Sections
| 4 (b) | External walls, windows, doors | 4.2 | External Envelope | 4.2.20 | 25/75 Part Glazed Part Infill Panel Framed Curtain Walling or Integrated Window & Door Sections
| 4 (b) | External walls, windows, doors | 4.3 | External Envelope Applied Finishes | 4.3.1 | Exposed Envelope
| 4 (b) | External walls, windows, doors | 4.3 | External Envelope Applied Finishes | 4.3.2 | Slate/Tile Hanging
| 4 (b) | External walls, windows, doors | 4.3 | External Envelope Applied Finishes | 4.3.3 | Timber/uPVC Boarding
| 4 (b) | External walls, windows, doors | 4.3 | External Envelope Applied Finishes | 4.3.4 | Render
| 4 (b) | External walls, windows, doors | 4.3 | External Envelope Applied Finishes | 4.3.5 | Ceramic Tiling
| 4 (b) | External walls, windows, doors | 4.3 | External Envelope Applied Finishes | 4.3.6 | Brick/Stone Slip Applied Finish
| 4 (b) | External walls, windows, doors | 4.4 | Roller Shutters | 4.4.1 | Generally
| 5 (r) | Internal walls and doors | 5.1 | Walls and Partitions, Construction Finishes and Applied Finishes | 5.1.1 | Exposed Walls & Partitions / No Finish / Self finished.
| 5 (r) | Internal walls and doors | 5.1 | Walls and Partitions, Construction Finishes and Applied Finishes | 5.1.2 | Walls and Partitions Plastered Finish.
| 5 (r) | Internal walls and doors | 5.1 | Walls and Partitions, Construction Finishes and Applied Finishes | 5.1.3 | Glazed Screen Partition
| 5 (r) | Internal walls and doors | 5.1 | Walls and Partitions, Construction Finishes and Applied Finishes | 5.1.4 | Sliding / Folding Partition
| 5 (r) | Internal walls and doors | 5.1 | Walls and Partitions, Construction Finishes and Applied Finishes | 5.1.5 | Walls and Partitions Applied laminate sheet finish
| 5 (r) | Internal walls and doors | 5.1 | Walls and Partitions, Construction Finishes and Applied Finishes | 5.1.6 | Walls and Partitions Applied acoustic lining
| 5 (r) | Internal walls and doors | 5.1 | Walls and Partitions, Construction Finishes and Applied Finishes | 5.1.7 | Walls and Partitions Applied plastic/metal sheet lining/splashbacks.
| 5 (r) | Internal walls and doors | 5.1 | Walls and Partitions, Construction Finishes and Applied Finishes | 5.1.8 | Walls and Partitions Applied Ceramic tiles
| 5 (r) | Internal walls and doors | 5.2 | Doors | 5.2.1 | Solid Timber
| 5 (r) | Internal walls and doors | 5.2 | Doors | 5.2.2 | Hollow Core Timber/Laminate
| 5 (r) | Internal walls and doors | 5.2 | Doors | 5.2.3 | Aluminium/Metal
| 5 (r) | Internal walls and doors | 5.2 | Doors | 5.2.4 | PVCu
| 6 (r) | Sanitary ware | 6.1 | Sanitary Ware | 6.1.1 | Generally
| 7 (r) | Mechanical services | 7.1 | Heat Source | 7.1.1 | Hydro-Carbon Heat Source
| 7 (r) | Mechanical services | 7.1 | Heat Source | 7.1.2 | CHP
| 7 (r) | Mechanical services | 7.1 | Heat Source | 7.1.3 | Heat Pump / Other
| 7 (r) | Mechanical services | 7.1 | Heat Source | 7.1.4 | Biomass Heat Source
| 7 (r) | Mechanical services | 7.1 | Heat Source | 7.1.5 | Combination Bolier
| 7 (r) | Mechanical services | 7.2 | Ancillary Plant | 7.2.1 | Ancillary Plant
| 7 (r) | Mechanical services | 7.2 | Ancillary Plant | 7.2.2 | Thermal Store
| 7 (b) | Mechanical services | 7.3 | Pool Plant | 7.3.1 | Pool Plant
| 7 (r) | Mechanical services | 7.4 | Heat Emitters and Pipework | 7.4.1 | No Heating
| 7 (r) | Mechanical services | 7.4 | Heat Emitters and Pipework | 7.4.2 | Wet System Emitters
| 7 (r) | Mechanical services | 7.4 | Heat Emitters and Pipework | 7.4.3 | Passive Heated Vent
| 7 (r) | Mechanical services | 7.4 | Heat Emitters and Pipework | 7.4.4 | Wet Radiant Systems
| 7 (r) | Mechanical services | 7.4 | Heat Emitters and Pipework | 7.4.5 | Wet Radiant Underfloor Systems
| 7 (r) | Mechanical services | 7.4 | Heat Emitters and Pipework | 7.4.6 | Forced Heated Vent
| 7 (r) | Mechanical services | 7.4 | Heat Emitters and Pipework | 7.4.7 | Electric Heaters
| 7 (r) | Mechanical services | 7.4 | Heat Emitters and Pipework | 7.4.8 | Electric Storage Heaters
| 7 (r) | Mechanical services | 7.4 | Heat Emitters and Pipework | 7.4.9 | Electric underfloor heating
| 7 (r) | Mechanical services | 7.4 | Heat Emitters and Pipework | 7.4.10 | Gas / LPG / Oil Heater
| 7 (r) | Mechanical services | 7.4 | Heat Emitters and Pipework | 7.4.11 | Terminal/Grille Outlets to Ducted Heat System
| 7 (r) | Mechanical services | 7.4 | Heat Emitters and Pipework | 7.4.12 | Wet System Distribution Pipework
| 7 (r) | Mechanical services | 7.5 | Calorifiers & Thermal Sources | 7.5.1 | Calorifiers (Direct & Indirect)
| 7 (b) | Mechanical services | 7.5 | Calorifiers & Thermal Sources | 7.5.2 | Solar Thermal System inc Tank
| 7 (r) | Mechanical services | 7.6 | Domestic Hot & Cold Water Distribution & Outlets | 7.6.1 | Hot Water Distribution System (inc outlets)
| 7 (r) | Mechanical services | 7.6 | Domestic Hot & Cold Water Distribution & Outlets | 7.6.2 | No Hot Water Provision
| 7 (r) | Mechanical services | 7.6 | Domestic Hot & Cold Water Distribution & Outlets | 7.6.3 | Point of Use Water Heaters
| 7 (r) | Mechanical services | 7.6 | Domestic Hot & Cold Water Distribution & Outlets | 7.6.4 | Cold Water Distribution System (inc tanks & outlets)
| 7 (b) | Mechanical services | 7.7 | Fuel System | 7.7.1 | Fuel Storage Tank (inc system pipework)
| 7 (r) | Mechanical services | 7.8 | Mechanical Ventilation | 7.8.1 | Local Extract
| 7 (r) | Mechanical services | 7.8 | Mechanical Ventilation | 7.8.2 | Ducted System
| 7 (r) | Mechanical services | 7.8 | Mechanical Ventilation | 7.8.3 | Kitchen Extract
| 7 (r) | Mechanical services | 7.8 | Mechanical Ventilation | 7.8.4 | No Mechanical Ventilation
| 7 (r) | Mechanical services | 7.8 | Mechanical Ventilation | 7.8.5 | Specialist Vent
| 7 (r) | Mechanical services | 7.8 | Mechanical Ventilation | 7.8.6 | Central Air Handling Unit
| 7 (r) | Mechanical services | 7.9 | Air Conditioning | 7.9.1 | Local Condenser / Pipework
| 7 (r) | Mechanical services | 7.9 | Air Conditioning | 7.9.2 | Central Chiller Unit / Pipework
| 7 (r) | Mechanical services | 7.9 | Air Conditioning | 7.9.3 | Split AC Units
| 7 (r) | Mechanical services | 7.9 | Air Conditioning | 7.9.4 | No Air Conditioning
| 7 (r) | Mechanical services | 7.9 | Air Conditioning | 7.9.5 | Central Chiller Terminal Outlets
| 7 (r) | Mechanical services | 7.1 | Fire Suppression | 7.10.1 | Dry/Wet riser
| 7 (r) | Mechanical services | 7.1 | Fire Suppression | 7.10.2 | Fire hose reel(s)
| 7 (r) | Mechanical services | 7.1 | Fire Suppression | 7.10.3 | Gas suppression
| 7 (r) | Mechanical services | 7.1 | Fire Suppression | 7.10.4 | Sprinkler system
| 7 (r) | Mechanical services | 7.1 | Fire Suppression | 7.10.5 | No Fire Suppression
| 7 (r) | Mechanical services | 7.1 | Fire Suppression | 7.10.6 | Sprinkler Tank
| 7 (b) | Mechanical services | 7.11 | Above Ground Drainage | 7.11.1 | Drainage Pipework System
| 8 (r) | Electrical services | 8.1 | Electrical Distribution | 8.1.1 | Main Incomer & Main Switch Panel
| 8 (r) | Electrical services | 8.1 | Electrical Distribution | 8.1.2 | Distribution Boards (including sub-main cabling)
| 8 (r) | Electrical services | 8.1 | Electrical Distribution | 8.1.3 | Outgoing Circuits
| 8 (b) | Electrical services | 8.1 | Electrical Distribution | 8.1.4 | PV panels
| 8 (b) | Electrical services | 8.1 | Electrical Distribution | 8.1.5 | Wind Turbines
| 8 (b) | Electrical services | 8.2 | Standby Generator | 8.2.1 | Standby Generator
| 8 (b) | Electrical services | 8.2 | Standby Generator | 8.2.2 | UPS
| 8 (r) | Electrical services | 8.3 | Automatic Control Systems | 8.3.1 | BMS
| 8 (r) | Electrical services | 8.3 | Automatic Control Systems | 8.3.2 | Time Clock Control
| 8 (r) | Electrical services | 8.3 | Automatic Control Systems | 8.3.2 | No Automatic Control
| 8 (r) | Electrical services | 8.4 | Small Power | 8.4.1 | Outlets
| 8 (b) | Electrical services | 8.5 | Lightning Protection | 8.5.1 | Generally
| 8 (r) | Electrical services | 8.6 | Lighting | 8.6.1 | Luminaires
| 8 (r) | Electrical services | 8.6 | Lighting | 8.6.2 | Emergency Lighting
| 8 (b) | Electrical services | 8.6 | Lighting | 8.6.3 | External Lighting on Block Facades
| 8 (r) | Electrical services | 8.7 | Fire Alarm | 8.7.1 | Main Panel
| 8 (r) | Electrical services | 8.7 | Fire Alarm | 8.7.2 | Devices / Wiring
| 8 (r) | Electrical services | 8.8 | Security Systems & Other Alarm Systems | 8.8.1 | Intruder Alarm System
| 8 (r) | Electrical services | 8.8 | Security Systems & Other Alarm Systems | 8.8.2 | Access Control
| 8 (r) | Electrical services | 8.8 | Security Systems & Other Alarm Systems | 8.8.3 | CCTV system
| 8 (r) | Electrical services | 8.8 | Security Systems & Other Alarm Systems | 8.8.4 | Refuge Point Alarm System
| 8 (r) | Electrical services | 8.8 | Security Systems & Other Alarm Systems | 8.8.5 | Disabled WC Alarms
| 8 (r) | Electrical services | 8.9 | Communications and Infrastructure | 8.9.1 | IT infrastructure
| 8 (r) | Electrical services | 8.9 | Communications and Infrastructure | 8.9.2 | Public Address/Audio System
| 8 (r) | Electrical services | 8.1 | Vertical Transport | 8.10.1 | Lifts
| 8 (r) | Electrical services | 8.1 | Vertical Transport | 8.10.2 | Stair-lift / platforms
| 8 (r) | Electrical services | 8.1 | Vertical Transport | 8.10.3 | Dumb waiter
| 9 (b) | Redecorations | 9.1 | External - Walls | 9.1.1 | Unpainted
| 9 (b) | Redecorations | 9.1 | External - Walls | 9.1.2 | Painted
| 9 (b) | Redecorations | 9.2 | External - Windows, doors and external joinery. | 9.2.1 | Unpainted
| 9 (b) | Redecorations | 9.2 | External - Windows, doors and external joinery. | 9.2.2 | Painted
| 9 (r) | Redecorations | 9.3 | Internal - Walls & internal joinery, windows & doors | 9.3.1 | Unpainted
| 9 (r) | Redecorations | 9.3 | Internal - Walls & internal joinery, windows & doors | 9.3.2 | Painted
| 9 (r) | Redecorations | 9.4 | Internal - Ceilings | 9.4.1 | Unpainted
| 9 (r) | Redecorations | 9.4 | Internal - Ceilings | 9.4.2 | Painted
| 10 (r) | Fixed furniture and fittings | 10.1 | Fixed Furniture & Fittings | 10.1.1 | Teaching - Science, Technology, ICT
| 10 (r) | Fixed furniture and fittings | 10.1 | Fixed Furniture & Fittings | 10.1.2 | Teaching - Sports/Multi-Purpose Use; sports/dining/assembly halls, etc
| 10 (r) | Fixed furniture and fittings | 10.1 | Fixed Furniture & Fittings | 10.1.3 | Teaching - General/Other (non science/sports)
| 10 (r) | Fixed furniture and fittings | 10.1 | Fixed Furniture & Fittings | 10.1.4 | Non-Teaching - Catering Kitchen
| 10 (r) | Fixed furniture and fittings | 10.1 | Fixed Furniture & Fittings | 10.1.5 | Non-Teaching - Toilets/ Showers/ Changing Rooms
| 10 (r) | Fixed furniture and fittings | 10.1 | Fixed Furniture & Fittings | 10.1.6 | Non Teaching - Other (circulation, cloaks, admin, storage, staff room, plant, etc)
| 11 (s) | Site area and external areas | 11.1 | Site - Underground Drainage | 11.1.1 | Generally
| 11 (s) | Site area and external areas | 11.2 | Site - Drainage Specialist Plant | 11.2.1 | Generally
| 11 (s) | Site area and external areas | 11.3 | Site - Boundary walls and fences | 11.3.1 | Brick / block / concrete / stone
| 11 (s) | Site area and external areas | 11.3 | Site - Boundary walls and fences | 11.3.2 | Timber / Metal / Chain Link
| 11 (s) | Site area and external areas | 11.3 | Site - Boundary walls and fences | 11.3.3 | Hedged or Planted Boundary
| 11 (s) | Site area and external areas | 11.3 | Site - Boundary walls and fences | 11.3.4 | No boundary
| 11 (s) | Site area and external areas | 11.3 | Site - Boundary walls and fences | 11.3.5 | "Others" boundary
| 11 (s) | Site area and external areas | 11.4 | Site - Storage Tanks | 11.4.1 | Fuel Storage Tank
| 11 (s) | Site area and external areas | 11.5 | External Areas - Ground Surface | 11.5.1 | Tarmac/Concrete roads, vehicle hardstanding's and car parks
| 11 (s) | Site area and external areas | 11.5 | External Areas - Ground Surface | 11.5.2 | Paving Slabs / Blocks/ Brick Paviour roads, hardstanding's and car parks.
| 11 (s) | Site area and external areas | 11.5 | External Areas - Ground Surface | 11.5.3 | Tarmac/ Concrete paths and non vehicle hardstanding areas
| 11 (s) | Site area and external areas | 11.5 | External Areas - Ground Surface | 11.5.4 | Paving Slabs / Blocks/ Brick Paviour paths and non vehicle hardstanding areas
| 11 (s) | Site area and external areas | 11.5 | External Areas - Ground Surface | 11.5.5 | Soft landscaping/planted areas/woodland
| 11 (s) | Site area and external areas | 11.5 | External Areas - Ground Surface | 11.5.6 | Grass
| 11 (s) | Site area and external areas | 11.5 | External Areas - Ground Surface | 11.5.7 | Artificial, soft play and specialist surfaces
| 11 (s) | Site area and external areas | 11.5 | External Areas - Ground Surface | 11.5.8 | External Swimming Pool Structure
| 11 (s) | Site area and external areas | 11.6 | Site - External Swimming Pool Plant | 11.6.1 | Generally
| 11 (s) | Site area and external areas | 11.7 | External Areas - Fences, Walls, Barriers, etc (excluding site boundary) | 11.7.1 | Brick / block / concrete / stone
| 11 (s) | Site area and external areas | 11.7 | External Areas - Fences, Walls, Barriers, etc (excluding site boundary) | 11.7.2 | Timber / Metal / Chain Link
| 11 (s) | Site area and external areas | 11.7 | External Areas - Fences, Walls, Barriers, etc (excluding site boundary) | 11.7.3 | Hedged or Planted Division
| 11 (s) | Site area and external areas | 11.8 | External Areas - Steps & Ramps (including balustrading) | 11.8.1 | Concrete/Brickwork/Stone
| 11 (s) | Site area and external areas | 11.8 | External Areas - Steps & Ramps (including balustrading) | 11.8.2 | Metal Chequerplate
| 11 (s) | Site area and external areas | 11.8 | External Areas - Steps & Ramps (including balustrading) | 11.8.3 | Timber Construction
| 11 (s) | Site area and external areas | 11.9 | External Areas - Covered Walkways and Freestanding Canopies | 11.9.1 | Generally
| 11 (s) | Site area and external areas | 11.1 | External Areas - Fixed Furniture & Equipment | 11.10.1 | Generally
| 11 (s) | Site area and external areas | 11.11 | External Areas - Freestanding Site Lighting | 11.11.1 | Generally
| 12 (s) | Playing fields | 12.1 | Playing Fields - Ground Surface | 12.1.1 | Porous Tarmac MUGA
| 12 (s) | Playing fields | 12.1 | Playing Fields - Ground Surface | 12.1.2 | Tarmac/Concrete NON MUGA
| 12 (s) | Playing fields | 12.1 | Playing Fields - Ground Surface | 12.1.3 | Paving Slabs / Blocks/ Brick Paviour
| 12 (s) | Playing fields | 12.1 | Playing Fields - Ground Surface | 12.1.4 | Artificial Grass Surface MUGA
| 12 (s) | Playing fields | 12.1 | Playing Fields - Ground Surface | 12.1.5 | All-weather, artificial and specialist surfaces NON MUGA
| 12 (s) | Playing fields | 12.1 | Playing Fields - Ground Surface | 12.1.6 | Grass
| 12 (s) | Playing fields | 12.1 | Playing Fields - Ground Surface | 12.1.7 | Woodlands/Habitat areas
| 12 (s) | Playing fields | 12.2 | Playing Fields - Fences, Walls, Barriers, etc (excluding site boundary) | 12.2.1 | Brick / block / concrete / stone
| 12 (s) | Playing fields | 12.2 | Playing Fields - Fences, Walls, Barriers, etc (excluding site boundary) | 12.2.2 | Timber / Metal / Chain Link MUGA
| 12 (s) | Playing fields | 12.2 | Playing Fields - Fences, Walls, Barriers, etc (excluding site boundary) | 12.2.3 | Timber / Metal / Chain Link NON-MUGA
| 12 (s) | Playing fields | 12.2 | Playing Fields - Fences, Walls, Barriers, etc (excluding site boundary) | 12.2.4 | Hedged or Planted Division
| 12 (s) | Playing fields | 12.3 | Playing Fields - Free standing Site Lighting | 12.3.1 | MUGA
| 12 (s) | Playing fields | 12.3 | Playing Fields - Free standing Site Lighting | 12.3.2 | Generally (NON MUGA)

## Site Level
Data Collected at Site Level
Illustrative example shown in fist line - provided for guidance only and may vary between sites, allowing for flexibility in interpretation and application.
CDC Site Reference | CDC Block Reference | Geopacial Identifier (if available) | School secondary identifier (if available) | Element No | Element | Sub Element No | Sub Element | Construction type no | Construction Type | Condition Grade A - D | Repair Priority 1 - 4 | Quantity input: unit, m2, lm, item or count | Measurement | Notes
EFA1 | EFAA | E123456 N123456 | Winter Lane Site | 11 | Site Area & External Areas | 11.1 | Site - Underground Drainage | 11.1.1 | Generally | A | 4 | m2 | 50 | Good condition

## Block Level
Data Collected at Block Level
Illustrative example shown in fist line - provided for guidance only and may vary between sites, allowing for flexibility in interpretation and application.
CDC Site Reference | CDC Block Reference | Geopacial Identifier (if available) | School secondary identifier (if available) | Element No | Element | Sub Element No | Sub Element | Construction type no | Construction Type | Basis of Assessment | Condition Grade Composition | Repair Priority | Condition Grade A - D | Repair Priority 1 - 4 | Quantity input: unit, m2, lm, item or count | Measurement | Notes
EFA1 | EFAA | E123456 N123456 | Acorn Block | 1 | Roofs | 1.1 | Structure | 1.1.1 | Flat roof structure and deck - Generally |  |  |  | A | 4 | m2 | 120 | Good Condition

## Room Level
Data Collected at Room Level
Illustrative example shown in fist line - provided for guidance only and may vary between sites, allowing for flexibility in interpretation and application.
CDC Site Reference | CDC Block Reference | Room Reference (reference NCA if available) | Geopacial Identifier (if available) | School secondary identifier (if available) | Element No | Element | Sub Element No | Sub Element | Construction type no | Construction Type | Basis of Assessment | Condition Grade Composition | Repair Priority | Condition Grade A - D | Repair Priority 1 - 4 | Quantity input: m2, lm, item or nr | Measurement | Notes
EFA1 | EFAA | G.001 | E123456 N123456 | Oak Class | 2 | Floors and Stairs | 2.1 | Floor Structure | 2.1.1 | Ground Bearing Solid Floor Structure |  |  |  | A | 4 | m2 | 60 | Good Condition