## Dft-ael-eds
Manufacturer	Model	Hardware	Detection Algorithm	Auxiliary Software	Auxiliary Hardware	CONOPS	Hold Baggage	Cargo	Standard	Date Approved	Notes
Analogic	SeleCT	10-79611-02	12.02.30		N/A	16-120373	Yes	Yes	3.1	15/07/2025
Leidos / (Previously: L3 Technologies Inc.)	MVT HR	1000-10001-HR	6.5.2Eg n200	5.3.11	No Tray		Yes	Yes	2	17/04/2012
Leidos / (Previously: L3 Technologies Inc.)	eXaminer 3DX	Part no: 200001	112.3	8.2	No Tray		Yes	Yes	3	04/09/2012
Leidos / (Previously: L3 Technologies Inc.)	eXaminer 3DX	Part no: 200001	112.3	7.1	No Tray		Yes	Yes	3	07/11/2012
Leidos / (Previously: L3 Technologies Inc.)	eXaminer 3DX	eXaminer 3DX	112.5	10.1	No Tray		Yes	Yes	3	12/07/2013
Leidos / (Previously: L3 Technologies Inc.)	eXaminer 3DX-ES	1000-11700-00	112.3	8.2	No Tray		Yes	Yes	3	27/12/2011
Leidos / (Previously: L3 Technologies Inc.)	eXaminer 3DX-ES	200001	112.5	10.1	No Tray		Yes	Yes	3	19/11/2013
Leidos / (Previously: L3 Technologies Inc.)	eXaminer SX	10-64987-01	5.11	01.01	No Tray		Yes	Yes	3	03/08/2011
Leidos / (Previously: L3 Technologies Inc.)	eXaminer SX	10-64987-01	5.14	06	No Tray		Yes	Yes	3	19/11/2013
Leidos / (Previously: L3 Technologies Inc.)	eXaminer XLB	10-70500-01	06.17	0.45	No Tray		Yes	Yes	3	27/05/2011
Leidos / (Previously: L3 Technologies Inc.)	eXaminer XLB	10-70500-01	06.17	04	No Tray		Yes	Yes	3	04/03/2013
Leidos / (Previously: L3 Technologies Inc.)	eXaminer XLB	10-70500-01	06.27	04	Tray: Crisplant - CrisBag® V5 SBT, Art. N°: 7308972		Yes	Yes	3	24/02/2015
Leidos / (Previously: L3 Technologies Inc.)	MV3D	1000-10001-D1	7.6.2 L200 / 7.6.2 S200	1.0	No Tray		Yes	Yes	3	19/11/2013
Leidos / (Previously: L3 Technologies Inc.)	MV3D	1000-10001-D1	8.0.3 S200	N/A	No Tray		Yes	Yes	3	23/05/2014
Leidos / (Previously: L3 Technologies Inc.)	MV3D	1000-10001-D1	8.4.6 L200		Tray: Vanderlande SBT, Item No. 011505-890-00001		Yes	Yes	3	08/10/2015
Leidos / (Previously: L3 Technologies Inc.)	MV3D	1000-10001-D1	8.5.2 L200		Tray: Crisplant CrisBag V5 SBT, Art. N° 7308972		Yes	Yes	3	25/10/2016
Leidos / (Previously: L3 Technologies Inc.)	MV3D	1000-10001-D1	8.5.4 L200		Tray: Fraport AG, Art. N° M020745		Yes	Yes	3	29/11/2016
Leidos / (Previously: L3 Technologies Inc.)	MV3D	1000-10001-D2	8.9.4 N200		No Tray		Yes	Yes	3	12/06/2017
Leidos / (Previously: L3 Technologies Inc.)	MV3D	1000-10001-D1	8.9.6 L200		Tray: Crisplant CrisBag V5 LBT, Art. N° 7308974		Yes	Yes	3	12/06/2017
Leidos / (Previously: L3 Technologies Inc.)	MV3D	1000-10001-D1	9.1.2 L200		Tray: Vanderlande, Item No. 001036-241-00002		Yes	Yes	3	20/02/2018
Leidos / (Previously: L3 Technologies Inc.)	MV3D	1000-10001-D1	9.0.4 S200		Tray: Crisplant CrisBag® V3 SBT, Art. No. 400B767		Yes	Yes	3	20/02/2018
Leidos / (Previously: L3 Technologies Inc.)	MV3D	1000-10001-D1	9.0.4 S100 / 9.0.5 S100		No Tray		Yes	Yes	3	20/02/2018
Leidos / (Previously: L3 Technologies Inc.)	MV3D	1000-10001-D1	9.7.5 L100		No Tray		Yes	Yes	3.1	27/02/2019
Leidos / (Previously: L3 Technologies Inc.)	MV3D	1000-10001-D2	10.1.2 H100		No Tray		Yes	Yes	3.1	15/02/2021
Leidos / (Previously: L3 Technologies Inc.)	MV3D	1000-10001-D2	10.1.2 H100		Tray: Leidos 1600mm (0190-40545-00) / Tray: Big Bear BBF11012 (0190-40703-00)		Yes	Yes	3	18/10/2023, 10/09/2024
Leidos / (Previously: L3 Technologies Inc.)	eXaminer XLB	10-70500-01	6.26	6.33	No Tray		Yes	No	3	23/05/2025
Nuctech	XT2080	XT2080	DPC 1.1 EDS 1.1		No Tray		Yes	Yes	3	04/09/2012
Nuctech	XT2080AD	XT2080AD DHV 1.0	OIS V2.0.004 Algorithm V3.1.18 / OIS V2.0.008 Algorithm V3.1.18		No Tray	V1.2	Yes	Yes	3	05/06/2015 / and / 12/10/2017 (Configuration changes)
Nuctech	XT2100	XT2100 DHV 1.0	OIS V2.0.004 Algorithm V3.1.22 / OIS V2.0.008 Algorithm V3.1.22 / OIS V2.0.004 Algorithm V3.1.23 / OIS V2.0.008 Algorithm V3.1.23		No Tray	V1.2	Yes	Yes	3	23/11/2015 / and / 12/10/2017 (Configuration changes)
Nuctech	XT2100-R	XT2100-R DHV 1.0	Algorithm V3.1.27		Beumer CrisBag V5 SBT Art No. 7308972 / Vanderlande tote No. 011505-393-00001	V1.0	Yes	Yes	3	12/10/2017 / 30/09/2022* / *Correction of entry
Nuctech	WooKong H	WooKong H DHV 2.0	V3.1.47		No Tray	V2.0 (30-11-2020)	Yes	Yes	3.0	03/07/2021
Nuctech	XT2100HS	XT2100HS	OIS V2.0.008 Algorithm V3.1.24		No Tray	V1.0	Yes	Yes	2	25/10/2016
Nuctech	XT2100HS	XT2100HS DHV 1.0 / XT2100HS DHV 1.1	OIS V2.0.008 Algorithm V3.1.26		No Tray	XT2100HS CONOPS v4.0	Yes	Yes	3	29/11/2016 / 14/12/2018(CC) / 30/09/2022(CC)
Nuctech	XT2100HS	XT2100HS DHV 1.0 / XT2100HS DHV 1.1	Algorithm V3.1.27		Vanderlande Assy Carrier No. 001036-241- / 00002	XT2100HS CONOPS v4.0	Yes	Yes	2	12/10/2017 / 14/12/2018(CC) / 30/09/2022(CC)
Nuctech	XT2100HS	XT2100HS DHV 1.0 / XT2100HS DHV 1.1	Algorithm V3.1.27		Beumer CrisBag V5 SBT Art No. 7308972 / Vanderlande tote No. 011505-393-00001	XT2100HS CONOPS v4.0	Yes	Yes	3	12/10/2017 / 14/12/2018(CC) / 30/09/2022(CC) / 30/09/2022(CE)
Nuctech	XT2100HS	XT2100HS DHV 1.0 / XT2100HS DHV 1.1	V3.1.28.2		No Tray	XT2100HS CONOPS v4.0	Yes	Yes	3.1	12/10/2017 / 14/12/2018(CC) / 30/09/2022(CC)
Nuctech	XT2100HS	XT2100HS DHV 1.0 / XT2100HS DHV 1.1	Algorithm V3.1.30 / Algorithm V3.1.31		No Tray	CONOPS XT2100HS v4.0	Yes	Yes	3.1	12/11/2019 / 30/09/2022(CC)
Nuctech	XT2100HS	XT2100HS DHV 1.0	Algorithm V3.1.32		No Tray	Vanderlande 001036-241-00002 / XT2100HS_CONOPS_v3.5_20181128	Yes	Yes	2	25/07/2019 / 30/03/2022(CE)
Nuctech	XT2100HS	XT2100HS DHV 1.0	Algorithm V3.1.32		AENA.MAD-01	XT2100HS_CONOPS_v3.5_20181115	Yes	Yes	3	25/07/2019 / 30/03/2022(CE) / 30/09/2022(CE)
Nuctech	XT2100HS	DHV 1.1	Algorithm v3.1.36		Daifuku (P/N BTSP0007001C)	CONOPS XT2100HS v4.0	Yes	Yes	3.1	17/02/2020 / 28/04/2020(CE) / 30/09/2022(CC)
Nuctech	XT2100HS	XT2100HS DHV 1.0 / XT2100HS DHV 1.1	Algorithm v3.1.37		Beumer CrisBag V5 SBT Art No. 7308972 / Vanderlande Tote 850 (P/N 011505-393- / 00001) / Vanderlande Assy Carrier (P/N 001036-241- / 00002)	CONOPS XT2100HS v4.0	Yes	Yes	3.1	08/06/2020 / 30/09/2022(CE) / 30/09/2022(CC)
Nuctech	XT2100HS	XT2100HS DHV 1.1	V3.1.38		AENA.MAD-01	XT2100HS_CONOPS_v3.5_20181115	Yes	Yes	3.1	13/04/2022 / 30/09/2022(CE)
Nuctech	XT2100Ti	XT2100Ti DHV 1.0	Algorithm V3.1.35		No tray / Vanderlande 001036-241-00002	XT2100Ti_CONOPS_v1.0_20181128	Yes	Yes	2	25/07/2019 / 30/03/2022(CE)
Nuctech	XT2100HS	DHV 1.1	Algorithm V3.1.39		Vanderlande (P/N 011505-706-00001)	CONOPS XT2100HS v4.0	Yes	Yes	3.1	08/06/2020 / 30/09/2020(CE) / 30/09/2022(CE) / 30/09/2022(CC)
Nuctech	XT2100HS	DHV 1.1	V3.1.40		Beumer CrisBag V3 SB art.no.419B629.XXX	CONOPS XT2100HS v4.0	Yes	Yes	3.1	08/06/2020 / 30/09/2020(CE) / 30/09/2022(CE) / 30/09/2022(CC)
Nuctech	XT2100HS	XT2100HS DHV 1.1	V3.1.51		No tray	XT2100HS CONOPS v4.0	Yes	Yes	3.1	22/07/2022 / 30/09/2022(CC)
Nuctech	XT2100HS	XT2100HS DHV 1.1	V3.1.56		Tray: AENA.SPC-01	XT2100HS V3.5a	Yes	Yes	3.1	12/01/2023
Nuctech	XT2100HS	XT2100HS DHV 1.1	V3.1.57		Tray: Siemens (80 2002 514)	XT2100HS V3.5a	Yes	Yes	3.1	12/01/2023
Nuctech	XT2100HS	XT2100HS DHV 3.0	V3.1.58		No tray	XT2100HS CONOPS v4.0	Yes	Yes	3.1	11/04/2023
Nuctech	XT2100L	XT2100L DHV 1.0	V3.1.58		No tray	XT2100L v1.0	Yes	Yes	3.1	11/04/2023
Nuctech	WooKong H	WooKong H DHV 2.1	V3.1.60		Vanderlande SBT (P/N: 001036-103-00001)	V3.0	Yes	Yes	3.1	10/11/2023
Nuctech	WooKong H	WooKong H DHV 2.1	V3.1.61		Vanderlande OBT (P/N: 001036-278-00001)	V3.0	Yes	Yes	3.1	10/11/2023
Nuctech	WooKong H	WooKong H DHV 2.1	V3.1.62		No Tray	V3.0	Yes	Yes	3.1	10/11/2023
Nuctech	WooKong H	WooKong H DHV 2.0	V3.1.49		No Tray	V2.0 (30-11-2020)	Yes	Yes	3.1	03/07/2021
Rapiscan	MVXR 5000	MVXR5000-Mk4	6.3		No Tray		Yes	Yes	2	18/04/2012
Rapiscan	RTT110	RTT110	1.0.22	8.13	No Tray		Yes	Yes	3	14/05/2013
Rapiscan	RTT110	RTT110	1.0.24	8.13	No Tray		Yes	Yes	3	21/02/2014
Rapiscan	RTT110	RTT110	1.0.47	8.14	Bigbear Tray (ref: BFF11012)		Yes	Yes	3	15/07/2019
Rapiscan	RTT110	RTT110	EDS v.1.4.04	8.14	No Tray		Yes	Yes	3.1	17/02/2020
Rapiscan	RTT110	RTT110	EDS v.1.0.50	8.14	No tray / Daifuku Logan BTSP0007001A / BigBear BBF11012		Yes	Yes	3	27/01/2021
Rapiscan	RTT110	RTT110	EDS 1.0.64	8.14	Tray: Beumer Crisbag V5 SBT No. 7308972 / Tray: Vanderlande OBT Tote No. 001036-278-00001		Yes	Yes	3.0	14/05/2021
Rapiscan	RTT110	D05926	1.0.67	8.14	- No tray / - HKIA Utility tray Rapiscan P/N 101038931 / - Rapiscan Standard Utility tray P/N 101049996 / - Utz Bekon tray 3-122.7000.xxxx / - TTP 238/959 tray Rapiscan P/N 101038932 / - Daifuku Logan tray BTSP0007001A / - Big Bear tray BBF11012	RTT ECAC ConOps V1.0 8 Sept 2020	Yes	Yes	3	21/12/2021 / 09/06/2023(CC) / 09/06/2023(CE)
Rapiscan	RTT110	RTT110	EDS 1.0.67	8.14	Beumer Crisbag V5 SBT No. 7308972	RTT110 ECAC ConOps V1.0 8 Sept 2020	Yes	Yes	3	09/06/2023
Rapiscan	RTT80	RTT80	1.0.12	7.02	No Tray		Yes	Yes	3	18/04/2012
Reveal Imaging / Technologies	CT-120	CT-120	5.20.3.5 / 5.20.3.3		No Tray	P/N 81080 Revision3 Draft	Yes	Yes	3	21/02/2014
Reveal Imaging / Technologies	CT-120	CT-120	5.20.3.11 / 5.20.3.12 / 5.20.3.13		No Tray	P/N 81080 Revision3 Draft	Yes	Yes	3	10/02/2016
Reveal Imaging / Technologies	CT80DR	CT80DR	4.2.14	5.3.0.123	No Tray		Yes	Yes	3	07/07/2010
Smiths Detection	HI-SCAN / 10080 EDtS	HS 10080 EDtS	02-51-09		No Tray		Yes	Yes	2	23/11/2009
Smiths Detection	HI-SCAN / 10080 EDtS	HS 10080 EDtS	07-32-09		No Tray		Yes	Yes	2	19/11/2013
Smiths Detection	HI-SCAN / 10080 EDX- / 2is	HS 10080 EDX-2is	05-80-09		No Tray		Yes	Yes	2	05/10/2010
Smiths Detection	HI-SCAN / 10080 EDX- / 2is	HS 10080 EDX-2is	06-41-09		No Tray		Yes	Yes	2	21/02/2014
Smiths Detection	HI-SCAN / 7555 aTiX	HS 7555 aTiX	06-41-09		No Tray		Yes	Yes	2	05/10/2011
Smiths Detection	HI-SCAN 10080 XCT	HS 10080 XCT	07-20-09		No Tray		Yes	Yes	3	17/05/2013
Smiths Detection	HI-SCAN 10080 XCT	HS 10080 XCT	08-27-16		Tray: Crisplant Material n°: CrisBag® V5 SBT 507B595.XXX, Art. n°: 7308972 / Tray: Crisplant Material n°: CrisBag® V5 LBT 507B596.XXX, Art. n°: 7308974 / Tray: Vanderlande Material n°: 011505-393-00001 / Tray: Vanderlande Material n°: 011505-890-00001 / Tray: FRAPORT Material n°: M020745		Yes	Yes	3	14/08/2014
Smiths Detection	HI-SCAN 10080 XCT	HS 10080 XCT	09-21-09		Tray: BigBear BBF11012		Yes	Yes	3	12/06/2017
Smiths Detection	HI-SCAN 10080 XCT	HS 10080 XCT	09-21-09		No Tray		Yes	Yes	3	20/02/2018
Smiths Detection	HI-SCAN 10080 XCT	HS 10080 XCT	09-47-17		No Tray		Yes	Yes	3.1	20/02/2018
Smiths Detection	HI-SCAN 10080 XCT	HS 10080 XCT	09-21-09		Tray: Vanderlande Ref: 001036-241-00002 / Tray: Vanderlande Ref: 001036-103-00001		Yes	Yes	3	14/12/2018 / 18/06/2021 Configuration Change
Smiths Detection	HI-SCAN 10080 XCT	HS 10080 XCT	07-05-00		No Tray	CT only detection and LS " mode or "CT only detection" mode.	Yes	Yes	3	04/09/2012 / And / 12/11/2019 (Configuration changes) / 18/04/2025 (configuration changes)
Smiths Detection	HI-SCAN 10080 XCT	HS 10080 XCT	08-28-19		Tray: Crisplant CrisBag NG Tray V3 - part n°: 400B767 and 419B629		Yes	Yes	3	23/11/2015 and / 20/02/2018 (Configuration changes)
Smiths Detection	HI-SCAN 10080 XCT	HS 10080 XCT	09-63-09		Tray : AENA.MAD-001 / No tray		Yes	Yes	3.1	25/03/2020
Smiths Detection	HI-SCAN 10080 XCT	HS 10080 XCT	09-63-09		Tray: Beumer CrisBag NG Tray V3 (P/N / 419B629) / Tray: Beumer CrisBag V5 LBT (P/N 507B596)		Yes	Yes	3	12/01/2023
Smiths Detection	HI-SCAN / 10080 XCT	HS 10080 XCT	10-32-00		Tray: AENA.MAD-001 / Tray: Vanderlande Ref: 001036-103-00001 / No Tray		Yes	Yes	3.1	11/04/2023 / 18/04/2025
Smiths Detection	HI-SCAN 10080 XCT	HS 10080 XCT	10-33-00		Tray: Beumer CrisBag NG Tray V3 (P/N 419B629) / Tray: Beumer CrisBag V5 LBT (P/N 507B596) / Tray: Vanderlande Wanne Leipzig		Yes	Yes	3.1	31/08/2023
Smiths Detection	HI-SCAN 10080 XCT	HS 10080 XCT	10-34-00		Tray: Siemens Logistics S-Tray, / No.80.2002.514-00, Rev. G and H / Tray: Beumer CrisBag 5 SBT Antistatic / (P/N 7325131) / Tray: Beumer CrisBag 5 LBT Antistatic / (P/N 7325132)		Yes	Yes	3.1	08/11/2024
Smiths Detection	HI-SCAN / 10080 XCT	HS 10080 XCT	10-40-00		Tray: Bare-on-belt / Tray: Vanderlande P/N 001036-241-00002 / Tray: AENA.MAD-001 / Tray: Beumer CrisBag NG Tray V3		Yes	Yes	3.1	29/05/2025
Smiths Detection / (Previously: Morpho Detection)	CTX 5500 DS	CTX 5500	Inspection: p 17_0_0 / Reconstruction: trecon 3.0.0		No Tray		Yes	Yes	3	26/04/2012
Smiths Detection / (Previously: Morpho Detection)	CTX 5800	CTX 5800	Inspection: 5800 ECAC SB CB 2.17.7 / Reconstruction: 3.1.2		No Tray		Yes	Yes	3	24/06/2011
Smiths Detection / (Previously: Morpho Detection)	CTX 5800	CTX 5800 with Checkerboard	Inspection: 5800 ECAC SB CB 2.18.6 / Reconstruction: 5800 CB 4.0.1		No Tray		Yes	Yes	3	10/04/2013
Smiths Detection / (Previously: Morpho Detection)	CTX 5800	CTX 5800 with Checkerboard	Inspection: 5800 ECAC SB CB 2.18.13 / Inspection: 5800 ECDMD SB CB 2.18.13 / Reconstruction: 5800 CB 4.0.1 SC		No Tray		Yes	Yes	3	19/11/2013
Smiths Detection / (Previously: Morpho Detection)	CTX 5800	CTX 5800	Inspection: 5800 ECAC SB EDM 3.0.16 / Reconstruction: 9.1.1 / Recon Post: 9.1.1		No Tray		Yes	Yes	3	25/10/2016
Smiths Detection / (Previously: Morpho Detection)	CTX 9400 Dsi	CTX 9400	Inspection: GInsp_2.3.0 ECACa / Reconstruction: Recon_2.0.2		No Tray		Yes	Yes	3	25/04/2011
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 Dsi	CTX 9800 High-Speed Configuration	Inspection: 9800 ECAC HS CB 2.18.1 / Reconstruction: 3.3.0		No Tray		Yes	Yes	3	18/04/2012
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 DSi	CTX 9800 High-Speed with Checkerboard	Inspection: 9800 ECAC HS CB 2.18.6 / Reconstruction: 9800 CB 4.0.1		No Tray		Yes	Yes	3	10/04/2013
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 DSi	CTX 9800 High-Speed with Checkerboard	Inspection: 9800 ECAC HS CB 2.18.17 / Reconstruction: 9800 CB HS 4.0.1 SC		No Tray		Yes	Yes	3	21/02/2014
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 DSi	CTX 9800 High-Speed with Checkerboard / Modified 605577-1, per DW 1365.2	Inspection: 9800 ECDMD HS CB 2.18.18 / Reconstruction: 9800 CB HS 4.0.1 SC		No Tray		Yes	Yes	3	21/02/2014
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 DSi	MD Checkerboard HS Configuration	Inspection: 9800 ECDMD HS CB 3.0.5 / Recon Prep: LibPrep 9800 HS CB DMA 6.0.0 / Reconstruction: LibRecon 9800 HS CB DMA 6.0.2		No Tray / Tray: Vanderlande long 011531-727-00001 / Tray: Beumer / Crisplant 7308972		Yes	Yes	3	05/06/2015
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 DSi	MD Checkerboard HS Configuration	Inspection: 9800 ECAC HS CB 3.0.5 / Reconstruction: LibRecon 9800 HS CB DMA 8.0.0 and DMA 8.0.2 / Recon Post: Postproc SC 8.0.0		No Tray		Yes	Yes	3	23/11/2015
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 DSi	MD Checkerboard HS Configuration	Inspection: 9800 ECDMD HS CB 3.0.5 / Reconstruction: LibRecon 9800 HS CB DMA 8.0.0 and DMA 8.0.2 / Recon Post: Postproc SC 8.0.0		No Tray		Yes	Yes	3	23/11/2015
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 DSi	MD Checkerboard HS Configuration	Inspection: 9800 ECDMD HS CB 3.0.5 / Reconstruction: LibRecon 9800 HS CB DMA 8.0.0 and DMA 8.0.2 / Recon Post: Postproc SC TUB 8.0.0		Tray: Beumer / Crisplant 400B767		Yes	Yes	3	23/11/2015
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 DSi / (0.3 m/s configuration)	CTX 9800 DSi (0.3 m/s configuration)	Inspection: ECAC HS EDM 3.1.4 / Reconstruction: 9.2.0 / Recon Post: 9.3.3		No Tray		Yes	Yes	3	12/10/2018
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 DSi / (0.5 m/s configuration)	1003589-02	Inspection: 9800 ECAC UHS EDM 3.0.18 / Reconstruction: 9.2.0 / Recon Post: 9.2.0		No Tray		Yes	Yes	3	29/11/2016
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 DSi / (0.5 m/s configuration)	1003589-03	Inspection: 9800 ECAC UHS EDM 3.1.17 / Reconstruction: 9.2.0 / Recon Post: 9.2.0		No Tray		Yes	Yes	3	14/03/2018
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 DSi / (0.5 m/s configuration)	1003589-03	Inspection: 9800 ECAC UHS EDM 3.2.0 / 9800 ECAC UHS EDM 3.2.1 / Reconstruction: 9.2.0 / Recon Post: 9.2.0		No Tray		Yes	Yes	3	31/05/2018
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 DSi / (0.5 m/s configuration)	CTX 9800 DSi (0.5 m/s configuration)	Inspection: 9800 ECAC UHS EDM 3.1.17 / Reconstruction: 9.2.0 / Recon Post: 9.3.6		VANDERLANDE tray / (Ref: 001036-241-00002)		Yes	Yes	3	14/12/2018
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 DSi / (0.5 m/s configuration)	CTX 9800 DSi Comet x-ray tube (0.5 m/s configuration)	Inspection: 9800 ECDMD UHS EDM 3.6.0 / Reconstruction: 9.2.0 / Recon Post: 9.2.0		No Tray		Yes	Yes	3.1	27/02/2019
Smiths Detection / (Previously: Morpho Detection)	CTX 9800 DSi / (0.5 m/s configuration)	CTX 9800 DSi Comet x-ray tube (0.5 m/s configuration)	Inspection: 9800 ECDMD UHS EDM 3.6.2 / Reconstruction: 9.2.0 / Recon Post: 9.2.0		No Tray		Yes	Yes	3.1	26/03/2020
Smiths Detection / (Previously: Morpho Detection)	XRD 3500	Varian MCS-7074A X-Ray Tube / CANBERRA Germanium Detector	Library “ECAC” -Nr 8.2.2.2		No Tray		Yes	Yes	3	16/04/2010

Updates to 26/02/2026