## Cover sheet
Impact of Measures: Percentage savings in the years following installation, England and Wales
National Energy Efficiency Data-Framework (NEED)
This workbook presents Accredited Official Statistics on estimated gas savings resulting from energy efficiency measures installed and electricity savings from solar panels. While the other Impact of Measures tables show estimated savings from energy efficiency measures in year 1 after installation, this workbook presents estimates showing how savings vary in subsequent years. These tables are based on installations made in the years 2011 - 2018, and estimated savings are shown for the years following installation up to and including 2024.
Contents
This cover sheet is followed by a table of contents and notes page providing additional information/ clarification for the subsequent data tables.
Publication dates
Publication date: 11 June 2026
Next update: June 2027
Methodology
The Impact of Measures estimates are based on comparing the gas consumption in properties before and after an energy efficiency measure has been installed (or electricity consumption before and after solar PV has been installed). The changes in consumption for properties which have had the given measure installed are compared with the changes in consumption for similar properties with no energy efficiency measures known to have been installed over the period in question.
The Impact of Measures estimates are weighted, which means that they have been adjusted to be representative of the entire housing stock, rather than just the properties which had the given measures installed during the given year.
For gas, only households with a valid gas consumption figure between 2,500 and 50,000 kWh have been included in this analysis. For electricity, only households with a valid electricity consumption figure between 500 and 25,000 kWh have been included.
Estimates based on small sample sizes are likely to be less reliable.
More details about how the Impact of Measures estimates and calculated can be found in:
NEED methodology note
Units and 'no data'
Percentage savings are provided which refer to positive savings. For example, a figure of 2.0% indicates a 2.0% decrease in energy consumption following the installation of the measure, compared to if the measure had not been installed.
Savings estimates are only provided from the years following installation up to and including 2024. So, for example, for 2018 installations, savings estimates could only be provided for years 1 - 6 after installation (2019 - 2024) and so years 7 - 13 are left blank.
Domestic NEED publication data and documents
Statistical releases (including data sources and methodology)
Consumption data tables
Impact of Measures data tables
Property level domestic consumption data
Contact details
Responsible statistician: Hiten Shah
energyefficiency.stats@energysecurity.gov.uk
newsdesk@energysecurity.gov.uk

## Contents
Contents
Table | Title
Table 1 | Estimated percentage savings in gas consumption in the years following installation: Condensing boilers
Table 2 | Estimated percentage savings in gas consumption in the years following installation: Solid wall insulation
Table 3 | Estimated percentage savings in gas consumption in the years following installation: Cavity wall insulation
Table 4 | Estimated percentage savings in gas consumption in the years following installation: Loft insulation
Table 5 | Estimated percentage savings in electricity consumption in the years following installation: Solar PV

## Notes
Notes
This worksheet contains one table.
Note | Description
Note 1 | Loft insulation includes roof and 'room-in-roof' insulation.

## Table 1
Table 1: Estimated percentage savings in gas consumption in the years following installation: Condensing boilers
This worksheet contains one table.
Freeze panes are active on this sheet. To turn off freeze panes select the 'View' ribbon then 'Freeze Panes' then 'Unfreeze Panes' or use [Alt W, F].
Year after installation | Sample size: 2011 installations | Sample size: 2012 installations | Sample size: 2013 installations | Sample size: 2014 installations | Sample size: 2015 installations | Sample size: 2016 installations | Sample size: 2017 installations | Sample size: 2018 installations | Median savings: 2011 installations | Median savings: 2012 installations | Median savings: 2013 installations | Median savings: 2014 installations | Median savings: 2015 installations | Median savings: 2016 installations | Median savings: 2017 installations | Median savings: 2018 installations | Mean savings: 2011 installations | Mean savings: 2012 installations | Mean savings: 2013 installations | Mean savings: 2014 installations | Mean savings: 2015 installations | Mean savings: 2016 installations | Mean savings: 2017 installations | Mean savings: 2018 installations
1 | 264464 | 263408 | 331461 | 379028 | 419552 | 522718 | 188362 | 280727 | 8.138% | 7.653% | 6.992% | 6.399% | 6.764% | 5.62% | 5.672% | 5.227% | 6.308% | 6.032% | 5.329% | 4.951% | 5.365% | 4.175% | 4.056% | 3.736%
2 | 257553 | 269892 | 312733 | 212033 | 502734 | 468427 | 166520 | 271876 | 8.006% | 7.515% | 6.792% | 6.634% | 6.27% | 5.447% | 5.461% | 4.772% | 5.989% | 5.656% | 4.875% | 4.914% | 4.353% | 3.139% | 3.246% | 2.666%
3 | 261080 | 254627 | 174273 | 249442 | 445985 | 404047 | 157192 | 225672 | 7.812% | 7.284% | 6.89% | 6.245% | 6.172% | 5.316% | 5.212% | 4.594% | 5.856% | 5.487% | 5.031% | 4.452% | 4.033% | 2.933% | 2.889% | 2.479%
4 | 245327 | 140390 | 204315 | 218150 | 383421 | 387169 | 128113 | 198349 | 7.45% | 7.405% | 6.513% | 6.199% | 5.973% | 4.893% | 5.096% | 3.616% | 5.63% | 5.716% | 4.594% | 4.433% | 3.787% | 2.543% | 2.951% | 1.982%
5 | 134128 | 165884 | 178866 | 186363 | 365992 | 306814 | 110995 | 168835 | 7.504% | 7.03% | 6.303% | 5.989% | 5.615% | 4.636% | 4.108% | 3.836% | 5.806% | 5.357% | 4.411% | 4.171% | 3.446% | 2.398% | 2.511% | 2.233%
6 | 158169 | 145123 | 151983 | 175961 | 289050 | 261489 | 92842 | 149473 | 7.116% | 6.753% | 6.108% | 5.734% | 5.222% | 3.629% | 4.324% | 3.621% | 5.391% | 5.101% | 4.23% | 3.946% | 3.23% | 1.929% | 2.714% | 2.021%
7 | 137839 | 122930 | 142929 | 137647 | 245252 | 215624 | 80956 |  | 6.785% | 6.424% | 5.751% | 5.213% | 4.064% | 3.594% | 4.091% |  | 5.13% | 4.843% | 3.836% | 3.558% | 2.545% | 1.851% | 2.484%
8 | 116603 | 115454 | 111086 | 116011 | 200546 | 186528 |  |  | 6.534% | 6.157% | 5.164% | 4.136% | 4.13% | 3.524% |  |  | 4.958% | 4.544% | 3.444% | 2.942% | 2.695% | 1.912%
9 | 108742 | 89223 | 93017 | 93594 | 172727 |  |  |  | 6.24% | 5.391% | 3.957% | 4.122% | 3.884% |  |  |  | 4.647% | 3.99% | 2.837% | 2.927% | 2.407%
10 | 83540 | 73907 | 74118 | 79785 |  |  |  |  | 5.544% | 4.014% | 4.003% | 3.995% |  |  |  |  | 4.165% | 3.087% | 2.878% | 2.816%
11 | 68954 | 58401 | 62399 | [5 empty] | 3.964% | 4.113% | 3.782% | [5 empty] | 3.117% | 3.111% | 2.661%
12 | 54398 | 48657 | [6 empty] | 3.945% | 3.744% | [6 empty] | 3.077% | 2.849%
13 | 45030 | [7 empty] | 3.779% | [7 empty] | 2.959%

## Table 2
Table 2: Estimated percentage savings in gas consumption in the years following installation: Solid wall insulation
This worksheet contains one table.
Freeze panes are active on this sheet. To turn off freeze panes select the 'View' ribbon then 'Freeze Panes' then 'Unfreeze Panes' or use [Alt W, F].
Year after installation | Sample size: 2011 installations | Sample size: 2012 installations | Sample size: 2013 installations | Sample size: 2014 installations | Sample size: 2015 installations | Sample size: 2016 installations | Sample size: 2017 installations | Sample size: 2018 installations | Median savings: 2011 installations | Median savings: 2012 installations | Median savings: 2013 installations | Median savings: 2014 installations | Median savings: 2015 installations | Median savings: 2016 installations | Median savings: 2017 installations | Median savings: 2018 installations | Mean savings: 2011 installations | Mean savings: 2012 installations | Mean savings: 2013 installations | Mean savings: 2014 installations | Mean savings: 2015 installations | Mean savings: 2016 installations | Mean savings: 2017 installations | Mean savings: 2018 installations
1 | 2219 | 4807 | 10682 | 12453 | 11137 | 6871 | 883 | 743 | 16.28% | 18.13% | 11.21% | 13.87% | 14.8% | 15.62% | 19.11% | 18.67% | 15.11% | 17.75% | 11.1% | 13.45% | 14.46% | 15.3% | 18.68% | 17.62%
2 | 2033 | 4612 | 9622 | 5935 | 12794 | 5662 | 706 | 691 | 17.1% | 16.1% | 10.66% | 15.21% | 16.03% | 15.27% | 20.1% | 19.75% | 16.94% | 16.08% | 10.59% | 14.83% | 15.87% | 16.02% | 18.79% | 18.86%
3 | 1936 | 4117 | 4571 | 6744 | 10558 | 4572 | 648 | 525 | 14.78% | 17.28% | 13.36% | 15.48% | 16.74% | 16.06% | 19.43% | 18.47% | 14.44% | 17.36% | 11.87% | 15.37% | 16.48% | 15.88% | 17.18% | 17.53%
4 | 1679 | 1967 | 4976 | 5579 | 8424 | 4157 | 476 | 471 | 15.56% | 20.6% | 13.85% | 16.39% | 16.22% | 16.45% | 17.65% | 14.52% | 14.84% | 19.51% | 13.3% | 16.03% | 16.2% | 16.7% | 15.95% | 13.68%
5 | 770 | 2152 | 4080 | 4439 | 7667 | 3108 | 407 | 385 | 17.6% | 20.59% | 14.57% | 15.78% | 16.35% | 14.84% | 15.2% | 15.03% | 17.48% | 19.43% | 13.61% | 15.78% | 16.43% | 15.1% | 15.33% | 14.88%
6 | 860 | 1763 | 3182 | 4029 | 5586 | 2592 | 320 | 315 | 17.91% | 19.66% | 12.3% | 16.53% | 15.21% | 11.51% | 14.9% | 16.31% | 17.65% | 18.63% | 12.05% | 16.67% | 15.5% | 12.1% | 15.34% | 16.07%
7 | 717 | 1404 | 2965 | 2885 | 4599 | 1932 | 253 |  | 16.26% | 19.3% | 13.76% | 15.5% | 13.67% | 13.52% | 17.64% |  | 17.02% | 18.41% | 12.92% | 15.69% | 13.84% | 14.23% | 16.43%
8 | 544 | 1318 | 2084 | 2352 | 3500 | 1544 |  |  | 14.71% | 19.64% | 11.79% | 13.35% | 13.96% | 13.52% |  |  | 15.06% | 19.11% | 11.69% | 13.43% | 16% | 13.8%
9 | 511 | 924 | 1749 | 1767 | 2893 |  |  |  | 14.48% | 19.52% | 10.4% | 13.05% | 13.68% |  |  |  | 15.03% | 19.41% | 9.934% | 13.38% | 13.63%
10 | 360 | 796 | 1344 | 1431 |  |  |  |  | 14.31% | 16.76% | 13.26% | 13.02% |  |  |  |  | 13.78% | 17.06% | 12.55% | 13.05%
11 | 283 | 609 | 1076 | [5 empty] | 12.25% | 15.73% | 12.42% | [5 empty] | 11.76% | 16.02% | 13.02%
12 | 219 | 503 | [6 empty] | 15.72% | 15.13% | [6 empty] | 15.75% | 15.05%
13 | 167 | [7 empty] | 14.35% | [7 empty] | 13.74%

## Table 3
Table 3: Estimated percentage savings in gas consumption in the years following installation: Cavity wall insulation
This worksheet contains one table.
Freeze panes are active on this sheet. To turn off freeze panes select the 'View' ribbon then 'Freeze Panes' then 'Unfreeze Panes' or use [Alt W, F].
Year after installation | Sample size: 2011 installations | Sample size: 2012 installations | Sample size: 2013 installations | Sample size: 2014 installations | Sample size: 2015 installations | Sample size: 2016 installations | Sample size: 2017 installations | Sample size: 2018 installations | Median savings: 2011 installations | Median savings: 2012 installations | Median savings: 2013 installations | Median savings: 2014 installations | Median savings: 2015 installations | Median savings: 2016 installations | Median savings: 2017 installations | Median savings: 2018 installations | Mean savings: 2011 installations | Mean savings: 2012 installations | Mean savings: 2013 installations | Mean savings: 2014 installations | Mean savings: 2015 installations | Mean savings: 2016 installations | Mean savings: 2017 installations | Mean savings: 2018 installations
1 | 123377 | 140420 | 56906 | 70552 | 41274 | 27805 | 7391 | 5926 | 8.361% | 7.731% | 6.115% | 8.423% | 8.079% | 7.831% | 7.736% | 8.924% | 7.726% | 7.198% | 5.798% | 7.814% | 7.325% | 6.982% | 6.591% | 8.354%
2 | 116040 | 137553 | 51824 | 35137 | 46593 | 23055 | 5909 | 5203 | 8.222% | 7.751% | 6.447% | 8.605% | 8.149% | 7.868% | 8.408% | 8.995% | 7.607% | 7.26% | 6.152% | 8.035% | 7.307% | 6.817% | 7.285% | 8.478%
3 | 112871 | 125332 | 26454 | 39901 | 38703 | 18473 | 5055 | 4035 | 8.051% | 7.88% | 6.311% | 8.63% | 8.221% | 7.95% | 8.593% | 9.054% | 7.512% | 7.471% | 6.093% | 8.003% | 7.419% | 6.868% | 7.314% | 8.447%
4 | 102438 | 64133 | 30009 | 33367 | 31270 | 16414 | 3775 | 3348 | 8.033% | 7.755% | 6.482% | 8.697% | 8.347% | 7.975% | 7.253% | 7.673% | 7.581% | 7.488% | 6.305% | 8.136% | 7.475% | 6.957% | 6.284% | 7.256%
5 | 52330 | 71875 | 25146 | 27117 | 27853 | 12099 | 3068 | 2723 | 7.749% | 7.742% | 6.573% | 8.703% | 8.354% | 7.184% | 6.026% | 8.83% | 7.398% | 7.462% | 6.471% | 8.09% | 7.546% | 6.249% | 5.284% | 8.284%
6 | 58626 | 60292 | 20442 | 24383 | 20599 | 9692 | 2425 | 2272 | 7.75% | 7.752% | 6.38% | 8.787% | 7.578% | 6% | 6.231% | 8.922% | 7.44% | 7.545% | 6.291% | 8.148% | 6.783% | 5.356% | 5.465% | 8.756%
7 | 49060 | 49065 | 18473 | 18068 | 16294 | 7530 | 1986 |  | 7.836% | 7.687% | 6.661% | 8.177% | 6.253% | 6.264% | 6.581% |  | 7.663% | 7.496% | 6.592% | 7.74% | 5.739% | 5.47% | 5.851%
8 | 40079 | 44014 | 13852 | 14566 | 12741 | 6165 |  |  | 7.785% | 7.872% | 6.547% | 7.447% | 6.487% | 6.258% |  |  | 7.589% | 7.76% | 6.507% | 7.052% | 5.931% | 5.725%
9 | 35659 | 33257 | 11129 | 11384 | 10432 |  |  |  | 7.943% | 7.63% | 5.905% | 7.24% | 6.849% |  |  |  | 7.712% | 7.653% | 5.976% | 6.927% | 6.255%
10 | 26841 | 26632 | 8802 | 9513 |  |  |  |  | 7.752% | 6.465% | 5.895% | 7.052% |  |  |  |  | 7.689% | 6.653% | 5.991% | 6.751%
11 | 21435 | 21144 | 7317 | [5 empty] | 6.517% | 6.411% | 5.95% | [5 empty] | 6.548% | 6.569% | 6.151%
12 | 16905 | 17708 | [6 empty] | 6.285% | 6.625% | [6 empty] | 6.235% | 6.797%
13 | 14199 | [7 empty] | 6.275% | [7 empty] | 6.257%

## Table 4
Table 4: Estimated percentage savings in gas consumption in the years following installation: Loft insulation [Note 1]
This worksheet contains one table.
Freeze panes are active on this sheet. To turn off freeze panes select the 'View' ribbon then 'Freeze Panes' then 'Unfreeze Panes' or use [Alt W, F].
Year after installation | Sample size: 2011 installations | Sample size: 2012 installations | Sample size: 2013 installations | Sample size: 2014 installations | Sample size: 2015 installations | Sample size: 2016 installations | Sample size: 2017 installations | Sample size: 2018 installations | Median savings: 2011 installations | Median savings: 2012 installations | Median savings: 2013 installations | Median savings: 2014 installations | Median savings: 2015 installations | Median savings: 2016 installations | Median savings: 2017 installations | Median savings: 2018 installations | Mean savings: 2011 installations | Mean savings: 2012 installations | Mean savings: 2013 installations | Mean savings: 2014 installations | Mean savings: 2015 installations | Mean savings: 2016 installations | Mean savings: 2017 installations | Mean savings: 2018 installations
1 | 215311 | 318193 | 137738 | 34048 | 26657 | 12497 | 2354 | 2031 | 2.487% | 2.487% | 1.751% | 3.432% | 2.594% | 1.435% | 4.515% | 3.472% | 2.324% | 2.278% | 1.623% | 2.735% | 1.772% | 0.3319% | 3.932% | 2.357%
2 | 199389 | 302202 | 123334 | 16175 | 29672 | 10462 | 1900 | 1785 | 2.556% | 2.451% | 1.916% | 3.328% | 2.18% | 0.6725% | 4.216% | 3.13% | 2.468% | 2.236% | 1.76% | 2.239% | 1.077% | -1.715% | 2.953% | 2.145%
3 | 189058 | 270681 | 60316 | 17882 | 24957 | 8391 | 1668 | 1369 | 2.429% | 2.385% | 1.929% | 3.444% | 2.004% | 0.2282% | 3.254% | 3.439% | 2.366% | 2.181% | 1.736% | 2.138% | 0.4745% | -2.42% | 1.793% | 2.762%
4 | 169298 | 134082 | 68794 | 14785 | 20229 | 7482 | 1253 | 1161 | 2.323% | 2.322% | 1.928% | 3.26% | 1.917% | -0.3522% | 3.352% | 2.184% | 2.304% | 2.083% | 1.707% | 1.853% | 0.4785% | -3.21% | 1.457% | 1.345%
5 | 84073 | 151406 | 57291 | 11868 | 18187 | 5499 | 1002 | 937 | 2.22% | 2.348% | 1.75% | 3.396% | 1.722% | -0.2496% | 2.238% | 1.823% | 2.222% | 2.082% | 1.47% | 1.894% | 0.1892% | -3.262% | 1.155% | 0.4269%
6 | 94644 | 125974 | 46503 | 10754 | 13547 | 4394 | 796 | 795 | 2.19% | 2.262% | 1.753% | 3.322% | 1.661% | 0.6065% | 1.999% | 1.298% | 2.151% | 1.983% | 1.518% | 1.749% | 0.05694% | -1.821% | 0.803% | 0.4647%
7 | 78513 | 101816 | 42074 | 7936 | 10912 | 3368 | 645 |  | 2.128% | 2.069% | 1.857% | 2.989% | 1.833% | 0.1721% | 2.646% |  | 2.055% | 1.781% | 1.611% | 1.365% | 0.8003% | -2.01% | 1.646%
8 | 63532 | 91657 | 31167 | 6450 | 8419 | 2802 |  |  | 2.029% | 2.068% | 1.727% | 2.473% | 1.183% | -0.4138% |  |  | 1.979% | 1.691% | 1.385% | 1.078% | 0.08602% | -2.493%
9 | 56826 | 67897 | 25091 | 4912 | 6942 |  |  |  | 2.046% | 1.649% | 1.673% | 2.88% | 1.06% |  |  |  | 1.898% | 1.256% | 1.422% | 1.435% | -0.02401%
10 | 42091 | 54312 | 19367 | 4018 |  |  |  |  | 1.621% | 1.312% | 1.754% | 3.468% |  |  |  |  | 1.441% | 1.049% | 1.359% | 1.933%
11 | 33707 | 41860 | 15894 | [5 empty] | 1.046% | 1.128% | 1.71% | [5 empty] | 0.9022% | 0.6968% | 1.466%
12 | 25789 | 34295 | [6 empty] | 1.04% | 1.275% | [6 empty] | 0.7598% | 0.8066%
13 | 21182 | [7 empty] | 0.8653% | [7 empty] | 0.6499%

## Table 5
Table 5: Estimated percentage savings in electricity consumption in the years following installation: Solar PV
This worksheet contains one table.
Freeze panes are active on this sheet. To turn off freeze panes select the 'View' ribbon then 'Freeze Panes' then 'Unfreeze Panes' or use [Alt W, F].
Year after installation | Sample size: 2011 installations | Sample size: 2012 installations | Sample size: 2013 installations | Sample size: 2014 installations | Sample size: 2015 installations | Sample size: 2016 installations | Sample size: 2017 installations | Sample size: 2018 installations | Median savings: 2011 installations | Median savings: 2012 installations | Median savings: 2013 installations | Median savings: 2014 installations | Median savings: 2015 installations | Median savings: 2016 installations | Median savings: 2017 installations | Median savings: 2018 installations | Mean savings: 2011 installations | Mean savings: 2012 installations | Mean savings: 2013 installations | Mean savings: 2014 installations | Mean savings: 2015 installations | Mean savings: 2016 installations | Mean savings: 2017 installations | Mean savings: 2018 installations
1 | 62961 | 51240 | 32839 | 44699 | 57782 | 6219 | 3961 | 4906 | 13.08% | 12.63% | 15.87% | 14.09% | 14.3% | 13.42% | 13.18% | 14.43% | 12.39% | 11.72% | 14.8% | 12.96% | 12.96% | 11.22% | 10.41% | 11.89%
2 | 60130 | 46559 | 30665 | 41636 | 47398 | 5154 | 3237 | 4028 | 13.52% | 12.18% | 13.57% | 13.59% | 13.42% | 12.46% | 11.37% | 11.16% | 12.9% | 11.22% | 12.72% | 12.66% | 12.16% | 10.05% | 7.919% | 8.006%
3 | 55230 | 43427 | 28682 | 34427 | 39106 | 4148 | 2684 | 3421 | 12.66% | 10.13% | 13.19% | 12.95% | 12.68% | 11.7% | 8.458% | 7.983% | 12.02% | 9.386% | 12.52% | 12.2% | 11.43% | 8.526% | 4.787% | 4.626%
4 | 51810 | 40079 | 23850 | 28625 | 31364 | 3396 | 2210 | 2863 | 10.96% | 9.681% | 12.41% | 12.67% | 12.29% | 9.234% | 5.979% | 6.828% | 10.66% | 9.071% | 11.63% | 12.01% | 11.13% | 5.771% | 2.172% | 3.883%
5 | 48007 | 33769 | 20127 | 23121 | 25759 | 2811 | 1826 | 2253 | 10.47% | 9.197% | 12.11% | 12.35% | 11.45% | 7.85% | 5.662% | 5.705% | 10.25% | 8.763% | 11.53% | 11.74% | 10.32% | 3.928% | 2.542% | 2.534%
6 | 41361 | 28581 | 16455 | 18999 | 21322 | 2251 | 1424 | 1908 | 10.01% | 9.319% | 11.68% | 11.35% | 9.719% | 7.044% | 4.302% | 3.627% | 9.943% | 8.923% | 11.19% | 10.94% | 8.69% | 4.725% | 1.239% | -0.7867%
7 | 35838 | 23276 | 13516 | 15665 | 17022 | 1749 | 1203 |  | 9.785% | 9.056% | 10.72% | 9.593% | 8.753% | 6.101% | 3.148% |  | 9.968% | 8.85% | 10.58% | 8.982% | 7.767% | 2.64% | -0.09563%
8 | 29847 | 19076 | 11119 | 12457 | 13289 | 1502 |  |  | 9.49% | 7.81% | 9.274% | 8.876% | 7.308% | 4.718% |  |  | 9.6% | 7.142% | 9.485% | 7.941% | 6.066% | 1.746%
9 | 24625 | 15870 | 8852 | 9684 | 11164 |  |  |  | 7.924% | 6.561% | 9.317% | 7.532% | 7.431% |  |  |  | 8.141% | 6.336% | 9.02% | 6.634% | 6.382%
10 | 20779 | 12832 | 6864 | 8042 |  |  |  |  | 6.601% | 6.349% | 7.862% | 7.26% |  |  |  |  | 6.786% | 6.187% | 7.147% | 6.231%
11 | 16926 | 10150 | 5925 | [5 empty] | 6.443% | 5.233% | 7.821% | [5 empty] | 6.492% | 5.091% | 7.155%
12 | 13207 | 8544 | [6 empty] | 5.767% | 5.57% | [6 empty] | 5.876% | 5.303%
13 | 11330 | [7 empty] | 5.408% | [7 empty] | 5.381%