Emergency Response Cooperation Plans (ERCoP):
Template for Construction, Operations and Decommissioning phases

# Owner: Offshore Energy Lead, HM Coastguard, MCA
Version release: July 2026

Next review date: July 2028
Original release: August 2019

Insert Date: 26 April 2021

Contents
Revision	Date	Section	Description
2.0	05/08/2021	All	New format / Updated HMCG nomenclature / Added additional police content / Added clarifications / Requirement for the EAC to be sent as part of the ERCoP AND as a separate document / Two new boxes added to the EAC
3.0	07/07/2026	1 / 1.1.7 / 4.3.2 / 4.4.1 / 7.3.1 / Appendix A	Clarification on liaising responsibilities of the duty holder / Updates must be made with the MCA prior to implementation / Additional text added clarifying that medical advice is required before resource tasking / Confirmation that 6 weeks’ notice required for exercises / Additions for floating wind / Modified flow for ERCoP approval / Change of e-mail address to offshoreenergy.notifications@mcga.gov.uk throughout

# Introduction
# This document contains information relating to the emergency response planning for at-sea renewable energy installations and requirements for SAR operations in and around OREIs. Also included are high level details related to counter pollution and salvage as well as policing response. Duty holders are required to use this information in formulating their emergency response plans and site safety management systems. It should be noted that new/amended ERCoPs must be developed and in place for the construction, operation and decommissioning phases of any OREI development.
# Any contact information contained in the ERCoP and provided to the Maritime and Coastguard Agency (MCA) will be used solely for the purposes of emergency response as part of the Agency’s functions, which may include sharing with SAR resources during an incident or with the relevant police force(s). The information will be kept secure and will not be used for any other purpose without their permission. The information will be stored by the MCA until the duty holder provides updated information or the development ceases to exist, at which point the information will be deleted.
# As industry moves towards operating multiple developments from a single location and more developments are being built adjacent to one and other, it is important that this is reflected within the ERCoP. The MCA therefore expects all new and amended ERCoPs to follow this template. This allows for multiple developments to be contained within one ERCoP and to highlight where one development may have a direct impact on another, but it may also be used for single developments.
A separate template has been created for test sites, where multiple developers may deploy their devices for short to medium terms. A further template is also available for smaller projects such as aquaculture. Should you have any doubt regarding which template to use, please contact the HM Coastguard offshore energy team.
Given the uncertainties around the decommissioning process, the MCA requests that duty holders moving towards this phase prepare an ERCoP based on the construction phase, but that early and detailed discussion with HM Coastguard’s offshore energy team is established to ensure the most relevant information is captured.
# This plan template is subject to change in light of experience and feedback and the MCA reserves the right to request additional information be included in individual ERCoPs as required/necessary. Potential users should contact the MCA before making use of the plan.
Reference should also be made to Marine Guidance Notice (MGN) 654 and 372 plus Annex 5 to MGN 654.
Emergency Response Co-operation Plans are to be completed initially in discussion with HM Coastguard, part of the Maritime and Coastguard Agency (contact details below). Questions about the process should be directed to the following contact:
These contacts must not be used for notification of any emergency.
HM Coastguard Offshore Energy Team	Navigation Safety Branch
T: +44 (0)20 381 72070	+44 (0)20 381 72426
E: oelo@mcga.gov.uk	E: navigationsafety@mcga.gov.uk

1. Template guidance
  1. Note for completing an ERCoP
    1. The duty holder is encouraged to liaise with the HM Coastguard Offshore Energy Team prior to commencing ERCoP development.
    2. The duty holder is responsible for engaging with local police contacts and confirming they are content with the relevant content. The HM Coastguard Offshore Energy Team will not complete this liaison on the duty holder’s behalf.
    3. Where a duty holder is required to engage with a licensing authority prior to submitting and/or updating an ERCoP, it is highly recommended that engagement is made with the MCA first, to ensure timely amendments can be made and agreed between the MCA and duty holder, prior to seeking formal approval.
    4. The guidance contained within this template should not be included in the final ERCoP. Only content from the title page is required.
    5. It is acceptable to submit an ERCoP in a duty holder’s own style but the ERCoP created and submitted by the duty holder must follow the layout of this template. This is to ensure ease of use and location of important information during operations.
    6. All construction phase ERCoPs must be submitted to and approved by the MCA before offshore construction operations commence.
    7. Any expected updates to key information e.g. contact numbers, change in emergency response contractors, must be updated within the ERCoP and agreed with the MCA in time for the actual changes to be implemented.
    8. The template is designed to guide a developer/operator through the required sections and summaries of the information required for each phase is included below.
    9. Where developments are adjacent to one another (e.g. windfarm extensions), every effort should be made to combine the developments into one ERCoP. Where this is not possible, each development must clearly identify relevant details of the other.
    10. Each development contained within the Hub ERCoP must include an Emergency Action Card (EAC), completed and in a format consistent with that in this document, or with slight modifications only on approval from the MCA.
    11. The EAC, or multiple EACs in the case of a hub, must be supplied to the MCA both within the main ERCoP (as per this template) and as a standalone document, ensuring version numbers and naming convention match (for version control).
    12. 24-hour emergency contact numbers must be clearly identifiable in the EAC and also in the relevant section of the ERCoP. Other telephone numbers can be included in the ERCoP, so long as they do not detract from the emergency numbers.
    13. Emergency contacts (persons or centres) must be available at all times and the numbers may be routinely tested by HM Coastguard at any reasonable time to test compliance with the ERCoP requirements.
    14. When completing an ERCoP, as much information, diagrams and pictures as possible should be included within the relevant headings. It is accepted that during the construction phase, some of the detail will not be known at the time of submission. This is accepted by the MCA but as soon as this information becomes available, it should be sent to the MCA in the form of an ERCoP update.
    15. Not all information requested in Section 7 will be applicable to each phase (e.g. some will only be required in construction, not operations and vice versa), but where indicated, the detail should be included.
    16. Where developments share vessels, OREI or other emergency arrangements, these must be clearly outlined in the relevant sections of the ERCoP.
    17. Layout diagrams should be of high quality and of suitable resolution so the information can be easily read (including when ‘zooming in’ to diagrams, maps, plans, etc.)
    18. All positions listed in the ERCoP must be in commonly understood maritime position coordinates format i.e. DD°MM.MM’ N DDD°MM.MM’ E/W.
    19. All heights must be listed in both metres and feet.
    20. Items in italics are guidance and advice for completing the ERCoP and are not to be included in the final ERCOP document.
    21. Once the final draft of the ERCoP has been agreed by HM Coastguard’s offshore energy team, a final (clean) version plus a separate document with just the EAC(s), in PDF format, should be sent to oelo@mcga.gov.uk so it can be stored on the HM Coastguard network drive ready for operational use, and sent to the local police contact.
    22. All ERCoPs should be reviewed at least annually, and an update sent to the above address, capturing any required changes and clearly showing the review date. During any update, and where possible, any existing ERCoPs should be refreshed in line with the most recent version of this template document.
  2. Construction ERCoPs
    1. Since developments under construction are most likely going to have separate emergency response arrangements and contact information to those which are operational, a standalone ERCoP may be more suitable. If a development under construction is being coordinated by a centre which also has operational developments, then it may be suitable to combine it into an operational ERCoP.
    2. Where a development is being constructed adjacent to, or in close proximity to, an existing operational windfarm, details of the operational windfarm must be included in the construction ERCoP.
  3. OFTO
    1. Sections are contained within the ERCoP template to include information on OFTO, once relevant assets are divested. Depending on the agreement reached, the OFTO (or nominated contractor) may be responsible for emergency response and therefore it may be necessary to discuss with the MCA how best to provide detailed information on these arrangements.
  4. ERCoP content
The ERCoP should include the following sections (nothing earlier in this template document is required)
    1. Title page – title page must include hyperlinks to the relevant EAC(s), development specific information and list of OREI locations.
    2. Organisational information – relevant to the development or developments.
    3. Search and Rescue Information – reference information regarding UK SAR as detailed in this template.
    4. Support arrangements – generic plans for onshore support for all developments.
    5. Additional information – includes details of SAR terminology and policing responsibilities.
    6. Development specific information – must include an initial page listing a hyperlink for each development ERCoP.
    7. EAC for each development – in set format including a bookmark linked from the title page, and also as a standalone document with matching dates/version numbers.
    8. Deviation from this format is only acceptable upon justification being agreed with the MCA.

ERCoP template
Content
Title pages
Images and duty holder logos can be added but the following title should be included.
Construction Phase Emergency Response Cooperation Plan between

[OREI Duty Holder Name] and HM Coastguard for [development name]

Insert hyperlink for EAC titled [development name] EAC, the ERCoP (i.e. development specific information) and a link to the OREI locations.

Date	Reviewed by	Updates required?	Sent to CG?

Images and duty holder logos can be added but the following title should be included.

Operations Phase Emergency Response Cooperation Plan between

[OREI Duty Holder Name] and HM Coastguard for [development name or list of included developments]

Insert hyperlinks for each EAC titled [development name] EAC, a hyperlink for each development ERCoP (i.e. development specific information) and a link to the OREI locations for each development.

Date	Reviewed by	Updates required?	Sent to CG?

1. Organisational information
  1. [Insert duty holder name]
    1. Role and Responsibilities of [the duty holder] in an Emergency:
In the event of an emergency on an OREI or at sea involving its personnel and/or vessels, [the duty holder] is responsible for providing immediate rescue and first aid medical response to a level appropriate to the circumstances of the OREI and its location. [the duty holder] is also responsible for immediately alerting HM Coastguard of an emergency and for liaising and cooperating with the relevant MRCC to resolve the emergency.
[the duty holder] is also obliged, under international maritime agreements and practices e.g. SOLAS convention, to provide assistance, where it is possible to do so, to other vessels or persons in danger at sea nearby or within the OREI field or area and/or when requested to assist by the relevant MRCC.
[the duty holder] may also need to provide its own vessel(s) and other assets to respond or react to other maritime emergencies e.g. pollution or a drifting vessel which presents an actual or possible threat to the safety of life or property in the OREI field.
Further information is contained in “Offshore Renewable Energy Installations: Guidance on Requirements and Operational Considerations for Search and Rescue and Emergency Response” available on the MCA website.
    1. [the duty holder] Contact information:
Any contact information contained in the ERCoP and provided to the Maritime and Coastguard Agency (MCA) will be used solely for the purposes of emergency response as part of the Agency’s functions, which may include sharing with SAR resources during an incident or with the relevant police force(s). The information will be kept secure and will not be used for any other purpose without their permission. The information will be stored by the MCA until the duty holder provides updated information or the development ceases to exist, at which point the information will be deleted.
Insert Here Name, address and contact numbers for:
    - Full Emergency Response information including ER organisation Tiers/arrangements and where the main emergency response will be run from. If this is from an overseas facility, it should detail how virtual access will be provided to the emergency services.
    - Office responsible for the operations of the development(s), or taking place during the construction phase
    - National Office
    - Contact information for key roles/individuals including HR representative and media response
    - Contact information for any key contractors during the construction phase
    - Details of any Offshore Transmission Owner (OFTO) – emergency response arrangements contained in section 7.14
    - Owner/author of the ERCoP
  1. Liaison arrangements between [the duty holder] and HM Coastguard
    1. Insert here how [the duty holder] and HM Coastguard are to work together in the event of an emergency, including the provision of that information which will only be available at the time e.g. MRCC will inform [the duty holder] emergency contact and agree to send a liaison officer to the MRCC or, to set up agreed communications between the MRCC and [the duty holder] emergency response centre.
    2. Insert here an explanation of how specific information, if it is necessary, will be exchanged or reported at the time of an incident, including details of persons involved, checklists to be used, SAR facilities and specialist support available at the time, etc.
    3. Insert here the arrangements for sending duty holder liaison officer(s) to a MRCC, to assist with the emergency response and with access to supporting documentation concerning [the duty holder] and the installation e.g. diagrams, pictures and resource information.
    4. In certain circumstances (e.g. [the duty holder] are remote from a MRCC) and where appropriate, the MRCC may elect to send a local Coastguard Officer to the relevant duty holder coordination centre to act as a liaison representative.
  2. Liaison arrangements between [the duty holder] and [police force]
    1. Insert here how the duty holder and the relevant police force are to work together in the event of an emergency, including the provision of that information which will only be available at the time e.g. the duty holder will inform the relevant police force who may agree to send a liaison officer to the duty holder coordination centre or, to set up agreed communications between the police force and the duty holder emergency response centre.
    2. Insert here an explanation of how specific information, if it is necessary, will be exchanged or reported at the time of an incident, including details of persons involved, where the emergency response is being managed from and HR arrangements, etc. This should also include how the provision of a POB list/NOK information would be shared electronically/physically with the police.
    3. Where appropriate, the police may elect to send an Incident Liaison Officer (ILO) to the relevant duty holder coordination centre to act as a liaison representative.
2. Search and Rescue Information
  1. The Maritime Rescue Coordination Centre (MRCC)
    1. Role and Responsibility of the MRCC:
As the UK maritime emergency service, HM Coastguard's MRCCs are responsible for the coordination of all civil search and rescue operations within the UK Search and Rescue Region (UKSRR). This includes the mobilisation and tasking of adequate resources to respond to persons at risk of death or injury at sea or on the cliffs or shoreline of the UK.
The MRCC is also the first point of contact for any reports of vessels in difficulties e.g. engine failures, or pollution or maritime security incidents or concerns.
    1. Communicating with HM Coastguard:
HM Coastguard uses a network of remote aerials to ensure VHF coverage from the coast to nominally up to 30 nautical miles offshore. HM Coastguard maintains a radio distress watch on VHF and MF DSC. The primary means of distress alerting on VHF is by DSC channel 70 but a listening watch is also kept on VHF channel 16.
    1. Radio Communications
All MRCCs can operate on channels 6, 10, 16, 23, 67, 70 DSC, 62, 63, 64, and on two private SAR coordination channels, 0 and 99. Channels 62, 63 and 64 are duplex and are mainly used for medical link calls and Maritime Safety Information (MSI) broadcasts but can also be used for SAR. HM Coastguard is not formally licensed to use other VHF Marine Band channels but may use them in extremis.
Medium Frequency (MF) frequencies used by HM Coastguard include 2187.5kHz (DSC), 2182kHz (MF distress, urgency and safety working frequency) and 2596kHz (HM Coastguard’s primary MF working frequency although a range of other frequencies are used by individual MRCCs for SAR and general communications. If HMCG requires any development or service craft to use MF radio (where that is required or fitted), the relevant frequency will be informed to the craft at the time.
    1. MRCC Contact Information
Please see section 7.17 for specific contact details for the most appropriate MRCC for the development.
    1. Reporting Incident Position/Location
It should be noted that the position of any incident (the OREI or other location) is a vital part of the incident response process and should be reported as part of initial incident details. If the incident is on a WTG, the precise coordinates (in latitude and Longitude) should be passed to HM Coastguard so that any responding rescue unit may use the position for precision navigation purposes.
  1. SAR Facilities and their Response Capability
    1. Note on Availability of National SAR Resources
National Search and Rescue resources (lifeboats and rescue helicopters) are available if:
- the incident exceeds the capability of the operator resources or,
- if in the opinion of the work/safety boat skipper or work supervisor or other person, urgent and immediate assistance is required or,
- it is an event which has occurred to persons or vessels not connected with the OREI or its operations. In this event, and where safe and feasible to do so, development work and safety craft should respond and provide assistance in accordance with IMO SOLAS regulations, Chapter V.
Note: Royal National Lifeboat Institution and other volunteer lifeboat and rescue boat services provide craft to rescue persons in danger at sea. Their personnel are not trained to climb Wind Turbine Generators or enter an OREI and should not be requested to do so. Their role in the OREI context is limited to rescuing or assisting persons from the water or accessible areas of an OREI or providing support to vessels in the area.
All national SAR resources are tasked and coordinated by HM Coastguard and therefore any request for assistance should be made via HM Coastguard and not directly to the resource.
Please see section 7.6 for relevant surface rescue craft available for the development.
    1. Airborne Rescue Resources
Provision of SAR helicopters is undertaken by Bristow Helicopters which has been awarded the contract to operate civilian SAR helicopter service for the UK on behalf of HM Coastguard.
These aircraft must not be factored into the operator’s own provisions for Emergency Response and are to be looked at as a resource of last resort.
The following information generalises the capabilities of each aircraft type:
Sikorsky S-92

Air Speed: 145 knots
Operational range: in excess of 250 nautical miles radius of action
Normal flight crew: 4
Capacity: 21 persons as required – 2 stretchers, ~10 seated persons
Endurance: over 4 hours
De-icing equipment
Twin hoist
Comprehensive medical suite

Leonardo AgustaWestland AW189
Air Speed: 145 knots
Operational range: in excess of 200 nautical miles radius of action
Normal flight crew: 4
Capacity: 16 persons or as required – 2 stretchers, 6 seated persons
Endurance: over 4 hours
De-icing equipment
Twin hoist
Medical suite

These aircraft operate out of ten UK SAR helicopter bases. Please see section 6.18.3 for details of the nearest aircraft relevant to the development(s).

All SAR aeronautical resources are tasked by the Joint Rescue Coordination Centre (JRCC UK) based on a number of factors including greatest need, weather, availability, etc. Therefore, the nearest aircraft base as detailed above, may not be the one mobilised during an emergency.
    1. Preparation for SAR helicopters (windfarms)
Should SAR aircraft be required to enter a windfarm, the marine coordinator will be required to ascertain the specific requirements either from the MRCC or SAR helicopter crew.
Considerations may include:
- Turbines to be shut down (individual turbines, a row or rows of turbines or part or whole field)
- The rotation of a nacelle to a specific ‘nose cone heading’
- In the case of a SAR aircraft approaching a turbine, the rotation of the blades to the desired orientation. For the S92, the preferred orientation is retreating blade horizontal and the AW189 the ‘bunny ears’ but any one of the following may be accepted/requested.
Retreating Blade Horizontal Position: / The retreating blade horizontal position provides good references with the blade in the pilot and winch operators 2 o’clock position whilst maintaining a clear area for the tail rotor should the crew wish to offset the aircraft for wind or to improve visual references or escape headings. / This is normally the preferred option for winch transfers to the turbine from a S92.

Figure 2: WTG blades set to Retreating Blade Horizontal position for winching
Bunny Ears (Y Blade) Position: / The Y blade position also offers good references with the blade in the pilot and winch operator’s 2 o’clock position. The retreating turbine blade aft of the helicopter in the winching position slightly compromises the tail rotor area. / This position is commonly referred to as “Bunny Ears” or possibly the “SAR Position” and is often the preferred option for winch transfers to the turbine from the AW 189.

Figure 2.1: WTG blades set to the Bunny Ears or ‘Y’ position for winching
Advancing Blade Horizontal Position: / The advancing blade horizontal position is the poorest option for references with the retreating blade occupying the area closest to the tail rotor. / This position is also known as “Orientation Stop”, “Heli-Stop” or “Lazy Y”. This is the position usually selected for delivery/recovery of turbine technicians by wind farm helicopters.

Figure 2.2: WTG blades in Advancing Blade Horizontal position for winching
  1. Medical advice/assistance
    1. Insert here any specific procedures to be followed by the operators and the MRCC if medical advice or assistance is required e.g. telemedicine arrangements. If there are no commercial telemedicine services available, this should be stated.
    2. NOTE: Medical advice by radio to telephone link call is available via HM Coastguard. If the OREI operator has its own telemedicine capability, they should use this in the first instance unless the situation is considered urgent. Evacuation of injured or ill persons can be arranged with HM Coastguard if the operators own resources (work and/or safety boat) are considered inappropriate or speed is of the essence. If in doubt, HM Coastguard should be contacted. SAR units will generally not be tasked to medical incidents without medical advice unless there is a perceived imminent threat to life and an immediate response is required.
  2. Exercises
    1. Procedures and periodicity of emergency management and response exercises by [the duty holder] and in conjunction with the emergency services (HM Coastguard and SAR response units plus as required, the police).
Full advice on exercises can be found in the Regulatory Expectations for Emergency Response document. All exercises involving HM Coastguard and/or SAR resources should be planned in consultation with the MCA Offshore Energy Team at oelo@mcga.gov.uk providing a minimum of 6 weeks notice.
    1. Information on the periodicity of exercises by the duty holder should be detailed here.
    2. Note: It is recognised as good practice for an initial table-top exercise to be held shortly after commencement of operations. This serves as a 'get to know you' and educational process for all the duty holder’s staff and the emergency services who might be expected to respond to any emergency in or around the installation.
  2. Unexploded ordnance and wreck materials located on or near OREIs
    1. Unexploded Ordnance (UXO)
During construction or other seabed operations it is possible that unexploded ordnance or materials from uncharted wrecks could be located, exposed, disturbed or inadvertently lifted from the seabed.
    1. Insert here OREI duty holder procedures for responding to the discovery of unexploded ordnance including information on any commercial ordnance contractors.
    2. If commercial contractors are not available, the following procedures should be followed:
The object should not be moved (or removed if it is lodged in dredging buckets, pipes or conveyor systems, etc). The situation should be immediately reported to HM Coastguard who will alert the relevant military ordnance disposal organisation. All personnel should be evacuated as far as practicable away from the UXO.
Further information and advice to mariners on the handling of UXO can be found in UK MGN 323 (M+F)
A military Explosive Ordnance Disposal (EOD) team may be sent, and they will take the lead in advising the contractors on response to the UXO. If necessary, telephone advice can be given directly from the EOD team either via mobile phone or by radio to telephone link-call via the MRCC.
In all cases, HM Coastguard must be informed of every ordnance discovery as international reports (OSPAR) are required to be completed.
    1. Wreck or Wreck Materials
Uncharted wrecks, (aircraft or vessels) or materials from wrecks may be located, disturbed, or inadvertently lifted from the seabed during subsea operations. All such finds MUST be reported by law to the UK Receiver of Wreck. This should be done by telephoning the Receiver of Wreck on:
020 381 72575
Or email row@mcga.gov.uk, or contact HM Coastguard who will then inform the Receiver of Wreck Officers.
Information on reporting wreck or wreck materials can be found at: https://www.gov.uk/government/groups/receiver-of-wreck
  1. Counter pollution
    1. Include relevant high-level detail and contact information relating to an environmental response and reference the MPCP.
Note: the MRCC may not have access to the MPCP.
1. Support arrangements
  1. Criminal actions and accidents to persons
    1. Procedures and arrangements for reporting criminal activity on, within or around the OREI. Contact information for the relevant police forces should be contained in 7.19.
In addition to notifying the police, the MRCC must always be informed of criminal activity – suspected or otherwise.
The police must always be informed of any deaths and serious injuries on OREIs so that early consideration can be given to the investigation, travel to the location, training and health and safety requirements. More information is available in section 6.
  1. Informing Next-of-Kin
    1. The process discussed and agreed between the local police and [the duty holder] to inform next of kin in the event of an incident within or on an OREI. For example, it is a police function to notify NOK of a death, however, they will work with an operator to facilitate follow up duty holder family liaison. This may require specific procedures for operator personnel incidents and third-party events.
Further consideration should also be given to when proactive notifications will be made to NOK by the duty holder and when police will deliver a message of involvement. It is important that all parties are aware of the difference.
  1. HR arrangements
    1. Procedures to be followed regarding the HR support during an incident, including how the duty holder HR team/role/individual will interact with the relevant police force and information relevant to:
- Relative response arrangements/teams
- Family liaison
- Contractor liaison
- Hospital liaison
  1. Media relations
    1. Information explaining arrangements between [the duty holder], the MCA and police for a joint media response in the event of an incident. This should include the provision and circulation of press releases and where appropriate, include any pre-approved holding statement.
Include relevant contact information.
  1. Shore reception arrangements
    1. Survivors may need to be delivered to a location other than the normal embarkation/disembarkation point depending on:
- the location of the development
- the origin point of the rescue units
- the weather and/or incident conditions and situation
- the scale of the incident and its consequences
- if any of the survivors have injuries.
There are multiple possible scenarios however, it is only likely that the police will attend a reception centre where an incident involves death, missing people and/or casualties.
Full information on the site-specific plans can be found in section 7.16.
Additional information
The information contained in this section describes the duties and functions of various participants in SAR, explains areas or information requirements of particular importance to SAR and other emergency response within OREIs, and details the support which may be provided by the police.
  1. The SAR Mission Coordinator (SMC)
Each SAR operation is carried out under the direction of a SAR Mission Co-ordinator (SMC) at the MRCC. This function exists only for the duration of a specific SAR incident.
The responsibility of the SMC will vary depending on the nature and severity of the incident. The SMC is essentially in overall charge of coordinating and directing the response to an incident until it is successfully concluded, or a decision has been agreed to terminate operations.
  1. The On-Scene Coordinator (OSC)
The SMC may, according to the severity of an incident, wish to appoint a wind farm work/safety boat as OSC. The information below is for the guidance of the persons in charge of such boats.
- According to IAMSAR , when two or more SAR facilities are working together on the same mission, it is sometimes advantageous if one person or vessel is assigned to co-ordinate the activities of all the participating units.
- The SMC (at the MRCC) designates the OSC, who may be in charge of a Search and Rescue Unit (SRU), ship or aircraft participating in a search, or someone at another nearby facility able to handle OSC duties.
The OSC should be the most capable person or vessel available, and the following considerations should be taken into account when selecting:
- the amount of SAR training and experience the person may have had
- communications capabilities
- the length of time that the facility on which the OSC is aboard can stay in the search area.
Duties which the SMC may assign to the OSC, depending on needs and qualification include any of the following:
- assume operational co-ordination of all SAR facilities on scene
- receive and implement the search action plan from the SMC
- modify the search action plan based on prevailing environmental conditions, SRUs / SAR Facilities availability and capability, new target information and new developments on scene, keeping the SMC advised of any changes to the plan
- establish and maintain communications with all SRUs using the designated on-scene channels
- provide relevant information to the other SAR facilities
- monitor the performance of other units participating in the search. Co-ordinate and divert surface units or helicopters to evaluate sightings
- develop and implement the rescue plan (when needed)
- co-ordinate safety of flight issues for SAR a/c (where no Aircraft Co-ordinator is appointed)
- make consolidated situation reports (SITREPS) back to the SMC.
Information that the SMC needs from the OSC includes:
- On-scene weather, wind, and sea conditions when significant changes occur, and at least every four hours if the SMC has not stipulated a shorter time interval
- SRU on scene arrival and departure information, including actual and estimated time
- pertinent new developments or sightings
- major modifications made to the SMC’s SAR action plans, either already taken or recommended
- requests for additional assistance
- summary of search areas
- completed with an assessment of the search effectiveness
- obtain results of search as each facility departs the scene.
  1. Search planning
In the event that persons or craft are in danger and drifting on or in sea, and they are unable to provide locating signals or a precise position, search and rescue units will have to be deployed to physically look for them. This requires that search area calculations are made based on the movements of the tide, local currents and wind (leeway) as they might act on the object drifting e.g. life raft, life boat, drifting vessel, person in the water, etc. Any information that the OREI has or records on tide and wind speed and direction could be helpful in the accurate calculation of search areas. Such useful information could be:
- information about tides and water currents,
- availability of any wind data from OREI resources e.g. anemometer information and how the MRCC can obtain this.
- Explanation of the procedures to be carried out by the MRCC, and any information or actions required from the operator, in the event of search planning action being required.
  1. Suspension / Termination of SAR action
The SMC is responsible for deciding when to terminate attempts to rescue and/or search operations for incidents but will do so in conjunction with:
- SAR resources
- Onscene Coordinator
- OREI Operators, personnel or contractors
- Third parties
- Other emergency services
- Any other relevant party engaged in the incident.
  1. Police
    1. During offshore renewables incidents which require a SAR response, the police may have a critical role and can provide significant support and guidance to the duty holder, therefore early notification of the incident to the appropriate force by HM Coastguard and by the duty holder is essential.
In the event of a major land-based incident, the police normally provide overall coordination of the emergency services and other responding agencies. In offshore renewables incidents, however, HM Coastguard are responsible for the at sea coordination while the police will concentrate upon the coordination of the onshore response. The duty holder should always give early consideration to the preservation of an area where an incident has occurred to assist investigation into the cause.
Upon completion of the SAR response, i.e. when everyone has been accounted for or when there is no longer any reasonable expectation of finding further survivors, a formal handover of primacy should be agreed between HM Coastguard and police ensuring a clear transition from the SAR phase to the recovery and investigation.
    1. When contacting the police, the following information should be provided to ensure a suitable initial briefing:
- What is the name/nature of the asset?
- Where is it located?
- What has actually happened? (Collision/Fire/Helicopter Incident etc) (Give as much information as possible, as the Police will use this information to make an initial assessment)
- Which duty holder has primacy for the Emergency Response and where is it being managed from? (e.g. locally, internationally, remotely)
- What is the POB (Person on Board)
- What is your name/contact number?
    1. It is vital for the police to receive an electronic and/or hard copy of the POB list and NOK information as required. The provision of this should be considered by duty holders and the process recorded within the ERCoP.
    2. Where possible, the relevant police force may elect to send a police Incident Liaison Officer (ILO) to the duty holder coordination centre, and/or an alternative location as required. The role of the ILO is to provide an effective interface between police and the emergency response room of companies when responding to an offshore emergency.
    3. It is acknowledged that this might not always be possible face to face due to the remote location of an emergency response room. To that end it is imperative that duty holders consider this and offer alternative solutions. An ILO or other designated police officer will require a briefing from a duty manager whether in person or virtually.
    4. Should a fatality occur it is imperative that police are contacted as a priority. Please be aware of considerations instructed by the Crown Office Procurator Fiscal Service in Scotland, the Crown Prosecution Service or Coroner in England and Wales and the Public Prosecution Service in Northern Ireland in relation to investigation.
The duty holder must give consideration as to how a police enquiry team will be	transported to the location and all health and safety requirements.
  1. Emergency services liaison
It is recognised as good practice that OREI operators and the emergency services, including the local police force, should build relationships during the planning and construction phases of any project in order to maximise joint understanding and situational awareness. Once operational, regular visits should be undertaken to operations/control rooms/centres, in order to test and exercise agreed protocols and maintain understanding between all parties.
Development specific information
The following sections contain information pertinent to the individual sites to which this Hub ERCoP applies.
Insert here a list of hyperlinks/bookmarks for each development ERCoP
e.g.
Wind farm Alpha ERCoP
Wind farm Bravo ERCoP
Wind farm Charlie ERCoP
…

# Emergency Response Cooperation Plan for [Development name]
  1. [Development name] information
The following section contains information relevant to the [development name]
The [development name] consists of insert here a summary the number of OREI and the approximate range and bearing from the nearest point of land and/or nearest port.
If the information below is included for more than one windfarm (e.g. extensions) then detail this here. Also include all developments that are in the vicinity and where those development details are also included in this Hub ERCoP, include a hyperlink to the relevant section. If the development is not included in this Hub ERCoP, include the name of the duty holder which operates the relevant development.
  1. Construction activities (not required in operations phase ERCoPs)
NOTE: information during any construction phase is dynamic and should be sent in periodic (e.g. daily, weekly) emails and/or verbal update reports to HM Coastguard. E-mail update reports should be sent to offshoreenergy.notifications@mcga.gov.uk.
    1. Insert here a description/chart/programme of what activities are planned to take place during the entire construction phase.
    2. Insert a table with a high-level outline of the construction schedule. Weekly updates as operations change should be sent to the relevant zone and offshoreenergy.notifications@mcga.gov.uk.
  2. OREI information
    1. Insert here details of the installations – information may vary depending on the phase and development. Information contained in this section is intended to support the MRCC in an emergency. This list may not be exhaustive and any additional useful information should be included. NOTE: any heights must be in meters / and feet
- Number of turbines/units/devices that are to be installed or are installed
- Description of the type of turbine/device/unit (manufacturers type-name and/or number and power output)
- Turbine/device/unit dimensions (length, width and height in metres) or general dimensions for other devices/units
- Height of turbine towers/installations including to the blade tips (when blades are in the upright, inverted ‘Y’ position i.e. when one blade is vertical) above mean sea level
- For seabed, underwater or floating devices/units relevant depths below mean sea level including under keel clearance and depth of turbines. In addition, heights above the seabed, including for devices within the water column.
- Blade diameter (wind turbines), blade markings
- Details of transition piece (TP)/tower, lifts available, facilities on TP, cranes, landing platforms, restrictions
- Details of nacelle design, door opening restrictions, helicopter winching basket/rails, ID numbering, aviation lighting, access to and from (e.g. ladders, hatches)
- Information on OSPs or similar installations/accommodation vessels, dimensions, lighting, helipad restrictions, any accommodation, winching areas, hazards
- Pictures/diagrams of the turbines/units/devices as installed including foundations and transition pieces, etc. (graphical impressions if the site has not yet been built but replaced with actual pictures as soon as possible)
- Installation layout with accurate positions marked (chart of location of each unit/device) A 'Kingfisher' style chart is most suitable for this purpose as it is easily transmissible in electronic format. This chart must be of high quality and cover the whole page in landscape or portrait format according to the particular layout of the OREI. Where two or more windfarms are adjacent, or in close proximity to one another, the chart must show the turbines from both developments.
- The layout should show the SAR access lane centreline and a shaded area showing the width of the lane at its minimum point between two OREIs
- Table of the individual positions (in Latitude and Longitude) of all units/devices in the field
- Spacing between turbines/devices/units
- Text description (table) of each SAR lane centre line direction, SAR access point locations and the lengths of each lane (between access points)
- Description of how turbines/devices/units/transition pieces are to be lit and marked (buoyage) during the construction period
- How the construction site is to be guarded and monitored during the construction phase e.g. guard vessel(s) on site? AIS/radar surveillance? What periods of operation such vessels will be on site, etc.
- Description of how turbines/devices/units/transition pieces are to be lit and marked during operations
- Feathering and braking limitations (wind turbines) or other limitations for shutdown or rotation of devices/units
- Wind turbine locking (pinned) limitations – if applicable
- Power (export) Cable layouts including depth of burial, location of entry to foundation
- For floating turbines and wave/tidal devices, anchor layouts including depths, dimensions and anticipated lateral movement.
- For floating turbines and wave/tidal devices, any tracking and/or monitoring capability should the device break free from its moorings
- For floating turbines, the details of towing arrangements including if devices will be towed back to port/wet storage for major maintenance. In these circumstances, what equipment, lighting and marking may or may not be left on location
- For floating developments, details of any wet storage areas close to the site. For wet storage areas at an alternative location e.g. close to shore, this may require a separate ERCoP. Contact with oelo@mcga.gov.uk required.
- Details of temporary Safety Zones around each installation/work activity during construction or permanent Safety Zones around each installation/work activity during operations
- Availability of any real time weather information including a web URL and password information, if required.
- Any other useful information relevant to the OREIs.
  1. Emergency Response
    1. Equipment on OREIs
Description of the emergency response capabilities/resources available on each OREI or on nearby vessels/installations
- Lifesaving apparatus (e.g. stretcher, lifejackets, survival suits)
- descender capability, numbers of personnel required to operate equipment, restrictions (e.g. wind direction, TP platform, lowering to vessel/sea)
- first aid capabilities
    1. Emergency Communications
Description of the communications equipment - both routine and emergency – fitted to or carried by:
- each turbine/device/unit (if applicable)
- all work and safety boats
- individual personnel
- procedures agreed between the MRCC and operator, for calling for assistance.
  1. Emergency shutdown procedures and processes
Explanation of the procedures and processes carried out by the operator control centre to shut down the installation/units/devices and the procedures for the MRCC to request this. Information should include the time taken to shutdown:
- individual device/turbine/unit shutdown
- partial (group of units) shutdown
- complete lane shutdown
- complete installation shutdown
    1. The information should include the time taken to rotate a nacelle to the desired direction requested by the MRCC and any wind limitations (low or high) impacting this process. If there is a difference in procedures or timings at different times of day, this must be clearly stated.
  2. Vessels/installations on site during construction, or work and safety boats during operations
    1. For construction, insert here a summary of the main activity and then a table listing each vessels/installations working on the site for each phase of the work. Updates should be sent separately to offshoreenergy.notifications@mcga.gov.uk on a frequent basis, and whenever vessels arrive and leave.
For operations, information to include:
- Type(s) of boat operated and their primary use e.g. work boat and/or safety boat normal operating base i.e. harbour/port where boat(s) are kept.
- Pick-up points for maintenance personnel (if different from normal operating base).
For each type of craft, the information should include:
- Vessel Name
- Vessel callsign and Maritime Mobile Service Identity (MMSI) number
- Type of vessel
- Speed and endurance
- Personnel capacity
- Normal number of crew carried
- Weather and/or other operational limitations including turbine transfer limits
- Medical and/or other ER capabilities including relevant equipment and/or medication
- Telephone contact numbers (mobile and/or satellite)
- Communications equipment fitted e.g. VHF, MF and HF Marine band radios, satellite systems, fitted, etc.
- Communications channels/frequencies monitored during normal and abnormal operations e.g. when at sea proceeding to and working in the wind farm
- Date due to arrive on site (construction only)
- Date arrived on site (construction only)
- Date estimated to leave site (construction only)
- Pictures and (if available) drawings of the craft.
NOTE: The immediate rescue and emergency response capability for operator personnel or other contractors working on or in the OREI are the work and safety boats provided [the duty holder].
    1. Guard vessel
If the site has a dedicated Guard Vessel during construction and/or operations, information as detailed in 7.6.1 above should be included here and in addition:
- period of operation – construction/operations/decommissioning
- any limitations – weather/operating area
- hours of operation
- range restrictions i.e. how far it can operate from the windfarm if requested by HM Coastguard
- duty holder details supplying the guard vessel
    1. Rescue boat capabilities
If the site has dedicated rescue boat facilities, or if the guard vessel is fulfilling these roles, information as detailed in 7.6.1 above should be included here and in addition:
- if the vessel is shore based or offshore based and what their response times are
- if it is offshore based, the endurance of the vessel and whether it is permanently in the water or located on another vessel or installation
- how the vessel is mobilised (telephone, radio, control centre, etc.)
- operating times/limitations
  1. Airborne activities
If the site has routine aircraft operations, or has the capability of operating/utilising aircraft operations, the following information should be included:
- type of aircraft
- operating base (or departure point/crew pickup) and facilities
- speed and endurance, transit times to site
- normal crew numbers and passenger capacity
- weather and other limitations
- communications, radio frequencies/channels operated
- helistop facilities available on OREI
- aviation lighting (if not covered above)
- details of any Aircraft Coordination training provided to aircrew
- capability of carrying any injured personnel
  1. Locating aids used by personnel or vessels working at the site
If Personal Locator Beacons or other types of satellite or radio locating devices are used by personnel working on the site and/or on vessels at work on the site, it is recommended that GMDSS compatible devices are used as this will ensure that the rescue services can rapidly receive beacon alerts and that SAR units can home on to the devices. The types, locating frequencies and procedures for locating/homing to the devices, should be included here:
- type(s) of beacon/devices used (list all types if there are several different ones in use)
- frequencies/channels that devices operate on
- procedures for homing to/locating the devices when transmitting
- outline procedures briefed to personnel for use of the devices
- state if the beacons are registered with the national registry, confirm a list of the allocation of the beacons is held by the duty holder and any relevant emergency contact arrangements.
  1. Electronic Surveillance and Monitoring Systems
If AIS and/or radar and/or CCTV is being used to monitor activity around the construction site/OREI/development, please indicate here what systems are being used, their location(s), the time period(s) of monitoring and the contact numbers of the surveillance centre and/or radio frequencies monitored by the vessel/monitoring centre responsible for this activity.
Details should also include if any live feeds have been made available to HM Coastguard.
  1. Radio Communication Aerials
If the site is fitted with radio communications aerials to enable relay and retransmission of radio communications from the shore control centre, please indicate here the locations of the installations fitted with radio aerials, the type of radio communications system(s) being used, the frequencies available to those systems, the contact number(s) for the control room/vessel using these systems and the time period(s) when the system is monitored and/or staffed.
Details should also include if any live feeds have been made available to HM Coastguard.
  1. Maintenance and Work Operations
- Operator planned-maintenance schedules
- Procedures for notifying the MRCC of unplanned work activities
- Agreed procedures between the MRCC and the operator for notifying start and completion of work activities.
  1. Diving Operations.
If diving operations are taking place during construction, survey or maintenance operations, the MRCC MUST be informed of the availability, location and status of recompression chambers available for the use of that diving operation e.g. which vessel is the chamber(s) on board.
  1. Integrated Emergency Response Cooperation Plan (IERCP)
Please indicate here details of other developments in the area and any joint cooperation plan between those developments. Reference should be made to any relevant documents and copies made available, on request, to the MCA.
NOTE: as detailed in the Integrated Offshore Emergency Response – Renewables (IOER-R) document, cooperation and communication with nearby developments and/or other industries (e.g. Oil and Gas) should be encouraged early.
  1. Offshore Transmission Owner (OFTO)
Include detailed information of the agreed procedures between the [OREI Operator] and [OFTO] in the event of an emergency and/or provide information on any existing bridging documents. Where appropriate, information should be included for emergency contact with the OFTO and who is responsible for emergency response.
  1. Firefighting, Chemical hazards, Trapped Persons, etc
Insert here any specific procedures to be followed in the event that a fire, chemical incident or trapped person event occurs on or in the OREI.
NOTE: It is understood that general instructions to OREI personnel are that should a fire break out, the OREI is to be evacuated and no direct firefighting response is to be attempted. This will be the normal response to such situations.
  1. Survivors Shore Reception Arrangements
Site specific procedures (as agreed between the local police force, the MRCC, local council and the operators) to be followed for the reception of persons to shore who may require post incident processing or medical or social support following an incident within or on the OREI - whether or not the persons involved are personnel working for the operator or third parties involved in an external incident.
  1. MRCC Contact Information
The following contact information is for the most appropriate MRCC for routine purposes. In an emergency, the MRCC responsible for the area containing the development will respond and this may not be the nearest MRCC or the one detailed below.
- Location and address
- Direct, 24-hour contact telephone numbers (The MRCC can always be contacted by telephoning 999)
- Email communications details (fax may be available on request)
- MMSI information
  1. SAR Facilities and their Response Capability
(HM Coastguard to complete for national rescue assets, operator to include any in-field rescue boats)
    1. Note on Availability of National SAR Resources
National Search and Rescue resources (lifeboats and rescue helicopters) are available if:
- the incident exceeds the capability of the operator resources or,
- if in the opinion of the work/safety boat skipper or work supervisor or other person, urgent and immediate assistance is required or,
- it is an event which has occurred to persons or vessels not connected with the OREI or its operations. In this event, and where safe and feasible to do so, development work and safety craft should respond and provide assistance in accordance with IMO SOLAS regulations, Chapter V.
    1. Insert here details of Surface Craft Rescue Resources Available:
- locations and distances from the OREI
- types of craft
- speeds (cruising and dash speeds) and endurance
- survivor capacities
- navigation, surveillance and rescue equipment carried
- medical and life support capability
- weather and/or other operational limitations
- communications equipment and capabilities
    1. The nearest SAR helicopters are the [aircraft type] from [aircraft base] (enter the nearest two bases) though these may not be the ones used depending on availability.
  2. Police contact information
Insert here the contact details for the relevant police force including:
- emergency and routine telephone numbers
- any on call role to be requested?
- police corporate communications telephone number
- address
- emergency Planning Officer (or routine contact)
- routine contact details should also be included for the force where the marine coordination centre is located, if different from the development.
- contact point where the agreed final ERCoP and/or EAC should be sent

  1. Emergency Action Card
EMERGENCY ACTION CARD
For [development name]
Please see section xx for further information (this hyperlink should take the user to the ERCoP for the relevant development)
Communications with the marine coordinator should be via HM Coastguard whenever possible.
Emergency Contact / One of the following or a combination of both, must be 24/7
Duty Holder name	Duty holder name
Marine Coordinator (primary number)
Secondary number
Media relations
Coastguard
Police

1.
  Windfarm Summary
  Phase	Construction/ Operation
  Range & Bearing from land
  Number of WTG
  No. of substations

2.
  Location of primary ER facility
  Include details of virtual access as required

  Communications
  VHF	Aviation	Additional comms
  What channels are used? If aerial on site, approx. range	Any aviation specific frequencies	Any additional information such as TETRA or satellite communications

  WTG Specific information (include an additional table if more than 1 WTG type)
  Heights (above LAT, in m & ft)		Lights / Incl. flash, IR, colour, etc.		Helicopter Winch
  Total height to blade tip		Aviation lights		Suitable for winching?
  Height of Nacelle		SAR lights
  Height of Transition Piece		Other lights

Shutdown procedure

Outline what procedure is required for turbines to be shut down if required for SAR activity. Also detail any situation where this would not be possible.
Site Rescue Teams

Include brief details of mobilisation time and response capabilities and equipment carried.
Electronic Monitoring (include details if feeds are provided to HM Coastguard)
AIS	Radar	CCTV
Location of receiver (indicated by OREI ID) and range of reception	Location (indicated by OREI ID) and range of scanners	Location (indicated by OREI ID) of cameras and range of coverage

Key points of note

Information to be added by HM Coastguard which is beneficial for a SMC
Any contact information contained in the EAC and provided to the Maritime and Coastguard Agency (MCA) will be used solely for the purposes of emergency response as part of the Agency’s, which may include sharing with SAR resources during an incident or with the relevant police force(s). The information will be kept secure and will not be used for any other purpose without their permission. The information will be stored by the MCA and the SAR helicopter provider until the duty holder provides updated information or the development ceases to exist, at which point the information will be deleted.

Mass Evacuation Places of Safety To indicate if mass evacuation is required where persons could be taken to, whether it be accommodation vessel, landfall or near Offshore Installation for temporary relief.
Place Name	Range and bearing from centre of windfarm	Location in / Latitude and longtitude

Personal SAR Locating Device Make & Model
Functions: yes/no	COSPAS-SARSAT	AIS	DSC	121.5MHz

Windfarm Chart Insert here detailed chart of the windfarm lay out. (Chart must show the agreed SAR Access Lanes, helicopter access positions and spacing between turbines in all directions or a scale drawing with easily calculable distances). The chart should be of high quality and include a hyperlink (showing the correct section) to the relevant part of the ERCoP which contains further information. Further information detailed in 7.3.

==================================================================
# END OF TEMPLATE
==================================================================

# APPENDIX A - ERCoP Process Flow Chart
Duty holder accesses the most recent version of the ERCoP template and completes all relevant sections within the required format
|
Duty holder liaises with the local police force and gather relevant information for the ERCoP
|
Draft ERCoP is submitted to HM Coastguard’s Offshore Energy Team (OET) by duty holder
|
OET review draft and comment as necessary
|
Draft returned to duty holder for redraft
|
Redraft submitted to OET
|
|
Plan is agreed by Offshore Energy Lead and duty holder
|
Plan passed by the duty holder to the marine licensing authority for condition sign off
|
Plan Activated - copies kept by the OET, on the HM Coastguard National Network and duty Control Centre

|
The duty holder provides a copy of the ERCoP and/or the EAC to the relevant police force and ensures that all updates made to the document are sent to HM Coastguard and the police.

www.gov.uk/mca
@HMCoastguard
@MCA
/maritime-and-coastguard-agency