## AEL-LEDS
Manufacturer	Model	Detection Hardware	System Software	Auxiliary Hardware	Auxiliary Measurement Software	Measurement Software	SORS Detection Software	Metal Detection Software	Algorithm	CONOPS	Cabin Baggage	Standard	Type	Date Approved	Conditions of Use
Agilent Technologies / (Previously: Cobalt Light Systems)	Insight100	INS100-v1.0	Insight.exe (2.0.0.1) / Insight100.exe (2.2.1.0)	Spectrograph: Q22244 / CCD: DR-324B-FI					INS100-27 Rev. 1.0, 1 Sep 2011	INS100-26 Rev. 1.0, 7 Sep 2011	Yes	3	B	23/12/2011 / and / 26/04/2013 / (Configuration Change)	Only for use in accordance with DfT document: "Liquid Explosives Detection Systems Guidance - Type B"
Agilent Technologies / (Previously: Cobalt Light Systems)	Insight100	INS100-v1.0	Insight100.exe (2.1.0.0) / Insight100.exe (2.2.1.0)	Spectrograph: Q22244 / CCD: DR-324B-FI					INS100-27 Rev. 1.1, 1 Oct 2011	INS100-26 Rev. 1.0, 7 Sep 2011	Yes	2	B	23/12/2011 / and / 26/04/2013 / (Configuration Change)	Only for use in accordance with DfT document: "Liquid Explosives Detection Systems Guidance - Type B"
Agilent Technologies / (Previously: Cobalt Light Systems)	Insight100	INS100-v1.0				1.9.0				INS100-25-EN Revision 2.5	Yes	3	B	09/08/2013	Only for use in accordance with DfT document: "Liquid Explosives Detection Systems Guidance - Type B"
Agilent Technologies / (Previously: Cobalt Light Systems)	Insight100	INS100-v1.0		Grav-kit-v1.0	1.2.0 Grav200.exe (1.0)*	1.9.0				INS100-35-EN Revision 1.0	Yes	3	B	14/08/2014 / and / *11/09/2017 / (Configuration Changes)	Only for use in accordance with DfT document: "Liquid Explosives Detection Systems Guidance - Type B"
Agilent Technologies / (Previously: Cobalt Light Systems)	Insight200M	Cobalt P/N 071-T008-201					SORS DLL Measurement software (1.9.0) / and both / Material ID 0251 1.0.6.0 and Material ID 0252 1.0.6.1	Gravi200.exe (1.0) / Gravi200.exe (1.1) / Gravi200.DLL (1.1)		INS200M - 25 - EN Revision 1.1 / in association with / G6913-90023	Yes	3	B	DfT approval 22/08/2025	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Agilent Technologies / (Previously: Cobalt Light Systems)	Insight100	INS100-v1.0				1.9.0				INS 100-25-EN Rev. 2.5 / INS100-24-EN Rev. 1.1	Yes	3	A	20/11/2013
Agilent Technologies / (Previously: Cobalt Light Systems)	Insight200M	Cobalt P/N 071-T008-201					SORS DLL Measurement software (1.9.0) / and both / Material ID 0251 1.0.6.0 and Material ID 0252 1.0.6.1	Gravi200.exe (1.0)		INS200M - 24 - EN Revision 1.0 used with INS200M – 25 – EN Revision 1.1 / in association with / G6913-90023	Yes	3	A	DfT approval 22/08/2025
Analogic	COBRA	AN6980							Config 4.193 (261)	1-64812	Yes	2	D/D+	04/03/2013 31/07/2024 May not be used for screening containers above 100ml
Analogic	COBRA	AN6980							Config 4.192 (261)	1-64812	Yes	2	D/D+	04/03/2013 31/07/2024 May not be used for screening containers above 100ml
Battelle (formerly Sellex)	LS10	LS10 (635109J5000-10)		Firmware v1.24					v1.3.20.1045	LS10 Operator Manual (635109J0040)	Yes	2	B	27/11/2012	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Battelle (formerly Sellex)	LS10	LS10 (635109J5000-10)		Firmware v1.24					v1.3.14.1026	LS10 Operator Manual (635109J0040)	Yes	2	B	27/11/2012	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Battelle (formerly Sellex)	LS10	LS10 (635109J5000-10)		Firmware v1.24					v1.3.32.1613 / v1.3.40.1614	LS10 Operator Manual (635109J0040)	Yes	3	B	03/03/2014	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Battelle (formerly Sellex)	LS10	LS10 (635109J5000-10)		Firmware v1.24					v2.3.40.1705	LS10 Operator Manual (635109J0040)	Yes	3	B	05/01/2016 / (Configuration Change)	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Battelle (formerly Sellex)	LS10	LS10 (635109J5000-10)		Firmware v1.24					v2.2.14.001	LS10 Operator Manual (635109J0040)	Yes	2	B	16/02/2016 / (Configuration Change)	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
CEIA	EMA-3	EMA-3							PV EMA3 3540, PVCT EMAO 2100	FI200K0015v1116UK	Yes	3	B	26/04/2013	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
CEIA	EMA-3	EMA-3		EMA-EXTP-EXA-MS					PVCT EMAO 2100, PVEX EMAX 5311	FI200K0015v1209	Yes	3	A	02/05/2014
CEIA	EMA-3	EMA-3							PV EMA3 3550, PVCT EMAO 2100, AL3	FI200K0015v1122	Yes	2	B	02/05/2014	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
CEIA	EMA-3	EMA-3							PV EMA33550, PVCT EMAO 2100, AL4	FI200K0015v1122	Yes	3	B	04/11/2014	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
CEIA	EMA-4	EMA-4							ALG1	FI200K048v1000hUK	Yes	3	B	19/02/2021	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
CEIA	EMA-4	EMA-4							ALG11 / ALG12 / ALG13	FI200K0048v1001hUK	Yes	3	B	30/11/2024	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
DetectaChem	SEEKERe	2.5.1							13.1.0	SEEKERe User Manual (R1.10)	Yes	2	A	08/02/2017
DetectaChem	SEEKERe	2.5.1							13.2.2	SEEKERe User Manual (R1.10)	Yes	2	A	08/02/2017
DetectaChem	SEEKERe	2.5.1							13.3.0	SEEKERe User Manual (R1.10)	Yes	2	A	08/02/2017
Emisens	EMILI	EMILI 2							Database 7.1 ECAC_Retest_Jan2012_v3.ini	Emili2_ConOP_03; Rev. 2.0 July 2011	Yes	2	B	20/04/2012	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Emisens	EMILI	EMILI 2							Database 7.3 / ECAC_Retest_Jan2012_v3.ini	Emili2_ConOP_03; Rev. 2.0 July 2011	Yes	2	B	20/04/2012	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Emisens	EMILI	EMILI TS				ecac_std_v5.1.ini / ecac_std_v5.2.ini / ecac_std_v5.3.ini				EMILI TS Conops 0513	Yes	2	B	03/03/2014	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Emisens	EMILI 3	EMILI 3				ecac_std_v6.1.ini				EMILI 3 Conops 1214 (Rev. 1 March 2015)	Yes	2	B	19/08/2015	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Emisens	EMILI 3	EMILI 3				ecac_std_v6.13.ini / ecac_std_v6.14.ini				EMILI 3 Conops 1214 (Rev. 1 March 2015)	Yes	3	B	19/08/2015	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
FLIR	FIDO X3C	X3 (PNO.: FH-65-A)				Beta 1.00 Build 319				FIDO X3C Administrator Manual 1.00 Rev A (June 2013)	Yes	2	A	09/08/2013
FLIR / (formerly ICX Nomadics)	PaxPoint V2								Beta 1.00	20.08.2010 with one additional page concerning specific sampling for type A tests	Yes	3	A	26/04/2013
Gilardoni	FEP ME 640 AMX	5141082	3AUE0183	OptoScreener OS3000 System 5.8; / Software: / • 5.8.0.42386 / • 5.8.6.53192 / Acquisition module 6.0; / Liquid detection module 6.3						37300500-005	Yes	2	C	11/07/2012 31/07/2024 May not be used for screening containers above 100ml
Gilardoni	FEP ME 640	5141092	3AUE0217	OptoScreener OS3000 / System 5.8; / Software: / • 5.8.0.42386 / • 5.8.6.53192 / Acquisition module 6.0; / Liquid detection module 6.3						37300500-005	Yes	2	C	11/07/2012 31/07/2024 May not be used for screening containers above 100ml
Gilardoni	FEP ME 640	37493500-000	3AUE0217						3AUE0263-002	37493700-003	Yes	2	C	06/05/2014 31/07/2024 May not be used for screening containers above 100ml
Gilardoni	FEP ME 640	37493500-000	3AUE0217-001						3AUE0263-002	37493700-003	Yes	2	C	11/02/2015 / (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Gilardoni	FEP ME 640 AMX	37548400-000	3AUE0183-002						3AUE0263-002	37548500-001	Yes	2	C	12/05/2014 31/07/2024 May not be used for screening containers above 100ml
Gilardoni	FEP ME 640	37493500-001	3AUE0217-001						3AUE0263-003	37620800-001	Yes	2	C	26/05/2015 31/07/2024 May not be used for screening containers above 100ml
Gilardoni	FEP ME 640 AMX	37548400-001	3AUE0183-002						3AUE0263-003	37620900-001	Yes	2	C	26/05/2015 31/07/2024 May not be used for screening containers above 100ml
Gilardoni	FEP ME 640 AMX	37548400-001	3AUE0183-002						3AUE0263-004	37637700-001 rev 002 Gilardoni Tray 10461200	Yes	2	C	16/02/2016 31/07/2024 May not be used for screening containers above 100ml
Kromek	Identifier BLS-1003								CMP_SOF_0800 Rev 4	MAL-OPS-0851	Yes	2	B	13/10/2010	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Kromek	Identifier BLS-1006	SPF-TEC-1207		BOM-OPS-1006					7.4.0.0	CON-OPS-0866 Rev3	Yes	2	B	14/05/2013 / (CONOPS update 04/11/2014)	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Kromek	Identifier BLS-1006	SPF-TEC-1207		BOM-OPS-1006					7.5.0.8	CON-OPS-0866 Rev3	Yes	2	B	09/08/2013 / (CONOPS update 04/11/2014)	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Kromek	Identifier BLS-1006	SPF-TEC-1207		BOM-OPS-1006					7.5.0.9	CON-OPS-0866 Rev3	Yes	3	B	09/08/2013 / (CONOPS update 04/11/2014)	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Kromek	Identifier BLS-1006	SPF-TEC-1207		BOM-OPS-1006					7.5.0.10	CON-OPS-0866 Rev3	Yes	3	B	09/08/2013 / (CONOPS update 04/11/2014)	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Kumahira Co. Ltd.	LSR-M1	1.0		No Tray				1.0		2015/09/26 v1.0	Yes	2	B	16/02/2016	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Kumahira Co. Ltd.	LSR-M2	1.00 / 1.01	1.00 / 1.01 / 1.02 / 1.03	NIR.DB.ECAC.1.0.0.0					1.00	CONOPS v1.00 / CONOPS v1.01 (24/04/2018)	Yes	3	B	15/06/2017 / 07/07/2017(CE) / 18/07/2017(CC) / 31/05/2018(CC) / 04/10/2018(CC)	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Kumahira Co. Ltd.	LSR-M2	1.01	V 2.00 / V 2.01	NIR. DB. ECAC 1.0.0.0 / No Tray				1.01		v1.02 (09.02.2019)	Yes	3	A/B	12/07/2019 / 18/02/2020(CC)	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Kumahira Co. Ltd.	LSR-M3	1.00		No tray					1.00	ConOps_LSR-M3v1.01	Yes	2	B	30/11/2024	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Kumahira Co. Ltd.	LSR-M2-CSE	1.01	1.00	N/A					1.11 / 1.12	LSR-M2-CSE Ver2.1	Yes	3	B	29/05/2025	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Kumahira Co. Ltd	LSR-M3	1.00		N/A					1.10 / 1.11 / 1.12	ConOps_LSR-M3v1.01	Yes	3	B	29/05/2025	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Leidos / (previously: L3 Technologies, Inc.)	ACX6.4-MV (3 view) with Optosecurity XMS®	1000-MVACX-03 REV:C0		HP Z620 (OS-3000, 5.12)					V 6.7	8500-10118-00 REV:A1	Yes	2	C	20/11/2013 31/07/2024 May not be used for screening containers above 100ml
Leidos / (previously: L3 Technologies, Inc.)	ClearScan	1000-10001-CS Rev 01							EDS-1.1.1	8100-26903-00 / Herbert Tray	Yes	2	D/D+	10/11/2015 31/07/2024 May not be used for screening containers above 100ml
Leidos / (previously: L3 Technologies, Inc.)	ClearScan	1000-10001-CS Rev 01							EDS-1.1.1	8100-26903-00 / Scarabee Long Tray	Yes	2	D/D+	10/11/2015 31/07/2024 May not be used for screening containers above 100ml
Leidos	PX 640	37493500-001	3AUE0263-003							37620800-001	Yes	2	C	10/07/2025 31/07/2024 May not be used for screening containers above 100ml
Nuctech	XT2080 X-Ray CT	CH-II 1.2							LEDS 1.7	V1.1	Yes	2	D/D+	02/05/2014 31/07/2024 May not be used for screening containers above 100ml
Nuctech	LS1516BA	DHV 1.0	V1.2.036.200						AV 3.2.2.0 / AV 3.2.2.1	2013-11-06 CONOPS-V2-B	Yes	2	C	14/08/2014 31/07/2024 May not be used for screening containers above 100ml
Nuctech	LS1516BA	DHV 1.0	V1.2.036.200						AV 3.2.2.0 / AV 3.2.2.1	2010-06-01 CONOPS-V1-C	Yes	3	B	14/08/2014	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Nuctech	LS1516BA	DHV 1.0	V1.2.036.188						AV 3.2.1.11 / AV 3.2.1.12	2010-06-01 CONOPS-V1-C	Yes	3	B	03/03/2014	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Nuctech	LS1516BA	DHV 1.0	V1.2.026.140						AV 3.1.0.9	2010-06-01 CONOPS-V1-C	Yes	2	B	13/10/2010	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Nuctech	RT1003	3.0				1.0.9.12				7.1.1	Yes	3	B	02/05/2014	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Nuctech	RT1003	3.0				1.0.9.6				7.1.1	Yes	2	B	20/11/2013	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Nuctech	RT1003E	2.0				1.1.2				3.1	Yes	3	B	11/02/2015	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Nuctech	RT1003EB	2.0				1.1.3				2.1	Yes	3	B	30/11/2016	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Nuctech	RT1003EB	2.0				1.1.3				2.1	Yes	3	A	30/11/2016
Nuctech	RT1003EB	2.0	1.2						1.1.3	2.2	Yes	3	B	22/09/2017	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Nuctech	RT1003EB	2.0	1.2						1.1.3	2.2	Yes	3	A	22/09/2017
Nuctech	CX6040D	CX6040D.B05N		Tray: LTray V1.0					Lida V1.0.1	CONOPS CX6040D V1.0 (2017-12-01)	Yes	2	C	26/09/2018 31/07/2024 May not be used for screening containers above 100ml
Nuctech	CX6040D	CX6040D.B07N		STL-Tray V1.0 / L-Tray V1.0					Lida V1.0.4	CONOPS_CX6040D_V1.0_LEDS	Yes	2	C	30/11/2024 May not be used for screening containers above 100ml
Nuctech	CX6040D	CX6040D.B07N		STL-Tray V1.0 / L-Tray V1.0					Lida V1.0.5	CONOPS_CX6040D_V1.0_LEDS	Yes	3	C	30/11/2024 May not be used for screening containers above 100ml
Nuctech	Kylin MV	DHV 1.0		Nuc680 Tray (P/N V3) / Nuc680 Tray (P/N V5)					7.1.3	EDSCB and LEDS V2.0	Yes	3	C	03/02/2023 31/07/2024 May not be used for screening containers above 100ml / 29/05/2025 (configureation change)
Nuctech	CX 7555D	CX7555D.A03N		Tray: LTray V1.0					Lida V1.0.2	CONOPS_CX7555D_LEDS_V 1.0_20190716	Yes	2	C	25/03/2020 31/07/2024 May not be used for screening containers above 100ml
One Resonance Sensors	MobiLab® BLS	MobiLab® BLS				2.01B YM BLS 1402				MobiLab®BLS-Configuration A, February 5th, 2014	Yes	2	B	12/05/2014	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Optosecurity	OptoScreener on Smiths 6040i	Smiths 6040i		OS-3000					6.0	D500-10001	Yes	2	C	23/12/2011 31/07/2024 May not be used for screening containers above 100ml
Optosecurity	OptoScreener on Smiths 6040i	Smiths 6040i		HP Z620 (OS3000 – 5.33) / HP Z620 (OS3000 - 6.8.1)					V 6.0	D500-10001	Yes	2	C	20/11/2013 31/07/2024 May not be used for screening containers above 100ml
Optosecurity	OptoScreener on Smiths 6046si	Smiths 6046si		HP Z620 / OS3000					V 6.5	D500-10001	Yes	2	C	20/11/2013 31/07/2024 May not be used for screening containers above 100ml
Osaka University	NuLEDS 1.0	Nu-1.0	Nu-1.0							Nu-1.0 2013-11-06 / No Tray	Yes	2	B	03/03/2014	Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Rapiscan	620 DV	620DV		Rapiscan Tray (P/N 42106376) / MacDonald Humfrey Tray (42112481) / Herbert Tray (P/N 42112482)					3.280	92106913 rev 1 & rev2	Yes	2	C	11/07/2012 / 11/02/2015(CC) 31/07/2024 May not be used for screening containers above 100ml
Rapiscan	620 DV	620DV		Vanderlande Scannojet Tray / (P/N P10128 / 095527-727)					3.500 / 3.520	92106913, Rev 2	Yes	2	C	02/06/2020 31/07/2024 May not be used for screening containers above 100ml
Rapiscan	920DX	920DX		Herbert tray (P/N 42112482)					1.9	D05354	Yes	3	C	09/12/2021 31/07/2024 May not be used for screening containers above 100ml / *10/07/2025 configuration change
Rapiscan	920DX	920DX		Vanderlande tray (P/N / 095527-727)					2.01	D05354	Yes	3	C	09/12/2021 31/07/2024 May not be used for screening containers above 100ml / *10/07/2025 configuration change
Rapiscan	920DX	920DX		MacDonald Humfrey tray (P/N / 101005244)					2.02	D05354	Yes	3	C	09/12/2021 31/07/2024 May not be used for screening containers above 100ml / *10/07/2025 configuration change
Reveal Imaging / Technologies	CT-800	CT-800							4.3.0.2	CT-800 User Guide (P/N 81032)	Yes	2	D	04/01/2012 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX								05-92-30	95592934, 10/08/2010	Yes	2	C	13/10/2010 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	HI-SCAN 6040aTiX / 91290001							06-31-35	95592934, 10/08/2010	Yes	2	C	30/09/2011 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	HI-SCAN 6040aTiX / 91290001							06-31-07	95592934, 10/08/2010	Yes	2	C	30/09/2011 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	HI-SCAN 6040aTiX / 91290001		Schoeller Allibert tray 2A021					06-60-30	95593780, 30/03/2012	Yes	2	C	11/07/2012 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	HI-SCAN 6040aTiX / 91290001		Schoeller Allibert tray 2A021					06-60-32	95593780, 30/03/2012	Yes	2	C	09/08/2013 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	HI-SCAN 6040aTiX / 91290001		Schoeller Allibert tray 2A021					07-60-30	95593780, 30/03/2012	Yes	2	C	20/11/2013 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	HI-SCAN 6040aTiX / 91290001		Schoeller Allibert tray 2A021					08-90-30	95593780, 30/03/2012	Yes	2	C	30/05/2016 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	HI-SCAN 6040aTiX / 91290001		Herbert Tray 91280AS					06-31-37	95594586, 22/11/2013	Yes	2	C	03/03/2014 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	HI-SCAN 6040aTiX / 91290001		MacDonald Humfrey Tray					06-31-37	95594586, 22/11/2013	Yes	2	C	03/03/2014 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	HI-SCAN 6040aTiX / 91290001		CQRTS ST-14 Tray / CQRTS ST-15 Tray					08-51-33	95595576, 18/03/2015	Yes	2	C	26/05/2015 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX		Smiths Detection Tray / (P/N 34486990) / Smiths Detection tray 2 (P/N / 34482148)					09-16-23	95595885 (2016/09/26)	Yes	3	C	22/09/2017 / 23/07/2018(CC) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 7555aTiX	HI-SCAN 7555aTiX / 91460001							05-93-30	95592934, 10/08/2010	Yes	2	C	13/10/2010 / 09/03/2023(CE) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 7555aTiX	HI-SCAN 7555aTiX / 91460001							06-31-36	95592934, 20/09/2011	Yes	2	C	14/05/2013 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 7555aTiX	HI-SCAN 7555aTiX / 91460001							06-41-38	95592934, 20/09/2011	Yes	2	C	23/12/2011 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 7555aTiX	HI-SCAN 7555aTiX / 91460001		Herbert Tray 91280AS					06-31-38	95594585, 22/11/2013 / 95594586, 22/11/2013	Yes	2	C	03/03/2014 / 11/10/2021(CC) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 7555aTiX	HI-SCAN 7555aTiX / 91460001		Schoeller Allibert Tray 2A021					09-12-26	95593780, 30/03/2012	Yes	3	C	30/11/2016 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 7555aTiX	HI-SCAN 7555aTiX / 91460001		Schoeller Allibert tray 2A021 (P/N 11112352)					09-15-16 / 09-15-25 / 09-16-26	95595885 (2016/09/26)	Yes	3	C	15/06/2017 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 7555aTiX	HI-SCAN 7555aTiX / 91460001		Herbert tray 91280AS (P/N 34460688)					09-15-25 / 09-17-16 / 09-17-26	95595885 (2016/09/26)	Yes	3	C	15/06/2017 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040-2is HR	HI-SCAN 6040-2is HR / 90140002							08-12-35	95584650, 15/09/2013	Yes	2	C	03/03/2014 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040-2is HR	HI-SCAN 6040-2is HR / 90140002							08-12-30	95584650, 15/09/2013	Yes	2	C	03/03/2014 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040-2is HR	HI-SCAN 6040-2is HR / 90140002							08-13-30	95584650, 15/09/2013	Yes	2	C	04/11/2014 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040-2is HR	HI-SCAN 6040-2is HR / 90140002							08-14-40	95584650, 15/09/2013	Yes	3	C	04/11/2014 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040-2is HR	HI-SCAN 6040-2is HR / 90140002							09-12-30	95594585, 24/11/2015	Yes	2	C	30/05/2016 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040-2is HR	HI-SCAN 6040-2is HR / 90140002		Schoeller Allibert tray 2A021 (P/N 11112352)					09-15-20	95595885 (2016/09/26)	Yes	2	C	15/06/2017 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040-2is HR	HI-SCAN 6040-2is HR / 90140002		Herbert Tray 91280AS (P/N 34460688)					09-15-18 / 09-15-19	95595885 (2016/09/26)	Yes	2	C	15/06/2017 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6046si	91150001		TIM (Threat Inquest Module)					06-82-38	95594060	Yes	2	C	14/05/2013 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040i	901520001		TIM (Threat Inquest Module)					06-82-37	95594060	Yes	2	C	14/05/2013 / *21/10/2020 / *Correction of entry 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040-2is HR	HI-SCAN 6040-2is HR / 90140002		Smiths Detection Tray (P/N 34486990) / Smiths Detection tray 2 (P/N 34482148)					09-15-20	95595885 (2016/09/26)	Yes	2	C	22/09/2017 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX		MacDonald Humfrey Tray (P/N 34460689)					09-18-13 / 09-18-24	95595885 (2016/09/26)	Yes	3	C	22/03/2018 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	HI-SCAN 6040aTiX / 91290001		Schoeller Allibert tray 2A021					08-90-31 / 09-12-23	95593780, 30/03/2012	Yes	3	C	30/05/2016 / 11/10/2021(CC) / 09/03/2023(CE) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX		Smiths Detection tray / (P/N 34486990)2 / Smiths Detection tray 2 (P/N / 34482148)					08-90-31 / 09-15-13	95595885 (2016/09/26)	Yes	3	C	18/12/2018 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX		Vanderlande Scannojet tray (P/N P10128 / 095527-727)					09-19-23	95595885 (2016/09/26)	Yes	3	C	18/12/2018 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040-2is HR	HI-SCAN 6040-2is HR / 90140002		Vanderlande tray (P/N P10128 / 095527-727) / Vanderlande inlay (P/N P13715 / 095535-212)					09-19-19	95596016 (2017/09/26)	Yes	2	C	18/12/2018 / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040-2is HR	HI-SCAN 6040-2is HR / 90140002		Smiths Detection tray 3 (P/N 34495374, with Safety-Walk + RFID-Tag + Liquidinlay)					09-15-20	95596016 rev. 02 (2020/03/01) -	Yes	3	C	20/11/2020 / *19/02/2021 / *Correction of entry / 11/10/2021 (Configuration Change) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX		Vanderlande Scannojet tray (P/N P10128 / 095527-727)					09-70-23	95596016	Yes	3	C	26/02/2019 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX		Schoeller Allibert Tray 2A021 / (P/N 11112352)					08-90-31 / 09-15-13 / 09-16-23	95595885 (2016/09/26)	Yes	3	C	15/06/2017 / 11/10/2021(CC) 31/07/2024 May not be used for screening containers above 100mll
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX		Herbert Tray 91280AS / (P/N 34460688)					08-90-31 / 09-15-13 / 09-16-23	95595885 (2016/09/26) / 95594585 (22/11/2013)	Yes	3	C	15/06/2017 / 11/10/2021(CC) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040aTiX	6040aTiX		Smiths Detection tray 3 (P/N 34495374, with Safety-Walk + RFID-Tag + Liquidinlay)					09-16-23	95596016 rev. 02 (2020/03/01) -	Yes	2	C	20/11/2020 / 19/02/2021(CE) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040 DV	6040 DV		Smiths Detection tray 2 (P/N / 34482148) / Smiths Detection tray 3 (P/N / 34495374, with Safety-Walk + / RFID-Tag + Liquidinlay)					30-00-18	95596016 rev. 02 (2020/03/01)	Yes	2	C	19/02/2021 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 6040 DV	6040 DV		Vanderlande Scannojet (P/N / 10128 /095527-727)					30-00-29	95596016 rev. 02 (2020/03/01)	Yes	2	C	09/12/2021 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 7555aTiX	HI-SCAN 7555aTiX / 91460001		Smiths Detection Tray (P/N 34486990) / Smiths Detection tray 2 (P/N 34482148)					09-16-26	95596016 (2017/09/26)	Yes	2	C	12/07/2019 / 11/10/2021(CC) / 11/10/2021(CE) 31/07/2024 May not be used for screening containers above 100ml
Smiths Detection	HI-SCAN 7555aTiX	7555aTiX		Smiths Detection Tray (P/N 34486990)					09-71-27	95596016 (2017/09/26)	Yes	2	C	20/11/2020 / 11/10/2021* / *Change of entry 31/07/2024 May not be used for screening containers above 100ml
Veriteque USA, Inc / (previously: System Two)	SwabTek LETK / (previously: S2LETK)	Test strip batch 200710 / Test strip 082015V2							Non applicable	July 2010 / LETK082015 v2.0 / LETK072016 v3.0	Yes	2	A	13/10/2010 / 30/10/2015(CC) / 23/08/2016(CC)
Veriteque USA, Inc / (previously: System Two)	SwabTek LETK / (previously: S2LETK)	S2LETK (BL 315250) / LTD Gen 2							Non applicable	LTD 29 November 2018 v2.0 / LTD Gen 2 v1.1	Yes	3	A	12/02/2020 / 30/11/2023(CC)
Thermo Fisher Scientific	TruScreen 580-1281								V2.1.0/Build 9119/Conf BLSM-A1-T03E	Brochure TSCBR02 with one additional page	Yes	3	A	26/04/2013
X-Ray Center	XRC 60-40DV			Tray: / • Elder engineering (P/N 42106376) / • Foam (Polyformes, P/N 256412) / • Bolts (RS components, P/N 12234438)					108.1.117.187.21	MCIL Rev.1	Yes	2	C	15/01/2020 31/07/2024 May not be used for screening containers above 100ml
X-Ray Center	XRC 60-40DV			Tray: / • Elder engineering (P/N 42106376) / • Foam (Polyformes, P/N 256412) / • Bolts (RS components, P/N 12234438)					108.1.117.187.25	MCIL Rev.2	Yes	2	C	15/01/2020 31/07/2024 May not be used for screening containers above 100ml
X-Ray Center	XRC 60-40DV			Tray: / • Elder engineering (P/N 42106376) / • Foam (Polyformes, P/N 256412) / • Bolts (RS components, P/N 12234438)					108.1.117.187.35	MCIL Rev.3	Yes	3	C	15/01/2020 31/07/2024 May not be used for screening containers above 100ml

Updates to 10/07/2026
	Type A: the LEDS screens individual containers and requires containers to be opened for sampling. LAG containers must be removed from cabin baggage.
	Type B: the LEDS screens individual containers with no requirement for containers to be opened (original seal remains intact). LAG containers must be removed from cabin baggage.
	Type C: the LEDS screens multiple containers with no requirement for containers to be opened (original seal remains intact). LAG containers must be removed from cabin baggage.
	Type D: the LEDS screens LAG containers with no requirement for containers to be opened (original seal remains intact). LAG containers do not need to be removed from cabin baggage.
	Type D+: the LEDS is additionally capable to screen LAG containers with complex electronics (e.g. laptops) present in cabin baggage. This type is not contained within the EU regulations, however it is included in these lists as it helps to determine detection capability in the presence of complex electronics.