## small LEDS
Manufacturer | Model | Detection Hardware | System Software | Auxiliary Hardware | Auxiliary Measurement Software | Measurement Software | SORS Detection Software | Metal Detection Software | Algorithm | CONOPS | Cabin Baggage | Standard | Type | Date Approved | Conditions of Use
Agilent Technologies (Previously: Cobalt Light Systems) | Insight100 | INS100-v1.0 |  | Grav-kit-v1.0 | 1.2.0 Grav200.exe (1.0)* | 1.9.0 |  |  |  | INS100-35-EN Revision 1.0 | Yes | 3 | B | 14/08/2014 and *11/09/2017 (Configuration Changes) | Only for use in accordance with DfT document: "Liquid Explosives Detection Systems Guidance - Type B"
Agilent Technologies (Previously: Cobalt Light Systems) | Insight100 | INS100-v1.0 |  |  |  | 1.9.0 |  |  |  | INS 100-25-EN Rev. 2.5 INS100-24-EN Rev. 1.1 | Yes | 3 | A | 20/11/2013
Agilent Technologies (Previously: Cobalt Light Systems) | Insight200M | Cobalt P/N 071-T008-201 |  |  |  |  | SORS DLL Measurement software (1.9.0) and both Material ID 0251 1.0.6.0 and Material ID 0252 1.0.6.1 | Gravi200.exe (1.0) Gravi200.exe (1.1) Gravi200.DLL (1.1) |  | INS200M - 25 - EN Revision 1.1 in association with G6913-90023 | Yes | 3 | B | DfT approval 22/08/2025 | Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Agilent Technologies (Previously: Cobalt Light Systems) | Insight200M | Cobalt P/N 071-T008-201 |  |  |  |  | SORS DLL Measurement software (1.9.0) and both Material ID 0251 1.0.6.0 and Material ID 0252 1.0.6.1 | Gravi200.exe (1.0) |  | INS200M - 24 - EN Revision 1.0 used with INS200M – 25 – EN Revision 1.1 in association with G6913-90023 | Yes | 3 | A | DfT approval 22/08/2025
Agilent Technologies (Previously: Cobalt Light Systems) | Insight300M | G6930A | Insight exe: 4.5.1870 Agilent Service: 1.9.0.8 |  |  | Model DB: 10.0.1 Metal DB: 10.02.00 | SORS: 1.1.0.25 Item Screenability:10.00.00 | Gravimetric: 1.0.0.13 |  | G6930-90002 A.01 | Yes | 3 | B | 2026-08-14 | Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Agilent Technologies (Previously: Cobalt Light Systems) | Insight300M | G6930A | Insight exe: 4.5.1870 Agilent Service: 1.9.0.8 | Vial holder: G6923-52009 Vials: 5188-5392 |  | Model DB: 10.0.1 Metal DB: 10.02.00 | SORS: 1.1.0.25 Item Screenability:10.00.00 | Gravimetric: 1.0.0.13 |  | G6930-90000 A.02 | Yes | 3 | A | 2026-08-14
CEIA | EMA-3 | EMA-3 |  | EMA‐EXTP‐EXA‐MS |  |  |  |  | PVCT EMAO 2100, PVEX EMAX 5110 | FI200K0015v1203UK | Yes | 2 | A | 23/12/2011
CEIA | EMA-3 | EMA-3 |  | EMA‐EXTP‐EXA‐MS |  |  |  |  | PVCT EMAO 2100, PVEX EMAX 5120 | FI200K0015v1202UK | Yes | 2 | A | 23/12/2011
CEIA | EMA-3 | EMA-3 (EMA33540) |  | EMAX5211 (Bridge EMAO2100) |  |  |  |  | PVCT EMAO 2100, PVEX EMAX 5211 | FI200K0015v1206 | Yes | 3 | A | 15/11/2013
CEIA | EMA-3 | EMA-3 |  | EMA-EXTP-EXA-MS |  |  |  |  | PVCT EMAO 2100, PVEX EMAX 5311 | FI200K0015v1209 | Yes | 3 | A | 02/05/2014
CEIA | EMA-3 | EMA-3 | [6 empty] | PV EMA3 3550, PVCT EMAO 2100, AL3 | FI200K0015v1122 | Yes | 2 | B | 02/05/2014 | Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
CEIA | EMA-3 | EMA-3 | [6 empty] | PV EMA33550, PVCT EMAO 2100, AL4 | FI200K0015v1122 | Yes | 3 | B | 04/11/2014 | Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
CEIA | EMA-4 | EMA-4 | [6 empty] | ALG1 | FI200K048v1000hUK | Yes | 3 | B | 19/02/2021 | Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
CEIA | EMA-4 | EMA-4 | [6 empty] | ALG11 ALG12 ALG13 | FI200K0048v1001hUK | Yes | 3 | B | 30/11/2024 | Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
FLIR (formerly ICX Nomadics) | PaxPoint V2 | [7 empty] | Beta 1.00 | 20.08.2010 with one additional page concerning specific sampling for type A tests | Yes | 3 | A | 26/04/2013
Kumahira Co. Ltd. | LSR-M2 | 1.01 | V 2.00 V 2.01 | NIR. DB. ECAC 1.0.0.0 |  |  | 1.01 |  |  | UK1.00 | Yes | 3 | A | DfT approval
Kumahira Co. Ltd. | LSR-M2 | 1.01 | V 2.00 V 2.01 | NIR. DB. ECAC 1.0.0.0 |  |  | 1.01 |  |  | UK1.00 | Yes | 3 | B | DfT approval Bottle scanner approval only. The can scanner function is not approved for use under the UK small volume liquid screening MSM. | Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Nuctech | LS1516BA | DHV 1.0 | V1.2.036.200 | [5 empty] | AV 3.2.2.0 AV 3.2.2.1 | 2010-06-01 CONOPS-V1-C | Yes | 3 | B | 14/08/2014 | Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Nuctech | LS1516BA | DHV 1.0 | V1.2.036.188 | [5 empty] | AV 3.2.1.11 AV 3.2.1.12 | 2010-06-01 CONOPS-V1-C | Yes | 3 | B | 03/03/2014 | Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Nuctech | RT1003EB | 2.0 |  |  |  | 1.1.3 |  |  |  | 2.1 | Yes | 3 | B | 30/11/2016 | Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Nuctech | RT1003EB | 2.0 |  |  |  | 1.1.3 |  |  |  | 2.1 | Yes | 3 | A | 30/11/2016
Nuctech | RT1003EB | 2.0 |  |  |  | 1.1.3 |  |  |  | 2.2 | Yes | 3 | B | 22/09/2017 | Please refer to DfT document "Liquid Explosives Detection Systems Guidance - Type B" on the use of this equipment
Nuctech | RT1003EB | 2.0 |  |  |  | 1.1.3 |  |  |  | 2.2 | Yes | 3 | A | 22/09/2017
Veriteque USA, Inc (previously: System Two) | SwabTek LETK (previously: S2LETK) | Test strip batch 200710 | [6 empty] | Non applicable | July 2010 | Yes | 2 | A | 13/10/2010
Veriteque USA, Inc (previously: System Two) | SwabTek LETK (previously: S2LETK) | Test strip 082015V2 | [6 empty] | Non applicable | LETK082015 v2.0 LETK072016 v3.0 | Yes | 2 | A | 30/10/2015 and 23/08/2016 (Configuration Changes)
Veriteque USA, Inc (previously: System Two) | SwabTek LETK (previously: S2LETK) | S2LETK (BL 315250) LTD Gen 2 | [6 empty] | Non applicable | LTD 29 November 2018 v2.0 LTD Gen 2 v1.1 | Yes | 3 | A | 12/02/2020 30/11/2023(CC)
Updates to 12/10/2026
Type A: the LEDS screens individual containers and requires containers to be opened for sampling. LAG containers must be removed from cabin baggage.
Type B: the LEDS screens individual containers with no requirement for containers to be opened (original seal remains intact). LAG containers must be removed from cabin baggage.
Type C: the LEDS screens multiple containers with no requirement for containers to be opened (original seal remains intact). LAG containers must be removed from cabin baggage.
Type D: the LEDS screens LAG containers with no requirement for containers to be opened (original seal remains intact). LAG containers do not need to be removed from cabin baggage.
Type D+: the LEDS is additionally capable to screen LAG containers with complex electronics (e.g. laptops) present in cabin baggage. This type is not contained within the EU regulations, however it is included in these lists as it helps to determine detection capability in the presence of complex electronics.